## ITC 012
ITC 012a - EARTHING AND BONDING
Referenced Drawing and Revision Number | Text box
INSPECTION RECORD
Item |  | PASS (Y/N) OR N/A
Approved construction drawings available |  | Yes/ No
Origin of Earthing Conductor |  | text box
Reinforcement bonding point installed to ________ |  | text box
Earthing cables secure to wall |  | Yes/ No
Size and installation of Earthbar as per design |  | Yes/ No
Earth cables torqued and marked at Connection points |  | Yes/ No
Earth cables labelled at Connection points |  | Yes/ No
Bonding conductor complete throughtout rooms |  | Yes/ No
Bonding of equipment complete throughout room |  | Yes/ No
Reinfocement bonding testing complete, results recorded |  | text box
Bonding complete for earth bar (test results recorded) |  | text box
Final Test report suppled and available on site data |  | Yes/ No
BONDING CONNECTIONS
text box
TEST EQUIPMENT USED FOR VERIFICATION
Test equipment |  | Serial No. | Calibrated on
text box |  | text box | text box
COMMENTS:
The electricains noted above, working for Grid Electrical Services Pty Ltd, certify that the inspections/ tests beside their name, has been verified/ tested to ensure it is electrically safe and in accordance with the relevant wiring rules and any other standard applying to the electrical installation under the Electrical Safety Act of that particular State/ Territory at the date the inspection/ test was completed.
FINAL ACCEPTANCE:
final acceptance - email