## ITC 018
ITC 018 - INSPECTION AND TEST RECORD FOR: LIGHTING LUX LEVEL
Referenced drawings and revision number
| Room Name / No. |  | Result Position 1 |  | Result Position 2 | Result Position 3 |  | Result Position 4 |  | Result Position 5 | Average Result |  | Required minimum result |  | Time Taken | Comments
| text box |  | text box |  | text box | text box |  | text box |  | text box | text box |  | text box |  | text box | text box
Recommended Illumination levels ***
(Location) specific location |  | Min. lux |  | (Location) specific location |  |  | Min. lux |  | (Location) specific location |  |  | Min. lux |  | (Location) specific location |  |  | Min. lux
(Office) Conference, reception room |  | 320 |  | (Factory) Packing work, Entrance Passage |  |  | 160 |  | (Hospital) Waiting room, Warehouse |  |  | 160 |  | (Schools) Auditorium, Indoor Gymnasium |  |  | 160
(Office) Clerical work areas |  | 320 |  | (Factory) Visual work at Production line |  |  | 240 |  | (Hospital) Medical examination room and Operating room |  |  | 320 |  | (Schools) Class room |  |  | 320
(Office) Typical drafting areas |  | 600 |  | (Factory) Inspection work |  |  | 400 | [6 empty] | (Schools) Laboratory, Library, Drafting room |  |  | 600
(Hotel) Public room, Cloakroom |  | 160 |  | (Factory) Electronic parts assembly lines |  |  | 600 |  | (Hospital) Emergency Treatment area |  |  | 800
(Hotel) Reception, Cashier |  | 160
*** Based on measurments taken at the actual working areas, measurements need to be taken at several points and averaged to gain a accurate overall reading.
LUX MEASUREMENT DEVICE DETAILS
Make and model | [5 empty] | Serial | [7 empty] | Last Calibration
COMMENTS
The Electricians noted above, working for Grid Electrical Services Pty Ltd, certify that the inspections/ tests beside their name, has been verified/ tested to ensure it is electrically safe and in accordance with the relevant wiring rules and any other standard applying to the electrical installation under the Electrical Safety Act of that particular State/ Territory at the date the test/ inspection was completed.
FINAL ACCEPTANCE:
Final acceptance - email