## Table 1
ITC 030 - DISTRIBUTION SWITCHBOARD INSTALLATION CHECKLIST
Section 1: Installation inspection checklist
Current approved workshop drawings available on site database | [5 empty] | Yes/No
Switchboard installed in final location as per approved drawings | [5 empty] | Yes/No
confirm labels are correct | [5 empty] | Yes/No
confirm each cubicle is free from dust and foreign debris | [5 empty] | Yes/No - photo
confirm door seals intact as per approved shop drawings | [5 empty] | Yes/No
confirm door handles and hinges operate correctly, confirm locking | [5 empty] | Yes/No
confirm Earthing connections are correct | [5 empty] | Yes/No
Busbar connections: confirm connections are torqued to manufacturers specifications and witness marks applied where visible | [5 empty] | Yes/No
Undertake functional testing of all isolators:
Switch Closed | A to E |  | B to E |  | C to E |  | A to B |  | A to C |  | C to B | A to A |  | B to B |  | C to C | A to N | B to N | C to N |  | N to N
| pass/ fail |  | pass/ fail |  | pass/ fail |  | pass/ fail |  | pass/ fail |  | pass/ fail | pass/ fail |  | pass/ fail |  | pass/ fail | pass/ fail | pass/ fail | pass/ fail |  | pass/fail
Switch Open | A to E |  | B to E |  | C to E |  | A to B |  | A to C |  | C to B | A to A |  | B to B |  | C to C | A to N | B to N | C to N |  | N to N
| pass/ fail |  | pass/ fail |  | pass/ fail |  | pass/ fail |  | pass/ fail |  | pass/ fail | pass/ fail |  | pass/ fail |  | pass/ fail | pass/ fail | pass/ fail | pass/ fail |  | pass/fail
Terminations are tight and correctly tensioned with witness marks in place | [5 empty] | Y/N
ITC 005 complete and submitted | [5 empty] | Y/N
All subcircuit breakers are securely mounted and installed with locks | [5 empty] | Y/N
All subcircuit cabling is neatly tied and secure in switchboard with no visible damage | [5 empty] | Y/N
Currently terminated subcircuits are tested, verified and labeled with up to date drawings and documented on ITC 006 | [5 empty] | Y/ N
Photos taken of all cubicles including torque marks | [5 empty] | Y/N attach photos
Section 2: Busbar insulation testing, all results less than 1MΩ is classed as a fail
L1-EARTH |  | Text box P/F |  | MΩ | L2-EARTH |  |  | Text box P/F |  | MΩ | L3-EARTH |  | Text box P/F |  | MΩ | NEUTRAL-EARTH |  | Text box P/F |  | MΩ
L1- L2 |  | Text box P/F |  | MΩ | L1-L3 |  |  | Text box P/F |  | MΩ | L3-L2 |  | Text box P/F |  | MΩ
L1- NEUTRAL |  | Text box P/F |  | MΩ | L2 - NEAUTRAL |  |  | Text box P/F |  | MΩ | L3 - NEUTRAL |  | Text box P/F |  | MΩ
Test Equipment Type | Brand/Model |  |  | Serial No. |  |  | Calibration Due
Text box | text box |  |  | text box |  |  | text box
text box | text box |  |  | text box |  |  | text box
The Electricians noted above, working for Grid Electrical Services Pty Ltd, certify that the inspections/ tests beside their name, has been verified/ tested to ensure it is electrically safe and in accordance with the relevant wiring rules and any other standard applying to the electrical installation under the Electrical Safety Act of that particular State/ Territory at the date the test/ inspection was completed.
Final Acceptance
final acceptance - email