## ITC 015
ITC -033 Low Voltage Fit Off of Final Sub Circuit Equipment
Referenced drawings and revision number | text box
Section 1 - Inspection of electrical equipment and accessories installed
Fit off inspection
Number of points | Installed in Correct Location as per drawings | Has lighting control been installled in correct location | Has the correct equipment i.e. gpo, light, been installed as per the drawing | Fit off into Electrical Equipment or Field Device - no unterminated cables | Mounted Correctly | Area left clean and tidy
text box | Y/N | Y/N/NA | Y/N | Y/N | Y/N | Y/N
Comments
The Electricians noted above, working for Grid Electrical Services Pty Ltd, certify that the inspections/ tests beside their name, has been verified/ tested to ensure it is electrically safe and in accordance with the relevant wiring rules and any other standard applying to the electrical installation under the Electrical Safety Act of that particular State/ Territory at the date the test/ inspection was completed.
Final Acceptance
final acceptance - send email