## Structure
Tier 1 | Tier 2 | Tier 3 | Tier 4 | Tier 5 | Instruction to CONQA | Checklist Name
Northwood
Stage 9 (TH 1-10, 81, 82)
TH01 (TH03, 04, 05, 06)
|  |  | Townhouse Unit 3 |  |  |  | Please apply this to all townhouses below
|  |  |  | Pre Wire | please add: | Pre Wire
|  |  |  | Termination and Testing | please add: | Termination and Testing
|  |  |  | Fit Off | please add: | Fit Off
Townhouse Unit 4
Townhouse Unit 5
Townhouse Unit 6
|  |  | Plinth 1 Commissioning |  | please add: | Plinth Commissioning
TH02 (TH01,02)
Townhouse Unit 1
Townhouse Unit 2
TH03 (TH 81, 82)
Townhouse Unit 81
Townhouse Unit 82
|  |  | Plinth 2 Commissioning |  | please add: | Plinth Commissioning
TH07 (07, 08, 09, 10)
Townhouse Unit 7
Townhouse Unit 8
Townhouse Unit 9
Townhouse Unit 10
|  |  | Plinth 3 Commissioning |  | please add: | Plinth Commissioning

## Checklists
Type | Name | Values | Prefix | Postfix | Template Name
checklist-flat | Pre Wire
checkpoint | Area is left clean and tidy, and approval to start work is obtained
checkpoint | Internal cabling complete
checkpoint | Main cabling complete (Photos Attached)
checkpoint | Building entry point (Photos Attached)
checkpoint | Fire boxes installed (Photos Attached)
checkpoint | Flush boxes installed
checkpoint | Sub-reticulation installed (Attach Photos)
checklist-flat | Termination and Testing
checkpoint | Area is left clean and tidy, and approval to start work is obtained
checkpoint | Install DB
checkpoint | Fit off DB (Photos Attached)
checkpoint | LAN test internals (Add signature)
checklist-flat | Fit Off
checkpoint | Area is left clean and tidy, and approval to start work is obtained
checkpoint | TV/DATA Fit Off (Photos Attached)
checkpoint | Nurse Call Fit Off (Photos Attached)
checkpoint | Smoke Alarms and CO detectors (Photos Attached)
checkpoint | 6 core Fibre spliced (Photos Attached)
checklist-flat | Plinth Commissioning
checkpoint | Nurse Call Terminated (Photos Attached)
checkpoint | MATV Terminated (Photos Attached)
checkpoint | Fibre spliced (Photos Attached)
checkpoint | Power Supply installed (Photos Attached)
checkpoint | Krone module terminated (Photos Attached)