## struct
resource | resource | resource | resource | resource | resource | resource | resource | resource | resource | resource | resource | type | Add Step | Add Post | Tier 1 | Tier 2 | Tier 3 | Tier 4 | Tier 5 | Tier 6 | Tier 7 | Tier 8 | Tier 9
[12 empty] | step |  |  | Tier 1: Amenities
[12 empty] | step |  |  | Tier 2: Ground
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Male
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Female
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Cleaners Room
[12 empty] | step |  |  | Tier 2: Level 1
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Male
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Female
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Cleaners Room
[12 empty] | step |  |  | Tier 2: Level 2
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Male
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Female
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Cleaners Room
[12 empty] | step |  |  | Tier 2: Level 3
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Male
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Female
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Cleaners Room
[12 empty] | step |  |  | Tier 2: Level 4
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Male
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Female
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Cleaners Room
[12 empty] | step |  |  | Tier 2: Level 5
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Male
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Female
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Cleaners Room
[12 empty] | step |  |  | Tier 2: Level 6
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Male
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Female
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Cleaners Room
[12 empty] | step |  |  | Tier 2: Level 7
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Male
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Female
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Cleaners Room
[12 empty] | step |  |  | Tier 2: Level 8
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Male
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Female
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Cleaners Room
[12 empty] | step |  |  | Tier 2: Level 9
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Male
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Female
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Cleaners Room
[12 empty] | step |  |  | Tier 2: Level 10
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Male
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Female
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Cleaners Room
[12 empty] | step |  |  | Tier 2: Level 11
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Male
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Female
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Cleaners Room
[12 empty] | step |  |  | Tier 2: Level 12
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Male
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Female
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Cleaners Room
[12 empty] | step |  |  | Tier 2: Level 13
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Male
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Female
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Cleaners Room
[12 empty] | step |  |  | Tier 2: Level 14
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Male
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Female
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Cleaners Room
[12 empty] | step |  |  | Tier 2: Level 15
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Male
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Female
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Cleaners Room
[12 empty] | step |  |  | Tier 2: Level 16
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Male
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Female
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Cleaners Room
[12 empty] | step |  |  | Tier 2: Level 17
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Male
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Female
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Cleaners Room
[12 empty] | step |  |  | Tier 2: Level 18
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Male
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Female
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Cleaners Room
[12 empty] | step |  |  | Tier 2: Level 19
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Male
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Female
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Cleaners Room
[12 empty] | step |  |  | Tier 2: Level 20
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Male
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Female
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Main Run Rough In (Cold Water) | Amenities - Main Run Rough In (Hot Water) | Amenities - Main Run Rough In (Non Potable/Rainwater) | Amenities - Main Run Rough In (Gas) | Amenities - Rough In - CW Design Components | Amenities - Rough In - RW Design Components | Amenities - Rough In - Mains Water Meter Assembly | Amenities - Rough In - Meter Install (Fitout) | Amenities - Rough In - Meter Manifold Install | Amenities - Rough In: Commercial (High & Low Level Rough In) Water Services | Amenities - Rough In: Apartment Water Services (High & Low Level Rough In) | Amenities - Pod Rough In Connection (Prefab Bathroom or Laundry) | folder-with-checklists |  |  | Tier 3: Cleaners Room