## struct
resource | resource | resource | resource | resource | resource | resource | resource | type | Add Step | Add Post | Tier 1 | Tier 2 | Tier 3 | Tier 4 | Tier 5 | Tier 6 | Tier 7 | Tier 8 | Tier 9
[8 empty] | step |  |  | Tier 1: Amenities
[8 empty] | step |  |  | Tier 2: Ground
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Male
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Female
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Cleaners Room
[8 empty] | step |  |  | Tier 2: Level 1
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Male
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Female
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Cleaners Room
[8 empty] | step |  |  | Tier 2: Level 2
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Male
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Female
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Cleaners Room
[8 empty] | step |  |  | Tier 2: Level 3
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Male
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Female
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Cleaners Room
[8 empty] | step |  |  | Tier 2: Level 4
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Male
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Female
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Cleaners Room
[8 empty] | step |  |  | Tier 2: Level 5
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Male
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Female
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Cleaners Room
[8 empty] | step |  |  | Tier 2: Level 6
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Male
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Female
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Cleaners Room
[8 empty] | step |  |  | Tier 2: Level 7
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Male
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Female
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Cleaners Room
[8 empty] | step |  |  | Tier 2: Level 8
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Male
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Female
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Cleaners Room
[8 empty] | step |  |  | Tier 2: Level 9
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Male
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Female
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Cleaners Room
[8 empty] | step |  |  | Tier 2: Level 10
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Male
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Female
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Cleaners Room
[8 empty] | step |  |  | Tier 2: Level 11
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Male
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Female
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Cleaners Room
[8 empty] | step |  |  | Tier 2: Level 12
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Male
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Female
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Cleaners Room
[8 empty] | step |  |  | Tier 2: Level 13
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Male
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Female
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Cleaners Room
[8 empty] | step |  |  | Tier 2: Level 14
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Male
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Female
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Cleaners Room
[8 empty] | step |  |  | Tier 2: Level 15
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Male
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Female
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Cleaners Room
[8 empty] | step |  |  | Tier 2: Level 16
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Male
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Female
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Cleaners Room
[8 empty] | step |  |  | Tier 2: Level 17
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Male
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Female
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Cleaners Room
[8 empty] | step |  |  | Tier 2: Level 18
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Male
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Female
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Cleaners Room
[8 empty] | step |  |  | Tier 2: Level 19
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Male
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Female
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Cleaners Room
[8 empty] | step |  |  | Tier 2: Level 20
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Male
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Female
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: DDA
Amenities - Testing - Potable Water - 1500kpa water test (not an air test) | Amenities - Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test) | Amenities - Testing - Potable Water - 1500kpa Bump Test Couta Fittings (not an air test) | Amenities - Testing - Natural Gas | Amenities - Testing Potable Water - (1.5 times maximum working pressure) | Amenities - Testing - Water Hold - Sewer & Stormwater Underslung | Amenities - Testing - Air Test - Stormwater & Downpipe | Amenities - Testing - Air Test - Sewer | folder-with-checklists |  |  | Tier 3: Cleaners Room