## Structure
Tier 1 | Tier 2 | Tier 3 | Tier 4 | Checklist to use
Site QA
Room | 201
|  | 201 - Floor Prep |  | Floor Prep
|  | 201 - Carpet Tile installation |  | Carpet tiles installation
|  | 201a - Vinyl installation |  | Floor Vinyl / LVT / Marmoleum
Room | 202
|  | 201 - Floor Prep |  | Floor Prep
|  | 201 - Carpet Tile installation |  | Carpet tiles installation
|  | 201a - Vinyl installation |  | Floor Vinyl / LVT / Marmoleum
Room | 203
|  | 201 - Floor Prep |  | Floor Prep
|  | 201 - Carpet Tile installation |  | Carpet tiles installation
|  | 201a - Vinyl installation |  | Floor Vinyl / LVT / Marmoleum
Room | 204
|  | 201 - Floor Prep |  | Floor Prep
|  | 201 - Carpet Tile installation |  | Carpet tiles installation
|  | 201a - Vinyl installation |  | Floor Vinyl / LVT / Marmoleum
Room | 205
|  | 201 - Floor Prep |  | Floor Prep
|  | 201 - Carpet Tile installation |  | Carpet tiles installation
|  | 201a - Vinyl installation |  | Floor Vinyl / LVT / Marmoleum
Room | 206
|  | 201 - Floor Prep |  | Floor Prep
|  | 201 - Carpet Tile installation |  | Carpet tiles installation
|  | 201a - Vinyl installation |  | Floor Vinyl / LVT / Marmoleum
Room | 207
|  | Floor Prep |  | Floor Prep
|  | Carpet Tile installation |  | Carpet tiles installation
|  | Vinyl installation |  | Floor Vinyl / LVT / Marmoleum
Room | 208
|  | Floor Prep |  | Floor Prep
|  | Carpet Tile installation |  | Carpet tiles installation
|  | Vinyl installation |  | Floor Vinyl / LVT / Marmoleum
Room | 209
|  | Floor Prep |  | Floor Prep
|  | Carpet Tile installation |  | Carpet tiles installation
|  | Vinyl installation |  | Floor Vinyl / LVT / Marmoleum
Room | 210
|  | Floor Prep |  | Floor Prep
|  | Carpet Tile installation |  | Carpet tiles installation
|  | Vinyl installation |  | Floor Vinyl / LVT / Marmoleum
Room | 211
|  | Floor Prep |  | Floor Prep
|  | Carpet Tile installation |  | Carpet tiles installation
|  | Vinyl installation |  | Floor Vinyl / LVT / Marmoleum
Room | 212
|  | Floor Prep |  | Floor Prep
|  | Carpet Tile installation |  | Carpet tiles installation
|  | Vinyl installation |  | Floor Vinyl / LVT / Marmoleum
Room | 213
|  | Floor Prep |  | Floor Prep
|  | Carpet Tile installation |  | Carpet tiles installation
Floor Vinyl / LVT / Marmoleum
Room | 214
|  | Floor Prep |  | Floor Prep
|  | Carpet Tile installation |  | Carpet tiles installation
Floor Vinyl / LVT / Marmoleum
Room | 215
|  | Floor Prep |  | Floor Prep
|  | Carpet Tile installation |  | Carpet tiles installation
Floor Vinyl / LVT / Marmoleum
Room | 216
|  | Floor Prep |  | Floor Prep
|  | Carpet Tile installation |  | Carpet tiles installation
Floor Vinyl / LVT / Marmoleum
Room | 217
|  | Floor Prep |  | Floor Prep
|  | Carpet Tile installation |  | Carpet tiles installation
Floor Vinyl / LVT / Marmoleum
Room | 218
|  | Floor Prep |  | Floor Prep
|  | Carpet Tile installation |  | Carpet tiles installation
Floor Vinyl / LVT / Marmoleum
Room | 219
|  | Floor Prep |  | Floor Prep
|  | Carpet Tile installation |  | Carpet tiles installation
Floor Vinyl / LVT / Marmoleum
Room | 220
|  | Floor Prep |  | Floor Prep
|  | Carpet Tile installation |  | Carpet tiles installation
Floor Vinyl / LVT / Marmoleum
Room | 221
|  | Floor Prep |  | Floor Prep
|  | Carpet Tile installation |  | Carpet tiles installation
Floor Vinyl / LVT / Marmoleum
Room | 222
|  | Floor Prep |  | Floor Prep
|  | Carpet Tile installation |  | Carpet tiles installation
|  | Vinyl installation |  | Floor Vinyl / LVT / Marmoleum
Room | 223
|  | Floor Prep |  | Floor Prep
|  | Carpet Tile installation |  | Carpet tiles installation
|  | Vinyl installation |  | Floor Vinyl / LVT / Marmoleum
Corridor areas | Phase 1
|  | Floor Prep |  | Floor Prep
|  | Carpet Tile installation |  | Carpet tiles installation
Phase 2
|  | Floor Prep |  | Floor Prep
|  | Carpet Tile installation |  | Carpet tiles installation
Day Room | 249
|  | Floor Prep |  | Floor Prep
|  | Carpet Tile installation |  | Carpet tiles installation
Waiting area | 232
|  | Floor Prep |  | Floor Prep
|  | Carpet Tile installation |  | Carpet tiles installation
Office | 223
|  | Floor Prep |  | Floor Prep
|  | Carpet Tile installation |  | Carpet tiles installation
Staff Kitchen
|  | Floor Prep |  | Floor Prep
|  | Vinyl installation |  | Floor Vinyl / LVT / Marmoleum

## Checklists
Type | Name | Values
checklist-flat | Floor Prep
checkpoint | Survey floor for flatness?
checkpoint | Moisture test done prior to installation?
checkpoint | At-risk surfaces protected?
checkpoint | Mapeproof 2x coats north to south east to west applied?
checkpoint | All areas dammed up to prevent leaks?
checkpoint | Floor level to -31mm from ranch slider?
checkpoint | Area clear of rubbish and debris?
checkpoint | No damage to other surfaces?
checkpoint | Levels checked and ready for installation?
checkpoint | Preparation complete with no damage?
signoff | Please signoff / request sign off
checklist-flat | Timber Installation
checkpoint | Moisture test done prior to installation?
checkpoint | Floor prep assessed and deviation less than 3mm over 3m?
checkpoint | V2 notch trowel used for underlay to substrate?
checkpoint | Underlay installed and rolled?
checkpoint | 5mm notch trowel used for installation of timber?
checkpoint | Timber direction been approved?
checkpoint | Undercut doors and joinery?
checkpoint | Expansion gaps as per installation manual?
checkpoint | Timber weighted down during installation?
checkpoint | All transition trims installed?
checkpoint | Area dust free and all rubbish removed?
checkpoint | No damage to joinery, skirtings or walls?
checkpoint | Has the floor been protected?
checkpoint | Installation complete with no damage?
signoff | Please signoff / request sign off
checklist-flat | Carpet Installation
checkpoint | Substrate clean and approved for installation?
checkpoint | Are sills, door frames & tiles flush with carpet?
checkpoint | Doors to be removed?
checkpoint | Confirm plan matches site and joins ok?
checkpoint | Confirm the underlay type from job sheet?
checkpoint | Take photo of carpet joins?
checkpoint | Area dust free and all rubbish removed?
checkpoint | No damage to joinery, skirtings or walls?
checkpoint | Has the floor been protected?
checkpoint | Installation complete with no damage?
signoff | Please signoff / request sign off
checklist-flat | Add Documentation
checkpoint | Please upload all documements and press PASS.