## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-sectioned | 61ba406b-efb8-4238-92dd-1cd4b1642ac6 |  | checklist | [5 empty] | Yes | Level 2 Corridors & Lobbies | 13cb98ed-5d89-43d3-a587-a7f8f934e4b6
checkpoint-group | 3fda1f28-9360-4f62-8c5b-a45d17002197 |  | section | Stairwell SW01 (A3-74)
checkpoint-status | 36768013-aae9-4796-8a4e-bae9579d3a32 |  | checkpoint | Area floor level acceptable
checkpoint-status | 3e5423e5-b3b2-4e7b-8497-b2fb7977c80f |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | e3e65fc7-4201-4a0c-872f-0fc0587dda16 |  | checkpoint | Self leveling coverage completed
holdpoint | b059f246-a51a-4d7f-87b4-6cfce3d94b16 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 26737d27-dfa2-496a-9e75-32c50dbe0ac8 |  | section | Stairwell SW02 (A3-71)
checkpoint-status | bfb8f8f6-d9fd-4545-abac-84b670106abb |  | checkpoint | Area floor level acceptable
checkpoint-status | 08cabbdd-2c26-4735-beb8-de0bab8e3b2a |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | ca32f663-77d1-4bf1-9bef-7546d663b03b |  | checkpoint | Self leveling coverage completed
holdpoint | e6ba741f-f8e4-45ef-afe0-044ae703dd00 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | f2cf8844-ec10-40f6-b04c-b465c9a15387 |  | section | Stairwell SW03 (A3-91)
checkpoint-status | 38e94ce6-e619-401a-9556-0dacd8990635 |  | checkpoint | Area floor level acceptable
checkpoint-status | 88668a61-fb1d-4ce3-88a1-aeead3881659 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 1e2d00b1-5449-445e-acfc-fb039a8fdfe1 |  | checkpoint | Self leveling coverage completed
holdpoint | a7defc20-26e3-483f-a4dc-ce3be29dc4fa |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 0d1dd85e-4407-4771-bfe4-b642f33a9f13 |  | section | Lobby S0-02
checkpoint-status | 4385674b-c868-445f-a4c3-c9f27f473322 |  | checkpoint | Area floor level acceptable
checkpoint-status | c5cdd6ff-9b06-4bd5-bc68-e0c2df7c2c13 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | e2627569-6629-45c8-ba85-0c244eec4498 |  | checkpoint | Self leveling coverage completed
holdpoint | 64bcb5a8-b871-4fc1-bade-a34c3f468923 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 1adf64d5-6564-44af-8d89-53a21eeb5bdc |  | section | Corridor - Area A, Part 1
checkpoint-status | 848fcecb-3f5f-46cd-ad47-cd899a0a8049 |  | checkpoint | Area floor level acceptable
checkpoint-status | 570b2403-33c3-4a34-87dc-a188fb6fbec5 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | dc2b64ff-5a4f-459f-9ed5-a2528fa1372a |  | checkpoint | Self leveling coverage completed
holdpoint | 807c2a1f-b54b-406e-9bbb-fff9abb70bf4 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 533f04a5-c8bf-4c84-ab18-7a6b7c41aacc |  | section | Corridor - Area A, Part 2
checkpoint-status | e3146720-b0b3-4180-8213-e50adfa6d603 |  | checkpoint | Area floor level acceptable
checkpoint-status | 60a85458-d35f-4b67-beb8-42e60489648f |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 96ecd83c-bc98-42d8-9104-ca17acc1db31 |  | checkpoint | Self leveling coverage completed
holdpoint | ce8e885e-7227-43d4-8685-e8b436153b74 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | e82c8f74-247e-4c35-a262-8225a6a7c129 |  | section | Corridor - Area B
checkpoint-status | a3693dd8-da0c-4986-a62b-01b2c527f287 |  | checkpoint | Area floor level acceptable
checkpoint-status | 7ef3b81b-a09f-4230-9bb1-89a7ba3b928c |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | cf861d8f-252a-440e-8248-ce643c34711b |  | checkpoint | Self leveling coverage completed
holdpoint | a5547618-32d8-44c4-8ce5-58cb06228a9c |  | signoff | Raise Remedial/ Main Contractor Signoff
checklist-sectioned | 26183e8d-6a6e-4daf-b274-688541c46c2f |  | checklist | [5 empty] | Yes | Level 1 Service Areas | 22d4b658-2370-452a-be09-64cad481522e
checkpoint-group | a6d08f05-841e-4c47-8926-0615a1a793d3 |  | section | Services A3-29
checkpoint-status | 7b2974ac-a316-49c3-9fea-a1ec6cafd97d |  | checkpoint | Area floor level acceptable
checkpoint-status | a839f93f-07ec-4911-8d8a-6c09033c6018 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | c068f299-979e-40cc-bf59-20dc9c6c1df1 |  | checkpoint | Self leveling coverage completed
holdpoint | c6cf44d8-149f-4a0f-9860-a81e5462044d |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | e9343022-7ef2-4ed2-ac21-2c99d47618ee |  | section | Services A3-30
checkpoint-status | 8d14dbb2-ebc6-45e5-a759-79dcdc4737bd |  | checkpoint | Area floor level acceptable
checkpoint-status | 375604da-760d-4797-9cd5-19e16225cea1 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | f5f70fb7-fed8-4201-b8d5-4e9bac747048 |  | checkpoint | Self leveling coverage completed
holdpoint | 1f32e924-480d-4049-97b0-fbdfde6eb60d |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | add0815b-b272-41bf-96d6-727d089e8db7 |  | section | Bin Storage A3-31
checkpoint-status | 0d9cf35b-ed89-4afc-9793-84648a8ff01f |  | checkpoint | Area floor level acceptable
checkpoint-status | e34d0bbc-1618-4f3b-be5c-9bf7aef323f1 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 137c2fb8-88e2-4aab-a075-e1bbf606f932 |  | checkpoint | Self leveling coverage completed
holdpoint | 5a49c5dd-b3c5-40c2-ac80-cde3c44b0037 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 1918675b-0e03-4118-8c93-4ada88821412 |  | section | Electrical A3-47
checkpoint-status | 0ac31306-501c-48bd-b1d5-9b6d64e05117 |  | checkpoint | Area floor level acceptable
checkpoint-status | 1ef62125-2dd9-4068-9ede-362f882e3225 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 0cca31bd-2eeb-445d-93f5-f30459c09bf0 |  | checkpoint | Self leveling coverage completed
holdpoint | c2609ebc-466e-4823-9286-b16edb037974 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 87ff108e-1b31-46ae-83ca-759800134d85 |  | section | Store A3-104
checkpoint-status | ed3fb4ad-3e02-46d6-b54d-3be3f86fddd3 |  | checkpoint | Area floor level acceptable
checkpoint-status | 2a87798a-d75c-499e-b3a0-b264af3e2c36 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | e8e2b1dc-6c5f-451c-85aa-9e2a2d88c08d |  | checkpoint | Self leveling coverage completed
holdpoint | dd45b85a-e3bc-4def-8407-49384084c490 |  | signoff | Raise Remedial/ Main Contractor Signoff
checklist-sectioned | 0d374ef0-13ab-4946-b25f-54c4a8209b26 |  | checklist | [5 empty] | Yes | Level 1 Residential Areas | 22dd5ebb-c394-4608-97d4-d6d594d43a04
checkpoint-group | 3b6f196d-198a-4199-9761-9671e2144911 |  | section | Apartment A88
checkpoint-status | dbc4a9da-449f-4e97-a17a-8a840d6efb43 |  | checkpoint | Area floor level acceptable
checkpoint-status | f3f2aede-5337-480d-b5db-36327c9d7bdf |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 51e93adc-403c-4def-be7f-7f9f9cc20206 |  | checkpoint | Self leveling coverage completed
holdpoint | cea529a7-22b1-4462-aa3e-ed174679b69d |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | c024e442-62a9-4fee-8d1e-7241fa61a1ea |  | section | Apartment A89
checkpoint-status | 239e8945-231c-489d-8e72-790eb76d6d07 |  | checkpoint | Area floor level acceptable
checkpoint-status | 18cb12dc-e23d-4171-8d4d-af2eff449b60 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 998333e7-08e0-43f4-9b54-815dc9857eb3 |  | checkpoint | Self leveling coverage completed
holdpoint | e002aa9a-45ad-43d8-8369-a6a4c86d72cd |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 7dbcf431-f0c8-4941-94a6-ceeaa7b44bf5 |  | section | Apartment A90
checkpoint-status | e8a3e64d-115f-440e-860e-4867d81fc598 |  | checkpoint | Area floor level acceptable
checkpoint-status | 4c67d785-30cd-478c-96ff-7c4171bb9ef1 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | a1f04f84-7e83-4fe9-9a4d-3cba029cee55 |  | checkpoint | Self leveling coverage completed
holdpoint | b80a6a0b-d900-4225-9e61-a22859810fff |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | c35a8b5e-9541-4579-b6b3-0db6563524d6 |  | section | Apartment A91
checkpoint-status | 72a09b6b-37a9-4b3f-a7f3-3981a8616a13 |  | checkpoint | Area floor level acceptable
checkpoint-status | bb9868db-bb76-464d-999a-0ba61d89c54c |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 462ac28b-459b-4a9c-8a30-9f0c2f210583 |  | checkpoint | Self leveling coverage completed
holdpoint | 78d5fbcd-6432-48e8-ba74-ef00ed880460 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | adeec252-501a-4d30-9dd4-3e3dd34aea1e |  | section | Apartment A92
checkpoint-status | 80aa2505-875b-4330-95b7-0eabaebfc981 |  | checkpoint | Area floor level acceptable
checkpoint-status | 06496ca5-a7dc-46f5-a8dc-e0b4007d9d4c |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 6af38b00-68cb-428b-a0aa-279d06b50a0f |  | checkpoint | Self leveling coverage completed
holdpoint | 7a144127-d389-4e59-8352-c5647ca466e2 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 040d366f-63c3-4c0e-890c-fb8730ac27d3 |  | section | Apartment A93
checkpoint-status | 611d7e18-f33d-4343-bb51-fa136bc50df8 |  | checkpoint | Area floor level acceptable
checkpoint-status | 89b7a4d9-8ed3-48df-a4be-44ac0e076a89 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | c8cf427e-9012-443a-ade3-e6875849e225 |  | checkpoint | Self leveling coverage completed
holdpoint | 1f82d008-1bcf-4735-9de6-305884a57ea2 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 94fe90ef-08ef-4c10-99cf-da65eb6b4ac0 |  | section | Apartment A94
checkpoint-status | f5f603b7-c03c-427d-a0a6-835426bca008 |  | checkpoint | Area floor level acceptable
checkpoint-status | 27e60531-d3bb-49f8-92c6-ebee8f4dc168 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | dfb0467b-c0b6-4bc5-b490-14a0a1771266 |  | checkpoint | Self leveling coverage completed
holdpoint | 82680d83-b46b-4c1b-a6ae-43ebb9f2d628 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 6aa7d146-7151-461e-92f0-c028b16c00eb |  | section | Apartment A95
checkpoint-status | a8f0651f-0e55-4982-8564-3117139fd082 |  | checkpoint | Area floor level acceptable
checkpoint-status | 17b724d1-905d-48db-b59e-7171ef752cbe |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | ad22bb8f-3bad-487f-ba88-743d3183e53c |  | checkpoint | Self leveling coverage completed
holdpoint | 781d4fa9-ce50-4db0-a9d9-832717a457cd |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | b8556658-e2b5-4a05-82c9-6c47aa3efbc8 |  | section | Apartment A96
checkpoint-status | 5a275032-32a7-4f34-8aa8-6ae68a5cd995 |  | checkpoint | Area floor level acceptable
checkpoint-status | fb1d27cf-f3f2-4d0f-b2f7-40fffedf2ad5 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 647e2647-5c4f-4fc3-832e-dca29a808ba6 |  | checkpoint | Self leveling coverage completed
holdpoint | effaa659-0ff0-4b00-b463-cf77897d6b06 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | e1e351ac-acf7-4812-949e-def7d0b5691f |  | section | Apartment A97
checkpoint-status | 9f4190f6-2cae-404a-b9a1-6edc10adcea1 |  | checkpoint | Area floor level acceptable
checkpoint-status | 8efb35f4-fadc-41a1-bdd0-5ab06349357d |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 76623de7-7e51-4326-b69d-33e5f4aaf4ac |  | checkpoint | Self leveling coverage completed
holdpoint | aa4c97f3-65fa-4869-a48e-0698ab3ba9b6 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 90d001da-b470-45e0-a85d-bc784debdb1f |  | section | Apartment A98
checkpoint-status | 0ead8b7b-cf09-46cf-94cf-e9f127370d00 |  | checkpoint | Area floor level acceptable
checkpoint-status | 7b29747a-859c-4f76-93b3-c1a9ace4d909 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | bf907266-cae2-49be-9457-3c72d3397c12 |  | checkpoint | Self leveling coverage completed
holdpoint | dbf11145-5791-487c-9d9e-3d609f24f2ea |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 660f9121-03bf-4f71-9813-a18631d24453 |  | section | Apartment A99
checkpoint-status | b220cf33-e746-48ca-a881-b977a5b5a1b7 |  | checkpoint | Area floor level acceptable
checkpoint-status | 5ac68556-6ea7-45df-b052-8d99267d50ac |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 64ccc4db-71fe-44a4-be67-2c57945c1434 |  | checkpoint | Self leveling coverage completed
holdpoint | 671c0559-beec-4fb2-b3c9-e284853b0299 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 29ae6523-d806-4ef0-90a6-c5a7d347f5eb |  | section | Apartment A100
checkpoint-status | a91deadf-9e8d-4587-856b-89024d5def9c |  | checkpoint | Area floor level acceptable
checkpoint-status | d637c625-00dd-46b3-a28a-0b59d3b1651b |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | ab7621d7-3e1c-4619-a8e0-390a340a4de5 |  | checkpoint | Self leveling coverage completed
holdpoint | 2f4d60fd-f09a-4005-9f34-500b0a4c9424 |  | signoff | Raise Remedial/ Main Contractor Signoff
checklist-sectioned | 22289334-7652-4c9c-8326-6a2c01afc99a |  | checklist | [5 empty] | Yes | Level 3 Service Areas | 30b10931-be15-4f02-90b9-9c5c07e3c88a
checkpoint-group | 928bde67-2def-417f-8577-3d0a7a6f226d |  | section | Services A3-36
checkpoint-status | 12b48d04-f681-4d7a-95dd-43c1126ad4f9 |  | checkpoint | Area floor level acceptable
checkpoint-status | 37431ec7-787c-40a3-898d-35f6c20fa162 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | b3d4ebc2-fe8c-493a-a77b-a1c6c8db5d0f |  | checkpoint | Self leveling coverage completed
holdpoint | db2dca0a-5060-4f2f-a905-7d76c9ea8733 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | df68280f-fd6d-4265-b20c-9899c5dbf537 |  | section | Services A3-37
checkpoint-status | cd0acc10-c16a-4741-bf70-29c8efc5b876 |  | checkpoint | Area floor level acceptable
checkpoint-status | e3373409-ecae-43de-aaaa-4d2ab658f4ba |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | e68d9e3d-0bb4-4fcc-9e6f-28ff699e8ba4 |  | checkpoint | Self leveling coverage completed
holdpoint | 47e789c2-4635-4283-b80a-61ff4039ce0d |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 122b74e8-c8de-465d-a5f7-ae9b65b8776f |  | section | Services A3-39
checkpoint-status | f4c57049-2762-4971-b153-0fe5ecdb31a8 |  | checkpoint | Area floor level acceptable
checkpoint-status | 7f3aa803-91c4-43fc-a1bd-56411fc6b164 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 359cb266-41b2-4e94-ab51-17c68a30fd9d |  | checkpoint | Self leveling coverage completed
holdpoint | 2198338e-b5b3-49b6-bdb6-510670384047 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 2eed0b6a-bc44-47f8-bd54-65b6694b49cb |  | section | Electrical A3-40
checkpoint-status | 01b15d1d-dd96-4dee-af2d-aa7159b082dd |  | checkpoint | Area floor level acceptable
checkpoint-status | 52c941c1-6d73-4a91-86a2-dd7aa13bd05f |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 0e99c0fb-4df8-449c-a8cc-4fbfbceedfd7 |  | checkpoint | Self leveling coverage completed
holdpoint | ac2028ac-3a29-4568-bd01-12813fbb915c |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 048b6366-ed2a-4a9a-9a87-0934966794a9 |  | section | Electrical A3-89
checkpoint-status | 5057eb90-307b-4778-9cf2-c059dd498026 |  | checkpoint | Area floor level acceptable
checkpoint-status | 4c5d9b36-1bec-4e11-b5c5-e176947c1053 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 49106cdb-76ea-45ff-b9f6-ef25ac313478 |  | checkpoint | Self leveling coverage completed
holdpoint | 5695424f-107c-413a-b64a-97e1d5c7ee54 |  | signoff | Raise Remedial/ Main Contractor Signoff
checklist-sectioned | 88dc6b14-6fbe-40cd-b595-4a2a1fb60e8c |  | checklist | [5 empty] | Yes | Level 1 Corridors & Lobbies | 33c2b58c-10cc-4495-bdd3-24582df9e7f6
checkpoint-group | 0acf389e-619a-477e-9344-6d5d7527c473 |  | section | Stairwell SW01 (A3-74)
checkpoint-status | 80ae0432-ad8b-4a94-81b1-88758fba8f21 |  | checkpoint | Area floor level acceptable
checkpoint-status | eb1ce65a-e2f3-4aa7-bac9-9d6afbd14cd3 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 866890dd-c01d-4a83-91fa-a2a72503e4c8 |  | checkpoint | Self leveling coverage completed
holdpoint | a18e2184-dcf5-4dc7-8925-541d9945530e |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 67487cd8-b124-4c1a-a56e-4d66e81c867b |  | section | Stairwell SW02 (A3-71)
checkpoint-status | f46625b6-bd47-4a49-9f98-161d96059c79 |  | checkpoint | Area floor level acceptable
checkpoint-status | c366aa8e-0017-49d9-94b7-e14e7e817849 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | cbe2970a-f4d9-4e31-b20e-13c1e5026438 |  | checkpoint | Self leveling coverage completed
holdpoint | 6e297984-852c-42be-8195-a151e3858803 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 8d9c13bc-28f0-4292-b582-63eb5a065506 |  | section | Stairwell SW03 (A0-07)
checkpoint-status | 32098be2-4b96-4081-a8e0-003f0577a984 |  | checkpoint | Area floor level acceptable
checkpoint-status | 2b5bba59-1e66-48a1-88ea-88d5e30c8db1 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | be4baf31-f199-4425-b7b9-2332be46ef0b |  | checkpoint | Self leveling coverage completed
holdpoint | fbf157f9-8469-4832-8a88-ea7c1cc2b916 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 7c340391-1b76-4451-8f25-89711ffcf3c1 |  | section | Lobby S0-02
checkpoint-status | a2df4b59-7a2a-4464-9a33-630422b6224a |  | checkpoint | Area floor level acceptable
checkpoint-status | 5ed03397-d2e7-4fc7-a411-dd209ad8698c |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 08fc9257-9e17-48fa-92d9-a102f6bea145 |  | checkpoint | Self leveling coverage completed
holdpoint | 2a5b04b4-6bde-4d41-9f22-4747d4844dbf |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 5895b4cf-3758-4b57-b208-b27fe05a0d2c |  | section | Corridor - Area A, Part 1
checkpoint-status | a3e90bba-44b3-4e94-a484-8873adaa3879 |  | checkpoint | Area floor level acceptable
checkpoint-status | 6b04975b-ced8-4b4e-b7d0-518015166164 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 1c3b54da-c40f-429f-a5e8-5a1cb9235c59 |  | checkpoint | Self leveling coverage completed
holdpoint | 8c64dab4-0fa4-45cf-bdbd-1a529cb0f56a |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 4dec6deb-cb7a-44e6-add1-08e2da34e084 |  | section | Corridor - Area A, Part 2
checkpoint-status | 359cda1c-d209-47b7-b119-98b27a61912c |  | checkpoint | Area floor level acceptable
checkpoint-status | 9cdcd52d-59fd-487b-90ce-3d3fc2b73563 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 684af524-2b18-4a3a-b71a-b21bad0e2fda |  | checkpoint | Self leveling coverage completed
holdpoint | 409ce300-b4de-45ea-9ce2-e42593ede2de |  | signoff | Raise Remedial/ Main Contractor Signoff
checklist-sectioned | 6482da16-5770-4d16-b36b-6bbb12729abc |  | checklist | [5 empty] | Yes | Level 2 Residential Areas | 399843aa-e50a-4e10-87f0-3455b7d07f30
checkpoint-group | 952e429d-8e06-4720-84a5-3858e8626ee9 |  | section | Apartment B88
checkpoint-status | 66d7ad9d-913b-4358-b928-2e196498b709 |  | checkpoint | Area floor level acceptable
checkpoint-status | 0636cbdc-eba8-4710-bb47-59175cd0f211 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | fb5d7159-5496-4a19-8b75-87aedf6a8ba6 |  | checkpoint | Self leveling coverage completed
holdpoint | 6f8a7d67-514f-45d1-9505-00a8957d6c48 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | a02d0cfb-ee55-45ba-b07e-0c72a8ccf798 |  | section | Apartment B89
checkpoint-status | ebd3931c-0df4-490b-8773-3764bc726784 |  | checkpoint | Area floor level acceptable
checkpoint-status | 173eacd4-79a3-4dd4-8a5b-9f41bcf24963 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 850607ce-ed40-4d85-b783-127f25768990 |  | checkpoint | Self leveling coverage completed
holdpoint | e3fe609a-a23a-4813-b9e3-f80e1f087635 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | fbaea147-abee-41d3-9d54-883459b10ad8 |  | section | Apartment B90
checkpoint-status | 4f2f31f9-3e4e-43d0-ab9f-d097d6c2e2ec |  | checkpoint | Area floor level acceptable
checkpoint-status | 9672ced8-1336-4086-ab37-9704cd61a737 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | c947ce09-e670-48ec-a669-f99249ee4905 |  | checkpoint | Self leveling coverage completed
holdpoint | 97174901-7629-4f08-8636-22ee80e7341a |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 58c02667-a91d-4ad8-8b4b-42c3ae03872a |  | section | Apartment B91
checkpoint-status | caaffccb-b828-429f-8677-30ac367e89d0 |  | checkpoint | Area floor level acceptable
checkpoint-status | 7c0d1345-5d83-4d75-b882-3d8f34df26c0 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 1d926c87-e2f2-493a-ad7a-26030f558378 |  | checkpoint | Self leveling coverage completed
holdpoint | d19cee77-b5d5-4c7d-a5f1-cc6dcc119776 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 69f8c474-d825-4af2-94a1-b15050545635 |  | section | Apartment B92
checkpoint-status | 16f95122-0cd2-40c6-bef6-4b6ac773269f |  | checkpoint | Area floor level acceptable
checkpoint-status | 08e620c8-f881-477a-abce-dc9636af9f21 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | a81d9838-a0e4-4aec-8327-3a3e54439578 |  | checkpoint | Self leveling coverage completed
holdpoint | de85253b-e192-4c55-8054-e9b6be48f779 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 6332942d-84f6-4daa-a978-c95d58f8a4c2 |  | section | Apartment B93
checkpoint-status | c8db6d98-a6c8-4801-86e2-47a6041deffd |  | checkpoint | Area floor level acceptable
checkpoint-status | 106202dc-8d33-4eaf-b697-5b219db0593b |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | ab3a1727-f133-40c5-8f09-0451c161ce29 |  | checkpoint | Self leveling coverage completed
holdpoint | 3c4252b2-5556-4462-9cd8-0be2633a0b30 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 6784e9d7-02a7-4928-9134-5d6303e5be9a |  | section | Apartment B94
checkpoint-status | e1dbb384-006d-42ff-af5c-8ee7669cc832 |  | checkpoint | Area floor level acceptable
checkpoint-status | f22a2d82-c926-4879-9ffb-95407a465cd8 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 78586f2d-3f62-4e20-b5a6-855e767fa026 |  | checkpoint | Self leveling coverage completed
holdpoint | a246f729-f7bc-4932-9908-6ee81c0ed1d5 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | d50f932c-9085-48f7-b93c-ded6902184c9 |  | section | Apartment B95
checkpoint-status | 8c63275b-a764-42f8-bbd4-c7a6919684c8 |  | checkpoint | Area floor level acceptable
checkpoint-status | d6689c4f-0344-4f26-8806-85e4dff815b9 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 76eeb2ab-dfd3-43d3-8a66-bd385bb259e5 |  | checkpoint | Self leveling coverage completed
holdpoint | 3b0e8b91-938a-4376-bf83-ac810655f21f |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | f526dccf-6946-4210-9a2f-084e2dfe3364 |  | section | Apartment B96
checkpoint-status | 915d5d16-34e6-4392-9b32-01c3b2911829 |  | checkpoint | Area floor level acceptable
checkpoint-status | b6ddcda9-061a-4614-be55-854fa43dc3d1 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 89027620-90b4-4358-b6f3-f3afd6d081f2 |  | checkpoint | Self leveling coverage completed
holdpoint | 766c8650-ba79-426c-b75c-9f4e94cd704e |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 519820c7-5f94-4bae-adaf-c59ebcc44f40 |  | section | Apartment B97
checkpoint-status | 55295a89-5106-4a2d-afa7-024f0cbc5e88 |  | checkpoint | Area floor level acceptable
checkpoint-status | 198c1986-dec5-4375-a514-cef77c1e3c01 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | c613f676-99a7-4c74-b406-07b80f062ff4 |  | checkpoint | Self leveling coverage completed
holdpoint | 2f596c8d-94f2-4122-bf4d-d5f48fda4e87 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 6fceaa53-e879-4c91-87bd-2493901e3c99 |  | section | Apartment B98
checkpoint-status | 637d2a6b-6124-4234-b31c-318ed06e8662 |  | checkpoint | Area floor level acceptable
checkpoint-status | 95616852-8f65-4da5-9b7f-369d53750a5b |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 460252c4-570f-48bf-b55c-8e7fb24343d6 |  | checkpoint | Self leveling coverage completed
holdpoint | cbc80b37-476b-41a2-9323-fca1081b45da |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | c27b6a93-3c19-4e9b-bb4b-e728eb8908d4 |  | section | Apartment B99
checkpoint-status | 3ffb5841-6dd0-488a-9199-ae3f1723b3e4 |  | checkpoint | Area floor level acceptable
checkpoint-status | 17ec2a44-34a4-40b5-b852-186bb2ad99f2 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | adaf9adc-815b-4cbb-8d9a-3ba3348226c1 |  | checkpoint | Self leveling coverage completed
holdpoint | f52065a1-495d-49a4-a51e-660c1b28c962 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 433f2742-cdb9-4730-9816-09d62c319e1b |  | section | Apartment B100
checkpoint-status | f347a7aa-87e2-446f-8880-28a1d460d913 |  | checkpoint | Area floor level acceptable
checkpoint-status | 9c69ae9a-088d-4de5-9cda-9160a4a8811f |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | cb19cf91-e2f0-4b5b-89b0-348a9a92875c |  | checkpoint | Self leveling coverage completed
holdpoint | 19e9fde5-467d-4b5f-9743-718deaaf8907 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | f676ce54-dca8-4151-a4fb-bd05a845b534 |  | section | Apartment B101
checkpoint-status | c419480a-53d3-4ed4-8648-8b8a677f7ab1 |  | checkpoint | Area floor level acceptable
checkpoint-status | 806410ab-1568-4828-a62b-c4fc49275b4e |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 3da14be3-915c-43d8-97ab-fec29d008e0b |  | checkpoint | Self leveling coverage completed
holdpoint | 7a2f5633-c2a0-497c-a37d-6e6997089e4f |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 363636af-5e22-461f-8395-87f66a20fb40 |  | section | Apartment B102
checkpoint-status | cd19e717-35e3-49a9-98eb-dbd6abff8855 |  | checkpoint | Area floor level acceptable
checkpoint-status | 53df811c-e435-49f8-8f96-45c0de9eb0c3 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | fae36091-13af-4bad-8512-8c2a3c72bc30 |  | checkpoint | Self leveling coverage completed
holdpoint | bbaabc65-d39a-44e5-8da9-c82444e598e0 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 806d6dec-6068-4624-9786-ac08ffc098f8 |  | section | Apartment B103
checkpoint-status | 5d485bf1-4c87-4bc1-b9b6-15a1200040a7 |  | checkpoint | Area floor level acceptable
checkpoint-status | 5ef70b8d-a8cd-4073-83e3-9330bc65bd4b |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 720ad454-d9b7-480a-9bb2-00e5f67a1979 |  | checkpoint | Self leveling coverage completed
holdpoint | cb51cb6d-3b68-49a6-84e3-3bbee38e1201 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 5181f547-9d80-44e1-a76a-97b83e0bbaa0 |  | section | Apartment B104
checkpoint-status | b2fc1d65-7a79-428a-b2fd-a1a75589e66f |  | checkpoint | Area floor level acceptable
checkpoint-status | f07d0de5-d63e-4f41-b9bd-1dcfdd8eab35 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | d7c6c740-5c60-4c34-8c61-7e1c23bceca6 |  | checkpoint | Self leveling coverage completed
holdpoint | 486b6fe6-f19e-4719-9120-363240a84d8f |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 05dbb301-b680-4a96-a740-c9c91108ee7a |  | section | Apartment B105
checkpoint-status | fe7570a4-e599-4519-b341-ef02421862c6 |  | checkpoint | Area floor level acceptable
checkpoint-status | 3615fc41-d380-4076-93a7-5e24d563f22f |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | de5d3f5f-f796-4c9a-b9a6-b627c5f65ff5 |  | checkpoint | Self leveling coverage completed
holdpoint | fac0959a-f6b5-4d35-a5e8-a9445a9acb90 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 29f68b4d-ee19-4b99-8a50-b776a6acb24b |  | section | Apartment B106
checkpoint-status | 0ed93cd7-82c8-4234-99dc-5880deba9b2e |  | checkpoint | Area floor level acceptable
checkpoint-status | ff2befa2-a9e3-4c65-90e7-759d7962be60 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 5b573012-d87b-47e8-88c2-ef4c6b1ea3eb |  | checkpoint | Self leveling coverage completed
holdpoint | 8c299971-6304-4fe6-a5b5-4c37a5f66c7b |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | d3b15224-9729-48ec-af84-142474eceb38 |  | section | Apartment B107
checkpoint-status | 19d07c46-7915-4d51-bd9b-f177e659e8c0 |  | checkpoint | Area floor level acceptable
checkpoint-status | ee83cc92-ed85-4288-b06c-81e2e4fc0895 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 3d37fcb7-37d3-4c03-82b2-e506715ead2d |  | checkpoint | Self leveling coverage completed
holdpoint | b304c79e-a16e-4cdb-b7c1-88cf93fd4354 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 9546fbc9-fdfc-4037-bc09-e0005febe364 |  | section | Apartment B108
checkpoint-status | aae08f26-6bce-4ac5-b21f-eed733201487 |  | checkpoint | Area floor level acceptable
checkpoint-status | abd42966-bf84-4616-93e4-db1ad6437723 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 3b65df59-3e9d-499a-aaee-cfbe099d6759 |  | checkpoint | Self leveling coverage completed
holdpoint | f3514c7d-5cb2-43a3-8172-c10738891cc4 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | acc581c4-06b4-4d07-be4e-6a2793ab78f3 |  | section | Apartment B109
checkpoint-status | c1e49c13-b9a0-401e-a640-744162f856c0 |  | checkpoint | Area floor level acceptable
checkpoint-status | a6b2515e-9d1f-4313-bbf9-73e1a99b44af |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | c319ef74-2483-43db-8eb8-83644de43fb7 |  | checkpoint | Self leveling coverage completed
holdpoint | 1762fd9b-a045-4957-95f1-f4635df5143e |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 946af087-8879-45a6-b3a3-3c2f209238b4 |  | section | Apartment B110
checkpoint-status | fca96b49-d391-4e37-bd01-299e7c1f8f81 |  | checkpoint | Area floor level acceptable
checkpoint-status | 0ba471fe-4d28-4d98-b6b7-de7d66f527b8 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 53e8451c-1bc9-4df4-8b78-7899fbb147ab |  | checkpoint | Self leveling coverage completed
holdpoint | dab48eb7-7f10-49e0-9ecb-c2c37a21c65f |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 23fd3c4a-6f92-42dc-9472-2113948e8705 |  | section | Apartment B111
checkpoint-status | 94199f13-f576-469c-bded-a26aff94a420 |  | checkpoint | Area floor level acceptable
checkpoint-status | 66e95100-148c-4e4a-9c33-da9e494964fd |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 1a57a7c3-83a7-411f-b472-edc02b032739 |  | checkpoint | Self leveling coverage completed
holdpoint | 3bece13e-d8ce-440c-b86e-a4c2f17ce6aa |  | signoff | Raise Remedial/ Main Contractor Signoff
checklist-flat | b0551677-143d-4fc2-be4c-e12714a67e30 |  | checklist | POST - S - Underfloor heating |  |  |  |  | Yes | ZSYS - POST - S - Underfloor heating (archived) | 52383d41-d51e-43dc-b1d3-c4aae7e35f0c
checkpoint-status | 8aafa655-6be9-4611-abb1-26098a2f6731 |  | checkpoint | Wiring on the floor completed correctly
checkpoint-status | c87abe53-a136-4ce7-8faa-4cf2461636a2 |  | checkpoint | Self levelling coverage completed and acceptable
checkpoint-status | 7f871540-7855-4950-9965-cd0635837140 |  | checkpoint | Underfloor heating completed - specified level of finish achieved
checkpoint-status | 5959a015-499b-4b3a-b11c-3b19d9a1a125 |  | checkpoint | Inspections completed and issued to Foreman
holdpoint | 8bf85ba0-84bb-4e3d-ba83-5d4cb855578b |  | signoff | CLICK AND SEND EMAIL TO FOREMAN TO SIGN FOR RECEIPT OF THE INSPECTION RESULTS
checklist-sectioned | 9a856fad-5cc3-4c1a-b5bf-6e58271df747 |  | checklist | [5 empty] | Yes | Level 2 Service Areas | 73e6ed0b-45ea-4b7a-ac72-70a1dec25457
checkpoint-group | 8b9f0fe7-522b-45e9-a32b-f292b42bff6a |  | section | Services A3-33
checkpoint-status | 69a97ef8-04b8-44ae-954c-dad51297e661 |  | checkpoint | Area floor level acceptable
checkpoint-status | 4d2bdccc-2d26-4679-b045-579203953189 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 4cd99b76-924f-4e6b-8003-e8334cd8292d |  | checkpoint | Self leveling coverage completed
holdpoint | 0e13e6d2-545a-49da-97fe-deb863c8914a |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | f2432538-c7bb-4d82-8e66-9c27b7e779cd |  | section | Services A3-34
checkpoint-status | 364de063-d86f-4f21-9a67-8d3f709e7037 |  | checkpoint | Area floor level acceptable
checkpoint-status | f58007c1-539a-41ec-9793-8bfae674bca1 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | afa2a904-c49f-4c4b-9b4b-80ecbbe1bc8d |  | checkpoint | Self leveling coverage completed
holdpoint | fb08382f-9f71-426b-a269-5636dcfbc58a |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | b991c629-d7ee-4483-9911-6385c13b9bd4 |  | section | Services A3-35
checkpoint-status | cdab339a-2a2f-46f7-828b-c806917a235f |  | checkpoint | Area floor level acceptable
checkpoint-status | 991a33ab-ae98-4e21-9d54-822170f24cdd |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 4e0e87f6-5a69-48ec-a647-1c437cf4ab60 |  | checkpoint | Self leveling coverage completed
holdpoint | ec9a4140-d401-472d-9a0c-33ed337320a2 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | e92e79d2-0121-4694-a9c9-99cacceb7d3c |  | section | Electrical A3-38
checkpoint-status | e62f5650-fc69-4131-82da-93f140a686d8 |  | checkpoint | Area floor level acceptable
checkpoint-status | f20dbca3-8b15-45ac-82af-3342aeef7a96 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 01737b2a-a349-4deb-a556-0f19c20255ee |  | checkpoint | Self leveling coverage completed
holdpoint | 8803e150-4014-4dd1-953f-8eb7b94884ae |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | c86e93a5-eda1-49f8-b2cd-8d31064dcd3c |  | section | Electrical A3-90
checkpoint-status | 193ea9d0-4b3c-4f22-bb35-927b2c2a747c |  | checkpoint | Area floor level acceptable
checkpoint-status | 782c5651-f020-4659-b759-de4dfa2ac1b9 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 1e8b73ac-b165-49ed-823d-0abc40b38527 |  | checkpoint | Self leveling coverage completed
holdpoint | be102d9d-ebfc-47fe-9a6c-6dc49b575a95 |  | signoff | Raise Remedial/ Main Contractor Signoff
checklist-sectioned | f13f6fe3-4e59-4458-af94-183b3e9f7123 |  | checklist | [5 empty] | Yes | Level 4 Corridors & Lobbies | 809961a7-8345-495d-8acb-f1234e29be4d
checkpoint-group | b5c04e3c-6626-45f4-abb0-15221701d238 |  | section | Stairwell SW01 (A3-76)
checkpoint-status | 502e8616-c45a-431d-bd56-8b94362615aa |  | checkpoint | Area floor level acceptable
checkpoint-status | 657f1dee-4a90-4852-9d33-2ce67325fc80 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 79b64f07-64f1-4b12-aa78-909fbcfa4649 |  | checkpoint | Self leveling coverage completed
holdpoint | 86f70f49-3bd5-4dda-a4d7-246ba5c34faa |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | def1f801-c5ef-4b6a-bac6-ba9bf76e58da |  | section | Stairwell SW02 (A3-71) (Gridlines Q-O)
checkpoint-status | 189c7eb2-a91e-442d-a702-c48cefb18257 |  | checkpoint | Area floor level acceptable
checkpoint-status | b72ca8d0-80ac-4e19-b43a-7c94fa131223 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | a0899764-8801-44be-8fb8-4bdbf1ed571b |  | checkpoint | Self leveling coverage completed
holdpoint | fa327f44-3216-4594-b873-b658922e45fb |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | d5d2e720-a904-4e34-a21c-f0d0277cba78 |  | section | Stairwell SW03 (A3-75)
checkpoint-status | 005929e1-3e22-4740-a4bc-92a59dd060a5 |  | checkpoint | Area floor level acceptable
checkpoint-status | 6e2ecd62-d5aa-4dc3-8a41-808e62fb09f4 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 0dac4f8c-2b16-422d-89ea-a49894eb8d7a |  | checkpoint | Self leveling coverage completed
holdpoint | 84dd2a59-03f8-444c-a7b1-0b7cae84b3a2 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | e3efdf4c-f38a-4c3a-8560-90ac321e45f3 |  | section | Lobby S0-02
checkpoint-status | 38043821-71ff-4484-a452-62c268a2b3a1 |  | checkpoint | Area floor level acceptable
checkpoint-status | 94889034-01ef-49d4-985f-250aab0099ea |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | e31a20c4-0c69-4863-af4c-db918dff02c3 |  | checkpoint | Self leveling coverage completed
holdpoint | 85638d95-7498-4866-a03f-8e30b48f543d |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | cd5cf99e-221d-4183-8692-0f0e2579f337 |  | section | Corridor - Area A, Part 1
checkpoint-status | bd58681b-7e11-4190-bff6-97c33a4cadd8 |  | checkpoint | Area floor level acceptable
checkpoint-status | 38f45b52-c053-497f-bf01-2c6413ae6884 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 7529cea3-2dc7-4dd3-af30-1ee63e75f4fc |  | checkpoint | Self leveling coverage completed
holdpoint | acb8fe38-5ede-444e-b101-780ae8632264 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 6252c16f-0976-40a5-9e5b-633a0b9245f7 |  | section | Corridor - Area A, Part 2
checkpoint-status | 0e2eb3d8-d793-4736-b4d8-d6552926347e |  | checkpoint | Area floor level acceptable
checkpoint-status | 26159448-e16a-43cb-8e2b-7feae3aedad3 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 99849fcd-1b2b-4868-bb10-ae886021e800 |  | checkpoint | Self leveling coverage completed
holdpoint | 65f82b24-7672-4692-a411-9cf406df6af4 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | a1756f5c-2d97-4db9-9087-e027fac992ff |  | section | Corridor - Area B
checkpoint-status | e2eff994-e029-4f91-984b-88734b3885f7 |  | checkpoint | Area floor level acceptable
checkpoint-status | df20b792-c8ff-4d7e-a04e-9a85fb0964bb |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | da9e7037-dccd-4dbe-9111-63a7070453ab |  | checkpoint | Self leveling coverage completed
holdpoint | 8adef91d-bc1b-437b-9fe8-5308fef098c5 |  | signoff | Raise Remedial/ Main Contractor Signoff
checklist-sectioned | 4d0074b5-08e7-40ea-a7d0-86fdb3c0dd6c |  | checklist | Underfloor Heating |  |  |  |  | Yes | Underfloor Heating | af421681-0d57-4fdb-9dea-e5cb736e78f4
checkpoint-group | 8e33372d-58ee-4b86-8fbc-b10408dbd740 |  | section | Subfloor, Heating Elements installed
checkpoint-status | 627108c0-de5a-4631-87ed-69f3a0f74a4a |  | checkpoint | Area floor level acceptable + Laying of Heating elements (Photos)
checkpoint-status | 03f03d88-0aac-447c-99d8-ec80b689964e |  | checkpoint | Screed coverage completed and acceptable (Photos)
checkpoint-status | 8e48d196-3d76-48ff-962a-6eebb57187b7 |  | checkpoint | Watchdog installed and tested (Photos )
checklist-sectioned | 6dd3d0b3-285f-4c15-862f-0d9c00c10c47 |  | checklist | [5 empty] | Yes | Level 4 Residential Areas | b383bc06-721e-47df-86bf-6ae5915bed37
checkpoint-group | 1f8f060a-7f11-4e45-bb92-3ea437083e48 |  | section | Apartment D88
checkpoint-status | c640c892-f635-44b9-991f-86dc09ebb8e0 |  | checkpoint | Area floor level acceptable
checkpoint-status | 400875f6-d245-49ac-9c66-a09155ace752 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 8db537f3-d6ee-4745-be0d-3ad70683ff18 |  | checkpoint | Self leveling coverage completed
holdpoint | ba0b21d8-3c6d-46a0-9a4b-d7e31ac91091 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | e974ca66-644c-426f-9d78-003e32456b2d |  | section | Apartment D89
checkpoint-status | d9517d43-ef63-4619-bc89-7a44413b619e |  | checkpoint | Area floor level acceptable
checkpoint-status | abc62c81-54c7-4033-874a-f15a79c67b3d |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | f2126123-1411-49a8-8cd8-d923ffcdf9b0 |  | checkpoint | Self leveling coverage completed
holdpoint | 06b05e78-849a-43e9-bc92-d5e440102665 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | befa5108-4be7-4257-b091-48edee258a44 |  | section | Apartment D90
checkpoint-status | 8490e996-c3df-4c09-ad61-9eae2aa7fc08 |  | checkpoint | Area floor level acceptable
checkpoint-status | 613e470b-fd65-4cb7-a8a7-a79a281f5f15 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 7d702557-9402-46fe-b519-33e06009f0b7 |  | checkpoint | Self leveling coverage completed
holdpoint | b31e1ed2-8da3-4cb9-81bd-2f1a6363dd6f |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 598ee70b-fb1f-425d-a5a1-89721c4e9ed8 |  | section | Apartment D91
checkpoint-status | 7ba1b394-6eb7-4473-ae77-38d76f599e11 |  | checkpoint | Area floor level acceptable
checkpoint-status | a2f00b55-3164-4a27-8f2f-5bf68cace33f |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | c538d2d1-ff1a-40e3-8423-793352a63da8 |  | checkpoint | Self leveling coverage completed
holdpoint | 48f94b26-0362-4c87-863b-8109e73611f8 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | c08b0774-424f-492f-a6e8-0d9cf214f204 |  | section | Apartment D92
checkpoint-status | 1079d2a4-443d-4d84-bafe-adef405344d1 |  | checkpoint | Area floor level acceptable
checkpoint-status | 7d6facbd-04b2-4281-809f-8ad09614cab8 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | febde7db-e9bd-437e-ad44-549a1234f133 |  | checkpoint | Self leveling coverage completed
holdpoint | d0780669-4dcd-445d-a5e3-b8c6ccc11509 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 286e802f-1ccf-4547-a4a4-31d47d596304 |  | section | Apartment D93
checkpoint-status | 998c0231-54ca-4cce-9ac8-b5094378d0d3 |  | checkpoint | Area floor level acceptable
checkpoint-status | 9cbf0e60-6e1a-4969-8fd0-3c84c738680c |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 841a950e-5c79-4c58-9fc3-f941d66b057d |  | checkpoint | Self leveling coverage completed
holdpoint | af695c89-a581-46fa-82e6-c8270d107a4d |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | fed74739-ae43-43a7-a0d7-bd2d41c23947 |  | section | Apartment D94
checkpoint-status | d667a261-1b1f-4ffd-b30c-e81a1c04843b |  | checkpoint | Area floor level acceptable
checkpoint-status | 19186535-695d-4200-9ef3-6d3ac6969ad4 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | cd1af0b3-c312-4d04-8c33-eda50d20b82c |  | checkpoint | Self leveling coverage completed
holdpoint | 562e3071-c792-4950-b0fd-5809982f69c6 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | a2349654-e3ab-4919-9eec-ce44e899db72 |  | section | Apartment D95
checkpoint-status | c6f6fe57-ff71-4d6b-bb13-979668685351 |  | checkpoint | Area floor level acceptable
checkpoint-status | 13e7a137-7566-49ec-8c98-7aa5d8f3ef5b |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 53318780-1f0e-40d0-a438-69ccec6a4106 |  | checkpoint | Self leveling coverage completed
holdpoint | a901fef3-be64-4014-8467-b319ac57e255 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 52349508-b2fc-4765-af4c-e97066486368 |  | section | Apartment D96
checkpoint-status | 821a9af8-f5af-49c2-8d8f-46591ad98765 |  | checkpoint | Area floor level acceptable
checkpoint-status | 9d50f9ea-f4d8-4361-bccc-c04f5201aaf5 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | c3fbd929-f515-42ef-940b-6fbaa8b696ca |  | checkpoint | Self leveling coverage completed
holdpoint | f91a6d22-01f3-496a-9d6f-067fe4ea4ee5 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 9051c7aa-e29c-41f0-8dc1-7a701bc5e767 |  | section | Apartment D97
checkpoint-status | 16513804-4956-4ff0-8892-db97ef11ad1b |  | checkpoint | Area floor level acceptable
checkpoint-status | e817133f-ccf7-4cb4-a9f9-0ee7e040a8a7 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 28fa094e-3b0d-484d-a92e-6559c60a1314 |  | checkpoint | Self leveling coverage completed
holdpoint | a50734d4-81c6-423c-aa95-b7d8ef36f174 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 62f50875-b381-47b4-b88d-2c1e6c078602 |  | section | Apartment D98
checkpoint-status | 0ff30ce5-de1f-4534-b604-9eda95263787 |  | checkpoint | Area floor level acceptable
checkpoint-status | a4096908-23a8-4556-bb57-f59455f3f3dc |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 4896697b-5a02-4349-99a5-2e37503b48ab |  | checkpoint | Self leveling coverage completed
holdpoint | c0545f4e-b8b6-4022-b530-d92a38cb633f |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | cc8db8b9-9638-411a-9591-1d742e2d16da |  | section | Apartment D99
checkpoint-status | ab14cf37-eed2-4735-9cdb-f072cc09bec6 |  | checkpoint | Area floor level acceptable
checkpoint-status | 706d85a5-0e6e-46d3-a292-d576fb518da7 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 0f245ab5-13d2-4c3f-bfe4-c67be6c1e488 |  | checkpoint | Self leveling coverage completed
holdpoint | 57353cd8-0bf0-4e3e-b1c5-babb3d0d405a |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | ffb1af2e-f5dc-4c4c-a384-57bc396c3a11 |  | section | Apartment D100
checkpoint-status | b25c3a9d-677c-41f9-9fed-0726fbfb2d35 |  | checkpoint | Area floor level acceptable
checkpoint-status | 0e9b6a36-fcd9-4c46-ba52-7f42496c6677 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | e7589edc-9c1d-4fa6-a8e6-903d70f4c25d |  | checkpoint | Self leveling coverage completed
holdpoint | 7d7a9bf6-f186-416f-9f4a-00d4687ff16e |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | e818c507-3b0a-45c6-b0c7-be7150d9eeef |  | section | Apartment D101
checkpoint-status | 2de9932c-3899-472a-98de-0a7269c04f96 |  | checkpoint | Area floor level acceptable
checkpoint-status | 529d89ed-336e-4d0d-9dcd-ba3b0d13e5ba |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | e52bd693-b4b8-4d72-8f70-c5ee10596330 |  | checkpoint | Self leveling coverage completed
holdpoint | c84b913e-4fc3-498c-9e8d-01cc431d6cc6 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 7fb92987-0206-4d29-a73e-1e3878a9b237 |  | section | Apartment D102
checkpoint-status | f268971b-6c77-4b6f-beff-b53104f6b051 |  | checkpoint | Area floor level acceptable
checkpoint-status | f368fefb-f75e-449f-8db9-8350d11156eb |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 93002b48-be6c-4c3c-9350-8e7c7b7189f2 |  | checkpoint | Self leveling coverage completed
holdpoint | 21b51cd3-9ed8-4a22-87ba-25554fa9b3c7 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 1e681151-bd53-4a91-8beb-782570ccbbcd |  | section | Apartment D103
checkpoint-status | 4b166018-0656-4adc-9f9c-1f1707ab1e55 |  | checkpoint | Area floor level acceptable
checkpoint-status | f450c27b-c5e0-4f30-9090-4009a0360390 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 694bdee3-df9b-42b6-a3ae-0c0b2c9f6365 |  | checkpoint | Self leveling coverage completed
holdpoint | e5019424-2be0-45bb-911b-1c0752b0ab4f |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | d892c9d4-3e4e-4812-9718-fb8a3f873a72 |  | section | Apartment D104
checkpoint-status | 90693c14-b05e-4f39-8594-125324655dbc |  | checkpoint | Area floor level acceptable
checkpoint-status | e2b2bb73-c57c-41d4-a16a-1316274bca03 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | c2feab34-5f0a-47e8-9213-8cd67fce19da |  | checkpoint | Self leveling coverage completed
holdpoint | 71458044-f7b8-4467-9da0-884f6ca65263 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 5cf4ba9e-ebaf-4929-a8e5-8ac189d91da4 |  | section | Apartment D105
checkpoint-status | e89f665c-8ee6-459b-b7fd-0edd28a928ca |  | checkpoint | Area floor level acceptable
checkpoint-status | fe63fe32-e411-4ebf-b309-fb334d6e3710 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 0c53e17f-2c3a-46e7-8069-b2901103389d |  | checkpoint | Self leveling coverage completed
holdpoint | 2f48da0e-5866-4347-ada4-4f7fdc89c82e |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 605a2a59-eb8d-4637-ad41-35a87cce4931 |  | section | Apartment D106
checkpoint-status | 484a464c-f89d-4324-8774-1a0af3c47ff9 |  | checkpoint | Area floor level acceptable
checkpoint-status | 64e7450f-ef54-4a9e-b558-f7b237987759 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 43004776-5dd3-4b5c-9f11-64ce102202c9 |  | checkpoint | Self leveling coverage completed
holdpoint | 911fc677-3017-4d4a-b719-b0627d4cb8e2 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 7cf893ed-c49f-4707-9a73-99092dce5adb |  | section | Apartment D107
checkpoint-status | 0d80d568-aed7-4b32-8307-b23ec3f5a596 |  | checkpoint | Area floor level acceptable
checkpoint-status | 4df10796-e114-4751-b8bc-c5e9a267acdc |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | c918cf90-0a9a-40fe-b1b7-54ea9494edf6 |  | checkpoint | Self leveling coverage completed
holdpoint | 3bf10347-d7cc-4edc-8332-9cf1d7f95044 |  | signoff | Raise Remedial/ Main Contractor Signoff
checklist-sectioned | f43e41d1-9864-4a2b-a05b-6559aa64c89f |  | checklist | Thermostat |  |  |  |  | Yes | Add Thermostat Checklist | b63b284f-5cc0-4ffd-b184-1303cfdcc155
checkpoint-group | a5abcfba-7435-40d8-bc95-d0682471f78b |  | section | New Thermostat controller installed as per specification
checkpoint-status | d13b7ddb-9198-43d9-9503-97e57a7df114 |  | checkpoint | Heating elements megger tested
checkpoint-status | d84ddca5-cd07-4f78-8bb8-55c8242babaa |  | checkpoint | Connect new thermostat and install into flush box (Photo)
checklist-sectioned | 5c88087b-10d7-4bc7-9905-f2ba7f4661b2 |  | checklist | [5 empty] | Yes | Level 3 Corridors & Lobbies | de573b29-3e5d-4baa-af68-784bf4a7ff82
checkpoint-group | 1a0bca7b-55c9-4746-8a9b-de155585d5b8 |  | section | Stairwell SW01 (A3-81)
checkpoint-status | c4d3e210-5821-403a-8baf-5a0432cf0fd4 |  | checkpoint | Area floor level acceptable
checkpoint-status | 1a851f98-b1d1-4ea8-9b63-2aeca05e1fec |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | a5f77701-aa62-48cc-9cce-1761f9856609 |  | checkpoint | Self leveling coverage completed
holdpoint | 44f06b33-f175-4def-9111-5fcaba7f1602 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 1a31a8bf-6c38-454e-8e9d-296bcbf88dcf |  | section | Stairwell SW02 (A3-71) (Gridlines Q-O)
checkpoint-status | 0ae95a2a-f155-441a-b721-d40e4b2cf90f |  | checkpoint | Area floor level acceptable
checkpoint-status | da510c87-7dd8-4207-aed7-d48a3f8f3d30 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 6d3379c4-4156-4071-be7c-8a4cf9bb038a |  | checkpoint | Self leveling coverage completed
holdpoint | fc153450-0b19-4e7b-a8f2-15c9912a9750 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 7d1cf48d-e481-4c3b-8ef0-72139c4fd6f0 |  | section | Stairwell SW03 (A3-85)
checkpoint-status | 3edd2c73-659e-49e0-b1ba-cd173158e6ea |  | checkpoint | Area floor level acceptable
checkpoint-status | 7164ccc7-2b61-4fa1-bb30-7908ac78e92b |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | b89cb29f-3263-49d4-abef-cd53d26b22e2 |  | checkpoint | Self leveling coverage completed
holdpoint | 6603cc02-98e1-47b9-9d94-529a6f3ade03 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | b2e71c47-283e-4310-b483-cb89a6938aba |  | section | Lobby S0-02
checkpoint-status | b6983149-f85c-43c7-bd21-60ca3f68d456 |  | checkpoint | Area floor level acceptable
checkpoint-status | 87f1fe93-d983-4af6-be6d-f3711b828316 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 571193ab-163d-435b-bed0-af00d9c26c1b |  | checkpoint | Self leveling coverage completed
holdpoint | 7b194376-88a2-482c-b516-8d6d69f3db6f |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 9c094ecd-f8ba-4443-a3ec-e33118c99393 |  | section | Corridor - Area A, Part 1
checkpoint-status | bb2b9833-d96d-41b1-b515-d6f83aa94846 |  | checkpoint | Area floor level acceptable
checkpoint-status | 5b34596a-592a-4d23-8644-ba83f36cb6f2 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | c417f048-c57f-4a2c-9e61-b6bee83736b6 |  | checkpoint | Self leveling coverage completed
holdpoint | bb8a7197-f9dd-4bb1-a4ce-9806c121639b |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | d35ad60f-c085-424a-9014-4379e84d08e6 |  | section | Corridor - Area A, Part 2
checkpoint-status | 64a90f5a-7469-4e45-930d-d56906e67c32 |  | checkpoint | Area floor level acceptable
checkpoint-status | af527b1d-d572-4d09-92e3-5d7ff4846e2f |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | d4f7d354-5b14-45ec-ae61-0460d5c8194f |  | checkpoint | Self leveling coverage completed
holdpoint | 233fdbb8-ff14-430c-82d4-22d9853f8cc8 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | eb6829dd-4216-451b-9a27-d205fdde6311 |  | section | Corridor - Area B
checkpoint-status | 261e1695-a6a9-48e9-8f94-477d354817bc |  | checkpoint | Area floor level acceptable
checkpoint-status | 766630f8-0d7d-41f5-a3f5-4e4a28e36875 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 1557f155-d0fd-4288-af47-b21cc6b232be |  | checkpoint | Self leveling coverage completed
holdpoint | a8519b15-0e64-493d-a8a1-c194d6c251c5 |  | signoff | Raise Remedial/ Main Contractor Signoff
checklist-sectioned | e6bec741-24c8-4268-a584-b0ce76299607 |  | checklist | [5 empty] | Yes | Level 3 Residential Areas | e0670695-ce22-43cc-b61f-adc512a1fdba
checkpoint-group | 216726f5-b7ef-4b2d-b20f-0126c924c556 |  | section | Apartment C88
checkpoint-status | 729067cf-b813-4f05-b99f-527ca021462a |  | checkpoint | Area floor level acceptable
checkpoint-status | e09db1b3-6ef8-46f0-9cac-1ea9398426b9 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 01464392-94e5-454a-94dc-4684c60b977d |  | checkpoint | Self leveling coverage completed
holdpoint | 2fb4c027-b49c-4dba-9236-5288bd9a6fb5 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 631fb1a4-9276-4a37-87ad-ea3e09526ac1 |  | section | Apartment C89
checkpoint-status | ce5ea73f-495e-43d9-b792-cb0b701d993c |  | checkpoint | Area floor level acceptable
checkpoint-status | 214b0084-d9dc-499f-a30c-707dc6ab715e |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 4649c673-da8f-4d1a-93bf-f579a7dbf61a |  | checkpoint | Self leveling coverage completed
holdpoint | af1409dc-2264-437e-be22-7d4ae1473fc2 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | cf9b08af-417a-4b43-95f4-07860a0501b9 |  | section | Apartment C90
checkpoint-status | ffb44b8e-c485-4579-ad5a-d642198db71b |  | checkpoint | Area floor level acceptable
checkpoint-status | 2be9a3eb-992b-45b4-9779-ce9e2fc15fa6 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 57dff3fe-c63c-473b-924e-9152b416bd38 |  | checkpoint | Self leveling coverage completed
holdpoint | 5ecf80b6-09ec-41b1-9fdc-70604dcc8040 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 8c39b666-0177-4492-a11d-fe046b92b1ff |  | section | Apartment C91
checkpoint-status | 68893a2e-b2a0-4561-8f76-dd8f7c8289ef |  | checkpoint | Area floor level acceptable
checkpoint-status | 9e55091e-309f-4bb3-95d3-f48ec8d0d627 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 749b688d-fa43-459f-a295-edc8e1dcae47 |  | checkpoint | Self leveling coverage completed
holdpoint | 4bca4ab7-3441-49fb-a87f-f59c2d13eb32 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 5c009887-1aca-45c6-af0e-f72ab941fb42 |  | section | Apartment C92
checkpoint-status | 9c823418-7aae-4fe6-8b5b-8a3dd4444708 |  | checkpoint | Area floor level acceptable
checkpoint-status | 14af4fa0-a848-4911-a0f0-3c007aba502e |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | e5069472-6fcb-447e-b33e-e89a61b29fd3 |  | checkpoint | Self leveling coverage completed
holdpoint | ba2b3b40-3729-47ea-9983-5444486574a6 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 77479dd8-6834-4f57-b429-6bb78c04906d |  | section | Apartment C93
checkpoint-status | 73bdf0f6-6eba-4973-b866-b45ee14dfe22 |  | checkpoint | Area floor level acceptable
checkpoint-status | a3a8470a-9e71-4af3-a015-6034aacf95a9 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 89a925e7-eb53-4823-a121-f5f46535839b |  | checkpoint | Self leveling coverage completed
holdpoint | 9be8ff21-fc98-4b8c-ab00-76369e3dc9e7 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 5d78f432-ae02-4c4c-ab0e-a34acacfd9af |  | section | Apartment C94
checkpoint-status | 4b854ed1-f573-464e-9ea8-df83760c16f8 |  | checkpoint | Area floor level acceptable
checkpoint-status | f1ce4c86-c724-4336-84e4-3901af1a055b |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 5cc9e24a-da25-429e-8180-b98a310bffc8 |  | checkpoint | Self leveling coverage completed
holdpoint | 68293fcb-e7b2-4438-b340-a534b278c250 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 37f4218a-c29f-4a2e-b078-64f9148e76a9 |  | section | Apartment C95
checkpoint-status | bded5d1b-89df-405f-a148-aaf55a21f70a |  | checkpoint | Area floor level acceptable
checkpoint-status | a8366ca7-cd78-463d-9541-735107d9264b |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | a92173af-35ef-472e-bbb1-21133b849342 |  | checkpoint | Self leveling coverage completed
holdpoint | 368e0876-b663-4421-bbfa-b0de0cacf66d |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 236baee0-2c92-4afe-84b5-5567b27417cd |  | section | Apartment C96
checkpoint-status | ee588c1d-24a9-4f6d-814a-d555f7a2fb01 |  | checkpoint | Area floor level acceptable
checkpoint-status | 3a36d024-05a0-4d61-9b06-c593f4126e0d |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 09e67b89-9077-4d64-9258-17ce3dad64bd |  | checkpoint | Self leveling coverage completed
holdpoint | 826a07aa-8caf-45f9-b83d-fab212fc85c0 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | a28efabd-e7d7-4414-b180-2f0450fec810 |  | section | Apartment C97
checkpoint-status | 662223c3-39dc-4021-93d7-6c9629d745aa |  | checkpoint | Area floor level acceptable
checkpoint-status | 13a030f2-5f44-45d6-a646-18eb1a886b18 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 7f820f19-bc27-487c-8f95-df0f2d195daf |  | checkpoint | Self leveling coverage completed
holdpoint | 00d000ac-26b5-428b-b521-07557248a2e0 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 4cbae6e8-0963-4539-8f1a-b21368a6c5e2 |  | section | Apartment C98
checkpoint-status | d1db0d6c-fe5b-40c1-913e-1fb9dd69574f |  | checkpoint | Area floor level acceptable
checkpoint-status | 93d5907b-872a-40a1-99ca-a54ce562d56f |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 3e46a586-e898-4ca4-a94d-2a3f8bc6b091 |  | checkpoint | Self leveling coverage completed
holdpoint | 3421df6f-2f71-4c17-b05b-2be51386bfe8 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 7aa0b79a-acb3-4d92-9e12-5efedc5f8086 |  | section | Apartment C99
checkpoint-status | 5b9b8061-7d27-4986-b857-cb003d638194 |  | checkpoint | Area floor level acceptable
checkpoint-status | 98e43c77-ac35-485e-b15a-703f51b798d2 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 25d8ba60-c258-4952-be41-f99b62d0c768 |  | checkpoint | Self leveling coverage completed
holdpoint | 3ab3618d-2420-4e90-9ed6-1ecbdf2df775 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 2ea4fcf0-e12d-4bec-a54a-11985318be20 |  | section | Apartment C101
checkpoint-status | 5165f8d6-cf18-4ffd-bcdd-3ef2834e27df |  | checkpoint | Area floor level acceptable
checkpoint-status | ec2e4379-a5d4-4bc3-b31e-30f4095feaba |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | bb7e94bb-9389-4dd7-9931-3e07a98a8b79 |  | checkpoint | Self leveling coverage completed
holdpoint | a27473fb-d605-4144-88a2-6eed03740700 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 5ff23dbb-1670-49a6-bcf1-3ef9880636e2 |  | section | Apartment C102
checkpoint-status | 2ea5e44c-d35b-465f-83b1-22a743a3b498 |  | checkpoint | Area floor level acceptable
checkpoint-status | e590bd04-eccf-4173-8d55-db8364e74081 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | c31100c8-3f47-45e1-b01a-63ab9e1b3da1 |  | checkpoint | Self leveling coverage completed
holdpoint | 810757eb-bafc-4bff-83b5-a395bea8a494 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | ff8d18d6-c048-4309-a7d6-1967112ed07a |  | section | Apartment C103
checkpoint-status | 86ad291f-efb0-42cf-809b-9e0cd375be19 |  | checkpoint | Area floor level acceptable
checkpoint-status | fbea78a5-8f34-432d-892c-68866e78cdb6 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | eacc9513-7066-4f8d-bb1c-502b6d877af8 |  | checkpoint | Self leveling coverage completed
holdpoint | e4aa4fe0-add4-4309-a763-1c953e4848ab |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | e051d73a-c2e7-4f16-92f5-6a56e6092047 |  | section | Apartment C104
checkpoint-status | 5f91be73-7f37-47df-b00e-b4eefc3cb0a3 |  | checkpoint | Area floor level acceptable
checkpoint-status | 008f4a7c-70ac-4a9a-8316-2fd63a9de255 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 97286d25-f96b-4515-8ae6-600e1b38c0a2 |  | checkpoint | Self leveling coverage completed
holdpoint | 60676aa1-50a0-4b55-b757-90cd7e13f49c |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | c60ca3cf-be34-4b5b-bdee-d74b9de6b68d |  | section | Apartment C105
checkpoint-status | 2f03f6b1-6261-4e36-93e1-ed39c15413ff |  | checkpoint | Area floor level acceptable
checkpoint-status | ac9d95ef-a87c-42f4-849f-1366bcd6ea0e |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | a5eaa747-2027-4279-b5cc-2535ce0306f6 |  | checkpoint | Self leveling coverage completed
holdpoint | 158b8026-4f65-4186-979e-e408d442f689 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 45f3d3d0-bc1b-4e71-ac30-6c97ffcc1483 |  | section | Apartment C106
checkpoint-status | 468f4f13-f4ee-4dde-8500-f9520cae518d |  | checkpoint | Area floor level acceptable
checkpoint-status | 311b38fe-d1e2-4feb-a84d-481b1557237e |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 1e51fcd2-f6b7-4805-9050-6520fe915bcb |  | checkpoint | Self leveling coverage completed
holdpoint | 5b7683ab-6c5f-478c-8b3a-db23c2a23efe |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 9d2781f6-7be1-4c2a-9ad7-c041d807eb8a |  | section | Apartment C107
checkpoint-status | 7e193cb8-42fb-4ac0-88ff-5e4999f66a04 |  | checkpoint | Area floor level acceptable
checkpoint-status | 115779c4-925f-4f3e-94f1-c00128cce675 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 6f040bd7-a3de-4a4e-8893-c07c3546ba17 |  | checkpoint | Self leveling coverage completed
holdpoint | 8c815a1f-b24c-4002-a8fd-7bbf3a6c1070 |  | signoff | Raise Remedial/ Main Contractor Signoff
checklist-sectioned | 77836166-3640-4a85-bbab-1f2a8586ed17 |  | checklist | [5 empty] | Yes | Level 4 Service Areas | f88c53e0-a5d1-4747-a343-1b0782197975
checkpoint-group | 9d9bb385-fce8-45b4-830b-fb5140d732ad |  | section | Services A3-41
checkpoint-status | 046953a9-8c02-4f37-81f3-db501c260d9c |  | checkpoint | Area floor level acceptable
checkpoint-status | 03e1eda4-e591-4a3d-aa32-cfef4bedb508 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 69567fa7-ab65-4b51-9a83-91f39243280c |  | checkpoint | Self leveling coverage completed
holdpoint | d6c04aed-4b10-4ec3-9528-29bf45758eff |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 28a0678e-cb8a-425b-9d97-d8f23c83bad5 |  | section | Services A3-42
checkpoint-status | acb27fa7-c4d3-4874-84c5-049328116660 |  | checkpoint | Area floor level acceptable
checkpoint-status | 203f6fdd-db68-4aed-8276-f55fb7fbcff2 |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 42d16562-d56f-4e2f-9fba-0c8157295713 |  | checkpoint | Self leveling coverage completed
holdpoint | 4bda0d75-a804-4a9a-bf14-fe26b363d36a |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 6b3e8d77-afad-4697-978e-1bd0a67d22a5 |  | section | Services A3-43
checkpoint-status | 43e5c9c1-7671-45ee-9142-d27062f05937 |  | checkpoint | Area floor level acceptable
checkpoint-status | 49196614-59b8-45a9-883e-9587434f875e |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | 220f78c2-b855-4c41-b6e7-d64e301499cd |  | checkpoint | Self leveling coverage completed
holdpoint | dc212215-0a92-4f70-9e3d-70430da0e808 |  | signoff | Raise Remedial/ Main Contractor Signoff
checkpoint-group | 32444aef-d4c9-4502-8001-3057b8eda9a2 |  | section | Electrical A3-44
checkpoint-status | 2e45ae3c-5753-404d-8ec6-174e14520783 |  | checkpoint | Area floor level acceptable
checkpoint-status | 6fda223e-bc0e-43c8-bbcb-e5ee91eb5d1a |  | checkpoint | Wiring on the floor completed (photos attached)
checkpoint-status | f4421274-e896-4a25-b9b3-6abab6ae5351 |  | checkpoint | Self leveling coverage completed
holdpoint | 7135aa0d-3aa9-48ef-a638-4fe4b9627cab |  | signoff | Raise Remedial/ Main Contractor Signoff