## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat | 91728035-0633-4598-9b39-1a72b5e88d8e |  | checklist | Plinth Commissioning V2 |  |  |  |  | Yes | Plinth Commissioning V2 | 0d14305e-d016-425c-b5da-1f5644db0813
checkpoint-status | e9ec6e42-1fc6-46f9-b01e-ed9c8f32b0ac |  | checkpoint | Separate cables (add signature)
checkpoint-status | 9abbda48-4701-43e7-9b5b-357700887421 |  | checkpoint | Separate security cables (add signature)
checkpoint-status | fdf4bf8c-92e8-428b-9e8d-8e58220ef536 |  | checkpoint | Build patch panels (attach photo's)
checkpoint-status | c56d4bb6-23b7-4d19-b49e-443ef7c3acf2 |  | checkpoint | Build nurse call system (attach photo's)
checkpoint-status | 6ac49d99-a08d-427e-a60b-2f71d6ba5592 |  | checkpoint | Build MATV system (attach photo's)
checkpoint-status | c7c403f5-049d-47d2-ab1d-4aba0b34f741 |  | checkpoint | Build security panels (attach photo's)
checkpoint-status | bc94d61f-76c2-4b76-875a-116de37137ed |  | checkpoint | Program nurse call system (add signature)
checkpoint-status | 83d86cf8-5ba2-4e5a-8f84-176680cf2c2f |  | checkpoint | Commission nurse call system (attach photo's)
checkpoint-status | 8293b5ab-7788-425e-b02c-9dea369cd4e6 |  | checkpoint | Commission Security system (attach photo's)
checkpoint-status | e58c65a7-eda7-4f55-b724-1697e2ba39b1 |  | checkpoint | Commission Fire interface (attach photo's)
checkpoint-status | 74a12c2e-8394-4acb-b6cc-57cf57ad0ec1 |  | checkpoint | Battery Installed (attach photo's)
checkpoint-status | 63455bea-947a-40a6-8dff-ecd6a716a47f |  | checkpoint | PS3 (attach )
checkpoint-status | 94e5f3df-66af-43d9-9ba6-df76a7d616a0 |  | checkpoint | As-builts (attached)
checklist-sectioned | cc070b49-5451-4fe2-b208-c03955791ad1 |  | checklist | Common Area QA |  |  |  |  | Yes | Common Area QA | 33142fb4-d786-4475-87b9-a5c33cb37fba
checkpoint-group | b5958258-c518-43b0-bc5b-4b82d889abd9 |  | section | Pre Wire
checkpoint-status | 3c78995b-c4bf-4340-89aa-a8d453ae8c93 |  | checkpoint | Cabling Complete
checkpoint-status | a1e377b9-827e-491a-b548-abba7beb86aa |  | checkpoint | Flush Box Fire Box Installed (Photos Attached Of Fire Box)
checkpoint-status | 55888b1c-c54f-426e-b9b7-b9ff7d0130f3 |  | checkpoint | Attach Photos Of Fire Penetrations
checkpoint-group | 1d43a8df-b36e-445c-a89e-8a45386102ea |  | section | Terminated And Tested
checkpoint-status | 8c472f74-46d4-4567-a1b1-9b6c57e080f2 |  | checkpoint | LAN Test Complete
checkpoint-group | 2bc24044-bfc1-4754-a776-94002425a109 |  | section | Fit Off
checkpoint-status | 968ba780-cd11-460b-9fce-bc77a06d56fb |  | checkpoint | Nurse Call Fit Off
checkpoint-status | d3e7451f-a12b-407a-9292-4565d359d8d2 |  | checkpoint | Camera Fit Off
checkpoint-status | fd4d4b72-0f17-4117-b09c-d4dd4a1f83ce |  | checkpoint | Intercom Fit Off
checkpoint-status | f1526a93-3b14-4aa4-a553-d88b638a8aa3 |  | checkpoint | Ac-Mags Fit Off
checkpoint-status | b724d49d-4e56-4bd8-abe0-a0a1a2372b95 |  | checkpoint | Ac Fit Off
checklist-sectioned | 540c94dd-d9ee-4d11-a58b-5b69259c0949 |  | checklist | Stage 8 - Townhouse Checklist |  |  |  |  | Yes | Stage 8 - Townhouse Checklist | 7545bca4-22c9-4d45-9e54-e6acd3be12e5
checkpoint-group | 1a52611b-a9f4-4274-8ee7-563e01a2db96 |  | section | Pre Wire
checkpoint-status | a3d629c5-4a57-43c5-b763-2990930fc08b |  | checkpoint | Area is left clean and tidy and approval to start work is obtained
checkpoint-status | c49f34be-6d2d-4a3c-8984-34637a699270 |  | checkpoint | internal cabling complete
checkpoint-status | 8fa18333-f42a-41f5-92d7-d65555e507bc |  | checkpoint | main cabling complete, building entry point (photos attached)
checkpoint-status | aa589aa6-2bc3-4efa-b359-83be2b9ea04b |  | checkpoint | fire boxes installed (photos attached)
checkpoint-status | 606c1943-b834-46c8-943d-f6158215b261 |  | checkpoint | flush boxes installed
checkpoint-group | 84e9a856-16e4-44b9-b75d-ad84c1042691 |  | section | Termination and Testing
checkpoint-status | ce0d3f5a-0c88-4ef9-ba3b-08ae0a3ea844 |  | checkpoint | Install DB
checkpoint-status | 1caa9874-c8c3-4175-a141-b06bf63041d0 |  | checkpoint | Fit off DB (photo attached)
checkpoint-status | 957f018f-6118-42df-925b-ac111a4eb0de |  | checkpoint | LAN test internals (add signature)
checkpoint-group | 5cb0dcc7-a405-4ed1-823c-74f38481b718 |  | section | Fit Off
checkpoint-status | c887daac-826b-49c4-bb81-d695eadd9d5e |  | checkpoint | Area is left clean and tidy and approval to start work is obtained
checkpoint-status | b3acbe97-1042-4ecf-9d68-2b8f0f205b1b |  | checkpoint | TV/DATA fit off (photos attached)
checkpoint-status | 34a914aa-830d-42ed-baf8-629c7c481e6b |  | checkpoint | nurse call fit off (photos attached)
checkpoint-status | 496b69d6-2e1a-4592-9182-120ad8bc99b2 |  | checkpoint | Smoke Alarms and CO detectors (photos attached)
checkpoint-status | c4100430-d955-4a7e-a538-e347930694e0 |  | checkpoint | 6 core Fibre spliced (photos attached)
checklist-flat | 127bb2b3-cb4b-4b68-88df-244d7ff78608 |  | checklist | Plinth Commissioning |  |  |  |  | Yes | Stage 8 - Plinth Commissioning | 795baf01-f6d3-4455-ae8b-f27fa22fe6f6
checkpoint-status | ba1d93d6-272c-42b7-a188-f81e6fab310c |  | checkpoint | Nurse call Terminated (photos attached)
checkpoint-status | 7b7ff1cf-20b0-4515-9826-97a99d06c31f |  | checkpoint | MATV Terminated (photos attached)
checkpoint-status | 7abbca38-e806-469c-9bc7-77b74b11a8cc |  | checkpoint | Fibre spliced (photos attached)
checkpoint-status | 6ee532d8-2f2e-4da6-b283-a54b4703a691 |  | checkpoint | Power Supply installed (photos attached)
checkpoint-status | 004bdb09-1af3-4b5f-a122-cade41cb1481 |  | checkpoint | Krone module terminated (photos attached)
checklist-sectioned | 078a855e-6d77-4ef5-8624-e19b712117be |  | checklist | Townhouse units V2 |  |  |  |  | Yes | Townhouse units V2 | 7fd331fc-6856-4973-8c7c-876df3897050
checkpoint-group | e0da7cf1-dde4-474c-92a1-d4ca024bdb8f |  | section | Pre wire
checkpoint-status | 58b5b9cb-f461-4581-bf92-dc5fa79cb148 |  | checkpoint | Area is left clean and tidy and approval to start work is obtained
checkpoint-status | 950bdec3-cb6c-4b80-9883-51fa650afc8d |  | checkpoint | Internal cabling complete
checkpoint-status | e56b6194-0486-4ff7-a9c5-251be9b2bf4a |  | checkpoint | Main cabling complete (photos attached)
checkpoint-status | b8c3eb97-4a3d-4b3c-b8cd-267b7f895a0d |  | checkpoint | Fire boxes installed (photos attached)
checkpoint-status | 6cc07c2f-63e2-475f-ac4a-a9d8a3a70746 |  | checkpoint | Flush boxes installed
checkpoint-group | 7f361968-4ad0-4f08-94e4-b22049b9c764 |  | section | Termination and testing
checkpoint-status | 02bad7c8-258b-449d-858f-df7b5b5c75a8 |  | checkpoint | Install DB (photos attached)
checkpoint-status | 0e23f28d-cc6b-4b10-a4c0-dbbc80719f77 |  | checkpoint | Fit off DB (photo attached)
checkpoint-status | b196efa3-e316-433f-b84c-13bb75e63aa4 |  | checkpoint | LAN test internals (add signature)
checkpoint-group | 7df74b31-9351-4f30-8a8b-64bdc6a0c704 |  | section | Fit off
checkpoint-status | cccf357d-f73f-4913-abbc-51095391d5d7 |  | checkpoint | Area is left clean and tidy and approval to start work is obtained
checkpoint-status | 57569805-bab2-419c-b423-fb0116747ac2 |  | checkpoint | TV/DATA fit off (photos attached)
checkpoint-status | ce01f359-0db4-4e58-b9b3-fd1d4cc60bda |  | checkpoint | Nurse call including Never Alone PIR fit off (photos attached)
checkpoint-status | bf1d64ad-baca-448f-a4c9-5c83b7daf48c |  | checkpoint | Smoke and CO detecters installed (photos attached)
checklist-flat | 44e22fbb-1ba5-4770-8a56-2cf8f2bae61e |  | checklist | Plinth Commissioning |  |  |  |  | Yes | Plinth Commissioning | 948cb511-9d95-4049-a03e-f9138d7719b8
checkpoint-status | 381e18f0-b925-49dd-aa83-ee622a40ee92 |  | checkpoint | separate cables (add signature)
checkpoint-status | f948496e-4fb6-4439-9ca9-e58cfd5db40f |  | checkpoint | separate security cables (add signature)
checkpoint-status | d854d550-b4e3-448d-9892-afe3fc7196f0 |  | checkpoint | build patch panels (attach photo's)
checkpoint-status | 0cb16ce6-de1b-4bba-8462-44d050c9a04b |  | checkpoint | build nurse call system (attach photo's)
checkpoint-status | 2babd7a0-05f0-4143-a767-8020b8ab0f06 |  | checkpoint | build MATV system (attach photo's)
checkpoint-status | 6ec5d26f-0bf1-4b5b-9f92-3cf5586f338c |  | checkpoint | build security panels (attach photo's)
checkpoint-status | 309e0af4-7845-4951-bcb5-de240af64333 |  | checkpoint | program nurse call system (add signature)
checkpoint-status | 5e1ddedc-b9bc-429e-b959-81a590f3d94a |  | checkpoint | Commission nurse call system (attach photo's)
checkpoint-status | b6b339f1-34f3-489b-9ee4-27598e46c752 |  | checkpoint | Commission Security system (attach photo's)
checkpoint-status | 4ff45efd-d23a-48a6-984b-4359736688d3 |  | checkpoint | Commission Fire interface (attach photo's)
checkpoint-status | b977bb07-038f-4768-9fb1-c1a2ef943bd2 |  | checkpoint | Battery Installed (attach photo's)
checkpoint-status | ca5c13b8-1af7-4d91-beb2-3966256589fa |  | checkpoint | PS3 (attach )
checkpoint-status | 8f163e19-b4dd-45c5-ac19-3971d9bb46e9 |  | checkpoint | As-builts (attached)
checklist-sectioned | 347992af-3e96-4369-a8bb-3e3bc13cc2bd |  | checklist | Apartment QA |  |  |  |  | Yes | Apartment QA | 97cf77d7-18bb-4f01-8577-ae2e8a20a559
checkpoint-group | 660a8abf-2ca5-421c-b1c6-6cfbad21c426 |  | section | Pre Wire
checkpoint-status | 1f357347-9405-4cc4-965c-a188946d7af5 |  | checkpoint | Internal Cabling Complete
checkpoint-status | f9e939e4-46e4-4787-a73c-08bf21f7d102 |  | checkpoint | Main Cabling Complete (Photos Attached)
checkpoint-status | 89898e9f-e4d2-4f30-a776-326310dd33b9 |  | checkpoint | Flush Boxes Installed
checkpoint-status | 56da6616-7aca-4ce4-ace8-66846593d224 |  | checkpoint | Fire Boxes Installed (Photos Attached)
checkpoint-status | 9742d522-83d7-408f-8ecf-0286453a5b4a |  | checkpoint | Fire Walls Point Of Entry (Photos Attached)
checkpoint-group | ac39fe54-ac2b-42d9-9ab8-c6c63c32212b |  | section | Termination And Testing
checkpoint-status | 1ad28163-ed9b-491c-a5df-b21eff7f0a90 |  | checkpoint | Install DB
checkpoint-status | d9062930-f0b9-4dd1-9af5-0a5a7a93e07f |  | checkpoint | Fit Off DB (Photo Attached)
checkpoint-status | 4154d886-fed0-4f7e-a7c7-0eff75f6a1f9 |  | checkpoint | LAN Test Internals (Add Signature)
checkpoint-group | c12317af-1e0c-4452-8c01-46fcbbd2d9e2 |  | section | Fit Off
checkpoint-status | af462208-9f4b-412d-a75e-e295a478739a |  | checkpoint | Tv/Data Fit Off (Photos Attached)
checkpoint-status | 0b50f4b6-cb8a-46c6-aa6e-c2b913b4fcd1 |  | checkpoint | Nurse Call Fit Off (Photos Attached)
checklist-flat | 55a99259-cebb-44a4-ab14-1f60da75adf7 |  | checklist | Floor Commissioning |  |  |  |  | Yes | Floor Commissioning | c2299520-30d8-48d5-ad54-f717449f68ea
checkpoint-status | c4a5c338-a2d3-4dd4-a44a-5b5029686bf9 |  | checkpoint | Tone Cables (Add Signature)
checkpoint-status | 07467029-bba7-4a61-b257-0f1f78f6d9c8 |  | checkpoint | Separate Cables (Add Signature)
checkpoint-status | 85c43e04-693b-44d3-a089-7f0e946a4fad |  | checkpoint | Cable Riser (Add Signature)
checklist-flat | 579528c2-7769-48ba-9cf8-70d72c5fae37 |  | checklist | Completion Documents |  |  |  |  | Yes | Completion Documents | c9b0e484-8e6d-48eb-a399-bd39c3feb244
checkpoint-status | 363c8668-6011-46d0-ab7f-99d4f8e0d6fd |  | checkpoint | PS3 attached
checkpoint-status | 06f34aa3-a380-4b6a-ae5c-cde44477154c |  | checkpoint | As-built plans attached
checkpoint-status | f0fbde76-07d6-47e2-ac29-a595723df45b |  | checkpoint | Any other completion documents attached
holdpoint | 890b6e39-f8ff-435c-9a87-5f72278ed134 |  | signoff | Request Signoff/raise remdial
checklist-sectioned | 9c0dcf9e-da36-4f97-b97f-af6f03893d8c |  | checklist | Townhouse units |  |  |  |  | Yes | Townhouse units | d6c0d189-27c5-4d79-9b25-50ffa29f6f4e
checkpoint-group | b6e009ea-97b0-41e8-9d15-c9420b8f9095 |  | section | Pre wire
checkpoint-status | 5eae1f9a-e0c3-4a81-b9c8-c479b5be08d8 |  | checkpoint | Area is left clean and tidy and approval to start work is obtained
checkpoint-status | 625341ea-8db6-4a4c-a64a-76d319ab5c29 |  | checkpoint | internal cabling complete
checkpoint-status | 9274e741-7504-4fc3-858f-6f383a98eb0f |  | checkpoint | main cabling complete (photos attached)
checkpoint-status | 6d4fc9d8-57dc-4246-8875-d4a4a5b85351 |  | checkpoint | flush boxes installed
checkpoint-group | 1051a3de-88fb-41c3-a59c-f253cfca6fd8 |  | section | Termination and testing
checkpoint-status | 6c04540d-4661-424d-ab2b-18e3d476b60a |  | checkpoint | install DB
checkpoint-status | b79497da-9fd0-442f-8aa2-8b03193d87dc |  | checkpoint | fit off DB (photo attached)
checkpoint-status | a4b649eb-2c93-4da4-991f-048ab1673a82 |  | checkpoint | LAN test internals
holdpoint | 5fa9c8bb-bece-498d-9289-dd7c284a1328 |  | signoff | Signature
checkpoint-group | 090701d2-c84a-49e2-815d-9c5d1d7c6955 |  | section | Fit off
checkpoint-status | 618c6aad-2aab-491d-b039-4b8d87069d7f |  | checkpoint | Area is left clean and tidy and approval to start work is obtained
checkpoint-status | c6ff2bc4-4c81-4209-8221-1e7f95168808 |  | checkpoint | TV/DATA fit off (photos attached)
checkpoint-status | 883a7587-b89c-442a-97a6-9da7d8da339f |  | checkpoint | nurse call fit off (photos attached)
checklist-flat | 3feff464-2801-4331-a0c1-427eb9262442 |  | checklist | Building Commissioning v2 |  |  |  |  | Yes | Building Commissioning v2 | d9c1cde4-048f-40fc-8104-3a081c4fcc07
checkpoint-status | 65fd2587-2f84-4ad6-88f5-348313dcddc4 |  | checkpoint | Separate Cables (Add Signature)
checkpoint-status | 8182caf7-25ba-457b-9acb-caa45f6d82ae |  | checkpoint | Separate Security Cables (Add Signature)
checkpoint-status | 47888e04-6d3e-4e10-b374-ad275be4c635 |  | checkpoint | Complete Cable Riser (Add Signature)
checkpoint-status | 7ab60f16-31f0-4394-8e2c-4cb81e0a8c55 |  | checkpoint | Build Patch Panels (Attach Photos)
checkpoint-status | e81eb2c4-7c07-47a5-bf9b-14d51ce5f13b |  | checkpoint | Build Nurse Call System (Attach Photos)
checkpoint-status | f4e4c7da-a131-40ff-8622-58b27b85b7ac |  | checkpoint | Build MATV System (Attach Photos)
checkpoint-status | 54685837-d5b4-4c9b-bcc2-cbefb9ff12c3 |  | checkpoint | Build Security Panels (Attach Photos)
checkpoint-status | dc1802a3-85b4-471a-81d9-0d351cc67551 |  | checkpoint | Program Nurse Call System (Add Signature)
checkpoint-status | 56173a48-70c7-4895-83cb-5b53d544d786 |  | checkpoint | Commission Nurse Call System (Attach Photos)
checkpoint-status | cc8f99e1-01ac-4635-b56d-0bc4e82e627e |  | checkpoint | Commission Security System (Attach Photos)
checkpoint-status | aee3a813-9fd6-45d8-a1d2-fa823294fd26 |  | checkpoint | Commission Fire Interface (Attach Photos)
checklist-flat | 0b2ca725-76ef-4fbf-86f5-1e67e61ab43c |  | checklist | Building commissioning v1 |  |  |  |  | Yes | Building commissioning v1 | e91eba95-a945-4d3d-b840-44f072788a0e
checkpoint-status | 1edeb684-f630-4b05-8b23-5ea8b2fa007e |  | checkpoint | separate cables
holdpoint | 7e7f2885-0bc3-4bdc-8b0d-3cf8f0de8ba0 |  | signoff | Signature
checkpoint-status | db2ad1d9-f102-4ca6-9f41-5472cdb91e62 |  | checkpoint | separate security cables
holdpoint | 38063c72-6e65-419e-a590-99a531595fd5 |  | signoff | Signature
checkpoint-status | f96ccbc6-f76b-47cf-be2e-71525f73d259 |  | checkpoint | complete cable riser
holdpoint | bc3237f6-a71e-4e22-bea7-e8e7780b4fdd |  | signoff | Signature
checkpoint-status | 83d9a9cf-ef89-4eeb-b7db-042c11b2a0de |  | checkpoint | build patch panels (attach photo's)
checkpoint-status | a473b705-128d-46bf-9402-f473225fc657 |  | checkpoint | build nurse call system (attach photo's)
checkpoint-status | d0568750-2338-4c78-94a5-c4b3b880961a |  | checkpoint | build MATV system (attach photo's)
checkpoint-status | d3ace2e9-62d1-4d4c-bf62-9c41f69acc70 |  | checkpoint | build security panels (attach photo's)
checkpoint-status | 65c9aa88-eeac-41eb-89a1-db58faa838aa |  | checkpoint | program nurse call system
holdpoint | 20a5788c-9998-457d-a039-e5143aa1fc2d |  | signoff | Signature
checkpoint-status | a1e12b0c-d85c-4818-a82f-d928a4c09d88 |  | checkpoint | Commission nurse call system (attach photo's)
checkpoint-status | 492801d2-61d9-4243-a5b8-2b82dc4fb70f |  | checkpoint | Commission Security system (attach photo's)
checkpoint-status | 0678554e-d77f-434e-b529-0e8abb2c06d1 |  | checkpoint | Commission Fire interface (attach photo's)