## Resources
Rich Type | Id | Warnings | type | name | values | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-sectioned |  |  | checklist | Commercial Projects Checklist |  |  |  | Yes | Commercial Projects Checklist V3 | 7565dd65-8f9a-421d-b83a-461b1e35bc20
checkpoint-group |  |  | section | Reo
checkpoint-status |  |  | checkpoint | IFC Drawing
select | 8c60aa83-20d9-5850-9bc8-632fd013218a |  | dropdown | Steel Supplier | Mesh & Bar, Other
text | d9ac2627-b38c-51b5-aa52-f9f7c016ac8f |  | textbox | Other Steel Supplier
text | cef86629-3795-51cf-bc59-17969d51757d |  | textbox | Reo Manufacture date DD/MM/YY
checkpoint-status |  |  | checkpoint | Cage dimensions
checkpoint-status |  |  | checkpoint | Fittings marked
checkpoint-group |  |  | section | Formwork
checkpoint-status |  |  | checkpoint | Formwork ready to commence - Take photos
select | 0bee98b0-b56c-51d9-917f-efc4bbf72f84 |  | dropdown | Panel type | Wall, Column, Balustrade, Core panel, Hob, Lid, Sunhood, Curve, Cube, Other
text | e537fe91-29ac-5209-a4f6-f1264e384a0f |  | textbox | Other Panel type
text | 6428994c-c738-5b35-a211-8e5cc83df951 |  | textbox | Panel difficulty
text | e0f11b79-6e97-547a-b365-6e4d2d6ab477 |  | textbox | Other Location
text | 6ff24371-5bf1-55bf-ad00-115f2772e893 |  | textbox | Quantity
text | 8e300878-7e40-5cb8-9666-2a4c1bb91e06 |  | textbox | Panel Weight (t)
text | 67050185-22ee-5de3-8a0e-bf979f954eff |  | textbox | Volume (m3)
text | 6f4bbeb2-ffc7-5d56-a414-087102a54525 |  | textbox | Manufacture date DD/MM/YY
checkpoint-status |  |  | checkpoint | Formwork dimensions
text | 49b33990-f581-5cc3-a1b5-f89b30617ffa |  | textbox | Panel thickness
text |  |  |  | Thickness projection
text | d746106e-87bd-5ba4-9862-701508118de4 |  | textbox | Panel width
text |  |  |  | Width projection
text | c076cfc1-78e3-5ba0-ba35-efadc9a115c9 |  | textbox | Panel height
text |  |  |  | Height projection
checkpoint-status |  |  | checkpoint | Square
checkpoint-status |  |  | checkpoint | Silicone Bed
checkpoint-status |  |  | checkpoint | Edge Form/ Fillets
checkpoint-status |  |  | checkpoint | Position of reinforcement
checkpoint-status |  |  | checkpoint | Fittings locations
checkpoint-status |  |  | checkpoint | ID Tag
checkpoint-status |  |  | checkpoint | Lifting devices securely/in place
select | c430d054-d549-51c1-b405-50e8cb68fba1 |  | dropdown | Top Lifters type | PSA liftMX 10t, PSA liftMX 15t, PSA liftMX 8t, PSA Foot Anchor 2.5t, 2.5t Actech, M20 Prop ferrules, Eye anchor 2.5, None, Other
text | b814894c-1a01-546a-af9d-6bb4042c9625 |  | textbox | Other Top Lifters type
select | fbfdfd16-8a1d-5344-a6dc-73500c4c69de |  | dropdown | Edge/Face Lifters type | PSA liftMX 10t, PSA liftMX 15t, Foot Anchor 5t, Foot Anchor 2.5t, Face lifter 7t PSA LiftMX, M20 ferrules, None, Other
text | 197a70a1-4ee4-5fe3-8068-0a80908f55f7 |  | textbox | Other Edge/Face Lifters type
checkpoint-status |  |  | checkpoint | Ready to pour- Take photo of QA drawing
text | 349be47d-452b-591c-b19f-2169d0314fca |  | textbox | Notes/Changes
|  |  | Multiple option | Drafting | Missing information
|  |  | Multiple option |  | Inconsistent information
|  |  | Multiple option |  | Wrong information
|  |  | Multiple option |  | Versions
|  |  | Multiple option | Boxing | Squareness
|  |  | Multiple option |  | Dimensions
|  |  | Multiple option |  | Rebate
|  |  | Multiple option |  | GT
|  |  | Multiple option |  | Panel Orientation
|  |  | Multiple option |  | Fitments
|  |  | Multiple option |  | Tag
|  |  | Multiple option | Steel | Cover
|  |  | Multiple option |  | Missing bars
|  |  | Multiple option |  | Wrong bars
|  |  | Multiple option |  | Wrong configuration
|  |  | Multiple option |  | Orientation
|  |  | Multiple option |  | Wrong projection/ embedment
checkpoint-group |  |  | section | Pre Pouring
checkpoint-status |  |  | checkpoint | Take a picture or attach copy of concrete doc
select | a433b2e6-bd0b-5526-9380-3a2884410a6c |  | dropdown | Concrete Supplier | Ausmix, Hy-Tec, Other
text | bf189ba2-4fe8-5412-82ae-a2d2bb046b6b |  | textbox | Other Concrete Supplier
text | 8167733f-e03e-562e-a24c-87d4f4d9e06a |  | textbox | Concrete schedule docket #
text | dcfc5944-799e-5978-bd31-23f3caeb1e35 |  | textbox | Pouring date DD/MM/YY
text | aa2fdae2-f356-5de8-9e68-dcc146969d34 |  | textbox | Concrete Requisition (m3)
checkpoint-status |  |  | checkpoint | Correct mix being used
select | e43a623f-fd1d-5efb-8ee6-feef6619f9c7 |  | dropdown | 28 Mpa requiered | 40,50,65,80,90,100, Other
text | d9769b08-93f8-55a2-8e72-c52cc937f3ce |  | textbox | Other Mpa requiered
select | e43a623f-fd1d-5efb-8ee6-feef6619f9c7 |  | dropdown | Type of concrete | 40/10/650, 40/10/220,40/20/200, 40/20/220, 50/10/650, 50/20/200,65/10/600, 65/10/650,65/10/200, 65/20/180, 65/20/220, 80/10/650, 80/10/200,80/10/600, 90/20/200, 100/10/600, Other
text | d9769b08-93f8-55a2-8e72-c52cc937f3ce |  | textbox | Other Type of concrete
button | f199f450-133b-58e5-8a36-22aa902b3245 |  | button | Concrete strength tested | Yes, No
|  |  | Multiple option | Concrete | Poured with lower Mpa
checkpoint-group |  |  | section | Post Production
checkpoint-status |  |  | checkpoint | Post Production ready to commence - Lifting Mpa
text | 9cc02e3e-1bdc-5e98-a6de-2dd890f47205 |  | textbox | Date panel stripped
checkpoint-status |  |  | checkpoint | Fitments removed (GT Caps, fillets, Ferrule caps)
checkpoint-status |  |  | checkpoint | Correct dimensions
checkpoint-status |  |  | checkpoint | Bulges, Dents and airholes within tolerances
checkpoint-status |  |  | checkpoint | Cracks within tolerances
checkpoint-status |  |  | checkpoint | Marking
checkpoint-status |  |  | checkpoint | Panel conform to specifications/ tolerances
text | da7e10bc-1712-5b56-b412-233ba99111ca |  | textbox | Patching/fixing required
checkpoint-status |  |  | checkpoint | Concrete Test results (28 days result) - Please take a photo or attach report
|  |  | Multiple option | Post production | Patching required
|  |  | Multiple option | On site | Squareness
|  |  | Multiple option |  | Dimensions
|  |  | Multiple option |  | Rebate
|  |  | Multiple option |  | GT
|  |  | Multiple option |  | Fitments
|  |  | Multiple option |  | Tag
|  |  | Multiple option |  | Reo
checkpoint-group |  |  | section | Storage
checkpoint-status |  |  | checkpoint | Inserts/Rebates removed
checkpoint-status |  |  | checkpoint | Filling points/lifters exposed
select | 51c0b8ec-22ee-5ff7-9e98-d783f694c290 |  | dropdown | Location (Rack #) | 1,2,3,4,5,6,7,8,9,10,11,12,13,14,21,22,23,24,25,26,27,28,29,30,31,32, 100, 101, 102, 103, 104, 105, 106, 107, 108, 109, 110, 201, 202, 203, 204, 205, 206, 207, 208, 209, 210, Other
text | 73436315-69c8-5721-8a3f-87f2a9f73b3a |  | textbox | Other Location (Rack #)
button | f199f450-133b-58e5-8a36-22aa902b3245 |  | button | Status | Delivered, Rack #
checklist-flat |  |  | checklist | Nonconformities |  |  |  | Yes | Nonconformities | b93e0318-bfd4-4903-9b68-fa7bfb690e88
checkpoint-status |  |  | checkpoint | Please take photos & attach documents which relate to report
text | ada5a5f5-66e8-51c7-854d-bda83b34b7c2 |  | textbox | Description
text | 9505a5f5-12d4-5b9e-8302-5341fb7ce650 |  | textbox | Corrective action
text | ee998658-9c7c-51b1-afbd-ebe11cabe781 |  | textbox | Completion date
text | 13cb644b-cd7e-5274-a111-9b78ef910df7 |  | textbox | Responsibility

## Sheet1 (hidden)
Formwork dimensions
Panel thickness
Square
Silicone Bed
Edge Form/ Fillets
Reo configuration
Position of reinforcement | Cover
Fittings locations | GT central…
ID Tag | Top of panel (opposite GT w/filling point)
Lifting devices securely/in place
Top Lifters type
Other Top Lifters type
Edge/Face Lifters type
Other Edge/Face Lifters type
Ready to pour- Take photo of QA drawing
Notes/Changes

## Sheet2 (hidden)
QA FINDINGS
FORMWORK
Drafting | Missing information
Inconsistent information
Wrong information
Versions
Boxing | Squareness
dimensions
Rebate
GT
Panel Orientation
Fitments
Tag
Steel | Cover
Missing bars
Wrong bars
Wrong configuration
Orientation
Wrong projection/ embedment
Concrete | Poured with lower Mpa
POST-PRODUCTION
Post production | Patching required
On site | Squareness
dimensions
Rebate
GT
Fitments
Tag
Reo