## struct
resource | type | Add Step | Add Post | Tier 1 | Tier 2 | Tier 3 | Tier 4 | Tier 5 | Tier 6 | Tier 7 | Tier 8 | Tier 9
| step |  |  | Tier 1: MS2
| step |  |  | Tier 2: Mud City
| step |  |  | Tier 3: Instruments
| step |  |  | Tier 4: PIT-12500
ITR-I-15 Pressure Instrument Installation | checklist |  |  | Tier 5: PIT-12500 - MP02-M02-SC104 PRESSURE TX
ITR-I-07 Instrument Calibration | checklist |  |  | Tier 5: ITR-I-07 Instrument Calibration
| step |  |  | Tier 4: PIT-12501
ITR-I-15 Pressure Instrument Installation | checklist |  |  | Tier 5: PIT-12501 - MP02-M02-PU140 DESILTER FEED PUMP PRESSURE TRANSMITTER
ITR-I-07 Instrument Calibration | checklist |  |  | Tier 5: ITR-I-07 Instrument Calibration
| step |  |  | Tier 4: PIT-12502
ITR-I-15 Pressure Instrument Installation | checklist |  |  | Tier 5: PIT-12502 - MP02-M02-PU141 CENTRIFUGE FEED PUMP PRESSURE TRANSMITTER
ITR-I-07 Instrument Calibration | checklist |  |  | Tier 5: ITR-I-07 Instrument Calibration
| step |  |  | Tier 4: PIT-12503
ITR-I-15 Pressure Instrument Installation | checklist |  |  | Tier 5: PIT-12503 - MP02-M02-PU142 PRESSURE TX
ITR-I-07 Instrument Calibration | checklist |  |  | Tier 5: ITR-I-07 Instrument Calibration
| step |  |  | Tier 4: LIT-12504
ITR-I-16 Level Instrument Installation | checklist |  |  | Tier 5: LIT-12504 - MP02-M02-TK140 LEVEL TX
ITR-I-07 Instrument Calibration | checklist |  |  | Tier 5: ITR-I-07 Instrument Calibration
| step |  |  | Tier 4: LIT-12505
ITR-I-16 Level Instrument Installation | checklist |  |  | Tier 5: LIT-12505 - MP02-M02-TK141 LEVEL TX
ITR-I-07 Instrument Calibration | checklist |  |  | Tier 5: ITR-I-07 Instrument Calibration
| step |  |  | Tier 4: LIT-12506
ITR-I-16 Level Instrument Installation | checklist |  |  | Tier 5: LIT-12506 - MP02-M02-TK142 LEVEL TX
ITR-I-07 Instrument Calibration | checklist |  |  | Tier 5: ITR-I-07 Instrument Calibration
| step |  |  | Tier 4: FS-12515
ITR-I-14 Flow Meter Installation | checklist |  |  | Tier 5: FS-12515 - CENTRIFUGE FEED PUMP DISCHARGE
ITR-I-07 Instrument Calibration | checklist |  |  | Tier 5: ITR-I-07 Instrument Calibration
| step |  |  | Tier 4: FIT-12040
ITR-I-14 Flow Meter Installation | checklist |  |  | Tier 5: FIT-12040 - RECYCLER FLOW TX
ITR-I-07 Instrument Calibration | checklist |  |  | Tier 5: ITR-I-07 Instrument Calibration
| step |  |  | Tier 4: PIT-12520
ITR-I-15 Pressure Instrument Installation | checklist |  |  | Tier 5: PIT-12520 - MP02-M02-PU149 MUD MIX 2 PUMP PRESSURE TRANSMITTER
ITR-I-07 Instrument Calibration | checklist |  |  | Tier 5: ITR-I-07 Instrument Calibration
| step |  |  | Tier 4: PIT-12521
ITR-I-15 Pressure Instrument Installation | checklist |  |  | Tier 5: PIT-12521 - MP02-M02-PU148 MUD MIX TRANSFER PUMP PRESSURE TRANSMITTER
ITR-I-07 Instrument Calibration | checklist |  |  | Tier 5: ITR-I-07 Instrument Calibration
| step |  |  | Tier 4: LIT-12522
ITR-I-16 Level Instrument Installation | checklist |  |  | Tier 5: LIT-12522 - MP02-M02-TK148 LEVEL TX
ITR-I-07 Instrument Calibration | checklist |  |  | Tier 5: ITR-I-07 Instrument Calibration
| step |  |  | Tier 4: LIT-12523
ITR-I-16 Level Instrument Installation | checklist |  |  | Tier 5: LIT-12523 - MP02-M02-TK149 LEVEL TX
ITR-I-07 Instrument Calibration | checklist |  |  | Tier 5: ITR-I-07 Instrument Calibration
| step |  |  | Tier 3: Cables
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: PU140-LV152-I2 - 1.5mm2 1PR R1-DEXN-1P1.5BK
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: PU140-LV152-P3 - 35mm2 4G35+(2x1.5) SERVO FD 796 CP
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: PU142-LV152-I2 - 1.5mm2 1PR R1-DEXN-1P1.5BK
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: PU142-LV152-P3 - 50mm2 4G50+(2x1.5) SERVO FD 796 CP
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: SC101-LV152-P2 - 2.5mm2 4G2.5+(2x1.5) SERVO FD 796 CP
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: SC101-LV152-P4 - 2.5mm2 4G2.5+(2x1.5) SERVO FD 796 CP
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: SC102-LV152-P2 - 2.5mm2 4G2.5+(2x1.5) SERVO FD 796 CP
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: SC102-LV152-P4 - 2.5mm2 4G2.5+(2x1.5) SERVO FD 796 CP
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: SC103-LV152-P2 - 2.5mm2 4G2.5+(2x1.5) SERVO FD 796 CP
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: SC103-LV152-P4 - 2.5mm2 4G2.5+(2x1.5) SERVO FD 796 CP
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: SC104-LV152-P2 - 2.5mm2 4G2.5+(2x1.5) SERVO FD 796 CP
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: SC104-LV152-P4 - 2.5mm2 4G2.5+(2x1.5) SERVO FD 796 CP
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: AG140-LV152-P2 - 10mm2 4G10+(2x1.5) SERVO FD 796 CP
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: AG141-LV152-P2 - 10mm2 4G10+(2x1.5) SERVO FD 796 CP
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: AG142-LV152-P2 - 10mm2 4G10+(2x1.5) SERVO FD 796 CP
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: PU149-LV152-I2 - 1.5mm2 1PR R1-DEXN-1P1.5BK
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: PU149-LV152-P3 - 50mm2 4G50+(2x1.5) SERVO FD 796 CP
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: PU148-LV152-I2 - 1.5mm2 1PR R1-DEXN-1P1.5BK
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: PU148-LV152-P3 - 50mm2 4G50+(2x1.5) SERVO FD 796 CP
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: AG148-LV152-P2 - 10mm2 4G10+(2x1.5) SERVO FD 796 CP
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: AG149-LV152-P2 - 10mm2 4G10+(2x1.5) SERVO FD 796 CP
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: CV101-LV152-P2 - 2.5mm2 4G4+(2x1.5) SERVO FD 796 CP
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: ST150LCS-JB1-C2 - 1.5mm2 34G1.5 ROBUST 215 C
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: ST151LCS-JB1-C2 - 1.5mm2 34G1.5 ROBUST 215 C
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: ST151LCS-JB1-C4 - 1.5mm2 25G1.5 ROBUST 215 C
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: ST151-DB152-P2 - 2.5mm2 2PH+E
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: ST151-DB152-P4 - 2.5mm2 2PH+E
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: ST151-DB152-P11 - 2.5mm2 3C+E BRAID/FLEX
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: ST151-DB152-P12 - 2.5mm2 3C+E BRAID/FLEX
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: ST151-DB152-P13 - 2.5mm2 3C+E BRAID/FLEX
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: ST151-DB152-P6 - 2.5mm2 2P+E BRAID/FLEX
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: ST151-DB152-P7 - 2.5mm2 2P+E BRAID/FLEX
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: ST151-DB152-P8 - 2.5mm2 2P+E BRAID/FLEX
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: ST151-DB152-P9 - 2.5mm2 2P+E BRAID/FLEX
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: ST151-DB152-P10 - 2.5mm2 2P+E BRAID/FLEX
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: MTR1-CP101-P2 - 16mm2 4G16
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: PU141-CP101-P2 - 10mm2 4G50+(2x1.5) SERVO FD 796 CP
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: MTR2-CP101-P2 - 50mm2 4G10+(2x1.5) SERVO FD 796 CP
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: IJB-CP101-I2 - 1.5mm2 18G1.5 ROBUST 215 C
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: LQ112-LV152-P2 - 2.5mm2 4G2,5+(2x1,5) SERVO FD 796 CP
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: WT12535-PLC152-P2 - 1.5mm2 2PH+E BRAID FLEX
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: ST150IJB1-PLC052-I2 - 1.5mm2 8PR R1-DEXN-8P1.5BK
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: ST151IJB1-PLC052-I2 - 1.5mm2 8PR R1-DEXN-8P1.5BK
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: PIT12500-ST151IJB01-I1 - 1.5mm2 1PRR1-DEXN-1P1.5BK 1.5MM 1PR
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: PIT12500-ST151IJB01-I2 - 1.5mm2 1PR/D
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: PIT12501-ST151IJB01-I1 - 1.5mm2 1PR/D
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: PIT12502-ST151IJB01-I1 - 1.5mm2 1PR/D
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: PIT12503-ST151IJB01-I1 - 1.5mm2 1PR/D
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: LIT12504-ST151IJB01-I1 - 1.5mm2 1PR/D
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: LIT12505-ST151IJB01-I1 - 1.5mm2 1PR/D
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: LIT12506-ST151IJB01-I1 - 1.5mm2 1PR/D
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: FS12515-ST151IJB01-I1 - 1.5mm2 2PR/D
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: FIT12040-ST150IJB01-I1 - 1.5mm2 1PR/D
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: PIT12520-ST150IJB01-I1 - 1.5mm2 1PR/D
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: PIT12521-ST150IJB01-I1 - 1.5mm2 1PR/D
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: LIT12522-ST150IJB01-I1 - 1.5mm2 1PR/D
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: LIT12523-ST150IJB01-I1 - 1.5mm2 1PR/D
| step |  |  | Tier 3: Cable Support
ITR-E-02B Cable Supports Above Ground | checklist |  |  | Tier 4: Above Ground Cable Support
| step |  |  | Tier 3: Electrical Equipment
| step |  |  | Tier 4: Junction Boxes
ITR-E-07 - Junction Box | checklist |  |  | Tier 5: IJB-101 - Mud Recycling Skid Junction Box
ITR-E-07 - Junction Box | checklist |  |  | Tier 5: IJB-102 - Mixing Tank Skid Junction Box
| step |  |  | Tier 4: Decontactors
ITR-E-01 General Electrical Equipment | checklist |  |  | Tier 5: IJB-101 - PIT-12500 - Outlet
| step |  |  | Tier 4: Local Control Station
ITR-E-45 Local Control Station | checklist |  |  | Tier 5: LCS - Recyler Tank
ITR-E-45 Local Control Station | checklist |  |  | Tier 5: LCS - Mixing Tank
| step |  |  | Tier 4: Motors
ITR-E-13 Motors | checklist |  |  | Tier 5: Shaker 1 - MP02-M02-SC101 A
ITR-E-13 Motors | checklist |  |  | Tier 5: Shaker 1 - MP02-M02-SC101 B
ITR-E-13 Motors | checklist |  |  | Tier 5: Shaker 2 - MP02-M02-SC102 A
ITR-E-13 Motors | checklist |  |  | Tier 5: Shaker 2 - MP02-M02-SC102 B
ITR-E-13 Motors | checklist |  |  | Tier 5: Shaker 3 - MP02-M02-SC103 A
ITR-E-13 Motors | checklist |  |  | Tier 5: Shaker 3 - MP02-M02-SC103 B
ITR-E-13 Motors | checklist |  |  | Tier 5: Shaker 4 - MP02-M02-SC104 A
ITR-E-13 Motors | checklist |  |  | Tier 5: Shaker 4 - MP02-M02-SC104 B
ITR-E-13 Motors | checklist |  |  | Tier 5: Desilter Feed Pump - MP02-M02-PU140
ITR-E-13 Motors | checklist |  |  | Tier 5: Mud Transfer Pump #1 - MP02-M02-PU142
ITR-E-13 Motors | checklist |  |  | Tier 5: Recycle Tank Agitator 1 - MP02-M02-AG140
ITR-E-13 Motors | checklist |  |  | Tier 5: Recycle Tank Agitator 2 - MP02-M02-AG141
ITR-E-13 Motors | checklist |  |  | Tier 5: Recycle Tank Agitator 3 - MP02-M02-AG142
ITR-E-13 Motors | checklist |  |  | Tier 5: Mud Mix Pump #1 - MP02-M02-PU149
ITR-E-13 Motors | checklist |  |  | Tier 5: Mud Mix Transfer Pump #2 - MP02-M02-PU148
ITR-E-13 Motors | checklist |  |  | Tier 5: Mixing Tank Agitator 1 - MP02-M02-AG148
ITR-E-13 Motors | checklist |  |  | Tier 5: Mixing Tank Agitator 2 - MP02-M02-AG149
ITR-E-13 Motors | checklist |  |  | Tier 5: Mixing Tank Screw Conveyor - MP02-M02-CV101
| step |  |  | Tier 4: Lighting
ITR-E-48 General Lighting | checklist |  |  | Tier 5: Lighting Internal SWR
ITR-E-48 General Lighting | checklist |  |  | Tier 5: Lighting Emergency/Exit SWR
ITR-E-48 General Lighting | checklist |  |  | Tier 5: External Lighting 1
ITR-E-48 General Lighting | checklist |  |  | Tier 5: External Lighting 2
| step |  |  | Tier 3: Earthing
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
| step |  |  | Tier 2: Active Tank 02
| step |  |  | Tier 3: Instruments
| step |  |  | Tier 4: LIT-12511
ITR-I-16 Level Instrument Installation | checklist |  |  | Tier 5: LIT-12511 - MP02-M02-TK144 LEVEL TX 1
ITR-I-07 Instrument Calibration | checklist |  |  | Tier 5: ITR-I-07 Instrument Calibration
| step |  |  | Tier 4: PIT-12513
ITR-I-15 Pressure Instrument Installation | checklist |  |  | Tier 5: PIT-12513 - MP02-M02-TK144 CHARGE PUMP #2 DISCHARGE PRESSURE TRANSMITTER
ITR-I-07 Instrument Calibration | checklist |  |  | Tier 5: ITR-I-07 Instrument Calibration
| step |  |  | Tier 4: PIT-12514
ITR-I-15 Pressure Instrument Installation | checklist |  |  | Tier 5: PIT-12514 - MP02-M02-TK144 CHARGE PUMP #2 SUCTION PRESSURE TRANSMITTER
ITR-I-07 Instrument Calibration | checklist |  |  | Tier 5: ITR-I-07 Instrument Calibration
ITR-I-13 Temperature Instrument Installation | checklist |  |  | Tier 4: TX-02 - MP02-M02-ST155 ROOM TEMPERATURE
| step |  |  | Tier 3: Cables
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: PU144-LV155-P1 - 35mm2 3x35+E10 FIRSTFLEX CU/X90/SPVC
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: PU144-LV155-C1 - 1.5mm2 16C+E
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: PU144-LV155-P2 - 35mm2 4G35+(2x1.5) SERVO FD 796 CP
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: PU144-LV155-C2 - 1.5mm2 6C+E
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: PU125-LV155-P1 - 50mm2 3x35+E10 FIRSTFLEX CU/X90/SPVC
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: PU125-LV155-I1 - 1.5mm2 1PR/D
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: PU125-LV155-C1 - 1.5mm2 16C+E
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: PU125-LV155-P2 - 35mm2 4G35+(2x1.5) SERVO FD 796 CP
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: PU125-LV155-C2 - 1.5mm2 6C+E
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: AG144-LV155-P1 - 3PH+E (10mm2)
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: AG144-LV155-C1 - 1.5mm2 6C+E
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: AG145-LV155-P1 - 3PH+E (10mm2)
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: AG145-LV155-C1 - 1.5mm2 6C+E
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: PLC155-LV155-P1 - 2.5mm2 2PH+E
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: ST155-LV155-P1 - 2.5mm2 2PH+E
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: ST155-LV155-P2- 2.5mm2 2PH+E
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: ST155-LV155-P3 - 2PH+E (6mm2) 6mm2
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: ST155-LV155-P4 - 2.5mm2 2PH+E
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: ST155-LV155-P5 - 2.5mm2 2PH+E
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: ST155-LV155-P6 - 2.5mm2 2PH+E
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: LIT-12511-PLC155-1 - 1PR/D 1.5mm2
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: PIT-12514-PLC155-1 - 1PR/D 1.5mm2
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: PIT-12513-PLC155-1 - 1PR/D 1.5mm2
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: LV155-PLC155-I1 - 1PR/D 1.5mm2
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: LV155-PLC155-I2 - 1PR/D 1.5mm2
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: SD1-PLC155-I1 - 1PR/D 1.5mm2
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: LV155-PLC155-I3 - 1PR/D 1.5mm2
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: TX02-PLC155-I1 - 1PR/D 1.5mm2
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: - 4x95+E35 95mm2
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: - 4x95+E35 95mm2
ITR-E-29 Cat 6 Communication Cable | checklist |  |  | Tier 4: MP02-LV155-FB01/01 - SMOF LC-LC
ITR-E-29 Cat 6 Communication Cable | checklist |  |  | Tier 4: - SMOF LC-LC
ITR-E-29 Cat 6 Communication Cable | checklist |  |  | Tier 4: PP1/1 - NSA001-1/3 - CAT6
ITR-E-29 Cat 6 Communication Cable | checklist |  |  | Tier 4: PP1/2 - NSA001-1/4 - CAT6
ITR-E-29 Cat 6 Communication Cable | checklist |  |  | Tier 4: PP1/3 - NSA001-1/5 - CAT6
ITR-E-29 Cat 6 Communication Cable | checklist |  |  | Tier 4: PP1/4 - NSA001-1/6 - CAT6
| step |  |  | Tier 3: Cable Support
ITR-E-02B Cable Supports Above Ground | checklist |  |  | Tier 4: Above Ground Cable Support
| step |  |  | Tier 3: Electrical Installations
| step |  |  | Tier 4: Motors
ITR-E-13 Motors | checklist |  |  | Tier 5: Rig Active Charge Pump - MP02-M02-PU144
ITR-E-13 Motors | checklist |  |  | Tier 5: Active Tank Sump Pump #2 -MP02-M02-PU125
ITR-E-13 Motors | checklist |  |  | Tier 5: Active Tank Agitator #1 - MP02-M02-AG144
ITR-E-13 Motors | checklist |  |  | Tier 5: Active Tank Agitator #2 - MP02-M02-AG145
| step |  |  | Tier 4: Local Control Stations
ITR-E-45 Local Control Station | checklist |  |  | Tier 5: Active Tank 2 LCS
| step |  |  | Tier 4: Decontactors
ITR-E-01 General Electrical Equipment | checklist |  |  | Tier 5: Active Tank 02 Sump Pump #1 - Outlet
ITR-E-01 General Electrical Equipment | checklist |  |  | Tier 5: Active Tank 02 LCS - Outlet
ITR-E-01 General Electrical Equipment | checklist |  |  | Tier 5: Active Tank 02 Sump Pump #1 Thermistor - Outlet
ITR-E-01 General Electrical Equipment | checklist |  |  | Tier 5: Active Tank 02 Incomer - Outlet
| step |  |  | Tier 4: Switchroom
ITR-E-55 HVAC System | checklist |  |  | Tier 5: HVAC - AC01
ITR-E-56 Fire Detection System | checklist |  |  | Tier 5: Fire Protection System
ITR-E-01 General Electrical Equipment | checklist |  |  | Tier 5: Power Outlets
ITR-E-01 General Electrical Equipment | checklist |  |  | Tier 5: Light Switches
ITR-E-01 General Electrical Equipment | checklist |  |  | Tier 5: Active Charge Pump VSD - MP02-M02-PU144-VSD
ITR-E-01 General Electrical Equipment | checklist |  |  | Tier 5: Sump Pump VSD - MP02-M02-PU125-VSD
ITR-E-09 Electrical Switch Rooms | checklist |  |  | Tier 5: Electrical Switchroom
| step |  |  | Tier 4: Lighting
ITR-E-48 General Lighting | checklist |  |  | Tier 5: Internal Lighting
ITR-E-48 General Lighting | checklist |  |  | Tier 5: External Lighting
| step |  |  | Tier 3: Earthing
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
| step |  |  | Tier 2: Active Tank 04
| step |  |  | Tier 3: Instruments
| step |  |  | Tier 4: LIT-12531
ITR-I-16 Level Instrument Installation | checklist |  |  | Tier 5: LIT-12531 - MP02-M02-TK146 LEVEL TX 1
ITR-I-07 Instrument Calibration | checklist |  |  | Tier 5: ITR-I-07 Instrument Calibration
| step |  |  | Tier 4: LIT-12532
ITR-I-16 Level Instrument Installation | checklist |  |  | Tier 5: LIT-12532 - MP02-M02-TK0147 LEVEL TX 1
ITR-I-07 Instrument Calibration | checklist |  |  | Tier 5: ITR-I-07 Instrument Calibration
| step |  |  | Tier 4: PIT-12533
ITR-I-15 Pressure Instrument Installation | checklist |  |  | Tier 5: PIT-12533 - MP02-M02-TK147 CHARGE PUMP #3 DISCHARGE PRESSURE TRANSMITTER
ITR-I-07 Instrument Calibration | checklist |  |  | Tier 5: ITR-I-07 Instrument Calibration
| step |  |  | Tier 4: PIT-12534
ITR-I-15 Pressure Instrument Installation | checklist |  |  | Tier 5: PIT-12534 - MP02-M02-TK147 CHARGE PUMP #3 SUCTION PRESSURE TRANSMITTER
ITR-I-07 Instrument Calibration | checklist |  |  | Tier 5: ITR-I-07 Instrument Calibration
ITR-I-13 Temperature Instrument Installation | checklist |  |  | Tier 4: TX-03 - MP02-M02-ST156 ROOM TEMPERATURE
| step |  |  | Tier 3: Cables
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: PU146-LV156-P1 - 35mm2 3x35+E10 FIRSTFLEX CU/X90/SPVC
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: PU146-LV156-C1 - 1.5mm2 16C+E
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: PU146-LV156-P2 - 35mm2 4G35+(2x1.5) SERVO FD 796 CP
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: PU146-LV156-C2 - 1.5mm2 6C+E
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: PU126-LV156-P1 - 35mm2 3x35+E10 FIRSTFLEX CU/X90/SPVC
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: PU126-LV156-I1 - 1.5mm2 1PR/D
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: PU126-LV156-C1 - 1.5mm2 16C+E
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: PU126-LV156-P2 - 35mm2 4G35+(2x1.5) SERVO FD 796 CP
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: PU126-LV156-C2 - 1.5mm2 6C+E
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: AG146-LV156-P1 - 3PH+E (10mm2)
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: AG146-LV156-C1 - 1.5mm2 6C+E
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: AG147-LV156-P1 - 3PH+E (10mm2)
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: AG147-LV156-C1 - 1.5mm2 6C+E
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: PLC156-LV156-P1 - 2.5mm2 2PH+E
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: ST156-LV156-P1 - 2.5mm2 2PH+E
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: ST156-LV156-P2- 2.5mm2 2PH+E
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: ST156-LV156-P3 - 2PH+E (6mm2) 6mm2
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: ST156-LV156-P4 - 2.5mm2 2PH+E
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: ST156-LV156-P5 - 2.5mm2 2PH+E
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: ST156-LV156-P6 - 2.5mm2 2PH+E
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: LIT12531-PLC156-I1 - 1PR/D 1.5mm2
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: LIT12532-PLC156-I1 - 1PR/D 1.5mm2
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: PIT12534-PLC156-I1 - 1PR/D 1.5mm2
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: PIT12533-PLC156-I1 - 1PR/D 1.5mm2
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: LV156-PLC156-I1 - 1PR/D 1.5mm2
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: SD02-PLC156-I1 - 1PR/D 1.5mm2
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: LV156-PLC156-I2 - 1PR/D 1.5mm2
ITR-I-21 - Instrument Cables | checklist |  |  | Tier 4: TX-03-PLC156-I1 - 1PR/D 1.5mm2
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: - 4x95+E35 95mm2
ITR-E-05 - Low Voltage Cable | checklist |  |  | Tier 4: - 4x95+E35 95mm2
ITR-E-29 Cat 6 Communication Cable | checklist |  |  | Tier 4: MP01-LV056-FB01/01 - SMOF LC-LC
ITR-E-29 Cat 6 Communication Cable | checklist |  |  | Tier 4: - SMOF LC-LC
ITR-E-29 Cat 6 Communication Cable | checklist |  |  | Tier 4: PP1/1 - NSA001-1/3 - CAT6
ITR-E-29 Cat 6 Communication Cable | checklist |  |  | Tier 4: PP1/2 - NSA001-1/4 - CAT6
ITR-E-29 Cat 6 Communication Cable | checklist |  |  | Tier 4: PP1/3 - NSA001-1/5 - CAT6
ITR-E-29 Cat 6 Communication Cable | checklist |  |  | Tier 4: PP1/4 - NSA001-1/6 - CAT6
| step |  |  | Tier 3: Cable Support
ITR-E-02B Cable Supports Above Ground | checklist |  |  | Tier 4: Above Ground Cable Support
| step |  |  | Tier 3: Electrical Installations
| step |  |  | Tier 4: Motors
ITR-E-13 Motors | checklist |  |  | Tier 5: Rig Active Charge Pump - MP02-M02-PU144
ITR-E-13 Motors | checklist |  |  | Tier 5: Active Tank Sump Pump #1 -MP02-M02-PU125
ITR-E-13 Motors | checklist |  |  | Tier 5: Active Tank Agitator #1 - MP02-M02-AG144
ITR-E-13 Motors | checklist |  |  | Tier 5: Active Tank Agitator #2 - MP02-M02-AG145
| step |  |  | Tier 4: Local Control Stations
ITR-E-45 Local Control Station | checklist |  |  | Tier 5: Active Tank 4 LCS
| step |  |  | Tier 4: Decontactors
ITR-E-01 General Electrical Equipment | checklist |  |  | Tier 5: Active Tank 4 Sump Pump #2 - Outlet
ITR-E-01 General Electrical Equipment | checklist |  |  | Tier 5: Active Tank 2 LCS - Outlet
ITR-E-01 General Electrical Equipment | checklist |  |  | Tier 5: Active Tank 4 Sump Pump #2 Thermistor - Outlet
ITR-E-01 General Electrical Equipment | checklist |  |  | Tier 5: Active Tank 4 Incomer - Outlet
| step |  |  | Tier 4: Switchroom
ITR-E-55 HVAC System | checklist |  |  | Tier 5: HVAC - AC02
ITR-E-56 Fire Detection System | checklist |  |  | Tier 5: Fire Protection System
ITR-E-01 General Electrical Equipment | checklist |  |  | Tier 5: Power Outlets
ITR-E-01 General Electrical Equipment | checklist |  |  | Tier 5: Light Switches
ITR-E-01 General Electrical Equipment | checklist |  |  | Tier 5: Active Charge Pump VSD - MP02-M02-PU146-VSD
ITR-E-01 General Electrical Equipment | checklist |  |  | Tier 5: Active Sump Pump - MP02-M02-PU126-VSD
ITR-E-09 Electrical Switch Rooms | checklist |  |  | Tier 5: Electrical Switchroom
| step |  |  | Tier 4: Lighting
ITR-E-48 General Lighting | checklist |  |  | Tier 5: Internal Lighting
ITR-E-48 General Lighting | checklist |  |  | Tier 5: External Lighting
| step |  |  | Tier 3: Earthing
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables
ITR-E-12 Electrical earthing | checklist |  |  | Tier 4: Earthing Cables