## matrix
Matrix Name | Dimension | Name | Type / Data Field | Tag 1 | Tag 2
Overall Progress
Scope
Rows
|  | Entire Village | dynamic | Entire Village
|  | SCU | dynamic | SCU
|  | Serviced Apartments | dynamic | Serviced Apartments
|  | Rest Home | dynamic | Rest Home
|  | Hospital | dynamic | Hospital
|  | Village Centre | dynamic | Village Centre
|  | Townhouses | dynamic | Townhouses
|  | Independent Apartments - Mallory | dynamic | Independent Apartments - Mallory
|  | Independent Apartments - Scott | dynamic | Independent Apartments - Scott
|  | Independent Apartments - Shackleton | dynamic | Independent Apartments - Shackleton
|  | Independent Apartments - Tenzing | dynamic | Independent Apartments - Tenzing
|  | Independent Apartments - Cook | dynamic | Independent Apartments - Cook
|  | Independent Apartments - Everest | dynamic | Independent Apartments - Everest
|  | Independent Apartments - Ross | dynamic | Independent Apartments - Ross
|  | Independent Apartments - Nepal | dynamic | Independent Apartments - Nepal
Columns
|  | QA Completed |  | Nurse Call Solutions - NZ - Edmund Hillary Audit Repairs
Detailed Progress
Scope
Rows
|  | Entire Village | dynamic | Entire Village
|  | SCU | dynamic | SCU
|  | Serviced Apartments | dynamic | Serviced Apartments
|  | Rest Home | dynamic | Rest Home
|  | Hospital | dynamic | Hospital
|  | Village Centre | dynamic | Village Centre
|  | Townhouses | dynamic | Townhouses
|  | Independent Apartments - Mallory | dynamic | Independent Apartments - Mallory
|  | Independent Apartments - Scott | dynamic | Independent Apartments - Scott
|  | Independent Apartments - Shackleton | dynamic | Independent Apartments - Shackleton
|  | Independent Apartments - Tenzing | dynamic | Independent Apartments - Tenzing
|  | Independent Apartments - Cook | dynamic | Independent Apartments - Cook
|  | Independent Apartments - Everest | dynamic | Independent Apartments - Everest
|  | Independent Apartments - Ross | dynamic | Independent Apartments - Ross
|  | Independent Apartments - Nepal | dynamic | Independent Apartments - Nepal
Columns
|  | Bedroom light is not working when DCS is active - please check |  | Bedroom light is not working when DCS is active - please check (Attach Photos)
|  | Change ALL Call Points in the Apartment to have Red inserts |  | Change ALL Call Points in the Apartment to have Red inserts (Attach Photos)
|  | Change Call Point insert from green to red |  | Change Call Point insert from green to red (Attach Photos)
|  | Change Ensuite Toilet Call Point Faceplate to a Red Emergency Call Faceplate |  | Change Ensuite Toilet Call Point Faceplate to a Red Emergency Call Faceplate (Attach Photos)
|  | Change Ensuite Toilet Call Point insert from Green to Red |  | Change Ensuite Toilet Call Point insert from Green to Red (Attach Photos)
|  | Change Ensuite Toilet from Emergency Call Point to a Resident Call Point |  | Change Ensuite Toilet from Emergency Call Point to a Resident Call Point (Attach Photos)
|  | Change Floor Pressure Mat connection cable, as it is damaged |  | Change Floor Pressure Mat connection cable, as it is damaged (Attach Photos)
|  | Change Guest Bedroom Call Point Faceplate to a Red Emergency Call Faceplate |  | Change Guest Bedroom Call Point Faceplate to a Red Emergency Call Faceplate (Attach Photos)
|  | Change Guest Bedroom Call Point insert from Green to Red |  | Change Guest Bedroom Call Point insert from Green to Red (Attach Photos)
|  | Change Guest Toilet Call Point Faceplate from Green to Red |  | Change Guest Toilet Call Point Faceplate from Green to Red (Attach Photos)
|  | Change Guest Toilet Call Point Faceplate to a Red Emergency Call Faceplate |  | Change Guest Toilet Call Point Faceplate to a Red Emergency Call Faceplate (Attach Photos)
|  | Change Guest Toilet Call Point insert from Green to Red |  | Change Guest Toilet Call Point insert from Green to Red (Attach Photos)
|  | Change Guest WC Call Point insert from Green to Red |  | Change Guest WC Call Point insert from Green to Red (Attach Photos)
|  | Change Lounge Call Point insert from Green to Red |  | Change Lounge Call Point insert from Green to Red (Attach Photos)
|  | Change Master Bedroom Bedhead Call Point Faceplate from Green to Red |  | Change Master Bedroom Bedhead Call Point Faceplate from Green to Red (Attach Photos)
|  | Change Master Bedroom Bedhead Call Point insert from Green to Red |  | Change Master Bedroom Bedhead Call Point insert from Green to Red (Attach Photos)
|  | Change Master Bedroom Call Point insert, should be Red |  | Change Master Bedroom Call Point insert, should be Red (Attach Photos)
|  | Change Splitter cable, as it is damaged |  | Change Splitter cable, as it is damaged (Attach Photos)
|  | Change Toilet Call Point Faceplate from Green to Red |  | Change Toilet Call Point Faceplate from Green to Red (Attach Photos)
|  | Change Toilet Call Point insert from Green to Red |  | Change Toilet Call Point insert from Green to Red (Attach Photos)
|  | Check Alarm generated by Bedhead Call Point - generating Resident Call when it should be Emergency Alarm |  | Check Alarm generated by Bedhead Call Point - generating Resident Call when it should be Emergency Alarm (Attach Photos)
|  | Check both entrances ODL's, as one failed |  | Check both entrances ODL's, as one failed (Attach Photos)
|  | Check both Smoke Detectors (HM), as they both failed to activate the alarm on Nurse Call Displays & Pagers |  | Check both Smoke Detectors (HM), as they both failed to activate the alarm on Nurse Call Displays and Pagers (Attach Photos)
|  | Check both Smoke Detectors (System Sensor), as they both failed to activate the alarm on Nurse Call Displays & Pagers |  | Check both Smoke Detectors (System Sensor), as they both failed to activate the alarm on Nurse Call Displays and Pagers (Attach Photos)
|  | Check both Smoke Detectors (System Sensors in the Hallway & Lounge), as they both failed to activate the alarm on Nurse Call Displays & Pagers |  | Check both Smoke Detectors (System Sensors in the Hallway and Lounge), as they both failed to activate the alarm on Nurse Call Displays and Pagers (Attach Photos)
|  | Check both Smoke Detectors (VST in Hallway & HM in the Lounge), as they both failed to activate the alarm on Nurse Call Displays & Pagers |  | Check both Smoke Detectors (VST in Hallway and HM in the Lounge), as they both failed to activate the alarm on Nurse Call Displays and Pagers (Attach Photos)
|  | Check both Smoke Detectors (VST), as they both failed to activate the alarm on Nurse Call Displays & Pagers |  | Check both Smoke Detectors (VST), as they both failed to activate the alarm on Nurse Call Displays and Pagers (Attach Photos)
|  | Check Call Point - Failed to generate any alarm, should be an Emergency Call Alarm |  | Check Call Point - Failed to generate any alarm, should be an Emergency Call Alarm (Attach Photos)
|  | Check Call Point - requires hard pressing to activate |  | Check Call Point - requires hard pressing to activate (Attach Photos)
|  | Check Call Point by the Bar, as it failed |  | Check Call Point by the Bar, as it failed (Attach Photos)
|  | Check Corded Pendant, as it failed |  | Check Corded Pendant, as it failed (Attach Photos)
|  | Check DCS - failed to track movements inside the room |  | Check DCS - failed to track movements inside the room (Attach Photos)
|  | Check DCS panel at door - shows incorrect movements |  | Check DCS panel at door - shows incorrect movements (Attach Photos)
|  | Check Displays in the Hallway near Room 228, one looks like it has no power |  | Check Displays in the Hallway near Room 228, one looks like it has no power (Attach Photos)
|  | Check Door alarm - activates after a long delay (30 Seconds) when DCS is active |  | Check Door alarm - activates after a long delay (30 Seconds) when DCS is active (Attach Photos)
|  | Check Ensuite Shower Pull Cord reassurance LED, as it failed |  | Check Ensuite Shower Pull Cord reassurance LED, as it failed (Attach Photos)
|  | Check Ensuite Shower Pull Cord reassurance LED, as it's not working when the alarm is active |  | Check Ensuite Shower Pull Cord reassurance LED, as it's not working when the alarm is active (Attach Photos)
|  | Check Ensuite Shower Pull Cord, as it failed |  | Check Ensuite Shower Pull Cord, as it failed (Attach Photos)
|  | Check Ensuite Shower Pull Cord, as it is failing intermittently |  | Check Ensuite Shower Pull Cord, as it is failing intermittently (Attach Photos)
|  | Check Ensuite Shower Pull Cord, it fails intermittently |  | Check Ensuite Shower Pull Cord, it fails intermittently (Attach Photos)
|  | Check Floor Pressure mat, as it failed |  | Check Floor Pressure mat, as it failed (Attach Photos)
|  | Check Guest Bedroom Bedhead Pendant removal alarm, as it failed |  | Check Guest Bedroom Bedhead Pendant removal alarm, as it failed (Attach Photos)
|  | Check Guest Showers Pull Cord Call Point, as it is not securely mounted |  | Check Guest Showers Pull Cord Call Point, as it is not securely mounted (Attach Photos)
|  | Check Guest Toilet Call Point - requires hard pressing to activate |  | Check Guest Toilet Call Point - requires hard pressing to activate (Attach Photos)
|  | Check Long Range Wireless Pendant alarm, as it does not display on the Pagers |  | Check Long Range Wireless Pendant alarm, as it does not display on the Pagers (Attach Photos)
|  | Check Lounge Smoke Detector (System Sensor), as it failed to activate the alarm on Nurse Call Displays & Pagers |  | Check Lounge Smoke Detector (System Sensor), as it failed to activate the alarm on Nurse Call Displays and Pagers (Attach Photos)
|  | Check Master Bedroom Bedhead Call Point - requires hard pressing to activate |  | Check Master Bedroom Bedhead Call Point - requires hard pressing to activate (Attach Photos)
|  | Check Master Bedroom Bedhead Call Point, as the pendent removal alarm failed |  | Check Master Bedroom Bedhead Call Point, as the pendent removal alarm failed (Attach Photos)
|  | Check Master Bedroom Bedhead Pendant removal alarm, as it failed |  | Check Master Bedroom Bedhead Pendant removal alarm, as it failed (Attach Photos)
|  | Check Master Bedroom Call Point - requires hard pressing to activate |  | Check Master Bedroom Call Point - requires hard pressing to activate (Attach Photos)
|  | Check Nurse Presence Call Point - it's not working & causes the virtual Staff Assist alarm to fail as well |  | Check Nurse Presence Call Point - it's not working and causes the virtual Staff Assist alarm to fail as well (Attach Photos)
|  | Check ODL - brightness is very low & hardly visible |  | Check ODL - brightness is very low and hardly visible (Attach Photos)
|  | Check ODL - illuminates Red for Staff Assist and/or Resident Call Alarm - should be Flashing Yellow for Staff Assist & Solid Yellow for Resident Call |  | Check ODL - illuminates Red for Staff Assist and/or Resident Call Alarm - should be Flashing Yellow for Staff Assist and Solid Yellow for Resident Call (Attach Photos)
|  | Check ODL, as it failed |  | Check ODL, as it failed (Attach Photos)
|  | Check ODL, as it is failing intermittently |  | Check ODL, as it is failing intermittently (Attach Photos)
|  | Check Pendant removal alarm - activates after a long delay |  | Check Pendant removal alarm - activates after a long delay (Attach Photos)
|  | Check Pendant removal alarm, as it failed |  | Check Pendant removal alarm, as it failed (Attach Photos)
|  | Check Pendant removal alarm, as it fails intermittently |  | Check Pendant removal alarm, as it fails intermittently (Attach Photos)
|  | Check reassurance LED on Bedroom & WC Call Points, very dim & hardly visible |  | Check reassurance LED on Bedroom and WC Call Points, very dim and hardly visible (Attach Photos)
|  | Check Reassurance Light in Master Bedroom Bedhead Call Point, failed when alarm is active |  | Check Reassurance Light in Master Bedroom Bedhead Call Point, failed when alarm is active (Attach Photos)
|  | Check Red Bedhead Call Point, this is activating a Resident Call Alarm & should be activating an Emergency Call Alarm |  | Check Red Bedhead Call Point, this is activating a Resident Call Alarm and should be activating an Emergency Call Alarm (Attach Photos)
|  | Check Short-Range pendant, as it fails intermittently |  | Check Short-Range pendant, as it fails intermittently (Attach Photos)
|  | Check Short-Range wireless pendant, as it failed |  | Check Short-Range wireless pendant, as it failed (Attach Photos)
|  | Check Shower Pull Cord reassurance LED, as it failed |  | Check Shower Pull Cord reassurance LED, as it failed (Attach Photos)
|  | Check Shower Pull Cord reassurance LED, as it is not working |  | Check Shower Pull Cord reassurance LED, as it is not working (Attach Photos)
|  | Check Shower Pull Cord reassurance LED, it's not working |  | Check Shower Pull Cord reassurance LED, it's not working (Attach Photos)
|  | Check Shower Pull Cord, as it failed |  | Check Shower Pull Cord, as it failed (Attach Photos)
|  | Check Shower Pull Cord, as it is failing intermittently |  | Check Shower Pull Cord, as it is failing intermittently (Attach Photos)
|  | Check Shower Pull Cord, as reassurance LED failed |  | Check Shower Pull Cord, as reassurance LED failed (Attach Photos)
|  | Check Shower Pull Cord, it gets stuck during pull test & needs to be manually pushed back to reset the alarm |  | Check Shower Pull Cord, it gets stuck during pull test and needs to be manually pushed back to reset the alarm (Attach Photos)
|  | Check Smoke Detector (HM) in the Hallway, as it failed the Smoke Test |  | Check Smoke Detector (HM) in the Hallway, as it failed the Smoke Test (Attach Photos)
|  | Check Staff Assist Alarm, as it failed |  | Check Staff Assist Alarm, as it failed (Attach Photos)
|  | Check Staff Assist alarm, it's not working |  | Check Staff Assist alarm, it's not working (Attach Photos)
|  | Check Staff Assist alarm, text description is wrong on the displays - shows "H208" |  | Check Staff Assist alarm, text description is wrong on the displays - shows "H208" (Attach Photos)
|  | Check Staff Assist alarm, text description is wrong on the displays - shows "H3 Rm455" |  | Check Staff Assist alarm, text description is wrong on the displays - shows "H3 Rm455" (Attach Photos)
|  | Check Toilet Call Point, as it is not securely mounted |  | Check Toilet Call Point, as it is not securely mounted (Attach Photos)
|  | Check Toilet Call Point, as the cancel button is not working |  | Check Toilet Call Point, as the cancel button is not working (Attach Photos)
|  | Check wired pendant lead, as it failed |  | Check wired pendant lead, as it failed (Attach Photos)
|  | Clean enclosure & remove junk from floor |  | Clean enclosure and remove junk from floor (Attach Photos)
|  | Clean the display, as it is dirty |  | Clean the display, as it is dirty (Attach Photos)
|  | Connect Gym Call Point to the ODL at the Gym Entrance - inside the same area, so should work |  | Connect Gym Call Point to the ODL at the Gym Entrance - inside the same area, so should work (Attach Photos)
|  | Correct Nurse Presence Call Point - it is installed upside down |  | Correct Nurse Presence Call Point - it is installed upside down (Attach Photos)
|  | Displays as "Doctors Office", this needs to be updated |  | Displays as "Doctors Office", this needs to be updated (Attach Photos)
|  | Install ODL above Female Toilet Door |  | Install ODL above Female Toilet Door (Attach Photos)
|  | Install surrounding cover on the Bedhead Call Point |  | Install surrounding cover on the Bedhead Call Point (Attach Photos)
|  | Install surrounding cover on the Ensuite Toilet Call Point |  | Install surrounding cover on the Ensuite Toilet Call Point (Attach Photos)
|  | Install surrounding cover on the ODL |  | Install surrounding cover on the ODL (Attach Photos)
|  | Install surrounding cover on the Toilet Call Point |  | Install surrounding cover on the Toilet Call Point (Attach Photos)
|  | Install surrounding plate for the bed mat socket |  | Install surrounding plate for the bed mat socket (Attach Photos)
|  | Mount receiver onto the wall |  | Mount receiver onto the wall (Attach Photos)
|  | Programme all Annunciators in the Village with text scrolling |  | Programme all Annunciators in the Village with text scrolling (Attach Photos)
|  | Provide longer corded pendant, as resident advises current 1.5m pendant only just reaches across |  | Provide longer corded pendant, as resident advises current 1.5m pendant only just reaches across (Attach Photos)
|  | Remove the Miracle RF Wireless Pendant Receiver that is installed, as the resident does not have a wireless pendant |  | Remove the Miracle RF Wireless Pendant Receiver that is installed, as the resident does not have a wireless pendant (Attach Photos)
|  | Replace 12V Battery & label with the replacement date |  | Replace 12V Battery and label with the replacement date (Attach Photos)
|  | Replace battery on Short Range Wireless Pendant - still working, but activation LED on pendant is dim |  | Replace battery on Short Range Wireless Pendant - still working, but activation LED on pendant is dim (Attach Photos)
|  | Replace Bedhead Call Point - requires very hard pressing to activate |  | Replace Bedhead Call Point - requires very hard pressing to activate (Attach Photos)
|  | Replace Call Point in Ensuite Toilet - requires hard press to activate |  | Replace Call Point in Ensuite Toilet - requires hard press to activate (Attach Photos)
|  | Replace Call Socket on the Master Bedroom Bedhead Call Point, as It is broken |  | Replace Call Socket on the Master Bedroom Bedhead Call Point, as It is broken (Attach Photos)
|  | Replace Ensuite Toilet Call Point - requires very hard pressing to activate |  | Replace Ensuite Toilet Call Point - requires very hard pressing to activate (Attach Photos)
|  | Replace insert in the Ensuite Toilet Call Point, requires Green Insert |  | Replace insert in the Ensuite Toilet Call Point, requires Green Insert (Attach Photos)
|  | Replace Shower Pull Cord, as it requires to be manually pushed back up to rest position to cancel the call |  | Replace Shower Pull Cord, as it requires to be manually pushed back up to rest position to cancel the call (Attach Photos)
|  | Tidy wireless pendant cables |  | Tidy wireless pendant cables (Attach Photos)
|  | Tie up Ethernet connection cable that is hanging below the display |  | Tie up Ethernet connection cable that is hanging below the display (Attach Photos)