## Project Checklist Templates
Id | Type | Name | Values | Prompting Name
96329813-06d7-4adf-8f20-84e2d5e79799 | checklist | Prestart Inspections |  | Prestart Inspections
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
c1f44ef6-14a9-4252-95bc-7f8a0d62f09f | checkpoint | site has been cleaned in advance of our arrival on site
6dc2627e-1914-4e18-bff9-40515f1a204a | checkpoint | Walls are plumb and level
8136a33e-8b81-5600-9b1e-99da7157a6ca | note | IMPORTANT
948d0e44-0a77-40ef-b51b-f8cf0b36b1d4 | checkpoint | Tiling works running to programme - prior trades completed
8a5bb1b1-a0fe-4acd-a5e2-a4026d22044b | checkpoint | Gib compound and sanding cleaned up from rooms (prior to any works)
e63c232d-c9c5-4cd4-b266-67991907b8d0 | checkpoint | Task Analysis signed onto by tilers and provided to main contractor (PHOTO REQUIRED)
e6e51e12-f396-4c49-a757-64449a6bc292 | checkpoint | Data sheets, of products, are supplied on site with TA's
7e27614d-26a3-4c97-b632-86a59cb14141 | checkpoint | Inductions completed & Site Inspection checklist has been completed
56f84ee4-8884-4920-a537-baf2e7628ead | checkpoint | All tools tagged and tested - (photo's required)
127bed19-faa2-4c24-8067-b1a191d5ba9c | checkpoint | Tiler has current site safe - Input number and expiry
3ee22c31-47fe-41e6-87aa-4e09ce693887 | checkpoint | Tiler has correct PPE relevant to project.
85bfe64b-0fb6-4823-b3ca-7134b9d20f3b | checkpoint | Correct drawings being utilised by TAL Tiling. (Check on site for latest revision)
d1184917-e009-46df-8cd3-6890eedfc223 | checklist | QA - Counter faces/top |  | QA - Counter faces/top
d5373447-d4bd-417e-84f2-a67a037a8df5 | section | Counter Tiling
20a53e8a-87b4-4901-9e28-271ffe56a239 | checkpoint | Substrate straight, signed off by MC, and ready for installation (insert notes for remediation if required)
27691035-9074-41b7-89b6-9f8b02dd4c15 | checkpoint | Set out tiles and install as per drawings - Gold mosaic tiles
d7a10d09-a785-4fae-96f9-c3ddd6271b8f | checkpoint | Tiling is completed, checked and supervisor to sign on
542a4008-ea89-4d96-a425-b1e73744ccee | checkpoint | correct tile trim is supplied and installed as per drawings
db54324f-177d-4360-a6c2-6fecb9f45269 | checkpoint | silicone nominated is the correct colour and applied evenly and correctly
6e3f41c4-abe7-4b17-ae8a-ac6609884039 | checkpoint | Area left clean & tidy
85d04a54-406e-44d6-9218-abed1e76b4c8 | checkpoint | Builders clean completed
87d1d048-5eb6-44ac-a0b7-4c93d0e0b517 | checklist | QA - Other Information |  | QA - Other Information
9ceaa03f-0fd5-49c6-a83d-e67957366d17 | section | Other Information
f8fb4da5-314a-4366-b60d-57a04444bb78 | checkpoint | Variations or extra works added into folder - all works and materials noted. Use ISSUES tab.
66a60d95-9c30-457b-aeb0-2ec07553d01d | checkpoint | change of details and or instructions
24312f2f-381b-47a9-bb4c-4e25f529220e | checkpoint | Site specific details to be added
7cff23ce-4255-4f5a-b60c-11f846305c2b | checkpoint | Material Details - Notes to be added of materials used on site
7df33eea-d57e-4f21-9510-dbf1fe84c70d | checkpoint | SSSP/TA forms attached
f39b4f8f-c1ba-4a33-8f76-fa2dde1d06fe | checklist | QA - Shopfront tiling |  | QA - Shopfront tiling
c8a7cf7a-ef5e-4323-9b0a-f37d8a7ec350 | section | Shopfront tiling
eb067393-cb9b-433d-98fc-43972e1dbece | checkpoint | Substrate straight, signed off by MC, and ready for installation. (insert notes for remediation if required)
d273bb43-f652-433d-bdbd-e1ef28aa520e | checkpoint | Installation of tiles to shopfront and as per drawings
116d1e9c-c936-4a67-b2e3-40c024a30403 | checkpoint | Grouting is consistent, neat and cleaned from surface.
59e68988-edd4-4770-addc-711b521d3df0 | checkpoint | Tiling is completed, checked and supervisor to sign on
26df325b-5f2d-487b-9ab7-6aec9740241e | checkpoint | Silicone nominated is the correct colour and applied evenly and consistently
b3714e5e-1f07-4610-9b89-2311d25fbcbe | checkpoint | Correct tiles trim is supplied and installed as per drawings
fbe9709f-8445-4a1b-a22f-ca8f72f44362 | checkpoint | Area left clean & tidy
647dac9b-0ca5-4965-b91d-1fc2547a3836 | checkpoint | Builders clean completed