## to_add
Step Id | Warnings | State | Checklist Template | Type | addStep | addPost | Tier 1 | Tier 2 | Tier 3 | Tier 4 | Tier 5 | Tier 6
2dda6c6c-5777-4e76-9998-72071ae879bf |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - SMSB-1 | MSB - MSB-CP - Mains & Submains Installation - QES-ITC-E05-022
2d52192c-458c-41b5-9567-a83e8828ea74 |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - SMSB-2 | MSB - DB-FPR (FIRE PUMP ROOM) - Mains & Submains Installation - QES-ITC-E05-026
d927c330-e246-48b4-a526-5a717919dce4 |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - SMSB-2 | MSB - DB-WPR (WATER PUMP ROOM) - Mains & Submains Installation - QES-ITC-E05-027
4e4b1aab-0aa4-4162-842d-d516631e11ec |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - SMSB-2 | MSB - DB-SUB - Mains & Submains Installation - QES-ITC-E05-028
dcfc8d43-a362-4c4a-98ad-bb73f316086d |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - SMSB-2 | MSB - DB-SMSB - Mains & Submains Installation - QES-ITC-E05-029
4484cc23-ac0d-432f-963a-71857db6d438 |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - SMSB-2 | MSB - PFC UNIT - Mains & Submains Installation - QES-ITC-E05-030
6b1396d1-d0de-4af4-9c02-56018b57c39e |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - MDB-SA-1 | MSB - MSSB-02-2 (STAIR PRESS) - Mains & Submains Installation - QES-ITC-E05-031
b3c7e33d-00ed-422e-a082-2fc93bd16d2c |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - MDB-SA-1 | MSB - MSSB-02-1 (STAIR PRESS) - Mains & Submains Installation - QES-ITC-E05-032
d6fcb59b-3eab-42a9-b6e3-d111407697af |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - MDB-SA-1 | MSB - BOH LIFT - Mains & Submains Installation - QES-ITC-E05-033
60f7ee9d-8ddb-4e3f-acb0-c79062f2e03c |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - MDB-SA-1 | MSB - FOH LIFT 2 - Mains & Submains Installation - QES-ITC-E05-034
2be9c3f4-1f5b-4762-ad72-adc4341c36b5 |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - MDB-SA-1 | MSB - FOH LIFT 1 - Mains & Submains Installation - QES-ITC-E05-035
ee9f8451-a030-4474-975e-676c149141c7 |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - MDB-SA-1 | MSB - FDCIE - Mains & Submains Installation - QES-ITC-E05-036
8ae74558-218f-48b8-a022-f3acee8c28b1 |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - MDB-SA-1 | MSB - MSSB-01-2 (COMMS) - Mains & Submains Installation - QES-ITC-E05-037
e80d5f1b-3b53-4860-8fc1-aca5c96690f3 |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - MDB-SA-1 | MSB - MSSB-02-3 (MEDICAL GAS) - Mains & Submains Installation - QES-ITC-E05-038
cd4bff18-7192-4bc1-82eb-9cc439511b3b |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - MDB-SA-1 | MSB - UPS - Mains & Submains Installation - QES-ITC-E05-039
e7e6e929-7e5a-4302-8f32-336d0cb6430b |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - MDB-SA-1 | MSB - DB-UPS - Mains & Submains Installation - QES-ITC-E05-040
873b5f69-090d-47b9-b2df-1e41221b9f33 |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - MDB-SA-1 | MSB - B-H1 (HOT WATER) - Mains & Submains Installation - QES-ITC-E05-041
73911914-0426-4df4-b1f4-c7b94833d4b9 |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - MDB-SA-1 | MSB - B-H2 (HOT WATER) - Mains & Submains Installation - QES-ITC-E05-042
7230c5e7-918f-420f-b3aa-ab2ac44b5919 |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - MDB-SA-1 | MSB - DB-LG-K-NE - Mains & Submains Installation - QES-ITC-E05-043
eaaf9d00-c0c1-4e31-9090-14f6261e350f |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - MDB-SA-1 | MSB - DB-LG-1-E - Mains & Submains Installation - QES-ITC-E05-044
4d510253-dee9-4e32-97e1-8bd12fa45fd7 |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - MDB-SA-1 | MSB - DB-LG-2-E - Mains & Submains Installation - QES-ITC-E05-045
80965594-e622-4e77-acd8-d4743387f914 |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - MDB-SA-1 | MSB - DB-L1-1-E - Mains & Submains Installation - QES-ITC-E05-046
95c68dd3-b79e-4595-b597-ce195e9ec7c4 |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - MDB-SA-1 | MSB - DB-L1-2-E - Mains & Submains Installation - QES-ITC-E05-047
90323438-da6c-46a0-9d31-e8574397ea5b |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - MDB-SA-1 | MSB - DB-L2-1-E - Mains & Submains Installation - QES-ITC-E05-048
b0df3d60-0b14-497f-9c22-f8240231e81f |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - MDB-SA-1 | MSB - DB-L2-2-E - Mains & Submains Installation - QES-ITC-E05-049
6d86debf-905d-42cf-908e-455dd6390f15 |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - MDB-SA-1 | MSB - DB-LG-C-E - Mains & Submains Installation - QES-ITC-E05-050
96854e11-8a2a-430c-9908-e6bc19f2b5f6 |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - MDB-SA-2 - Cable Terminations - QES-ITC-E05-014 | MSB - MSSB-01-1 - Mains & Submains Installation - QES-ITC-E05-051
e5a4317f-30ba-4fc8-aad2-f87b2606f43f |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - MDB-SA-2 - Cable Terminations - QES-ITC-E05-014 | MSB - MSSB-02-4 - Mains & Submains Installation - QES-ITC-E05-052
5f59d2d1-6c7d-4dd9-8f5e-37368964e9ed |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - MDB-SA-2 - Cable Terminations - QES-ITC-E05-014 | MSB - DB-LG-1-NE - Mains & Submains Installation - QES-ITC-E05-053
096c675a-4642-4838-a0df-a34f27500e04 |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - MDB-SA-2 - Cable Terminations - QES-ITC-E05-014 | MSB - DB-LG-2-NE - Mains & Submains Installation - QES-ITC-E05-054
8a2a20e1-7ca6-4190-abdf-a43c8e93ce67 |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - MDB-SA-2 - Cable Terminations - QES-ITC-E05-014 | MSB - DB-L1-1-NE - Mains & Submains Installation - QES-ITC-E05-055
fafbe185-6f13-4d9d-92d2-aa362b379e36 |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - MDB-SA-2 - Cable Terminations - QES-ITC-E05-014 | MSB - DB-L1-2-NE - Mains & Submains Installation - QES-ITC-E05-056
a3e29072-c9a3-4334-bcc9-04e8a6abcc15 |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - MDB-SA-2 - Cable Terminations - QES-ITC-E05-014 | MSB - DB-L2-1-NE - Mains & Submains Installation - QES-ITC-E05-057
83c7b820-19ec-4fdc-9654-da95ff5f4a09 |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | MSB | MSB - MDB-SA-2 - Cable Terminations - QES-ITC-E05-014 | MSB - DB-L2-2-NE - Mains & Submains Installation - QES-ITC-E05-058
304e2215-ab2c-4ca5-b7d1-cd24a1c5d12f |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | DB | DB - DB-FPR | DB - MSSB-FPR-1 - Mains & Submains Installation - QES-ITC-E06-067
c55b5cf7-476f-430c-95c3-42fd7c87a30d |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | DB | DB - DB-WPR | DB - MSSB-PR-1 - Mains & Submains Installation - QES-ITC-E06-068
7fc0bdb6-f72c-4636-81f3-1b9cdacbe260 |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | DB | DB - DB-SUB | DB - MSSB-SUB-1 - Mains & Submains Installation - QES-ITC-E06-069
9c141867-85d2-43e0-be2f-033fb827738a |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | DB | DB - DB-SMSB | DB - MSSB-SUB-2 - Mains & Submains Installation - QES-ITC-E06-070
725caeb6-8d37-4ce8-8998-6b499e450a32 |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | DB | DB - DB-LG-1-NE | DB - RD - Mains & Submains Installation - QES-ITC-E06-071
4422e286-aeba-4315-afc2-67bbda19cb31 |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | UPS | UPS | UPS - DB-UPS - Mains & Submains Installation - QES-ITC-E11-034
3360dc38-2e7a-436a-9c7c-cfb8e6b3a1ae |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | UPS | DB-UPS | UPS - DB-LG-1-U - Mains & Submains Installation - QES-ITC-E11-023
12726043-f5a3-4374-8211-328d8b58266d |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | UPS | DB-UPS | UPS - DB-LG-2-U - Mains & Submains Installation - QES-ITC-E11-024
0275fe77-e382-458a-9c64-ce74b0c4a7e7 |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | UPS | DB-UPS | UPS - DB-L1-1-U - Mains & Submains Installation - QES-ITC-E11-025
f5e0328c-f65a-45e8-9285-a479354f24db |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | UPS | DB-UPS | UPS - DB-L1-2-U - Mains & Submains Installation - QES-ITC-E11-026
1c4d8d65-8188-4df3-b555-afa5e0163197 |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | UPS | DB-UPS | UPS - DB-L2-1-U - Mains & Submains Installation - QES-ITC-E11-027
7bce90e3-4f69-4f73-9265-9628a5b0ea92 |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | UPS | DB-UPS | UPS - DB-L2-2-U - Mains & Submains Installation - QES-ITC-E11-028
bd11a340-8d4e-48ff-a123-e2d178d4bae5 |  | not-started | Ω (Deprecated) QA_TEM_011_Mains & Submains Installation (Rev 0) | checklist | FALSE | FALSE | AIDP Ripley Sub-Acute Site QA | UPS | DB-UPS | UPS - DB-LG-C-U - Mains & Submains Installation - QES-ITC-E11-029