## Checklist Templates
Id | Type | Name | Values | Prompting Name | Resource Id
| checklist | Building Commissioning |  | Building Commissioning | e3817d0f-399c-4d8d-9ea0-daef5cff9ea5
| checkpoint | GCS - Structured Cabling - CAT6 / POL (photos Attached)
| checkpoint | PERS - Nurse Call (Photos Attached)
| checkpoint | ESS - CCTV (Photos Attached)
| checkpoint | ESS - Intercom (Photos Attached)
| checkpoint | ESS - Access Control (Photos Attached)
| checkpoint | Commission Fire Interface (Attach Photos)
| checklist | Completion Documents |  | Completion Documents | 226660e4-507f-4064-90bb-e76a7f521f31
| checkpoint | Producer statements PS3s
| checkpoint | As built plan
| checkpoint | O & M Manual
| checkpoint | Other required documents
| checklist | Fit off |  | Fit off | 104289b2-b0c5-4d33-9924-442e3468a9fd
| checkpoint | GCS - Structured Cabling (photos Attached)
| checkpoint | PERS - Nurse Call Fit Off (Photos Attached)
| checkpoint | ESS - Camera Fit Off (Photos Attached)
| checkpoint | ESS - Intercom Fit Off (Photos Attached)
| checkpoint | ESS - Access Control Fit Off (Photos Attached)
| checklist | Fit off |  | Fit off | ae1ccd37-057e-4afa-94cf-277d5eaa626a
| checkpoint | GCS - Structured Cabling (photos Attached)
| checkpoint | PERS - Nurse Call Fit Off (Photos Attached)
| checklist | Floor Commissioning |  | Floor Commissioning | 296a2a98-4c83-4612-acbd-03713025a673
| checkpoint | GCS - Structured Cabling (photos Attached)
| checkpoint | PERS - Nurse Call (Photos Attached)
| checkpoint | ESS - CCTV (Photos Attached)
| checkpoint | ESS - Intercom (Photos Attached)
| checkpoint | ESS - Access Control (Photos Attached)
| checklist | Install ADE - Apartment Distribution Enclosure |  | Install ADE - Apartment Distribution Enclosure | d38f3634-b5a8-4907-879e-e4327799deae
| checkpoint | Install PHD and All Equipments (Photo Attached)
| checkpoint | Micro Duct and Chorus Fibre Visual Check
| checkpoint | Test internal Cat 6/6A cables with Fluke DSX 5000 (Add Signature)
| checkpoint | test TV Cables with Televis Tester
| checkpoint | Fusion Splice and test with Fluke DSX 5000 (Add Signature)
| checklist | MATV Commissioning |  | MATV Commissioning | 3cc7d5d5-c098-4176-9bc8-7e421c23069d
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Common Area Data-MATV (photo)
| checkpoint | Lounge Data-MATV (photo)
| checkpoint | Bedroom Data-MATV (photo)
| checkpoint | TV Multi-Switch Bathroom (photo)
| checkpoint | Bedroom WAP (photo)
| checklist | MATV Fit off |  | MATV Fit off | 982cf558-cf30-4688-9978-53221ed9084a
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Common Area Data-MATV (photo)
| checkpoint | Lounge Data-MATV (photo)
| checkpoint | Bedroom Data-MATV (photo)
| checkpoint | TV Multi-Switch Bathroom (photo)
| checkpoint | Bedroom WAP (photo)
| checkpoint | Pair Testing-Scanning
| checklist | MATV Pre Wire |  | MATV Pre Wire | ea414d14-32cf-489e-bbad-db7b3cc75235
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Common Area Data-MATV (photo)
| checkpoint | Lounge Data-MATV (photo)
| checkpoint | Bedroom Data-MATV (photo)
| checkpoint | TV Multi-Switch Bathroom (photo)
| checkpoint | Bedroom WAP (photo)
| checklist | NC Commissioning |  | NC Commissioning | f61a47f9-981a-4041-8e63-5359bdb48cde
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Common Area callpoint (photo)
| checkpoint | Lounge Callpoint (photo)
| checkpoint | ODL (photo)
| checkpoint | Bed Sen 5 (photo)
| checkpoint | Bed Callpoint (photo)
| checkpoint | Bed Callpoint (photo)
| checkpoint | Toilet Callpoint (photo)
| checkpoint | Shower Callpoint (photo)
| checkpoint | DCS PIR (photo)
| checkpoint | DCS Unit (photo)
| checkpoint | DCS Reed Switch (photo)
| checkpoint | DCS Relay (photo)
| checklist | NC Fit off |  | NC Fit off | b771711b-716b-4e33-a6b6-ecb7f5a1b10b
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Common Area callpoint (photo)
| checkpoint | Lounge Callpoint (photo)
| checkpoint | ODL (photo)
| checkpoint | Bed Sen 5 (photo)
| checkpoint | Bed Callpoint (photo)
| checkpoint | Toilet Callpoint (photo)
| checkpoint | Shower Callpoint (photo)
| checkpoint | DCS PIR (photo)
| checkpoint | DCS Unit (photo)
| checkpoint | DCS Reed Switch (photo)
| checkpoint | DCS Relay (photo)
| checklist | NC Pre Wire |  | NC Pre Wire | 58446284-2ab3-424f-b0a5-d15d3ebfcf78
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Common Area callpoint (photo)
| checkpoint | Lounge Callpoint (photo)
| checkpoint | ODL (photo)
| checkpoint | Bed Sen 5 (photo)
| checkpoint | Bed Callpoint (photo)
| checkpoint | Toilet Callpoint (photo)
| checkpoint | Shower Callpoint (photo)
| checkpoint | DCS PIR (photo)
| checkpoint | DCS Unit (photo)
| checkpoint | DCS Reed Switch (photo)
| checkpoint | DCS Relay (photo)
| checklist | Pre Wire |  | Pre Wire | 1af9167a-6279-4b9d-b409-753098bfd1ba
| checkpoint | Area accessible & substrate acceptable
| checkpoint | Fixtures in place
| checkpoint | horizontal and Vertical Pathways
| checkpoint | Reticulation of Cables Complete (attached Photos)
| checkpoint | ADE
| checkpoint | Flush Box / Fire Box Installed (Photos Attached Of Fire Box)
| checkpoint | Attach Photos Of Fire proofing by Others on Fire Walls
| checkpoint | First Fix Completed
| checklist | Security Commissioning |  | Security Commissioning | 77270f72-ad1a-403e-936a-9e1869ef15d5
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Card Reader (photo)
| checkpoint | Press to Exit (photo)
| checkpoint | Break Glass (photo)
| checkpoint | Mag Lock (photo)
| checkpoint | Mortise Lock (photo)
| checkpoint | V Lock (photo)
| checkpoint | Fire Drop
| checklist | Security Fit off |  | Security Fit off | 07804c03-744f-45cc-a2b7-9b8ce83553ef
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Card Reader (photo)
| checkpoint | Press to Exit (photo)
| checkpoint | Break Glass (photo)
| checkpoint | Mag Lock (photo)
| checkpoint | Mortise Lock (photo)
| checkpoint | V Lock (photo)
| checklist | Security Pre Wire |  | Security Pre Wire | fdf1974d-d23a-4334-9eb6-794d4c7cf8fc
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Card Reader (photo)
| checkpoint | Press to Exit (photo)
| checkpoint | Break Glass (photo)
| checkpoint | Mag Lock (photo)
| checkpoint | Mortise Lock (photo)
| checkpoint | V Lock (photo)
| checklist | Terminated & Tested |  | Terminated & Tested | 885133a1-56b0-4d1c-b18d-807791abb238
| checkpoint | Visual Check and Cable Pairs Tested (Attach Visual checklist-flat)
| checkpoint | Terminations
| checkpoint | Testing
| checkpoint | ADE