## res
type | name | values | prefix | postfix | usage count | user addable | template name | Resource Id
checklist | 159MM ATLANTIC WINDOW | [5 empty] | 159MM ATLANTIC WINDOW (per window)
section | Details
checkpoint | Factory QA
checkpoint | Area clear and accessible
checkpoint | Openings correct and operational
checkpoint | Building/flashing tapes installed
checkpoint | Fixing angles/support bar installed as per spec
checkpoint | Fixings at nominated centres and sealed
checkpoint | PEF rod and int/ext seals complete
checkpoint | External flashings installed as required
checkpoint | Glazing installed to specification
checklist | 159MM ATLANTIC DOOR | [5 empty] | 159MM ATLANTIC DOOR (per door)
section | Details
checkpoint | Factory QA
checkpoint | Hardware installed as per spec
checkpoint | Area clear and accessible
checkpoint | Openings correct and operational
checkpoint | Building/flashing tapes installed
checkpoint | Fixing angles/support bar installed as per spec
checkpoint | Fixings at nominated centres and sealed
checkpoint | PEF rod and int/ext seals complete
checkpoint | External flashings installed as required
checkpoint | Glazing installed to specification
checklist | PACIFIC 41 WINDOW | [5 empty] | PACIFIC 41 WINDOW (per window)
section | Details
checkpoint | Factory QA
checkpoint | Area clear and accessible
checkpoint | Openings correct and operational
checkpoint | Building/flashing tapes installed
checkpoint | Fixing angles/support bar installed as per spec
checkpoint | Fixings at nominated centres and sealed
checkpoint | PEF rod and int/ext seals complete
checkpoint | External flashings installed as required
checkpoint | Glazing installed to specification
checklist | HANDOVER | [5 empty] | HANDOVER
section | Details
checkpoint | Items inspected and damage free
checkpoint | Protection tapes/ films installed
checkpoint | Hardware functional
checkpoint | Windows left clean
checkpoint | Remedial list completed
checkpoint | Handover keys