## Proj Structure
Tier 1 | Tier 2 | Tier 3 | Tier 4 | resource
Building 3
Building 3 | Ground Floor
Building 3 | Ground Floor | Module A
Building 3 | Ground Floor | Module A | Structure | Structure
Building 3 | Ground Floor | Module A | Plumbing and Drainage | Plumbing and Drainage
Building 3 | Ground Floor | Module A | Electrical and Mechanical - First Fix | Electrical and Mechanical - First Fix
Building 3 | Ground Floor | Module A | Exterior Work/Weather Tightness | Exterior Work/Weather Tightness
Building 3 | Ground Floor | Module A | Passive Fire - First Fix | Passive Fire - First Fix
Building 3 | Ground Floor | Module A | Internal Membrane - Waterproofing | Interior Fitout
Building 3 | Ground Floor | Module A | Interior Fitout | Packing and Shipment
Building 3 | Ground Floor | Module A | Packing and Shipment
Building 3 | Ground Floor | Module B
Building 3 | Ground Floor | Module B | Envelope Cassettes
Building 3 | Ground Floor | Module B | Interior Cassettes

## Proj Resources
type | name | values | prefix | postfix | Template Name | Template Id
checklist | Packing and Shipment |  |  |  | Packing and Shipment | 377396d3-d0e1-446e-bbc7-77c1ae96089e
checkpoint | Packing (WRAP using protective Film)
checkpoint | Internal packing
checkpoint | External packing (WRAP using protective film)
checkpoint | Lifting and Loading
checkpoint | Shipment
checklist | Electrical and Mechanical - Second Fix |  |  |  | Electrical and Mechanical - Second Fix | 4afe5b93-270a-4156-9e2b-89cc1190a175
section | Second Fix
checkpoint | Install distribution board
checkpoint | Install all powerpoints and light switchs
checkpoint | Install all lights
checkpoint | Install heat pumps
checkpoint | Install heat towel rail
checkpoint | Install mechanical ventalation/Bathroom/Laundary
checkpoint | Install oven/hob
checkpoint | Install wall heaters
checkpoint | Install smoke alarm
section | Testing
checkpoint | Visual inspection
checkpoint | Earth Resistance and Continuity inspection
checkpoint | Insulation Resistance Inspection
checkpoint | Polarity and Phase inspection
checkpoint | Correct Circuit connection
checkpoint | Final Functional Inspection
checklist | Electrical and Mechanical - First Fix |  |  |  | Electrical and Mechanical - First Fix | 50b8817d-73ad-411f-98b7-507dbd43c2a3
section | External Wall & Intertenancy wall & Marriage Wall - Structural/Fire
checkpoint | Install all flush boxes
checkpoint | Install all electrical cablings
checkpoint | Install all electrical conduit and draw wire
section | Internal Wall - Non structural
checkpoint | Install all flush boxes
checkpoint | Install all electrical cablings
checkpoint | Install all electrical conduit and draw wire
section | Ceiling Cassette
checkpoint | Install all electrical cablings
section | Module assembly
checkpoint | Connect all walls/ceiling electrical cables
checklist | Plumbing and Drainage |  |  |  | Plumbing and Drainage | 563b3b6d-b94a-4b2e-9c41-9d327e4efa51
section | First Fix
checkpoint | Floor Cassette
checkpoint | Install pipes
checkpoint | Module Assembly
checkpoint | Install connections
section | Second Fix
checkpoint | Install floor waste
checkpoint | Install toilet
checkpoint | Install basin
checkpoint | Install shower
checkpoint | Install sink
checkpoint | Install tub
section | Testing
checkpoint | Visual inspection
checkpoint | Air test
checkpoint | Water test
checklist | Exterior Work/Weather Tightness |  |  |  | Exterior Work/Weather Tightness | 9a9640fb-d078-4e29-b956-d7e388200ff2
section | Wraps, penetrations, windows / doors and flashings
checkpoint | Rigid Air Barrier (RAB)
checkpoint | Penetration
checkpoint | Insulation
checkpoint | GIB - WeatherLine
checkpoint | Windows and doors
checkpoint | Flashing and tapes
checklist | Structure |  |  |  | Structure | baf0985a-3287-4ce4-8f4d-7ee8138ee531
section | Floor Cassette
checkpoint | Structural Framing & Fixings
checkpoint | Floor sheeting
section | External Wall / Marriage Wall / Intertenancy Wall
checkpoint | Structural Framing & Fixings
checkpoint | Structural Sheet Bracing
checkpoint | Fire Lining 1st Layer
checkpoint | Fire Lining 2nd Layer
section | Internal wall
checkpoint | Structural Framing & Fixings
checkpoint | Standard/Single Layer Gib board
section | Ceiling cassette
checkpoint | Structural Framing & Fixings
checkpoint | Structural Sheet Bracing as required
checkpoint | Fire Lining 1st Layer
checkpoint | Fire Lining 2nd Layer
section | Module Assembly
checkpoint | Module Assembly
checkpoint | Structural Fixing & Services as per fabrication plan
section | Roof Assembly
checkpoint | Roof Assembly
checkpoint | Structural framing/trusses and Fixing
checklist | Passive Fire - First Fix |  |  |  | Passive Fire - First Fix | e42fe566-2592-4478-bf47-7a3a6548c6b8
section | First Fix
checkpoint | External wall & Intertenancy wall & Marriage wall
tickbox | Install fire dampers, collars and sealants
checkpoint | Ceiling Cassette
tickbox | Install fire dampers, collars and sealants
checkpoint | Module Assembly
tickbox | Install fire dampers, collars and sealants
section | Testing
checkpoint | Visual inspection and tag each penetration
checkpoint | Random destruction testing
checklist | Interior Fitout |  |  |  | Interior Fitout | fb6f7541-181a-4477-b097-d91f51967a1f
checkpoint | Complete internal wall lines
checkpoint | Complete all passive fire requirements
checkpoint | Mechanical ducts and ventilation (in ceiling casette)
checkpoint | Fire Sprinkler System (in ceiling casette)
checkpoint | False ceiling / bulkheads
checkpoint | Insulation
checkpoint | Internal Membrane - Waterproofing
checkpoint | Gib stopping
checkpoint | Acoustic floor
checkpoint | Internal Doors
checkpoint | Finishing Lines and Trims
checkpoint | Painting
checkpoint | Kitchen and bathroom joinery install
checkpoint | Tiling and waterproofing: Bathroom
checkpoint | Hardware
checkpoint | Plumber to confirm second fix plumbing complete
checkpoint | Electrician to confirm second fix electrical complete
checkpoint | Floor coverings