## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat |  |  | checklist | Packing and Shipment |  |  |  |  | Yes | Packing and Shipment | 377396d3-d0e1-446e-bbc7-77c1ae96089e
checkpoint-status |  |  | checkpoint | Packing (WRAP using protective Film)
checkpoint-status |  |  | checkpoint | Internal packing
checkpoint-status |  |  | checkpoint | External packing (WRAP using protective film)
checkpoint-status |  |  | checkpoint | Lifting and Loading
checkpoint-status |  |  | checkpoint | Shipment
checklist-sectioned |  |  | checklist | Electrical and Mechanical - Second Fix |  |  |  |  | Yes | Electrical and Mechanical - Second Fix | 4afe5b93-270a-4156-9e2b-89cc1190a175
checkpoint-group |  |  | section | Second Fix
checkpoint-status |  |  | checkpoint | Install distribution board
checkpoint-status |  |  | checkpoint | Install all powerpoints and light switchs
checkpoint-status |  |  | checkpoint | Install all lights
checkpoint-status |  |  | checkpoint | Install heat pumps
checkpoint-status |  |  | checkpoint | Install heat towel rail
checkpoint-status |  |  | checkpoint | Install mechanical ventalation/Bathroom/Laundary
checkpoint-status |  |  | checkpoint | Install oven/hob
checkpoint-status |  |  | checkpoint | Install wall heaters
checkpoint-status |  |  | checkpoint | Install smoke alarm
checkpoint-group |  |  | section | Testing
checkpoint-status |  |  | checkpoint | Visual inspection
checkpoint-status |  |  | checkpoint | Earth Resistance and Continuity inspection
checkpoint-status |  |  | checkpoint | Insulation Resistance Inspection
checkpoint-status |  |  | checkpoint | Polarity and Phase inspection
checkpoint-status |  |  | checkpoint | Correct Circuit connection
checkpoint-status |  |  | checkpoint | Final Functional Inspection
checklist-sectioned |  |  | checklist | Electrical and Mechanical - First Fix |  |  |  |  | Yes | Electrical and Mechanical - First Fix | 50b8817d-73ad-411f-98b7-507dbd43c2a3
checkpoint-group |  |  | section | External Wall & Intertenancy wall & Marriage Wall - Structural/Fire
checkpoint-status |  |  | checkpoint | Install all flush boxes
checkpoint-status |  |  | checkpoint | Install all electrical cablings
checkpoint-status |  |  | checkpoint | Install all electrical conduit and draw wire
checkpoint-group |  |  | section | Internal Wall - Non structural
checkpoint-status |  |  | checkpoint | Install all flush boxes
checkpoint-status |  |  | checkpoint | Install all electrical cablings
checkpoint-status |  |  | checkpoint | Install all electrical conduit and draw wire
checkpoint-group |  |  | section | Ceiling Cassette
checkpoint-status |  |  | checkpoint | Install all electrical cablings
checkpoint-group |  |  | section | Module assembly
checkpoint-status |  |  | checkpoint | Connect all walls/ceiling electrical cables
checklist-sectioned |  |  | checklist | Plumbing and Drainage |  |  |  |  | Yes | Plumbing and Drainage | 563b3b6d-b94a-4b2e-9c41-9d327e4efa51
checkpoint-group |  |  | section | First Fix
checkpoint-status |  |  | checkpoint | Floor Cassette
checkpoint-status |  |  | checkpoint | Install pipes
checkpoint-status |  |  | checkpoint | Module Assembly
checkpoint-status |  |  | checkpoint | Install connections
checkpoint-group |  |  | section | Second Fix
checkpoint-status |  |  | checkpoint | Install floor waste
checkpoint-status |  |  | checkpoint | Install toilet
checkpoint-status |  |  | checkpoint | Install basin
checkpoint-status |  |  | checkpoint | Install shower
checkpoint-status |  |  | checkpoint | Install sink
checkpoint-status |  |  | checkpoint | Install tub
checkpoint-group |  |  | section | Testing
checkpoint-status |  |  | checkpoint | Visual inspection
checkpoint-status |  |  | checkpoint | Air test
checkpoint-status |  |  | checkpoint | Water test
checklist-sectioned |  |  | checklist | Exterior Work/Weather Tightness |  |  |  |  | Yes | Exterior Work/Weather Tightness | 9a9640fb-d078-4e29-b956-d7e388200ff2
checkpoint-group |  |  | section | Wraps, penetrations, windows / doors and flashings
checkpoint-status |  |  | checkpoint | Rigid Air Barrier (RAB)
checkpoint-status |  |  | checkpoint | Penetration
checkpoint-status |  |  | checkpoint | Insulation
checkpoint-status |  |  | checkpoint | GIB - WeatherLine
checkpoint-status |  |  | checkpoint | Windows and doors
checkpoint-status |  |  | checkpoint | Flashing and tapes
checklist-sectioned |  |  | checklist | Structure |  |  |  |  | Yes | Structure | baf0985a-3287-4ce4-8f4d-7ee8138ee531
checkpoint-group |  |  | section | Floor Cassette
checkpoint-status |  |  | checkpoint | Structural Framing & Fixings
checkpoint-status |  |  | checkpoint | Floor sheeting
checkpoint-group |  |  | section | External Wall / Marriage Wall / Intertenancy Wall
checkpoint-status |  |  | checkpoint | Structural Framing & Fixings
checkpoint-status |  |  | checkpoint | Structural Sheet Bracing
checkpoint-status |  |  | checkpoint | Fire Lining 1st Layer
checkpoint-status |  |  | checkpoint | Fire Lining 2nd Layer
checkpoint-group |  |  | section | Internal wall
checkpoint-status |  |  | checkpoint | Structural Framing & Fixings
checkpoint-status |  |  | checkpoint | Standard/Single Layer Gib board
checkpoint-group |  |  | section | Ceiling cassette
checkpoint-status |  |  | checkpoint | Structural Framing & Fixings
checkpoint-status |  |  | checkpoint | Structural Sheet Bracing as required
checkpoint-status |  |  | checkpoint | Fire Lining 1st Layer
checkpoint-status |  |  | checkpoint | Fire Lining 2nd Layer
checkpoint-group |  |  | section | Module Assembly
checkpoint-status |  |  | checkpoint | Module Assembly
checkpoint-status |  |  | checkpoint | Structural Fixing & Services as per fabrication plan
checkpoint-group |  |  | section | Roof Assembly
checkpoint-status |  |  | checkpoint | Roof Assembly
checkpoint-status |  |  | checkpoint | Structural framing/trusses and Fixing
checklist-sectioned |  |  | checklist | Passive Fire - First Fix |  |  |  |  | Yes | Passive Fire - First Fix | e42fe566-2592-4478-bf47-7a3a6548c6b8
checkpoint-group |  |  | section | First Fix
checkpoint-status |  |  | checkpoint | External wall & Intertenancy wall & Marriage wall
boolean | 9e2730e5-41ca-5624-bd94-847c75d0c341 |  | tickbox | Install fire dampers, collars and sealants
checkpoint-status |  |  | checkpoint | Ceiling Cassette
boolean | 8f602e1c-4f13-5e6a-a54a-7239b0337625 |  | tickbox | Install fire dampers, collars and sealants
checkpoint-status |  |  | checkpoint | Module Assembly
boolean | 2f8857ab-a0f5-5592-ae98-a498fdeb2588 |  | tickbox | Install fire dampers, collars and sealants
checkpoint-group |  |  | section | Testing
checkpoint-status |  |  | checkpoint | Visual inspection and tag each penetration
checkpoint-status |  |  | checkpoint | Random destruction testing
checklist-flat |  |  | checklist | Interior Fitout |  |  |  |  | Yes | Interior Fitout | fb6f7541-181a-4477-b097-d91f51967a1f
checkpoint-status |  |  | checkpoint | Complete internal wall lines
checkpoint-status |  |  | checkpoint | Complete all passive fire requirements
checkpoint-status |  |  | checkpoint | Mechanical ducts and ventilation (in ceiling casette)
checkpoint-status |  |  | checkpoint | Fire Sprinkler System (in ceiling casette)
checkpoint-status |  |  | checkpoint | False ceiling / bulkheads
checkpoint-status |  |  | checkpoint | Gib stopping
checkpoint-status |  |  | checkpoint | Acoustic floor
checkpoint-status |  |  | checkpoint | Internal Doors
checkpoint-status |  |  | checkpoint | Finishing Lines and Trims
checkpoint-status |  |  | checkpoint | Painting
checkpoint-status |  |  | checkpoint | Kitchen and bathroom joinery install
checkpoint-status |  |  | checkpoint | Tiling and waterproofing: Bathroom
checkpoint-status |  |  | checkpoint | Hardware
checkpoint-status |  |  | checkpoint | Plumber to confirm second fix plumbing complete
checkpoint-status |  |  | checkpoint | Electrician to confirm second fix electrical complete
checkpoint-status |  |  | checkpoint | Floor coverings