## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-sectioned | 0a5fb4e5-bed2-4da8-89b2-0975f8a9717e |  | checklist | Flat Slabs Daily Cast |  |  |  |  | Yes | QA - Flat Slabs Daily Cast Checklist | 4278f37b-ca99-4fff-ae64-d0c496b56f64
checkpoint-group | 24f4570c-40e8-48d6-8591-f2d9c142dba0 |  | section | Details
checkpoint-status | 7e361514-8b15-4e4a-94c8-77bb8122dc5f |  | checkpoint | Photograph/Upload of latest drawing(s) attached (Office PM)
text | 1ba6443f-d009-532b-bac6-ddf4f4078218 |  | textbox | Item #s
checkpoint-group | aac5a018-c7fc-40d8-a66f-b4b2cc8539cc |  | section | Pre-pour QA
checkpoint-status | 598cb221-cbe6-4344-9830-aad7e830456e |  | checkpoint | Formwork Fixed Correctly
checkpoint-status | 9373a80d-ef54-4a0b-8eec-d2d58bc519a7 |  | checkpoint | Mould clean
checkpoint-status | abdd2680-616e-4faf-8380-531b405693e9 |  | checkpoint | Release oil applied correctly
checkpoint-status | 54e9fe63-0783-4c19-a41a-f42cf64764ae |  | checkpoint | Pre pour - Primary dimensions checked
text | 2b2f6ef0-2f0d-5763-89ec-e03dfcfcb518 |  | textbox | Length
text | 034edeff-fa46-53e9-a177-4f7d80f2cbf2 |  | textbox | Width
text | 339ddee2-66c3-5c09-bc46-7e1b5141e6b3 |  | textbox | Thickness
checkpoint-status | 83b5cb12-be12-423c-a907-a94166c97fca |  | checkpoint | Diagonal dimensions checked
checkpoint-status | 1f9ec59c-219c-410f-afff-bfc9bcb3d186 |  | checkpoint | Openings Checked and Correct
boolean | f5312139-15f8-5025-8417-703ddcd9a740 |  | tickbox | size
boolean | 94866fa2-faaa-5398-8b88-f9c1546fbba7 |  | tickbox | location
boolean | e7f235f9-7da3-5192-9fe6-93ad7c11de19 |  | tickbox | orientation
checkpoint-status | 2c963a07-6182-4fb7-90f2-576ef45a570e |  | checkpoint | Formwork chamfers installed correctly where required
checkpoint-status | ad72a860-9294-4f11-8e65-cbfdfecb9389 |  | checkpoint | Reinforcing placed correctly, checked and approved
boolean | 876c7172-55ee-5db1-a12d-bcb0ac669aa3 |  | tickbox | Correct Size and Type
boolean | 528bb62b-741a-5879-9cd4-809642044823 |  | tickbox | Laps and Splices correct
boolean | 843283f4-1c31-58b5-a1c3-33bf279e8f2d |  | tickbox | Cover Checked
boolean | b3f34ff2-3d51-5ddd-a7a0-79925db7ab9b |  | tickbox | Spacing Checked
checkpoint-status | 75f1334f-dd41-4aa2-b794-83a45030b72b |  | checkpoint | Stressing details entered
text | 34d275ea-c4ea-5eb7-a7ba-3ee3e566aeeb |  | textbox | Coil ID
text | 4736536e-b43b-5063-8ef6-5f72758252f0 |  | textbox | Number of strand
text | 81c5baec-5fc5-50bd-b32a-1c2794218f95 |  | textbox | Initial Stress
text | 3887e0d5-4a81-5b1b-b969-8698f0fed94e |  | textbox | Take up force
text | 70beb2e8-49a3-5a15-bde9-c877cc73f1fa |  | textbox | Full stress
text | 79cd8579-56f0-5182-bee2-a78a9a54bb71 |  | textbox | Stressing completed by – enter name
checkpoint-status | 8c42ef15-f624-484e-b74e-9fbaa1043d26 |  | checkpoint | Cast in items checked, correct (size and location
button | 4044cf33-faed-5ea6-8fbb-c98bbe0d323b |  | button | Weld Plates | Pass, N/A
button | 0656d631-e411-502d-95ac-6de4ab57c6d6 |  | button | Drossbach | Pass, N/A
button | 76f337ba-1591-5414-ba76-c75358d010e5 |  | button | PS Voids | Pass, N/A
button | 5056213b-aa80-501b-999d-4fdadc16c725 |  | button | TIM Inserts | Pass, N/A
button | 90d389c5-a2c1-5f54-88c1-87a6b97f806c |  | button | RB Coupler(s) | Pass, N/A
text | 2b372db6-fced-5ae2-a293-1490e308f2a1 |  | textbox | Other cast in items checked (if any)
checkpoint-status | 2a8f47c6-3144-4255-8cf1-ec7074951bb2 |  | checkpoint | Lifting Items inserted, checked and correct
boolean | 074493d7-92b9-535d-b3fe-0554f75fea8f |  | tickbox | Size
boolean | c2bd7f56-e394-5435-85aa-aebc8d5dc10c |  | tickbox | Location
checkpoint-status | 55773003-54b8-49ea-8d64-48e82b3074aa |  | checkpoint | Pre-Pour checks completed and approval given to pour
label | 5b5a06d7-a086-5508-94e6-eb6049fcf7e0 |  | note | Sufficient prepour photos attached HERE before selecting PASS
checkpoint-group | eb9807ce-c8db-482e-8dc0-f760c13f44eb |  | section | Pour QA
checkpoint-status | e6d9d1cb-135b-49e7-a53e-45026e510983 |  | checkpoint | Concrete Strength correct as per design (Attach photo of concrete docket)
boolean | a0d83049-7533-5ed1-9cfc-4dd54cf9c007 |  | tickbox | All Concrete Dockets Attached
checkpoint-status | 654950cf-c8bd-4d6b-a054-8880dc78f56a |  | checkpoint | Placement method correct (Attach any relevant photos)
text | 7a60c3c3-3ad4-589a-8057-d4909b004695 |  | textbox | Date item was cast
checkpoint-group | dc2f6acc-153f-43d7-a900-28317c2968da |  | section | Post pour/Pre delivery QA
checkpoint-status | 4250721c-1aa5-4774-8b18-8278be5740a6 |  | checkpoint | Post pour - Primary dimensions checked
text | 5bea883f-155a-5e14-841a-c7a8c1453e43 |  | textbox | Length
text | f33137bd-0c01-5448-9356-9f97bb343863 |  | textbox | Width
text | e830f70d-d96d-5911-8926-10ebb1964a64 |  | textbox | Thickness
checkpoint-status | 965cdd62-3e00-4067-b28c-98aeabe737b9 |  | checkpoint | Lifters Location Checked and approved
checkpoint-status | 977236b3-58f1-4b34-8cd1-fc6499a41b6b |  | checkpoint | Visual Check - Specified finish achieved
boolean | 08e4d9c4-91d7-5902-987f-a261a2f05118 |  | tickbox | U3
boolean | b2d62be6-c6f4-56d5-8c17-2675f93f07bd |  | tickbox | F5
boolean | 25eaf1f9-64de-51ce-b292-2e5301b773c2 |  | tickbox | Broom
boolean | 9e717253-0cea-5ad8-af6e-71fce75560a9 |  | tickbox | Exposed
text | 0a9db32e-f014-5f3f-8efc-f93cbb4ce490 |  | textbox | Other finish (if applicable) specified here
checkpoint-status | c3b55daa-f76a-437a-a80b-fa4f4ad6027c |  | checkpoint | Post Pour Works Completed
boolean | 3d94d202-4a08-526b-9d82-56462a24e7e3 |  | tickbox | Chamfers
boolean | f476566b-5951-5bf6-9b89-873f289da5a9 |  | tickbox | Openings (formwork removed)
boolean | 0737bda8-22b7-55d8-864b-d462a07043bb |  | tickbox | Nail Plates Removed
boolean | 040b23d7-0d93-5a11-a8d4-6a1c1b74f4b2 |  | tickbox | Lifter Recesses Removed
boolean | 562d43c2-3fb3-5397-bcf3-3c36de0149db |  | tickbox | Weld Plates Cleaned
boolean | 1ff1088b-8aff-56a6-99ac-4b611ccde402 |  | tickbox | RB Couplers Cleaned
boolean | ada32af1-3590-5f6d-a3dc-7b9b22ddf6be |  | tickbox | TIM Inserts Cleaned
boolean | 481fe732-b372-528c-ae97-d0b23024aac6 |  | tickbox | RB Grout Sleeves Cleaned
boolean | 178dbf72-c7c1-58c1-b267-90ac6d220066 |  | tickbox | Dross Bach Holes Drilled
checkpoint-status | 819ab14a-40aa-4206-8c96-e35573a116ae |  | checkpoint | Any Strongbacks Installed where required
checkpoint-status | 0c95e635-ea08-494e-bab2-f4734ea4db8f |  | checkpoint | Stressing details entered
text | 72cb56f0-6401-5103-9035-3e0f4857ba5b |  | textbox | Demoulding strength
text | 78ee3742-36ae-5114-9581-9dbaf44eacf7 |  | textbox | De-stressing by – enter name
checkpoint-status | 2c6b233c-f28f-4249-b3f3-07117aaf9aea |  | checkpoint | Defects identified and photographed and remedial work completed (if required)
checkpoint-status | a9169f33-ddcc-4ea1-8006-8d33a835f083 |  | checkpoint | All Post Pour Works complete - Checked, Approved and Ready for stacking
checklist-flat | ac4957b9-32fa-4537-987d-b20e9dbcee64 |  | checklist | Compliance Documentation |  |  |  |  | Yes | SYS - Compliance Documentation Checklist (V1) | 7fb4be0b-3f0d-4395-b87a-476ef1e21cf5
checkpoint-status | 7ada998a-e3ba-4b88-9a02-6ea5fd833bd8 |  | checkpoint | Concrete Test Results
label | f0b21ca5-e172-507b-a547-fd65b023c2bb |  | note | Pass once all test results for this project are attached
text | 34bc0204-ec53-5472-9f5b-efbd22cea575 |  | textbox | Concrete test requirements for this project
checkpoint-status | 98bff0a7-8174-4b83-9683-1f95b961d177 |  | checkpoint | Mill Certification
label | f6a70c42-03dc-567a-96bc-1f5be070c7d0 |  | note | Pass once all mill certs for this project are attached
checkpoint-status | d11f23bd-eaf5-4c4b-a2c1-4d436d719af8 |  | checkpoint | PS1 Attached (if applicable)
checkpoint-status | 6f62b49f-dbf4-4c17-b6a1-dff416aa7e88 |  | checkpoint | PS3 Attached (if applicable)
checkpoint-status | 66894e47-d525-4372-a18d-864e3aecb329 |  | checkpoint | PS4 Attached (if applicable)
checkpoint-status | 7e405b2b-3501-4f5a-9594-a3c5b7b4b87d |  | checkpoint | Reo Detail Sheets
label | 697f6f37-8aab-5a6c-818b-9390860e7528 |  | note | Pass once all reo details sheets for this project are attached
checklist-sectioned | 7c6db2e4-cad3-4512-9e4e-53f0fd57e421 |  | checklist | Stairs |  |  |  |  | Yes | QA - Stairs Checklist | b1106979-56ff-4bb4-8fbf-cff7c23681b7
checkpoint-group | 5a7b3e38-bbba-454e-9147-986f54c49242 |  | section | Details
checkpoint-status | 1d31bb63-950d-4a67-94d3-0ad9194f175b |  | checkpoint | Photograph/Upload of latest drawing attached (Office PM)
text | f7603f64-9bfc-5677-8fc4-c5235a4be086 |  | textbox | Drawing #
text | b651c89f-8e5a-5272-b3e8-9802e45210a3 |  | textbox | Revision #
checkpoint-group | 568e9707-c572-4951-a609-6bbaf1ad96fd |  | section | Pre-pour QA
checkpoint-status | e65e0408-4b68-4670-b658-82adab65ef95 |  | checkpoint | Formwork Fixed Correctly
checkpoint-status | e766d0d0-0d81-45a4-8ed0-1ed1d576e7da |  | checkpoint | Mould clean
checkpoint-status | ad3a41db-1f20-4653-80fa-9671974941cf |  | checkpoint | Release oil applied correctly
checkpoint-status | befc7af7-bb3f-43bf-b0cb-749f1b094102 |  | checkpoint | Pre pour - Primary dimensions checked
text | cb1ac29c-a64b-5db4-8ea5-38ad75ea1fe1 |  | textbox | Length
text | bda28b44-4f74-5375-994f-f3da4651426b |  | textbox | Width
text | 7105b79f-1a27-5f94-b0d5-1f0345854308 |  | textbox | Thickness
checkpoint-status | 6e39ecc6-1ddd-40c7-b369-5790ada5ba4c |  | checkpoint | Diagonal dimensions checked
checkpoint-status | fdb34850-e967-4a11-bffa-b57dc8927baf |  | checkpoint | Openings Checked and Correct
boolean | 0a8c84c3-46f4-51ea-a9cc-b80b85eb2961 |  | tickbox | size
boolean | 25a3c4a3-b1c4-5a30-86ce-7e1bbea0bb5e |  | tickbox | location
boolean | 78b5cbd6-3c41-5dc1-85f9-c34899c9c440 |  | tickbox | orientation
checkpoint-status | e4950e06-203b-45db-82fd-543c0c29c5f7 |  | checkpoint | Rebates Installed Correctly
checkpoint-status | da564293-702b-426f-b64c-a08840fb746e |  | checkpoint | Formwork chamfers installed correctly where required
checkpoint-status | 485928d7-0b71-4ccd-97ec-3d1c94901d22 |  | checkpoint | Reinforcing placed correctly, checked and approved
boolean | dbe0097f-3eb6-54c0-83a6-0eed534b9b69 |  | tickbox | Correct Size and Type
boolean | 4addc0bc-c8a4-53eb-ac88-5dc6bd314a1b |  | tickbox | Laps and Splices correct
boolean | 95d3c6f3-4981-5972-bd44-fc6b673641df |  | tickbox | Cover Checked
boolean | a663d5af-cf96-59ce-b77b-d5e7a17bb68b |  | tickbox | Spacing Checked
checkpoint-status | bc39b744-ac36-486a-a7fb-fdc261fb25d4 |  | checkpoint | Cast in items checked, correct (size and location
button | b5fc7d11-f111-5949-abf0-13073681ee8b |  | button | Weld Plates | Pass, N/A
button | 123a03e5-1db7-54bb-b317-f3b3b5eade82 |  | button | Drossbach | Pass, N/A
button | 878056f6-e45f-599a-824e-3f15fb4980a2 |  | button | PS Voids | Pass, N/A
button | 9a8ddbb3-4970-5001-bc29-ab9e99210314 |  | button | TIM Inserts | Pass, N/A
button | a0a4819a-18a9-56af-b5e3-dadb21052631 |  | button | RB Coupler(s) | Pass, N/A
text | c113ecc9-879b-555c-8460-4b18cbac00bd |  | textbox | Other cast in items checked (if any)
checkpoint-status | e1c53232-cc01-46c0-976b-5699ab517861 |  | checkpoint | Starter Bars inserted, checked and correct
boolean | fad7c1e8-5918-53f7-93bd-f010467c0334 |  | tickbox | Size
boolean | 9b679947-8bf7-583d-98c3-2fb2c28c00a6 |  | tickbox | Location
boolean | b6f47f1b-314d-56aa-9fd9-1ebd2a7eb3ac |  | tickbox | Spacing
checkpoint-status | 88f81219-8572-4e65-a49b-c614eb104a42 |  | checkpoint | Lifting Items inserted, checked and correct
boolean | 9f6c9737-c383-5e9a-aaa9-e677d64070b4 |  | tickbox | Size
boolean | af35abfc-7a21-5cd1-b597-19d1ced3c3f0 |  | tickbox | Location
checkpoint-status | c397d846-3946-48b1-92c3-2a0a9157286a |  | checkpoint | Pre-Pour checks completed and approval given to pour stairs
label | 400a5797-fcba-5ec0-8319-71754ee4b254 |  | note | Sufficient prepour photos attached HERE before selecting PASS
checkpoint-group | e74ca006-d007-4be8-9b7e-48306daeca0e |  | section | Pour QA
checkpoint-status | a75106f1-e9bd-46cf-86f7-a9a934100f45 |  | checkpoint | Concrete Strength correct as per design (Attach photo of concrete docket)
boolean | b01dfddb-64f7-5387-88a7-a8983a03e713 |  | tickbox | All Concrete Dockets Attached
checkpoint-status | 0d12c5c4-844d-4ba7-ac95-899258f050e6 |  | checkpoint | Placement method correct (Attach any relevant photos)
text | 06a28503-5796-5fe0-ba94-536bb95e1baf |  | textbox | Date item was cast
checkpoint-group | f9636836-e260-4af8-b661-0b6fe91d9eca |  | section | Post pour/Pre delivery QA
checkpoint-status | 829a8d11-8d8f-475d-9a41-709fed4c04da |  | checkpoint | Post pour - Primary dimensions checked
text | 6e8e8edf-d209-55a3-9e0a-e8afabee1a15 |  | textbox | Length
text | 84d073ac-d74d-522e-9afc-ee5f3e45d126 |  | textbox | Width
text | a9e0cf5a-7112-5638-ba61-f67143fa1807 |  | textbox | Thickness
checkpoint-status | 915c5309-c49b-4fd3-87ad-5d4242fb7868 |  | checkpoint | Lifters Location Checked and approved
checkpoint-status | 888bb24b-6bfa-4fea-bac8-baf4dd58a2ea |  | checkpoint | Visual Check - Specified finish achieved
boolean | 84b3c827-6e08-5d00-ad1b-fc304231611e |  | tickbox | U3
boolean | 58c14692-1643-5cb8-9d4b-b1cd9a249650 |  | tickbox | F5
boolean | a40e85de-02dc-59d6-91fc-557d58c0448b |  | tickbox | Broom
boolean | b743c3c3-becb-5d7f-81c5-d25bffa4266e |  | tickbox | Exposed
text | e37a497a-4949-5712-a612-54784ec5cb48 |  | textbox | Other finish (if applicable) specified here
checkpoint-status | ea06ac4f-4a24-4c0c-a401-c63c3c5b47f5 |  | checkpoint | Post Pour Works Completed
boolean | f222a645-f64b-533e-a842-07e41f71f3c2 |  | tickbox | Chamfers
boolean | 93261e51-23d0-5229-be34-a7468038ec2f |  | tickbox | Openings (formwork removed)
boolean | 2b02aba6-8e87-5f10-a709-a7ad15f17d46 |  | tickbox | Nail Plates Removed
boolean | ab2ddf56-ecff-54fb-bb30-334c85ae521c |  | tickbox | Lifter Recesses Removed
boolean | 10874048-130c-5836-bc48-da36be676360 |  | tickbox | Starter Bars Checked and Correct
boolean | d62eb8f3-e37d-54c3-b245-30919bd96b52 |  | tickbox | Weld Plates Cleaned
boolean | 7c07fe02-33d6-589b-9fdf-95f3b2275eee |  | tickbox | RB Couplers Cleaned
boolean | ccbf5468-6049-577e-a466-5c7fa56c2bc2 |  | tickbox | TIM Inserts Cleaned
boolean | 7108e72e-04d5-56b0-b1b3-4c2e197b61b7 |  | tickbox | RB Grout Sleeves Cleaned
boolean | 1cf7b916-04be-5545-b6c0-30dd49957239 |  | tickbox | Dross Bach Holes Drilled
checkpoint-status | 5f6882bb-84d0-4a94-a4f1-c450ea6a4d3a |  | checkpoint | Any Strongbacks Installed where required
checkpoint-status | 790c0414-7eeb-4328-8b66-1ce844aba8b1 |  | checkpoint | Defects identified and photographed and remedial work completed (if required)
checkpoint-status | cfcb7c17-881d-4ada-bb5d-934d7373359e |  | checkpoint | All Post Pour Works complete - Stairs Checked, Approved and Ready for stacking
checklist-sectioned | 44a280a2-f3c9-40b2-847d-faf1cb4de375 |  | checklist | Item Checklist |  |  |  |  | Yes | QA - Item Checklist (V6) | e170fec9-5344-408a-9587-02a17fc0597f
checkpoint-group | 7eaaad81-40b6-4967-8bc0-4758c1734832 |  | section | Details
checkpoint-status | 26f4f690-db3b-4848-9524-e9b1e0ac2973 |  | checkpoint | Photograph/Upload of latest drawing attached (Office PM)
text | b5d5eb31-fc7a-5c8c-955e-70774248fea9 |  | textbox | Drawing #
text | d5751c55-857e-526a-9b42-33a8237b2ef8 |  | textbox | Revision #
checkpoint-group | 371e0df6-f751-4faf-a3a3-b58fc93f4095 |  | section | Pre-pour QA
checkpoint-status | 862f3137-67eb-4c99-8e72-1b230594a846 |  | checkpoint | Formwork Fixed Correctly
checkpoint-status | b13c748a-7074-49d1-b615-692dd5eb4161 |  | checkpoint | Mould clean
checkpoint-status | 0f4a58dd-17eb-4042-b01f-0b2153bea8aa |  | checkpoint | Release oil applied correctly
checkpoint-status | f8f5e0e3-11b4-482e-841e-4e2ac3275b23 |  | checkpoint | Pre pour - Primary dimensions checked
text | 2595cc6b-b1b1-50bf-97fe-01bc68378993 |  | textbox | Length
text | 694e93e6-b5da-56c7-b8de-e16058d456e7 |  | textbox | Width
text | d5dbd046-5c25-5a11-8a79-c59bf6182e07 |  | textbox | Thickness
checkpoint-status | 0ce9e035-ef24-47f6-9e38-dcc57987a09b |  | checkpoint | Diagonal dimensions checked
checkpoint-status | d51374fb-3883-4c41-b4d1-827fe17e614d |  | checkpoint | Openings Checked and Correct
boolean | b2f01df5-8e2b-5edd-9521-f5da6ff7b53f |  | tickbox | size
boolean | adaa2144-059d-523c-9c57-041be3f3d226 |  | tickbox | location
boolean | b33295bd-8ebb-5846-b0a5-8056dc182514 |  | tickbox | orientation
checkpoint-status | f0440004-f8d3-4d58-a101-28e4ade2b1dc |  | checkpoint | Rebates Installed Correctly
checkpoint-status | 6099afb3-daa3-48f1-a5b4-0dac28b830cd |  | checkpoint | Formwork chamfers installed correctly where required
checkpoint-status | 6181ffba-97da-4767-870b-d8ff3a277fdb |  | checkpoint | Reinforcing placed correctly, checked and approved
boolean | ef0675d2-a340-5b96-ba9b-8d1b172ea8f7 |  | tickbox | Correct Size and Type
boolean | ccaabb8c-719a-560c-87b0-828faefcd8b0 |  | tickbox | Laps and Splices correct
boolean | b18da465-f4b3-5165-925f-c51c66283579 |  | tickbox | Cover Checked
boolean | 6c93d75c-af93-5d37-a8c3-dbe346bb2985 |  | tickbox | Spacing Checked
checkpoint-status | 1bad870b-730a-438b-bb84-e1d50bc3e055 |  | checkpoint | Cast in items checked, correct (size and location
button | fdbbfcf2-eecb-5f0b-bc65-3b7d69174147 |  | button | Weld Plates | Pass, N/A
button | 11e28ef8-73da-546d-b10b-7cc1a5b77834 |  | button | Drossbach | Pass, N/A
button | b8d015a0-c599-5ada-add2-7c2945d1452b |  | button | PS Voids | Pass, N/A
button | 76ce6577-cb9d-5ad3-a791-61f87f4c3dfb |  | button | TIM Inserts | Pass, N/A
button | f7d03714-75cb-5947-99ae-c61a0ad109d3 |  | button | RB Coupler(s) | Pass, N/A
text | 496b2395-30d8-57ac-816d-15efbb2fec13 |  | textbox | Other cast in items checked (if any)
checkpoint-status | 3343af17-d4bf-4c28-ab58-a8245d13c6b5 |  | checkpoint | Starter Bars inserted, checked and correct
boolean | 0905ba26-9b97-5748-bec0-21e061c0c0a9 |  | tickbox | Size
boolean | 04770404-93d2-5b6a-b7a7-e5b3c1bad481 |  | tickbox | Location
boolean | b5b96de9-77e4-5e29-b923-ac57677c3817 |  | tickbox | Spacing
checkpoint-status | 2f6d5dc4-8747-42e0-b7d8-f3cf35246541 |  | checkpoint | Lifting Items inserted, checked and correct
boolean | 6f2badfb-25be-53ab-a10c-438a8c2817f9 |  | tickbox | Size
boolean | d5ea591a-1621-5c8f-8dd8-c4b83dd97f7a |  | tickbox | Location
checkpoint-status | 7e702670-72f6-4a60-9808-7ccfc1af5287 |  | checkpoint | Check Minimum Cover
checkpoint-status | 975183d3-3eb5-4479-b6dc-00450c4ec44a |  | checkpoint | Pre-Pour checks completed and approval given to pour Item
label | c1dd113d-6282-5c90-b1d2-d5ad34744b1d |  | note | Sufficient prepour photos attached HERE before selecting PASS
checkpoint-group | 3791c2d1-a692-412d-a09b-8f325b96aa14 |  | section | Pour QA
checkpoint-status | 87e5c180-6b3a-4cee-9b23-91c804c68c42 |  | checkpoint | Concrete Strength correct as per design (Attach photo of concrete docket)
boolean | 10fa7489-4f19-5d79-ab7d-299f70d47903 |  | tickbox | All Concrete Dockets Attached
checkpoint-status | 086b0bfd-bde5-4819-b75f-1b5701849702 |  | checkpoint | Placement method correct (Attach any relevant photos)
text | e7d8e58c-1799-5825-9002-b1adef4518e2 |  | textbox | Date item was cast
checkpoint-group | 2ae3ac90-0471-405a-8c23-416a9dc54012 |  | section | Post pour/Pre delivery QA
checkpoint-status | 5b4636f0-4c6a-42a9-a4b5-4966ab3bfa5b |  | checkpoint | Post pour - Primary dimensions checked
text | 73efc40a-f122-57e2-a368-a68695b8b89a |  | textbox | Length
text | 9f29ca48-c21c-50ed-adbc-a40eb10348a2 |  | textbox | Width
text | 18e5625e-1864-52d5-a82e-0af82618c507 |  | textbox | Thickness
checkpoint-status | aa5382cc-e328-4339-8351-c7718d7dda79 |  | checkpoint | Lifters Location Checked and approved
checkpoint-status | 95f5b022-478c-4c31-baca-d53ff887bfd6 |  | checkpoint | Visual Check - Specified finish achieved
boolean | d452293f-70d5-52ea-9561-5f4271e568b9 |  | tickbox | U3
boolean | e5e540d9-28f6-52a3-b3d0-113f89651c8e |  | tickbox | F5
boolean | 9f9547c6-1aa0-58cd-a92a-730811e12917 |  | tickbox | Broom
boolean | 7c322d16-ef23-50cc-ab1c-a521ec3fa3db |  | tickbox | Exposed
text | c315832f-8b68-553f-a710-f15dd21d6b67 |  | textbox | Other finish (if applicable) specified here
checkpoint-status | e45bfb5a-3afb-443e-9eb6-258ba221317c |  | checkpoint | Post Pour Works Completed
boolean | fe4c208e-3bc7-5224-b784-c1f7cab62029 |  | tickbox | Chamfers
boolean | 8e96cf2e-28a7-5910-bbfb-a3b9d1093ae0 |  | tickbox | Openings (formwork removed)
boolean | 3dbc5749-411a-5d9f-8226-728a92292f6a |  | tickbox | Nail Plates Removed
boolean | d8b404e3-18a5-56b2-97d2-4fc6e7a8a146 |  | tickbox | Lifter Recesses Removed
boolean | 47b9202c-aeb9-57ce-bbc0-9089a792eab2 |  | tickbox | Starter Bars Checked and Correct
boolean | ea9fd9c5-7a83-5f49-890e-5532aab3ed61 |  | tickbox | Weld Plates Cleaned
boolean | 27338166-afa8-5ebe-8293-8557ca59938d |  | tickbox | RB Couplers Cleaned
boolean | 556bd751-2762-531d-aec7-74275d0317fe |  | tickbox | TIM Inserts Cleaned
boolean | 8c37fbda-8305-5539-b550-3b21f788afaa |  | tickbox | RB Grout Sleeves Cleaned
boolean | e5a89813-ac7c-5e45-b96a-4d971f60393c |  | tickbox | Dross Bach Holes Drilled
checkpoint-status | bc8b003e-1100-4b89-8142-a97c7565e075 |  | checkpoint | Any Strongbacks Installed where required
checkpoint-status | 9bc966d1-189b-4551-b08d-2c220ccb5b57 |  | checkpoint | Defects identified and photographed and remedial work completed (if required)
checkpoint-status | 82f69b49-5dce-44cc-b0ee-eceb2f7e962d |  | checkpoint | All Post Pour Works complete - Item Checked, Approved and Ready for stacking
checklist-flat | e79645ce-8fd4-4a71-bb47-4b44d81388f2 |  | checklist | Job Details |  |  |  |  | Yes | SYS - Job Details Checklist (V1) | ecb7b9a6-c017-4aa6-9f0b-87bedd9212c1
checkpoint-status | b389b164-359b-4fd5-b091-0e3809a071bc |  | checkpoint | Project details entered below
text | 873803eb-e6c3-521f-9590-ce09f3ec3b1d |  | textbox | Job File Number
text | cb0b9c48-d5e7-5fdf-8132-45f7303f14f1 |  | textbox | Project Name
text | f18ee58a-7919-5d91-a2f6-a7425b7b23b5 |  | textbox | Site Address
text | 8b40c4fe-4f2f-54df-864b-7782bcfdc916 |  | textbox | Main Contractor (e.g. Teak)
text | 4efdaea2-1f4f-5dfe-a2c4-6777a353d353 |  | textbox | Main Contractor POC
text | 7370a87f-c034-5b32-b9da-991872097040 |  | textbox | Structural Engineer
text | 1f0e9df3-63e4-5c86-b69f-2ccff2dd2c8f |  | textbox | Architect