## Structure
Tier 1 | Tier 2 | Tier 3 | Tier 4 | Tier 5 | Instruction to CONQA | Checklist Name
Site QA
Below Slab
|  | 1 - Gridline A – Comms 4 x 150. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 2 - Gridline A – Lightning Protection 2 x 50. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 3 - Gridline A-B – Low Voltage 3 x 50. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 4 - Gridline A-B – High Voltage 6 x 150. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 5 - Gridline A-B – High Voltage 2 x 50 + 2 x 150. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 6 - Gridline A-B – High Voltage 4 x 150 + 2 x 50. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 7 - Gridline A-D – High Voltage 4 x 150 + 3 x 150 + 2 x 50. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 8 - Gridline B-C – Low Voltage 10 x 150. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 9 - Gridline B-C – Low Voltage 7 x 150 + 2 x 50. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 10 - Gridline A – Comms 2 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 11 - Gridline B – Comms 1 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 12 - Gridline A-B – Low Voltage 1 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 13 - Gridline A-B – Low Voltage 1 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 14 - Gridline B – Low Voltage 1 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 15 - Gridline B – Low Voltage 1 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 16 - Gridline B-D – Low Voltage 1 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 17 - Gridline E-F – Low Voltage 13 x 100 + 2 x 50. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 18 - Gridline F-G – Low Voltage 12 x 100 + 2 x 50. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 19 - Gridline F-G – High Voltage 11 x 150. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 20 - Gridline F-G – Comms 1 x 150. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 21 - Gridline F-G – Low Voltage 1 x 150. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 22 - Gridline F-G – Comms 1 x 150. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 23 - Gridline G – Low Voltage 1 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 24 - Gridline G – Comms 1 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 25 - Gridline D-G – Low Voltage 1 x 80. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 26 - Gridline D-G – Low Voltage 1 x 80. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 27 - Gridline D-G – Low Voltage 1 x 80. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 28 - Gridline D-G – Low Voltage 1 x 50. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 29 - Gridline E-G – Comms 1 x 80. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 30 - Gridline E-G – Low Voltage 1 x 80. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 31 - Gridline E-D – Low Voltage 1 x 80. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 32 - Gridline E-D – Comms 1 x 80. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 33 - Gridline E-D – Low Voltage 1 x 80. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 34 - Gridline F-G – Comms 1 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 35 - Gridline F-G – Low Voltage 1 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 36 - Gridline G-I – High Voltage 12 x 100 + 2 x 50. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 37 - Gridline G – Low Voltage 6 x 150. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 38 - Gridline G-I – Low Voltage 6 x 150 + 1 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 39 - Gridline H – Comms 4 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 40 - Gridline H-I – Comms 1 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 41 - Gridline H-I – Comms 4 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 42 - Gridline I – Low Voltage 1 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 43 - Gridline I-K – Low Voltage 3 x 150. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 44 - Gridline J-K – Low Voltage 1 x 80. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 45 - Gridline J-K – Low Voltage 1 x 80. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 46 - Gridline K-L – Low Voltage 2 x 150. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 47 - Gridline L – Comms 1 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 48 - Gridline L – Low Voltage 1 x 150. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 49 - Gridline L – Low Voltage 1 x 80. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 50 - Gridline L – Comms 1 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 51 - Gridline H-I – Comms 4 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 52 - Gridline I-K – Comms 4 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 53 - Gridline H – Low Voltage 1 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 54 - Gridline H-L – Low Voltage 1 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 55 - Gridline J-L – Comms 1 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 56 - Gridline K-L – Low Voltage 1 x 80. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 57 - Gridline K-L – Low Voltage 1 x 80. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 58 - Gridline K-L – Comms 4 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 59 - Gridline K-L – Low Voltage 1 x 80. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 60 - Gridline K-L – Low Voltage 1 x 80. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 61 - Gridline K-L – Low Voltage 1 x 80. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 62 - Gridline K-L – Low Voltage 1 x 80. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 63 - Gridline K-L – Low Voltage 1 x 80. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 64 - Gridline K-L – Comms 1 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 65 - Gridline G-H – High Voltage 6 x 150 |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 66 - Gridline H-K – High Voltage 6 x 150. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 67 - Gridline H – Low Voltage 1 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 68 - Gridline G-H – Low Voltage 1 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 69 - Gridline G-I – Low Voltage 2 x 80. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 70 - Gridline H-I – Low Voltage 2 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 71 - Gridline G-H – Low Voltage 1 x 80. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 72 - Gridline G-J – Low Voltage 1 x 150. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 73 - Gridline H-I – Low Voltage 1 x 80. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 74 - Gridline H-I – Low Voltage 1 x 80. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 75 - Gridline H-J – Low Voltage 1 x 80. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 76 - Gridline I-J – Comms 1 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 77 - Gridline J-K – Low Voltage 1 x 80. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 78 - Gridline J-K – Low Voltage 2 x 100. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 79 - Gridline J – Low Voltage 1 x 80. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 80 - Gridline J – Low Voltage 1 x 80. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 81 - Gridline J – Low Voltage 1 x 80. |  |  | prepopulate this checklist: | Master Ducting Installation
|  | 82 - Gridline J-L – Low Voltage 1 x 80. |  |  | prepopulate this checklist: | Master Ducting Installation

## Checklists
type | name | values
checklist-flat | Master Ducting Installation
checkpoint | Trenching completed by others, requirements listed under C2115.2.
checkpoint | Underground wiring system minimum depth of cover achieved as per AS/NZS 3000:2004 table 3.6.
checkpoint | Bedding material selected and installed as per AS/NZS 3000:2007 3.11.4.2.
checkpoint | Category of Installation selected per specification and installed as per AS/NZS 3000:2007 3.11.3.
checkpoint | Clearance from other services maintained as per AS/NZS 3000:2007 3.9.8.4.
checkpoint | Mechanical protection selected and installed in accordance with category of underground wiring system.
checkpoint | Identifcation of underground wiring provided as per AS/NZ 3000:2007 3.11.4.5.
checkpoint | Duct penetrations to subfloor maintained as continuous as per C2100.2.3.
checkpoint | Long radius sweeps or bends used for all chnages in direction (elbows not acceptable) as per C2115.3.3.
checkpoint | Duct joints glued to prevent water ingress as per C2115.3.3.
checkpoint | Duct proved and draw wire installed as per C2115.3.3.
checkpoint | Ducts provided with suitable sized end caps to prevent the ingress of soil as per C2115.3.3.
checkpoint | Ducts cleaned of rocks/debris as per C2115.3.3.
checkpoint | Rubbish removed from trench prior to backfill.
checkpoint | Notice has been issued to BECA for inspection prior to back filling as per C2115.1.
checkpoint | Backfilling completed by others, requirements listed under C2115.4.
checkpoint | Ducts cut flush with level 0 slab for passive fire treatment as per C2100.2.3.
checkpoint | Cable lubricant used during cable installation as per C2115.3.3.
checkpoint | Conduits/ducts passing through sub-floor void are limited to a maximum of one power cable or two lighting cables as per C2100.2.3
checkpoint | Combined cabling installed via ducting system does not exceed 750mm² as per C2100.2.3.
checkpoint | Photos taken for records and saved to CONQA/project folders.
checkpoint | As Builts completed as per AS/NZS 3000:2007 3.11.4.6 and C2115.1
checkpoint | Any comments below.