## Project Checklist Templates
Id | Type | Name | Values | Prompting Name | Resource Id
facba851-a294-4134-a819-2e70cb0549a8 | checklist | Chiller Roof Small Plinth Variations |  | Chiller Roof Small Plinth Variations | a191430b-3200-4598-be8f-5fe7ec58e1ca
50022278-2ee5-4a4e-baef-1fe59f9e46bb | section | Details
96183990-47c2-4323-a1c1-c90d6684eea0 | checkpoint | Substrate acceptable
25d41d97-f3ae-45b0-afd2-9fa1c6f7272f | checkpoint | Membrane applied over grouted surface
19cd2d5d-52c0-5e9a-ae27-91c183deaf7b | note | Photo required
323c40b3-791f-442b-9f36-2d0fcc0b24ed | checklist | Chiller Roof Square Plate Variation |  | Chiller Roof Square Plate Variation | bfd6e72a-58fa-4b7f-bf9d-48427f31df06
a17bee81-16d8-41ed-89ab-b43bac77c998 | section | Details
d6eed782-700e-437a-95c4-914485f6c3f8 | checkpoint | Substrate cleaned
15fd5464-6c24-4a01-b003-8c03c700544d | checkpoint | Customs flashings installed
f3b84007-0896-400a-afa1-18a26787c95c | checkpoint | Primer applied
7bd900f0-56e4-5281-8e90-590eaee22216 | note | Photo required
e8a1d5e0-9320-4450-8fea-c55f35e3773d | checkpoint | Pourable sealant applied
bd114b98-a37c-5a4e-8062-61dd46a488d2 | note | Photo required
| checklist | Joint Sealant Checklist |  | Joint Sealant Checklist | d24929c9-3d20-4e8e-a8a2-5215793a9617
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Substrate is clean, dry and ready to start
| checkpoint | Record product batch numbers
| checkpoint | Install PEF backing rod to horizontal & vertical joints
| checkpoint | Apply primer to horizontal & vertical joints
| checkpoint | Apply sealant to horizontal & vertical joints
| checkpoint | Write initials and date beside each joint
| checkpoint | Joint sealant installed correctly and as per drawings/specification
| checkpoint | Work area is left clean & tidy
ebbf4570-3b98-4dce-9516-39b9ad978444 | checklist | Perimeter Terminations |  | Perimeter Terminations | 4b7113ec-c6a7-4997-a56f-d45d4e0a47dd
3d1c4512-dc45-4ce4-973d-4fa915499d4c | section | Details
6bd4fd19-b607-43f8-91b5-dfd20f586886 | checkpoint | Substrate acceptable
ee25fe6c-b9b3-4ec0-8186-c9140940d8bf | checkpoint | Membrane applied to downturn
7c0f5b40-2a19-55e8-b229-6e57ba4aff68 | note | Photo required
d4644fa7-31ea-4b8b-b1a0-a323ee84c52d | checkpoint | Termination bar/ drip edge applied
f788b9a0-99fd-5a3e-85a6-fb4b97201c60 | note | Photo required
| checklist | Threaded rod penetrations |  | Threaded rod penetrations | d827e84b-8662-4449-bab1-ba95e72689c2
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Area around penetrations cleaned with Membrane cleaner
| checkpoint | UV stable PVC adhered into place around threaded rod
| checkpoint | Fill interior of PVC with approved Viking sealant