## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat |  |  | checklist | Power Circuit First Fix |  |  |  |  | Yes | Power Circuit First Fix | 00fc0746-e9e4-4ee1-a647-a735fe5613cd
checkpoint-status |  |  | checkpoint | Cable schedule
checkpoint-status |  |  | checkpoint | Cable size correct
checkpoint-status |  |  | checkpoint | Cabling to correct location as per plan
checkpoint-status |  |  | checkpoint | Position on elevations confirmed
checkpoint-status |  |  | checkpoint | Droppers / Starters wired
checkpoint-status |  |  | checkpoint | TV locations wired
checklist-flat |  |  | checklist | Lighting Circuits First Fix |  |  |  |  | Yes | Lighting Circuits First Fix | 09598e4a-3728-4e1b-839f-f5f61f57c625
checkpoint-status |  |  | checkpoint | Cabling to correct location as per plan
checkpoint-status |  |  | checkpoint | Emergency lighting cabelled
checkpoint-status |  |  | checkpoint | Number of fittings correct
checkpoint-status |  |  | checkpoint | Local switch wire installed
checkpoint-status |  |  | checkpoint | Sensor control wire installed
checkpoint-status |  |  | checkpoint | Cabinet lighting confirmed / cabled
checkpoint-status |  |  | checkpoint | Lighting controls cabled
checklist-flat |  |  | checklist | MSB |  |  |  |  | Yes | MSB | 1ca659b9-7e6e-499c-a467-685bb3804f1e
checkpoint-status |  |  | checkpoint | Switchboard securly fastened
checkpoint-status |  |  | checkpoint | Switcboard bonded
checkpoint-status |  |  | checkpoint | Teminals correctly crimped
checkpoint-status |  |  | checkpoint | Lugs heat shrinked
checkpoint-status |  |  | checkpoint | Lugs torqued
checkpoint-status |  |  | checkpoint | Polarity correct
checkpoint-status |  |  | checkpoint | Test all cables
checkpoint-status |  |  | checkpoint | All labels installed
checkpoint-status |  |  | checkpoint | Test sheets complete
checkpoint-status |  |  | checkpoint | COC complete
checkpoint-status |  |  | checkpoint | ROI
checklist-flat |  |  | checklist | Body Protection Second Fix |  |  |  |  | Yes | Body Protection Second Fix | 32d63c3d-9ef1-4c88-bfa8-04ab5de51d78
checkpoint-status |  |  | checkpoint | RCD/Outlet labeling
checkpoint-status |  |  | checkpoint | Earthing terminated
checklist-flat |  |  | checklist | Floor Penetrations |  |  |  |  | Yes | Floor Penetrations | 36dcf6aa-9d7d-4ce7-985e-60a7d89be9d1
checkpoint-status |  |  | checkpoint | Penetration/chase marked as per plan
checkpoint-status |  |  | checkpoint | Depth/width correct for conduit/floor box
checklist-flat |  |  | checklist | Cable Basket |  |  |  |  | Yes | Cable Basket | 458f03c3-50b8-4452-916a-4a740121b493
checkpoint-status |  |  | checkpoint | Installed correct location
checkpoint-status |  |  | checkpoint | Installed correct height
checkpoint-status |  |  | checkpoint | Provided enough support
checkpoint-status |  |  | checkpoint | Cable basket bonded
checklist-flat |  |  | checklist | Catenaries |  |  |  |  | Yes | Catenaries | 86007de9-0cc2-42fe-a1ce-1a634f05488e
checkpoint-status |  |  | checkpoint | Supported correctly
checkpoint-status |  |  | checkpoint | Correct locations
checklist-flat |  |  | checklist | Flush Boxes |  |  |  |  | Yes | Flush Boxes | 9285121b-a081-4a83-85fa-79da6faefa79
checkpoint-status |  |  | checkpoint | Correct location
checkpoint-status |  |  | checkpoint | Correct height
checklist-flat |  |  | checklist | Submains |  |  |  |  | Yes | Submains | a8028355-8b3d-46ee-8502-60f8825cdc33
checkpoint-status |  |  | checkpoint | Correct size confirmed
checkpoint-status |  |  | checkpoint | Length of tails
checkpoint-status |  |  | checkpoint | Lugs correct size / hole size
checklist-flat |  |  | checklist | Distribution Board |  |  |  |  | Yes | Distribution Board | baa1dc6d-7c5f-4ac2-b57c-9e761c000dde
checkpoint-status |  |  | checkpoint | Switchboard securly fastened
checkpoint-status |  |  | checkpoint | Switcboard bonded
checkpoint-status |  |  | checkpoint | Teminals correctly crimped
checkpoint-status |  |  | checkpoint | Lugs heat shrinked
checkpoint-status |  |  | checkpoint | Lugs torqued
checkpoint-status |  |  | checkpoint | Labelling
checklist-flat |  |  | checklist | Power Circuit Second Fix |  |  |  |  | Yes | Power Circuit Second Fix | be64c714-8754-4473-8a9f-1094a3590a8d
checkpoint-status |  |  | checkpoint | Outlets installed, level and labelled
checkpoint-status |  |  | checkpoint | RCD outlets correct rating for space 10ma/30ma
checkpoint-status |  |  | checkpoint | Starters installed
checkpoint-status |  |  | checkpoint | Kitchen outlets/isolators/hw kits
checkpoint-status |  |  | checkpoint | Floor boxes fit off
checklist-flat |  |  | checklist | Cable Tray |  |  |  |  | Yes | Cable Tray | c0397e13-afa4-4c70-9207-d8f9c6b901c9
checkpoint-status |  |  | checkpoint | Installed correct location
checkpoint-status |  |  | checkpoint | Installed correct height
checkpoint-status |  |  | checkpoint | Provided enough support
checkpoint-status |  |  | checkpoint | Cable tray bonded
checklist-flat |  |  | checklist | Data First Fix |  |  |  |  | Yes | Data First Fix | cbe584b5-51bf-4e87-b766-ded95118c960
checkpoint-status |  |  | checkpoint | Cabling to correct location as per plan
checkpoint-status |  |  | checkpoint | Cables to floor box
checkpoint-status |  |  | checkpoint | Data for TV locations
checkpoint-status |  |  | checkpoint | WAP locations wired
checklist-flat |  |  | checklist | Body Protection First Fix |  |  |  |  | Yes | Body Protection First Fix | dc57de73-cfcd-4cb4-bcc5-603c7cfd2a3d
checkpoint-status |  |  | checkpoint | RCD cabling installed correctly
checkpoint-status |  |  | checkpoint | Earthing to in ceiling services
checkpoint-status |  |  | checkpoint | Earthing to benchtops / Taps
checklist-flat |  |  | checklist | Mains |  |  |  |  | Yes | Mains | e3d90022-bf6f-4300-82ca-6540a72514c2
checkpoint-status |  |  | checkpoint | Correct size confirmed
checkpoint-status |  |  | checkpoint | Length of tails
checkpoint-status |  |  | checkpoint | Lugs correct size / hole size
checklist-flat |  |  | checklist | External Works |  |  |  |  | Yes | External Works | f81b79e5-3c5a-4648-a84b-3efda38b07ea
checkpoint-status |  |  | checkpoint | Location confirmed
checkpoint-status |  |  | checkpoint | Duct correct
checkpoint-status |  |  | checkpoint | Draw tape
checkpoint-status |  |  | checkpoint | Cages set to height
checklist-flat |  |  | checklist | Cable Ladder |  |  |  |  | Yes | Cable Ladder | f8379a8b-087e-437d-a564-4e7dd341d690
checkpoint-status |  |  | checkpoint | Installed correct location
checkpoint-status |  |  | checkpoint | Provided enough support
checkpoint-status |  |  | checkpoint | Cable ladder bonded
checklist-flat |  |  | checklist | Lighting Circuits Second Fix |  |  |  |  | Yes | Lighting Circuits Second Fix | ff01c405-0573-43a1-882c-feea832e7cab
checkpoint-status |  |  | checkpoint | Correct light type installed
checkpoint-status |  |  | checkpoint | Correct number installed
checkpoint-status |  |  | checkpoint | Correct location
checkpoint-status |  |  | checkpoint | Local switching installed
checkpoint-status |  |  | checkpoint | Sensor installed
checkpoint-status |  |  | checkpoint | Emergency lighting type installed