## res
type | name | values | prefix | postfix | usage count | user addable | template name | Resource Id
checklist | Equipment Installation | [5 empty] | CHECKLIST 1 - MX Monitors and X3's
section | Installation
checkpoint | Installation of arm
checkpoint | Installation of MX Monitor
checkpoint | Installation of X3 Monitor
checkpoint | Correct services allocated and available for equipment
section | Final Checks
checkpoint | Ensure equipment is protected
checkpoint | Handover
checklist | Equipment Installation | [5 empty] | CHECKLIST 2 - Slave Screens & Central Monitoring
section | Installation
checkpoint | Installation of arm (if applicable)
checkpoint | Installation of Slave Screen / Central Monitor
checkpoint | Installation of PICiX Tower if applicable
checkpoint | Correct services allocated and available for equipment
section | Final Checks
checkpoint | Ensure equipment is protected
checkpoint | Handover
checklist | Equipment Commissioning
section | Installation
checkpoint | Comissioned as per IQ/OQ documentation
checkpoint | Remove protective measures
checkpoint | Clean all surfaces
section | Final Checks
checkpoint | Final inspection to confirm conforming
checkpoint | Remove all rubbish and clean up area