## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat |  |  | checklist | KITCHEN Commissioning |  |  |  |  | Yes | KITCHEN Commissioning | 15f301cf-525a-4b70-9572-a3203797f10b
checkpoint-status |  |  | checkpoint | KITCHEN SINK
checkpoint-status |  |  | checkpoint | SINK MIXER
checkpoint-status |  |  | checkpoint | DISHWASHER
checkpoint-status |  |  | checkpoint | DISHWASHER RAN
checkpoint-status |  |  | checkpoint | HOT PLATE
checkpoint-status |  |  | checkpoint | SINK WASTE
checkpoint-status |  |  | checkpoint | COVERPLATES
checklist-flat |  |  | checklist | Commissioning Checklist Ground Floor |  |  |  |  | Yes | Commissioning Checklist Ground Floor | 18abee1c-f827-46d0-8d19-392156f97c93
checkpoint-status |  |  | checkpoint | Male WC
text | 31e8badd-4505-58d6-b827-542b4a91148e |  | textbox | Basin
text | 81bab173-c08c-5852-aaee-a5988458c9e6 |  | textbox | WC
text | 17b12066-54f6-5fc7-be0b-775339a0b6c3 |  | textbox | Floor waste cleaned and Clear
checkpoint-status |  |  | checkpoint | Female WC
text | c7ba8542-f519-5b95-8099-014c4a4ca19e |  | textbox | Basin
text | 0e17180c-894d-5583-9b4a-fb103d66d652 |  | textbox | WC
text | 62f74e6f-0934-5897-b045-a0389d54f0d2 |  | textbox | Floor waste cleaned and Clear
checkpoint-status |  |  | checkpoint | DDA WC
text | 79af420a-6464-51e1-8b27-b75f07a57bf4 |  | textbox | Basin
text | fa82e146-7311-5648-9090-329f91b3fbd6 |  | textbox | WC
text | ee43b3c6-76dc-53ca-92c5-307e2676d547 |  | textbox | Floor waste cleaned and Clear
checkpoint-status |  |  | checkpoint | Cleaners Room
text | 906cf68a-49f0-53bc-9958-d596e048701a |  | textbox | Sink Mixer
text | a3d7c1fb-3e59-537b-bca3-9751172b9adb |  | textbox | Sink Waste
text | 232a64e5-6eab-5514-b81e-d3efddf5a390 |  | textbox | HWU
text | e39cfcff-7b05-5882-a1ac-77d0599a0f13 |  | textbox | Floor waste
checkpoint-status |  |  | checkpoint | Bin Room
text | bc5746c8-2518-598c-bcc1-297ef2ddb925 |  | textbox | Sink Mixer
text | 8f84e644-cb40-5432-96d7-5a19ccbf6f12 |  | textbox | Sink Waste
text | ce5ebb37-3376-5bb6-8541-7e2985b6da8d |  | textbox | HWU
text | b1d9ca5f-4682-5615-848c-3f389ed6090c |  | textbox | Floor waste
checklist-flat |  |  | checklist | Penetrations |  |  |  |  | Yes | Penetrations | 20ca1d55-cad5-46cf-aecc-933220a88471
checkpoint-status |  |  | checkpoint | Slab Penetrations (All slab penetations installed as per Plan)
checkpoint-status |  |  | checkpoint | Door Headers (Fire rated with Hilti 611A)
checklist-sectioned |  |  | checklist | ENSUITE Fit Off |  |  |  |  | Yes | ENSUITE Fit Off | 2e8866aa-d4da-45db-8af1-b6adf20748c3
checkpoint-group |  |  | section | BASIN
checkpoint-status |  |  | checkpoint | JOINERY
checkpoint-status |  |  | checkpoint | STONE
checkpoint-status |  |  | checkpoint | BASIN
checkpoint-status |  |  | checkpoint | MIXER
checkpoint-group |  |  | section | WC
checkpoint-status |  |  | checkpoint | TILE
checkpoint-status |  |  | checkpoint | GROUT
checkpoint-status |  |  | checkpoint | WC
checkpoint-group |  |  | section | SHOWER
checkpoint-status |  |  | checkpoint | TILE
checkpoint-status |  |  | checkpoint | GROUT
checkpoint-status |  |  | checkpoint | RAIL
checkpoint-status |  |  | checkpoint | BATH
checklist-flat |  |  | checklist | Corridors |  |  |  |  | Yes | Corridors | 3d05cca1-a61b-4a0e-a151-d77853af9290
checkpoint-status |  |  | checkpoint | Hot Water
checkpoint-status |  |  | checkpoint | Cold Water
checkpoint-status |  |  | checkpoint | Hot Water Lagging
checkpoint-status |  |  | checkpoint | Testing
checkpoint-status |  |  | checkpoint | Pipes clipped
checkpoint-status |  |  | checkpoint | Valves Tagged
checkpoint-status |  |  | checkpoint | Door Headers (Fire rated with Hilti 611A)
checkpoint-status |  |  | checkpoint | Photos must be attached
checklist-flat |  |  | checklist | POWDER ROOM Commissioning |  |  |  |  | Yes | POWDER ROOM Commissioning | 3e6a2555-6fa0-4107-ae0a-c9707efe80d9
checkpoint-status |  |  | checkpoint | W.C
checkpoint-status |  |  | checkpoint | BASIN
checkpoint-status |  |  | checkpoint | CLEAN BASIN FW
checklist-flat |  |  | checklist | Balcony |  |  |  |  | Yes | Balconies | 46e59dd0-3c71-4bad-88be-25378127967b
checkpoint-status |  |  | checkpoint | DOWNPIPE ON
checkpoint-status |  |  | checkpoint | D/P CLIPPED
checkpoint-status |  |  | checkpoint | FW installed and clear of debris
checkpoint-status |  |  | checkpoint | O/F installed and clear of debris
checklist-flat |  |  | checklist | Rough In |  |  |  |  | Yes | Rough In | 47a1a822-9578-43bc-b2ab-87f3394915f6
checkpoint-status |  |  | checkpoint | DRAIN COMPLETE
checkpoint-status |  |  | checkpoint | LAGGING COMPLETE
checkpoint-status |  |  | checkpoint | DOWNPIPE ON
checkpoint-status |  |  | checkpoint | OVERFLOW EXPOSED AND CHOPPED DOWN
checkpoint-status |  |  | checkpoint | UN-USED PENO'S SEALED
checkpoint-status |  |  | checkpoint | ROUGH IN COMPLETE
checkpoint-status |  |  | checkpoint | HEADER PIPES FIRE CAULKED
checkpoint-status |  |  | checkpoint | TMV ACCESSIBLE TO A/P
checkpoint-status |  |  | checkpoint | HOT WATER METERS INSTALLED
checkpoint-status |  |  | checkpoint | CROSS CONNECTIONS
checkpoint-status |  |  | checkpoint | MIXER STRAIGHT, SET BACK CORRECT
checkpoint-status |  |  | checkpoint | WATER PRESSURE TESTED
checkpoint-status |  |  | checkpoint | ROLL OVERS COMPLETE AND SECURE
checkpoint-status |  |  | checkpoint | APARTMENT CLEAN OF MATERIALS
checkpoint-status |  |  | checkpoint | D/P CLIPPED
checkpoint-status |  |  | checkpoint | FW CLEANNED, COVERED AND CLEAR OF DEBRIS
checkpoint-status |  |  | checkpoint | AAV REQUIRED?
checkpoint-status |  |  | checkpoint | FIXTURE SET OUT CORRECT
checkpoint-status |  |  | checkpoint | CLIENT VARIATION CHECKED AGAINST SCHEDULE
checklist-flat |  |  | checklist | Commissioning Checklist Level Roof |  |  |  |  | Yes | Commissioning Checklist Level Roof | 4dafcf41-42b1-454a-bd6c-47e840777131
checkpoint-status |  |  | checkpoint | Floor waste cleaned and Clear
checkpoint-status |  |  | checkpoint | HWU
checklist-flat |  |  | checklist | Commissioning Checklist Level 1-5 |  |  |  |  | Yes | Commissioning Checklist Level 1-5 | 62aea8ba-cf71-4589-9caa-346fcefbf774
checkpoint-status |  |  | checkpoint | Male WC
text | 4edb047a-e084-5897-a8ee-d9dc326213db |  | textbox | Basin
text | 852bd17c-0f1d-50b5-b088-2aba9c8bc163 |  | textbox | WC
text | de78be16-dcf4-52ca-b883-cbf73f11473d |  | textbox | Floor waste cleaned and Clear
checkpoint-status |  |  | checkpoint | Female WC
text | 9ce250ac-644d-581c-b110-880107843f55 |  | textbox | Basin
text | 489685b2-9f4d-5736-9dd8-485c6401b10f |  | textbox | WC
text | 4599bb6f-6f3f-57c7-bdd3-e8dd98d12399 |  | textbox | Floor waste cleaned and Clear
checkpoint-status |  |  | checkpoint | DDA WC
text | f3cf9c4e-0513-5adc-bb62-38049fe9fba2 |  | textbox | Basin
text | 735c25bd-d220-56a8-a008-343e141093a2 |  | textbox | WC
text | 141634a1-d396-5850-b0dc-d55ffd4c8c2c |  | textbox | Floor waste cleaned and Clear
checklist-flat |  |  | checklist | FEMALE AMENITIES Commissioning |  |  |  |  | Yes | FEMALE AMENITIES Commissioning | 6a90f0df-ff8d-4e37-b149-e9908ef60463
checkpoint-status |  |  | checkpoint | W.C
checkpoint-status |  |  | checkpoint | BASIN
checkpoint-status |  |  | checkpoint | CLEAN BASIN FW
checkpoint-status |  |  | checkpoint | SHOWER MIXER
checkpoint-status |  |  | checkpoint | SHOWER ROSE
checkpoint-status |  |  | checkpoint | SHOWER WASTE CLEANED
checkpoint-status |  |  | checkpoint | TEMP VALVE
checkpoint-status |  |  | checkpoint | AAV
checklist-sectioned |  |  | checklist | BATHROOM 1 & 2 Fit Off |  |  |  |  | Yes | BATHROOM 1 & 2 Fit Off | 6c3a14db-0d2b-4586-930f-0819637bd0d5
checkpoint-group |  |  | section | BASIN
checkpoint-status |  |  | checkpoint | JOINERY
checkpoint-status |  |  | checkpoint | STONE
checkpoint-status |  |  | checkpoint | BASIN
checkpoint-status |  |  | checkpoint | MIXER
checkpoint-group |  |  | section | WC
checkpoint-status |  |  | checkpoint | TILE
checkpoint-status |  |  | checkpoint | GROUT
checkpoint-status |  |  | checkpoint | WC
checkpoint-group |  |  | section | SHOWER
checkpoint-status |  |  | checkpoint | TILE
checkpoint-status |  |  | checkpoint | GROUT
checkpoint-status |  |  | checkpoint | RAIL
checkpoint-status |  |  | checkpoint | BATH
checklist-flat |  |  | checklist | Fit-Off Checklist Level 1-5 |  |  |  |  | Yes | Fit-Off Checklist Level 1-5 | 8b7c1147-dcab-42a2-b17d-8768af9d9850
checkpoint-status |  |  | checkpoint | Male WC
text | a1022bca-4e22-5303-91bb-475210a67168 |  | textbox | Basin
text | b8c306f1-e9ec-56fc-9ec0-40136c3d63fa |  | textbox | Mixer
text | e5a731a9-377d-5122-baee-c1ee82f9029e |  | textbox | Waste
text | cb799fc0-1cd2-511c-be0e-086cf4a64aa0 |  | textbox | WC Installed
checkpoint-status |  |  | checkpoint | Female WC
text | 7787c7ff-f377-5c5c-a250-7adf2a65d278 |  | textbox | Basin
text | eafffdf1-c2b3-5f3a-a1d2-cc89ee6365c5 |  | textbox | Mixer
text | 8861b789-0d11-58ba-af0a-f69cba98b6a3 |  | textbox | Waste
text | 63a65fb1-dd2c-589b-b918-bb4b38a3694d |  | textbox | WC Installed
checkpoint-status |  |  | checkpoint | DDA WC
text | dd61c350-9fde-5918-9098-11a451e3d8e0 |  | textbox | Basin
text | 5e9fae71-3da5-542a-a047-86e4440126a8 |  | textbox | Mixer
text | 961527cc-622f-5dfa-8926-4cc80560f208 |  | textbox | Waste
text | fab387a6-425e-5e29-9ba2-84ccb370bc3c |  | textbox | WC Installed
checkpoint-status |  |  | checkpoint | Water Meter
checklist-sectioned |  |  | checklist | FEMALE AMENITIES Fit Off |  |  |  |  | Yes | FEMALE AMENITIES Fit Off | 8dd3ccd3-de03-4fdf-89fb-cf68c154a101
checkpoint-group |  |  | section | BASIN
checkpoint-status |  |  | checkpoint | JOINERY
checkpoint-status |  |  | checkpoint | STONE
checkpoint-status |  |  | checkpoint | BASIN
checkpoint-status |  |  | checkpoint | MIXER
checkpoint-group |  |  | section | WC
checkpoint-status |  |  | checkpoint | TILE
checkpoint-status |  |  | checkpoint | GROUT
checkpoint-status |  |  | checkpoint | WC
checkpoint-group |  |  | section | SHOWER
checkpoint-status |  |  | checkpoint | TILE
checkpoint-status |  |  | checkpoint | GROUT
checkpoint-status |  |  | checkpoint | RAIL
checklist-sectioned |  |  | checklist | POWDER ROOM Fit Off |  |  |  |  | Yes | POWDER ROOM Fit Off | 8e86804f-de86-4a56-8484-7f76c6bd0295
checkpoint-group |  |  | section | BASIN
checkpoint-status |  |  | checkpoint | JOINERY
checkpoint-status |  |  | checkpoint | STONE
checkpoint-status |  |  | checkpoint | BASIN
checkpoint-status |  |  | checkpoint | MIXER
checkpoint-group |  |  | section | WC
checkpoint-status |  |  | checkpoint | TILE
checkpoint-status |  |  | checkpoint | GROUT
checkpoint-status |  |  | checkpoint | WC
checklist-sectioned |  |  | checklist | Kitchen Fit Off |  |  |  |  | Yes | Kitchen Fit Off | 8f8034df-ebfb-4199-b620-f4d2436d53f7
checkpoint-group |  |  | section | SINK
checkpoint-status |  |  | checkpoint | JOINERY
checkpoint-status |  |  | checkpoint | STONE
checkpoint-status |  |  | checkpoint | MIXER
checkpoint-status |  |  | checkpoint | WASTE
checkpoint-status |  |  | checkpoint | DW CONNECT
checkpoint-group |  |  | section | COOKTOP
checkpoint-status |  |  | checkpoint | STONE/ SPLASH
checkpoint-status |  |  | checkpoint | COOKTOP
checkpoint-status |  |  | checkpoint | CONNECTION
checklist-flat |  |  | checklist | MALE AMENITIES Commissioning |  |  |  |  | Yes | MALE AMENITIES Commissioning | 902b1b08-8501-4c65-a421-4b45f3b9d0b7
checkpoint-status |  |  | checkpoint | W.C
checkpoint-status |  |  | checkpoint | BASIN
checkpoint-status |  |  | checkpoint | CLEAN BASIN FW
checkpoint-status |  |  | checkpoint | SHOWER MIXER
checkpoint-status |  |  | checkpoint | SHOWER ROSE
checkpoint-status |  |  | checkpoint | SHOWER WASTE CLEANED
checkpoint-status |  |  | checkpoint | TEMP VALVE
checkpoint-status |  |  | checkpoint | AAV
checkpoint-status |  |  | checkpoint | URINAL
checklist-sectioned |  |  | checklist | MALE AMENITIES Fit Off |  |  |  |  | Yes | MALE AMENITIES Fit Off | 97a6d17f-29b6-4ca5-8ebf-5088141d4713
checkpoint-group |  |  | section | BASIN
checkpoint-status |  |  | checkpoint | JOINERY
checkpoint-status |  |  | checkpoint | STONE
checkpoint-status |  |  | checkpoint | BASIN
checkpoint-status |  |  | checkpoint | MIXER
checkpoint-group |  |  | section | WC
checkpoint-status |  |  | checkpoint | TILE
checkpoint-status |  |  | checkpoint | GROUT
checkpoint-status |  |  | checkpoint | WC
checkpoint-group |  |  | section | SHOWER
checkpoint-status |  |  | checkpoint | TILE
checkpoint-status |  |  | checkpoint | GROUT
checkpoint-status |  |  | checkpoint | RAIL
checkpoint-status |  |  | checkpoint | URINAL
checklist-flat |  |  | checklist | Sanitary drainage Checklist |  |  |  |  | Yes | Sanitary drainage Checklist | 9931da4c-9445-4299-83df-03d7894a6d8a
checkpoint-status |  |  | checkpoint | Drainage
boolean | 3cf0dde2-6e65-5ad6-a70a-04629df2f78d |  | tickbox | Pipework has approved gradient
boolean | 84ff27ad-07de-50f9-b00e-9831d08f21a5 |  | tickbox | Provision for expansion provided
boolean | 1ed60c8c-1bad-533d-a1c0-d3ff8d522ac3 |  | tickbox | Appropriate fitting used in appropriate manner
boolean | 9c6fecfe-ff92-568a-8367-7a6f6b70d0a0 |  | tickbox | Venting requirements met
checkpoint-status |  |  | checkpoint | Pipe clip hanger - Pipe work has appropriate supports and spacings
checkpoint-status |  |  | checkpoint | Material approved and pipe installed to correct size
checkpoint-status |  |  | checkpoint | Alignment - restricted zone has been met
checkpoint-status |  |  | checkpoint | Approved labelling and identification applied
checkpoint-status |  |  | checkpoint | Approved jointing methods used
checkpoint-status |  |  | checkpoint | Penetrations correctly sealed
checkpoint-status |  |  | checkpoint | Fire stop retro collars sealed using approved sealant
checkpoint-status |  |  | checkpoint | Seismic bracing installed to comply with seismic certification
checkpoint-status |  |  | checkpoint | Water Test complete
checklist-flat |  |  | checklist | Drains |  |  |  |  | Yes | Drains | a3af4e05-429a-4fc9-82dd-35734578ed90
checkpoint-status |  |  | checkpoint | All drains installed as per Plan referenced on spreadsheet
checkpoint-status |  |  | checkpoint | Photos must be attached
checklist-flat |  |  | checklist | Rough-In Checklist |  |  |  |  | Yes | Rough-In Checklist | a45cf77e-59fd-4cb6-b96d-fc9ddb197dc1
checkpoint-status |  |  | checkpoint | Lagging Complete
checkpoint-status |  |  | checkpoint | Un used Peno's sealed
checkpoint-status |  |  | checkpoint | ROUGH IN COMPLETE
checkpoint-status |  |  | checkpoint | HEADER PIPES FIRE CAULKED
checkpoint-status |  |  | checkpoint | TMV ACCESSIBLE TO A/P
checkpoint-status |  |  | checkpoint | CROSS CONNECTIONS
checkpoint-status |  |  | checkpoint | MIXER STRAIGHT, SET BACK CORRECT
checkpoint-status |  |  | checkpoint | FW CLEANED, COVERED AND CLEAR OF DEBRIS
checkpoint-status |  |  | checkpoint | AAV REQUIRED?
checkpoint-status |  |  | checkpoint | FIXTURE SET OUT CORRECT
checklist-flat |  |  | checklist | LAUNDRY Fit Off |  |  |  |  | Yes | LAUNDRY Fit Off | b245bf06-33ba-4c48-a147-c0cd6fb7ebaa
checkpoint-status |  |  | checkpoint | TILE
checkpoint-status |  |  | checkpoint | TROUGH
checkpoint-status |  |  | checkpoint | MINI STOP
checkpoint-status |  |  | checkpoint | STAND PIPE
checklist-flat |  |  | checklist | Rain Water Checklist |  |  |  |  | Yes | Rain Water Checklist | b6b28730-287c-41bc-a525-4882e5791620
checkpoint-status |  |  | checkpoint | Quality control pressure test report uploaded below
text | a631fc5d-0d43-5c04-8d4a-a32f2d0329c7 |  | textbox | Ambient temp
text | cdc0078c-24f5-5d41-bc1a-2612ae78e4b7 |  | textbox | First test
text | 8a16c59d-9dcf-5d25-a229-4c9524957ff7 |  | textbox | Second test
checkpoint-status |  |  | checkpoint | Approved material
checkpoint-status |  |  | checkpoint | Approved Jointing methods
checkpoint-status |  |  | checkpoint | Appropriate protection
checkpoint-status |  |  | checkpoint | Pipe support
checkpoint-status |  |  | checkpoint | Appropriate cross connection controls
checkpoint-status |  |  | checkpoint | Appropriate valves and devices
checkpoint-status |  |  | checkpoint | Tested to required pressures and times under test.
checklist-flat |  |  | checklist | LAUNDRY Commissioning |  |  |  |  | Yes | LAUNDRY Commissioning | b87fefb4-a0b3-429b-aacd-d57b8b4fd642
checkpoint-status |  |  | checkpoint | W.M STOPS
checkpoint-status |  |  | checkpoint | TROUGH
checkpoint-status |  |  | checkpoint | TROUGH MIXER
checkpoint-status |  |  | checkpoint | TROUGH WASTE
checkpoint-status |  |  | checkpoint | STAND PIPE
checkpoint-status |  |  | checkpoint | FLOOR WASTE
checklist-flat |  |  | checklist | DDA Commissioning |  |  |  |  | Yes | DDA Commissioning | b9051d6f-fa52-401f-81b9-95211f08cdb3
checkpoint-status |  |  | checkpoint | W.C
checkpoint-status |  |  | checkpoint | BASIN
checkpoint-status |  |  | checkpoint | CLEAN BASIN FW
checkpoint-status |  |  | checkpoint | SHOWER MIXER
checkpoint-status |  |  | checkpoint | SHOWER ROSE
checkpoint-status |  |  | checkpoint | SHOWER WASTE CLEANED
checkpoint-status |  |  | checkpoint | TEMP VALVE
checkpoint-status |  |  | checkpoint | AAV
checklist-flat |  |  | checklist | Hot Water Checklist |  |  |  |  | Yes | Hot Water Checklist | b93cffdc-d8d5-47d4-b48f-73affc038b0e
checkpoint-status |  |  | checkpoint | Quality control pressure test report uploaded below
text | ee9ff172-c2f1-5a11-b2fa-6d0c6f03e7a6 |  | textbox | Ambient temp
text | d7e4e985-8f54-504a-bb00-6bc34a035d93 |  | textbox | First test
text | 63bc5a69-85d4-5672-afba-02b11d0831bb |  | textbox | Second test
checkpoint-status |  |  | checkpoint | Approved material
checkpoint-status |  |  | checkpoint | Approved Jointing methods
checkpoint-status |  |  | checkpoint | Appropriate protection
checkpoint-status |  |  | checkpoint | Pipe support
checkpoint-status |  |  | checkpoint | Appropriate cross connection controls
checkpoint-status |  |  | checkpoint | Appropriate valves and devices
checkpoint-status |  |  | checkpoint | Tested to required pressures and times under test.
checklist-flat |  |  | checklist | Lagging |  |  |  |  | Yes | Lagging | bd148c37-92b0-419e-8f0c-3a77cecd153e
checkpoint-status |  |  | checkpoint | Lagging Complete
checkpoint-status |  |  | checkpoint | Photos must be attached
checklist-flat |  |  | checklist | Fit-Off Checklist Ground |  |  |  |  | Yes | Fit-Off Checklist Ground | be3ccbc9-bb63-4d66-8750-864b2fed56c4
checkpoint-status |  |  | checkpoint | Male WC
text | bc49cbd7-f5d8-51de-b5c9-d65fa00d56d9 |  | textbox | Basin
text | 3f20c6d0-8990-516b-ae56-71c09c528ce9 |  | textbox | Mixer
text | d3b04d2a-ce29-51ed-98eb-c8bfaff9e381 |  | textbox | Waste
text | 6e3a6223-02e2-5026-9d77-fabdef8eaa59 |  | textbox | WC Installed
checkpoint-status |  |  | checkpoint | Female WC
text | 484b198b-a635-5f81-a46e-20ac8670fd30 |  | textbox | Basin
text | 943110d2-e949-50d7-9d50-72e56ccf2b6b |  | textbox | Mixer
text | 7fad2ee5-387b-5f23-810a-f50a5516a3a0 |  | textbox | Waste
text | 0e45e489-b228-54e2-8aac-2c1d90e742e4 |  | textbox | WC Installed
checkpoint-status |  |  | checkpoint | DDA WC
text | 446a93e7-1fc3-5761-98a3-aab9b9c6bfec |  | textbox | Basin
text | 077fe1b5-8c28-58c9-898e-c3a29e21be40 |  | textbox | Mixer
text | 69dbf1b1-d08d-5785-af90-1aa3c3123bc6 |  | textbox | Waste
text | 7355d58b-23c3-52a0-b2db-1aa0b280c8c8 |  | textbox | WC Installed
checkpoint-status |  |  | checkpoint | Water Meter
checklist-flat |  |  | checklist | ENSUITE Commissioning |  |  |  |  | Yes | ENSUITE Commissioning | c82f7245-ec58-47c3-b0d2-797749aedef8
checkpoint-status |  |  | checkpoint | W.C
checkpoint-status |  |  | checkpoint | BASIN
checkpoint-status |  |  | checkpoint | CLEAN BASIN FW
checkpoint-status |  |  | checkpoint | SHOWER MIXER
checkpoint-status |  |  | checkpoint | SHOWER ROSE
checkpoint-status |  |  | checkpoint | SHOWER WASTE CLEANED
checkpoint-status |  |  | checkpoint | TEMP VALVE
checkpoint-status |  |  | checkpoint | BATH MIXER
checkpoint-status |  |  | checkpoint | BATH OUTLET
checkpoint-status |  |  | checkpoint | AAV
checkpoint-status |  |  | checkpoint | BATH
checklist-flat |  |  | checklist | BATHROOM 1 & 2 Commissioning |  |  |  |  | Yes | BATHROOM 1 & 2 Commissioning | db240dd5-e18d-49c0-b7fc-ae06ffd7e963
checkpoint-status |  |  | checkpoint | W.C
checkpoint-status |  |  | checkpoint | BASIN
checkpoint-status |  |  | checkpoint | CLEAN BASIN FW
checkpoint-status |  |  | checkpoint | SHOWER MIXER
checkpoint-status |  |  | checkpoint | SHOWER ROSE
checkpoint-status |  |  | checkpoint | SHOWER WASTE CLEANED
checkpoint-status |  |  | checkpoint | TEMP VALVE
checkpoint-status |  |  | checkpoint | BATH MIXER
checkpoint-status |  |  | checkpoint | BATH OUTLET
checkpoint-status |  |  | checkpoint | AAV
checkpoint-status |  |  | checkpoint | BATH
checklist-flat |  |  | checklist | DCW Checklist |  |  |  |  | Yes | DCW Checklist | e6bf9758-6a5d-4231-8203-b55a71b8fd63
checkpoint-status |  |  | checkpoint | Quality control pressure test report uploaded below
text | 327e5649-9c96-5d74-8822-100c17189745 |  | textbox | Ambient temp
text | a6e44bc6-94a1-5872-ad2d-657ca308658f |  | textbox | First test
text | f426b754-578f-5027-82de-41a00f07a40a |  | textbox | Second test
checkpoint-status |  |  | checkpoint | Approved material
checkpoint-status |  |  | checkpoint | Approved Jointing methods
checkpoint-status |  |  | checkpoint | Appropriate protection/seperation between other services
checkpoint-status |  |  | checkpoint | Pipe support
checkpoint-status |  |  | checkpoint | Appropriate cross connection controls
checkpoint-status |  |  | checkpoint | Appropriate valves and devices
checkpoint-status |  |  | checkpoint | Tested to required pressures and times under test
checklist-flat |  |  | checklist | Meter Assemblies & Risers |  |  |  |  | Yes | Meter Assemblies & Risers | f45b87e2-7783-4004-98bd-016e1f217523
checkpoint-status |  |  | checkpoint | Valves Tagged
checkpoint-status |  |  | checkpoint | Meters on
checkpoint-status |  |  | checkpoint | Assembly Complete
checkpoint-status |  |  | checkpoint | Pipe Support
checklist-sectioned |  |  | checklist | DDA Fit Off |  |  |  |  | Yes | DDA Fit Off | feaf2c97-6af4-42d2-849c-1c68b5534eff
checkpoint-group |  |  | section | BASIN
checkpoint-status |  |  | checkpoint | JOINERY
checkpoint-status |  |  | checkpoint | STONE
checkpoint-status |  |  | checkpoint | BASIN
checkpoint-status |  |  | checkpoint | MIXER
checkpoint-group |  |  | section | WC
checkpoint-status |  |  | checkpoint | TILE
checkpoint-status |  |  | checkpoint | GROUT
checkpoint-status |  |  | checkpoint | WC
checkpoint-group |  |  | section | SHOWER
checkpoint-status |  |  | checkpoint | TILE
checkpoint-status |  |  | checkpoint | GROUT
checkpoint-status |  |  | checkpoint | RAIL