## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat |  |  | checklist | POWDER ROOM Commissioning |  |  |  |  | Yes | POWDER ROOM Commissioning | 0c5273da-2389-4bdb-9852-283a54c3baaa
checkpoint-status |  |  | checkpoint | W.C
checkpoint-status |  |  | checkpoint | BASIN
checkpoint-status |  |  | checkpoint | CLEAN BASIN FW
checklist-flat |  |  | checklist | ENSUITE Commissioning |  |  |  |  | Yes | ENSUITE Commissioning | 137992bb-bf5a-4354-a46a-5a32dcb8442b
checkpoint-status |  |  | checkpoint | W.C
checkpoint-status |  |  | checkpoint | BASIN
checkpoint-status |  |  | checkpoint | CLEAN BASIN FW
checkpoint-status |  |  | checkpoint | SHOWER MIXER
checkpoint-status |  |  | checkpoint | SHOWER ROSE
checkpoint-status |  |  | checkpoint | SHOWER WASTE CLEANED
checkpoint-status |  |  | checkpoint | TEMP VALVE
checkpoint-status |  |  | checkpoint | BATH MIXER
checkpoint-status |  |  | checkpoint | BATH OUTLET
checkpoint-status |  |  | checkpoint | AAV
checkpoint-status |  |  | checkpoint | BATH
checklist-sectioned |  |  | checklist | ENSUITE Fit Off |  |  |  |  | Yes | ENSUITE Fit Off | 2b2617e8-6135-4bb4-8ce0-d630950ee17b
checkpoint-group |  |  | section | BASIN
checkpoint-status |  |  | checkpoint | JOINERY
checkpoint-status |  |  | checkpoint | STONE
checkpoint-status |  |  | checkpoint | BASIN
checkpoint-status |  |  | checkpoint | MIXER
checkpoint-group |  |  | section | WC
checkpoint-status |  |  | checkpoint | TILE
checkpoint-status |  |  | checkpoint | GROUT
checkpoint-status |  |  | checkpoint | WC
checkpoint-group |  |  | section | SHOWER
checkpoint-status |  |  | checkpoint | TILE
checkpoint-status |  |  | checkpoint | GROUT
checkpoint-status |  |  | checkpoint | RAIL
checkpoint-status |  |  | checkpoint | BATH
checklist-flat |  |  | checklist | BATHROOM 1 Commissioning |  |  |  |  | Yes | BATHROOM 1 Commissioning | 3e8ddc68-297f-4f64-9d77-aba0720b3a5c
checkpoint-status |  |  | checkpoint | W.C
checkpoint-status |  |  | checkpoint | BASIN
checkpoint-status |  |  | checkpoint | CLEAN BASIN FW
checkpoint-status |  |  | checkpoint | SHOWER MIXER
checkpoint-status |  |  | checkpoint | SHOWER ROSE
checkpoint-status |  |  | checkpoint | SHOWER WASTE CLEANED
checkpoint-status |  |  | checkpoint | TEMP VALVE
checkpoint-status |  |  | checkpoint | AAV
checklist-sectioned |  |  | checklist | BATHROOM 1 Fit Off |  |  |  |  | Yes | BATHROOM 1 Fit Off | 5518b419-1b87-4896-8e6c-1878880ffcea
checkpoint-group |  |  | section | BASIN
checkpoint-status |  |  | checkpoint | JOINERY
checkpoint-status |  |  | checkpoint | STONE
checkpoint-status |  |  | checkpoint | BASIN
checkpoint-status |  |  | checkpoint | MIXER
checkpoint-group |  |  | section | WC
checkpoint-status |  |  | checkpoint | TILE
checkpoint-status |  |  | checkpoint | GROUT
checkpoint-status |  |  | checkpoint | WC
checkpoint-group |  |  | section | SHOWER
checkpoint-status |  |  | checkpoint | TILE
checkpoint-status |  |  | checkpoint | GROUT
checkpoint-status |  |  | checkpoint | RAIL
checklist-sectioned |  |  | checklist | Kitchen Fit Off |  |  |  |  | Yes | Kitchen Fit Off | 64491f00-293f-4c8d-a042-8178f76c7293
checkpoint-group |  |  | section | SINK
checkpoint-status |  |  | checkpoint | JOINERY
checkpoint-status |  |  | checkpoint | STONE
checkpoint-status |  |  | checkpoint | MIXER
checkpoint-status |  |  | checkpoint | WASTE
checkpoint-status |  |  | checkpoint | DW CONNECT
checkpoint-group |  |  | section | COOKTOP
checkpoint-status |  |  | checkpoint | STONE/ SPLASH
checkpoint-status |  |  | checkpoint | COOKTOP
checkpoint-status |  |  | checkpoint | CONNECTION
checklist-flat |  |  | checklist | Drains |  |  |  |  | Yes | Drains | 700de274-8c00-40ef-9227-8716e506aa8b
checkpoint-status |  |  | checkpoint | All drains installed as per Plan referenced on spreadsheet
checkpoint-status |  |  | checkpoint | Photos must be attached
checklist-flat |  |  | checklist | Penetrations |  |  |  |  | Yes | Penetrations | 93157526-95fd-4f07-bcd0-06d1c7295218
checkpoint-status |  |  | checkpoint | Slab Penetrations (All slab penetrations installed as per Plan)
checkpoint-status |  |  | checkpoint | Door Headers (Fire rated with Hilti 611A)
checklist-flat |  |  | checklist | KITCHEN Commissioning |  |  |  |  | Yes | KITCHEN Commissioning | 9927e379-2ca4-4e63-8fc3-e7c4f41492da
checkpoint-status |  |  | checkpoint | KITCHEN SINK
checkpoint-status |  |  | checkpoint | SINK MIXER
checkpoint-status |  |  | checkpoint | DISHWASHER
checkpoint-status |  |  | checkpoint | DISHWASHER RAN
checkpoint-status |  |  | checkpoint | HOT PLATE
checkpoint-status |  |  | checkpoint | SINK WASTE
checkpoint-status |  |  | checkpoint | COVERPLATES
checklist-flat |  |  | checklist | LAUNDRY Fit Off |  |  |  |  | Yes | LAUNDRY Fit Off | a95554ba-2fbd-4c8b-ba00-152ab6b04d32
checkpoint-status |  |  | checkpoint | TILE
checkpoint-status |  |  | checkpoint | TROUGH
checkpoint-status |  |  | checkpoint | MINI STOP
checklist-flat |  |  | checklist | Rough In |  |  |  |  | Yes | Rough In | abf621e1-e84c-4a52-a48f-fa55bca6ec47
checkpoint-status |  |  | checkpoint | DRAIN COMPLETE
checkpoint-status |  |  | checkpoint | LAGGING COMPLETE
checkpoint-status |  |  | checkpoint | DOWNPIPE ON
checkpoint-status |  |  | checkpoint | OVERFLOW EXPOSED AND CHOPPED DOWN
checkpoint-status |  |  | checkpoint | UN-USED PENO'S SEALED
checkpoint-status |  |  | checkpoint | ROUGH IN COMPLETE
checkpoint-status |  |  | checkpoint | HEADER PIPES FIRE CAULKED
checkpoint-status |  |  | checkpoint | TMV ACCESSIBLE TO A/P
checkpoint-status |  |  | checkpoint | HOT WATER METERS INSTALLED
checkpoint-status |  |  | checkpoint | CROSS CONNECTIONS
checkpoint-status |  |  | checkpoint | MIXER STRAIGHT, SET BACK CORRECT
checkpoint-status |  |  | checkpoint | WATER PRESSURE TESTED
checkpoint-status |  |  | checkpoint | ROLL OVERS COMPLETE AND SECURE
checkpoint-status |  |  | checkpoint | APARTMENT CLEAN OF MATERIALS
checkpoint-status |  |  | checkpoint | D/P CLIPPED
checkpoint-status |  |  | checkpoint | FW CLEANNED, COVERED AND CLEAR OF DEBRIS
checkpoint-status |  |  | checkpoint | AAV REQUIRED?
checkpoint-status |  |  | checkpoint | FIXTURE SET OUT CORRECT
checkpoint-status |  |  | checkpoint | CLIENT VARIATION CHECKED AGAINST SCHEDULE
checklist-flat |  |  | checklist | LAUNDRY Commissioning |  |  |  |  | Yes | LAUNDRY Commissioning | c99437a5-4a06-4c9d-af11-447bd06e6049
checkpoint-status |  |  | checkpoint | W.M STOPS
checkpoint-status |  |  | checkpoint | TROUGH
checkpoint-status |  |  | checkpoint | TROUGH MIXER
checkpoint-status |  |  | checkpoint | TROUGH WASTE
checkpoint-status |  |  | checkpoint | FLOOR WASTE
checklist-sectioned |  |  | checklist | POWDER ROOM Fit Off |  |  |  |  | Yes | POWDER ROOM Fit Off | cdf6b340-d312-4bf5-a865-080fa35383f2
checkpoint-group |  |  | section | BASIN
checkpoint-status |  |  | checkpoint | JOINERY
checkpoint-status |  |  | checkpoint | STONE
checkpoint-status |  |  | checkpoint | BASIN
checkpoint-status |  |  | checkpoint | MIXER
checkpoint-group |  |  | section | WC
checkpoint-status |  |  | checkpoint | TILE
checkpoint-status |  |  | checkpoint | GROUT
checkpoint-status |  |  | checkpoint | WC