## Table 1
Equus Two Layer System on Concrete Sequence
|  |  | Description |  |  | Check type |  |  | Photo prompt
|  |  | Area Preparation works completed |  |  | YES/NO/NA |  |  | Yes
I
|  |  | Substrate Checked & Acceptable |  |  | YES/NO/NA |  |  | Yes
I
|  |  | Outlets/ Overflows installed |  |  | YES/NO/NA |  |  | Yes
I
|  |  | Membrane primer applied |  |  | YES/NO/NA |  |  | Yes
I
|  |  | Angle fillet Installed |  |  | YES/NO/NA |  |  | Yes
I
|  |  | Base sheet installed |  |  | YES/NO/NA |  |  | Yes
I
|  |  | Cap sheet installed |  |  | YES/NO/NA |  |  | Yes
I
|  |  | membrane details checked |  |  | YES/NO/NA |  |  | Yes
I
|  |  | Terminations/ flashings completed |  |  | YES/NO/NA |  |  | Yes
I
|  |  | Area left clear of materials/ Rubbish |  |  | YES/NO/NA |  |  | Yes
I
|  |  | ILD Test Completed |  |  | YES/NO/NA |  |  | Yes
I
Equus Duotherm Warm Roof System Sequence
| Description |  |  |  | Check type |  | Photo prompt
| I I I | [5 empty] | I
| Substrate installed as per standard Required |  |  |  | YES/NO/NA |  | YES
| I I I | [5 empty] | I
| Outlets/Overflows Installed |  |  |  | YES/NO/NA |  | YES
| I I I | [5 empty] | I
| Sopradere quick dry primer Applied |  |  |  | YES/NO/NA |  | YES
| I I I | [5 empty] | I
| Tapered PIR Insulation Board installed |  |  |  | YES/NO/NA |  | YES
| I I I | [5 empty] | I
| Permabase Roof Board installed |  |  |  | YES/NO/NA |  | YES
| I I I | [5 empty] | I
| Primer Applied |  |  |  | YES/NO/NA |  | YES
| I I I | [5 empty] | I
| Equus Deboer Base sheet installed |  |  |  | YES/NO/NA |  | YES
| I I I | [5 empty] | I
| Equus Deboer Cap sheet installed |  |  |  | YES/NO/NA |  | YES
| I I I | [5 empty] | I
| Terminations Details/Matacryl completed |  |  |  | YES/NO/NA |  | YES
| I I I | [5 empty] | I
| Membrane details checked |  |  |  | YES/NO/NA |  | YES
| I I I | [5 empty] | I
Equus Two Layer System on Plywood Sequence
| Description |  |  |  | Check type |  | Photo prompt
| I I I | [5 empty] | I
| Substrate Clean and Dry |  |  |  | YES/NO/NA |  | YES
| I I I | [5 empty] | I
| Outlets/ penetrations installed |  |  |  | YES/NO/NA |  | YES
| I I l | [5 empty] | I
| Nuralite Bitumen primer Applied |  |  |  | YES/NO/NA |  | YES
| I I I | [5 empty] | I
| Angle fillet Installed |  |  |  | YES/NO/NA |  | YES
| I I I | [5 empty] | I
| Nuralite Base sheet installed |  |  |  | YES/NO/NA |  | YES
| I I I | [5 empty] | I
| Nuralite 3PM Cap sheet installed |  |  |  | YES/NO/NA |  | YES
| I I l | [5 empty] | I
| Terminations/ Details completed |  |  |  | YES/NO/NA |  | YES
| I l I | [5 empty] | I
| Membrane details checked |  |  |  | YES/NO/NA |  | YES
| I I I | [5 empty] | I
| Area left clear of materials/ Rubbish |  |  |  | YES/NO/NA |  | YES
| I I I | [5 empty] | I
| ILD Testing Completed |  |  |  | YES/NO/NA |  | YES
I
Equus Matacryl System Sequence
| Description |  |  | Check type |  |  |  | Photo prompt
| Preparation of area completed |  |  | YES/NO/NA |  |  |  | YES
| All outlets and penetrations installed |  |  | YES/NO/NA |  |  |  | YES
| 108 Duracon primer applied |  |  | YES/NO/NA |  |  |  | YES
| 107 Duracon primer applied (steel only) |  |  | YES/NO/NA |  |  |  | YES
| Matacryl Manual 1st layer |  |  | YES/NO/NA |  |  |  | YES
| Quarts sand applied |  |  | YES/NO/NA |  |  |  | YES
| Matacryl STC 1st coat applied |  |  | YES/NO/NA |  |  |  | YES
| Matacryl STC top coat applied |  |  | YES/NO/NA |  |  |  | YES
| Area left clean and clear |  |  | YES/NO/NA |  |  |  | YES