## Project Checklist Templates
Id | Type | Name | Values | Prompting Name | Resource Id
| checklist | Deckwork |  | Deckwork | 009e91a3-ba4b-4847-b44b-ed273af6745a
| checkpoint | The correct drawing has been used. Is it issued for construction and which issue is it
| checkpoint | All workers been inducted and read appropriate SWMS for tasks and prestart signed
| checkpoint | Appropriate materials have been used for application, also sizing is correct
| checkpoint | Invert levels been checked, pipework has correct fall as per drawing
| checkpoint | Fire Collars are secured properly
| checkpoint | Q/A been done to ensure all collars and pipework is in place and in correct postion (Plan attached)
| checkpoint | Fire collars are approved for there application
| signoff | Signed off by Commodore Plumbing & RCC
| checklist | Fit Off |  | Fit Off | 6e9fbf2d-d988-455d-9d32-578c9d042e8e
| section | Details
| checkpoint | Pipe Work
| checkpoint | Installation
| checkpoint | Test
| checkpoint | Commission
| checkpoint | Final inspection
| signoff | Signed off by Commodore Plumbing & RCC
| checklist | In Ground Pressure Services Checklist |  | In Ground Pressure Services Checklist | fdf960d3-5bad-4f37-b66c-5c4fef692859
| checkpoint | The correct drawing has been used and it is issued for construction
| checkpoint | All workers been inducted and read appropriate SWMS for tasks and prestart signed
| checkpoint | Appropriate materials have been used for application and sizing is as per drawings
| checkpoint | Pipework bedding is correct material and depth
| checkpoint | Q/A been done to ensure all pipework is in place and in correct position
| checkpoint | All pipework is installed as per AS/NZS 3500
| checkpoint | Pipework has been pressure tested for 24 hours - attach photo of pressure gauge
| checkpoint | All open ends are capped off/taped off
| signoff | Signed off by Commodore Plumbing & RCC
| checklist | In Ground Sewer Checklist |  | In Ground Sewer Checklist | 8a7f589c-b816-4781-9817-81c1cbcd6617
| checkpoint | The correct drawing has been used and it is issued for construction
| checkpoint | All workers been inducted and read appropriate SWMS for tasks and prestart signed
| checkpoint | Appropriate materials have been used for application and sizing is as per drawings
| checkpoint | Invert levels been checked, pipework has correct fall as per drawing
| checkpoint | Pipework bedding is correct material and depth
| checkpoint | Q/A been done to ensure all pipework is in place and in correct position
| checkpoint | All pipework is installed as per AS/NZS 3500
| checkpoint | All floor wastes are charged by a fixture
| checkpoint | All open ends are capped off/taped off
| signoff | Signed off by Commodore Plumbing & RCC
| checklist | In Ground Stormwater Checklist |  | In Ground Stormwater Checklist | 9695a34b-3c88-4eaf-8b78-a7f70936cff6
| checkpoint | The correct drawing has been used. Is it issued for construction and which issue is it
| checkpoint | All workers been inducted and read appropriate SWMS for tasks and prestart signed
| checkpoint | Appropriate materials have been used for application, also sizing is correct
| checkpoint | Invert levels been checked, pipework has correct fall as per drawing
| checkpoint | Pipework is secured properly, penetrations through pits are correct (pits by others)
| checkpoint | Q/A been done to ensure all pipework is in place and in correct position (Plan attached)
| checkpoint | Pipework has been tested and are all open ends capped/taped off
| signoff | Signed off by Commodore Plumbing & RCC
| checklist | Rough In |  | Rough In | 1ca9a7ad-0ca9-4aa3-a647-d2843a4d6606
| section | Details
| checkpoint | Plans
| checkpoint | Rough In
| checkpoint | Set Out
| checkpoint | Pressure Tested
| checkpoint | Cross Connection Checked
| checkpoint | Meter mark provided by MLP
| signoff | Signed off by Commodore Plumbing & RCC
| checklist | Stacks Checklist |  | Stacks Checklist | f291bbf8-0cd7-4812-b0e0-5cb5a27f9fab
| checkpoint | Has the correct drawing been used. Is it issued for construction
| checkpoint | All workers been inducted and read appropriate SWMS for tasks and prestart signed
| checkpoint | Pipework is co-ordinated with other trades and finished ceiling heights
| checkpoint | Pipework has correct fall and is sized correctly
| checkpoint | Stackwork has been water tested and visual inspection for leaks
| checkpoint | Stack cap has been removed
| checkpoint | Stackwork has been clipped as per ASNZS3500
| checkpoint | Stackwork is acoustically lagged if applicable
| signoff | Signed off by Commodore Plumbing & RCC
| checklist | Trade Waste Checklist |  | Trade Waste Checklist | f7ad42f7-9af8-440e-9a08-a513d1b399a7
| checkpoint | The correct drawing has been used. Is it issued for construction and which issue is it
| checkpoint | All workers been inducted and read appropriate SWMS for tasks and prestart signed
| checkpoint | Appropriate materials have been used for application, also sizing is correct
| checkpoint | Invert levels been checked, pipework has correct fall as per drawing
| checkpoint | Pipework is secured properly
| checkpoint | Q/A been done to ensure all pipework is in place and in correct postion (Plan attached)
| checkpoint | Pipework has been tested and are all open ends capped/taped off
| signoff | Signed off by Commodore Plumbing & RCC
| checklist | Wall and Ceiling Pressure Services Checklist |  | Wall and Ceiling Pressure Services Checklist | 64e996a6-d184-42ee-948d-4c6a8d89e3af
| checkpoint | The correct drawings have been used and issued for construction
| checkpoint | All workers been inducted and read appropriate SWMS for tasks and prestart signed
| checkpoint | Appropriate materials have been used for application and sizing is as per drawings
| checkpoint | Meter marks have been issued by RCC and works have been completed off them
| checkpoint | Q/A been done to ensure all pipework/fittings is in place and in correct position
| checkpoint | All pipework is installed and secured as per AS/NZS 3500
| checkpoint | Pipework has been pressure tested for 24 hours - attach photo of pressure gauge
| checkpoint | Stud grommets are installed and pipes through studs are siliconed
| checkpoint | Check for cross connections
| signoff | Signed off by Commodore Plumbing & RCC