## zres_siteapp_NEW
Id | Type | Name | Values | Prompting Name | Postfix | Resource Id
d4da1a24-509e-4aa1-bf0b-df78d1cb10d4 | checklist | Damage Repair Checklist |  | Damage Repair Checklist
2953c13e-3f9a-484a-8cee-ac618c650b22 | section | Product
728c27c7-c2bd-4e95-aa7d-0127c72362d9 | checkpoint | Description
21677a92-aeb9-5c57-a4e4-dca4c2fc80d1 | note | PRESS 'FAIL' ABOVE WHEN ADDING PICTURES/INFORMATION
c9d22e12-ad9f-5f75-a71a-121765882827 | date | Manufacture date
00dd95ae-5deb-5e88-ac0a-9f69dbc31432 | textbox | Describe briefly below the product that is damaged and how it happened. (Include product type and codes if able)
3ab0fbbb-7527-5746-a229-db485ea48c8c | note | Press 'Camera' icon below to add photo of damaged product.
5084b38b-8450-43bf-81f0-26cff91e099d | signoff | Click 'REQUEST SIGN-OFF' to notify Supervisor/QA to assess damage.
95eb736f-00d9-4e7f-94f5-244a26169da3 | checkpoint-no-value | Remedial
51d9ff4c-e49b-5767-809d-c43f2ed88d40 | note | AFTER SUPERVISOR/QA ASSESSMENT, PROCEED WITH REQUIRED REMEDIAL WORK AS NECESSARY.
6bb38a95-2b69-5a97-b412-c5fd60e53700 | note | ONCE REPAIR WORK IS READY TO CHECK, CLICK 'FAIL' ABOVE TO UNHIGHLIGHT. (SUPERVISOR/QA WILL SELECT PASS ONCE THEY HAVE CHECKED REPAIR)
1a8ce21d-2c22-4dfc-af6c-31b761a6a412 | signoff | Click 'REQUEST SIGN-OFF' to notify Supervisor/QA that repair work is complete and ready to be checked.
167052be-ab93-483f-891a-e6afb213b34f | checklist | Double Tee Manufacture Checklist |  | Double Tee Manufacture Checklist
37a913ce-3264-4b71-bae5-aafe5c88b81d | section | Product
09334005-0370-4599-b28a-712e01ffb683 | checkpoint | Product
e0f9573f-a2b4-5bb6-b476-2572b556c789 | date | Manufacture date
7847037d-6a4d-51e8-9f3a-fc3d8d615689 | textbox | Double Tee Type/Length
adf8c5d0-a4a7-5b11-ae7a-6c829a48d4cf | textbox | Product Code
a49fffdb-66cf-4718-9e9e-a18f17896b04 | section | Prepour
1228fe4f-878b-46f3-8e56-eefc27067274 | checkpoint | Specification and Stressing
79b8aaab-554f-5b30-a452-be74dfe00484 | textbox | Length
02727223-dd75-5afd-bf37-7d4022902ebf | number | Number of strands
b0295721-a8c6-5d52-8dee-82b7c7c46776 | textbox | Strand Size
3878ab31-4306-5bd0-a13c-7b0169909efc | textbox | Coil Number
29fb179f-767e-51d3-9fe3-c0b0c1d27c44 | textbox | Wedge type
11f7e2d9-ca2d-566e-9012-190e712f1cce | textbox | Stressing calculation doc Number
0a4d77dc-d61b-5a6c-9cf2-ef0e0828e2bc | textbox | Extension calculation
5a9eb472-8dbf-5d15-ac4a-5fafd6beef44 | textbox | Gauge pressure calculation
2e30ecd7-17fb-5986-a483-1959c72f3cd4 | textbox | Actual extension
28aa4a7b-a53f-5a3f-964c-5b1666d5f7ca | textbox | Actual pressure on 1st item
8f0d1c33-b0e3-4342-ab6d-9fe0d7fc83f1 | checkpoint | Mould
5e1702f3-e3c5-516b-a5de-ce07aecbcacb | button | Any damage to the mould that will affect product quality? If yes report to supervisor. | YES, NO, N/A
ef2cf2a9-85c9-5010-a561-8ec42666e20e | button | Mould is clean and oil is applied correctly, no oil pooling | YES, NO, N/A
2495af56-9473-5b94-83d3-81ac9cafca83 | button | Endplates fixed and straight? Lined up with appropriate measurement mark? | YES, NO, N/A
7b3b1cb5-ada6-5572-9859-df4812ffbf2e | button | Kerb secured | YES, NO, N/A
78137ab5-fd86-5719-9222-e51739e81874 | button | Kerb inserts tight | YES, NO, N/A
4cf92414-a0a4-5c3d-8bbc-bfaec489075d | button | Kerb plate straight not bowed | YES, NO, N/A
c16e70a4-2eab-5ef0-9f74-a427308f7336 | button | Correct lifting devices used? (4x 10T 175mm Eye Anchors) | YES, NO
fcb76256-c9b7-4d38-9d15-4f91daa7972c | checkpoint | Reinforcing & Inserts
94de765b-d9a1-50c5-b878-0b80f06f5893 | button | Strand is pre-loaded and stressed | YES, NO, N/A
c297d272-1c92-5ac0-bdf1-4c2e571cf8d5 | button | Correct strands are de-bonded | YES, NO, N/A
b14d94f9-460a-5be5-97f5-af15415d1aed | button | Dimensional correctness of strands inside the mould | YES, NO, N/A
b7a36e13-9569-5fe3-aab1-c11e795bd3cb | button | Dimensional correctness/position of cage | YES, NO, N/A
5f6565fd-8cb0-510e-a810-a4ddf233e311 | button | Dimensional correctness/position of stirrups/reinforcing | YES, NO, N/A
067131fc-a061-51d4-9224-db39ee7b132d | button | Spacers and covers within tolerances | YES, NO, N/A
7683d65a-9036-580b-80dd-e3093a673b24 | button | Swiftlifts/foot anchors in correct location and secure | YES, NO, N/A
cafd6edd-97d0-598e-9812-f12299d2f66d | button | Inserts required? | YES, NO, N/A
54752eb0-3246-58eb-b0ba-c28300347197 | textbox | Insert type (if applicable)
10dbeda8-81d3-591e-857b-d4963bdde79b | button | Insert location correct (if applicable) | YES, NO, N/A
1f6abc64-22bd-4abc-aa59-5f0b4cb5d8b1 | checkpoint | Barrels and Wedges
f5afdf39-436f-5ba7-9138-9f9249b8ef3a | button | O Ring fully in tact? | YES, NO, N/A
1328970f-a203-57d6-8caf-7450a2cfc374 | button | No horizontal cracks | YES, NO, N/A
5a0e077d-a40f-5acf-94c4-53d0f352f133 | button | Wedges evenly inside barrel | YES, NO, N/A
b9a2c896-6f6c-447f-9fbf-aa6452047a13 | checkpoint-no-value | Mould Photo
8544ab02-1510-49dd-b788-6ce4d75bb3b3 | signoff | QA/SUPERVISOR CHECK
ca3941f0-bebb-484e-a90c-acc56cbc4885 | checkpoint | Concrete delivery
9cf91e05-7cd0-5750-9c0c-6862f1ae92c1 | button | Two test cylinders ready to be made to check concrete strength when cured | YES, NO, N/A
c1d90ae7-25bf-5c2d-a461-795a83a4ae3d | button | Upon concrete delivery, check that concrete recipe, mpa, volume, spread/slump is correct? Enter recipe,mpa, volume and spread/slump below. | YES, NO, N/A
a4af4da2-b20d-586c-97f7-ef9edbb70396 | textbox | Concrete Recipe + mpa
f92b5b8b-d93a-5cda-a3e0-de2e1359f723 | textbox | Concrete Volume
a9211538-cf48-5be3-9b3c-f101cba52806 | textbox | Spread/Slump
5fd6f776-328c-5293-b5f5-32b171e9562e | note | Attach concrete docket
ed0b1325-c566-4d0e-9195-da849ee6af0c | section | Postpour
ce2f2cef-c65b-4276-a4cd-4158522ab840 | checkpoint | Finished product
3c9edf90-abee-5237-88b6-b2a2e354cdac | button | Specified concrete strength reached(for stripping)? (min. 30mpa) | YES, NO, N/A
1bc2322c-0209-5481-b2b2-80db2881d5e8 | button | Any cracks visible on the unit or at the lifter locations? If yes report to supervisor/QA | YES, NO, N/A
c4ece499-7b72-5bcb-9642-df44c3814e61 | button | ALL edges/seams stoned/grinded? | YES, NO, N/A
f6d01363-306a-5b6a-9ea7-54d326c7797c | button | Ends of strand sealed with epoxy | YES, NO, N/A
2d4938c6-a947-53e2-9632-24ee93d21c42 | button | Suitable finish achieved - Bagrub / flaircoat if needed | YES, NO, N/A
4253252c-7c45-56b4-8da8-eb3da23cbc0d | button | Holes in kerb sealed with epoxy? | YES, NO, N/A
1f25f307-3f73-5037-b3d4-adf2edb9b901 | button | Product is labeled with the date, length of Double Tee, Product code and Double tee length? | YES, NO, N/A
01a70d88-f0dc-53e5-a5d7-d155c96d3818 | button | Inserts as specified in drawing and installed correctly? (if applicable) | YES, NO, N/A
0f61b153-b267-531d-9c2b-cf7bf8c219ed | button | Lifting devices as specified in drawing and installed correctly? (if applicable) | YES, NO, N/A
480aa9e2-e449-49ce-9220-dea31641b839 | signoff | QA/SUPERVISOR CHECK
f7b441d8-b39a-4e35-8440-0909b1638d02 | checkpoint-no-value | Photo of finished product
f21c6808-4142-46fa-9857-6e33ed1a8b4f | section | Concrete Test Results
300e2fcf-0052-4ad0-b3d4-6f27c9602268 | checkpoint | Attach any concrete cylinder results required