## struct
resource | type | Add Step | Add Post | Tier 1 | Tier 2 | Tier 3 | Tier 4 | Tier 5 | Tier 6 | Tier 7 | Tier 8 | Tier 9
| step |  |  | Solar Farm J#43687 - Large Room
| step |  |  |  | Toolbox Meetings
Toolbox Meeting | checklist |  |  |  |  | Daily Toolbox meetings - Site Installation
| step |  |  |  | Room Construction
Sign Off | checklist |  |  |  |  | Room Construction Checklist
Sign Off | checklist |  |  |  |  | QA Documentation
| step |  |  |  | Frame Construction
Sign Off | checklist |  |  |  |  | Frame Construction Checklist
Sign Off | checklist |  |  |  |  | Coastal Services QA Documentation
| step |  |  |  | Floor, Duct Penetrations
| step |  |  |  |  | Flooring, Penetrations Checklist
| step | [5 empty] | Floor Cable Penetrations
| step | [5 empty] | Floor Covering
| step |  |  |  | Cable Supports
| step |  |  |  |  | Cable Support Checklists
ITR-E-02B Cable Supports Above Ground | checklist | [5 empty] | Cable Ladder
ITR-E-02B Cable Supports Above Ground | checklist | [5 empty] | Uni Tray
| step |  |  |  | LV Lighting, Power, DATA & Accessories
| step |  |  |  |  | MV Room
ITR-E-64 General Lighting | checklist | [5 empty] | Internal 5ft Emergency Light 01
ITR-E-64 General Lighting | checklist | [5 empty] | Internal 5ft LED Light 02
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | 2 Way Light Switch 01
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | 2 Way Light Switch 02
ITR-E-64 General Lighting | checklist | [5 empty] | Exterior Flood Light 03
ITR-E-64 General Lighting | checklist | [5 empty] | Emergency Exit Light 04
| step |  |  |  |  | Control Room
ITR-E-64 General Lighting | checklist | [5 empty] | Internal 5ft LED Light 05
ITR-E-64 General Lighting | checklist | [5 empty] | Internal 5ft LED Light 06
ITR-E-64 General Lighting | checklist | [5 empty] | Internal 5ft LED Light 07
ITR-E-64 General Lighting | checklist | [5 empty] | Internal 5ft Emergency Light 08
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | 2 Way Light Switch 03
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | 2 Way Light Switch 04
ITR-E-64 General Lighting | checklist | [5 empty] | Emergency Exit Light 09
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | Double Socket Outlet GPO01
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | Daylight Sensor 01
| step |  |  |  |  | Office
ITR-E-64 General Lighting | checklist | [5 empty] | Internal 5ft LED Light 10
ITR-E-64 General Lighting | checklist | [5 empty] | Internal 5ft Emergency Light 11
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | 2 Way Light Switch 05
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | 2 Way Light Switch 06
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | Double Socket Outlet GPO02
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | Double Socket Outlet GPO03
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | Double Socket Outlet GPO04
ITR-E-64 General Lighting | checklist | [5 empty] | Emergency Exit Light 12
| step |  |  |  |  | Smoko Room
ITR-E-64 General Lighting | checklist | [5 empty] | Internal 5ft LED Light 13
ITR-E-64 General Lighting | checklist | [5 empty] | Internal 5ft Emergency Light 14
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | 2 Way Light Switch 07
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | 2 Way Light Switch 08
ITR-E-64 General Lighting | checklist | [5 empty] | Emergency Exit Light 15
ITR-E-64 General Lighting | checklist | [5 empty] | Exterior Flood Light 16
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | Double Socket Outlet GPO05
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | Double Socket Outlet GPO06
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | Double Socket Outlet GPO07
| step |  |  |  |  | Toilet
ITR-E-64 General Lighting | checklist | [5 empty] | Internal LED round light 17
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | 1 Way Light Switch 09
| step |  |  |  | HVAC
| step |  |  |  |  | AC01
ITR-E-55 HVAC System | checklist | [5 empty] | Indoor Unit
ITR-E-55 HVAC System | checklist | [5 empty] | Outdoor Unit
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | AC Controller
| step |  |  |  |  | AC02
ITR-E-55 HVAC System | checklist | [5 empty] | Indoor Unit
ITR-E-55 HVAC System | checklist | [5 empty] | Outdoor Unit
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | AC Controller
| step |  |  |  | Equipment and Installation
| step |  |  |  |  | Panels
ITR-E-34A Low Voltage Switch Board | checklist | [5 empty] | TCE LV AC Distribution Board
ITR-E-10 Electrical Equipment Package | checklist | [5 empty] | 33KV RMU Siemens 8DJH
ITR-E-06 Control Panel | checklist | [5 empty] | SCADA / Comms panel
ITR-E-15 UPS Installation | checklist | [5 empty] | No1 UPS Cabinet
ITR-E-15 UPS Installation | checklist | [5 empty] | No2 UPS Cabinet
ITR-E-06 Control Panel | checklist | [5 empty] | Fire Panel
ITR-E-06 Control Panel | checklist | [5 empty] | Revenue Metering Panel
ITR-E-06 Control Panel | checklist | [5 empty] | Meteo Control Panel
| step |  |  |  |  | Pressurization Unit
ITR-E-10 Electrical Equipment Package | checklist | [5 empty] | Pressurization Unit
| step |  |  |  |  | Earth Bar
ITR-E-40A Bus Bar | checklist | [5 empty] | Switchroom Earth bar
| step |  |  |  | Cable Installation
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | A01 | 6.0mm 4C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | A02 | 1.5mm 3C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | A03 | 1.5mm 3C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | A04 | 1.5mm 3C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | U01 | 1.5mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | U02 | 1.5mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | U03 | 1.5mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | D01 | 2.5mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | D02 | 2.5mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | D03 | 2.5mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | D04 | 2.5mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | D05 | 2.5mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | D06 | 2.5mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | D07 | 2.5mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | F01 | SM 0S2
ITR-E-29 Cat 6 Communication Cable | checklist |  |  |  |  | C01 | CAT6
ITR-E-29 Cat 6 Communication Cable | checklist |  |  |  |  | C02 | CAT6
ITR-E-29 Cat 6 Communication Cable | checklist |  |  |  |  | C03 | CAT6
ITR-E-29 Cat 6 Communication Cable | checklist |  |  |  |  | C04 | CAT6
ITR-I-21A - Instrument and Control Cables | checklist |  |  |  |  | T01 | 2.5mm 12C Firstflex CTP12/2.5
ITR-I-21A - Instrument and Control Cables | checklist |  |  |  |  | T02 | 2.5mm 12C Firstflex CTP12/2.6
ITR-I-21A - Instrument and Control Cables | checklist |  |  |  |  | T03 | 2.5mm 12C Firstflex CTP12/2.7
ITR-I-21A - Instrument and Control Cables | checklist |  |  |  |  | T04 | 2.5mm 12C Firstflex CTP12/2.8
| step |  |  |  | Building Access
Sign Off | checklist |  |  |  |  | Stairs
Sign Off | checklist |  |  |  |  | Platform
| step |  |  |  | COC, ESC
Certificate of compliance (COC) | checklist |  |  |  |  | COC
Electrical Safety Ceritificate (ESC) | checklist |  |  |  |  | ESC
Test Equipment Details | checklist |  |  |  |  | Test Equipment
Sign Off | checklist |  |  |  | Punchlist Walkdown
Sign Off | checklist |  |  |  | Punchlist work Complete Acceptance
| step |  |  |  | Switchroom Complete
ITR-E-09 Electrical Switch Rooms | checklist |  |  |  |  | Entec Project Engineer
| step |  |  |  | As Built Drawings Complete
Sign Off | checklist |  |  |  |  | Entec Supervisor
| step |  |  |  | Workpack Completion Sign Off
Sign Off | checklist |  |  |  |  | Entec Project Engineer
Sign Off | checklist |  |  |  |  | Chint Client representative
| step |  |  | North Power J#45005 - Small Room
| step |  |  |  | Toolbox Meetings
Toolbox Meeting | checklist |  |  |  |  | Daily Toolbox meetings - Site Installation
| step |  |  |  | Room Construction
Sign Off | checklist |  |  |  |  | Room Construction Checklist
Sign Off | checklist |  |  |  |  | QA Documentation
| step |  |  |  | Frame Construction
Sign Off | checklist |  |  |  |  | Frame Construction Checklist
Sign Off | checklist |  |  |  |  | Coastal Services QA Documentation
| step |  |  |  | Floor, Duct Penetrations
| step |  |  |  |  | Flooring, Penetrations Checklist
| step | [5 empty] | Floor Cable Penetrations
| step | [5 empty] | Floor Covering
| step |  |  |  | Cable Supports
| step |  |  |  |  | Cable Support Checklists
ITR-E-02B Cable Supports Above Ground | checklist | [5 empty] | Cable Ladder
ITR-E-02B Cable Supports Above Ground | checklist | [5 empty] | Uni Tray
| step |  |  |  | LV Lighting, Power, DATA & Accessories
| step |  |  |  |  | Lighting Checklist
ITR-E-64 General Lighting | checklist | [5 empty] | Internal 5ft Emergency Light 01
ITR-E-64 General Lighting | checklist | [5 empty] | Internal 5ft LED Light 02
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | 2 Way Light Switch 01
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | 2 Way Light Switch 02
ITR-E-64 General Lighting | checklist | [5 empty] | Emergency Exit Light 03
ITR-E-64 General Lighting | checklist | [5 empty] | Emergency Exit Light 04
ITR-E-64 General Lighting | checklist | [5 empty] | Exterior Flood Light 05
ITR-E-64 General Lighting | checklist | [5 empty] | Exterior Flood Light 06
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | Daylight Sensor 01
| step |  |  |  |  | Power Checklist
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | Double Socket Outlet GPO01
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | Double Socket Outlet GPO02
| step |  |  |  | Fire and Security
| step |  |  |  |  | Fire System
ITR-I-01 Fire and Gas Detection Alarms | checklist | [5 empty] | Manual Call Point 01
ITR-I-01 Fire and Gas Detection Alarms | checklist | [5 empty] | Manual Call Point 02
ITR-I-01 Fire and Gas Detection Alarms | checklist | [5 empty] | Exterior Becon Sounder 01
ITR-I-01 Fire and Gas Detection Alarms | checklist | [5 empty] | Exterior Becon Sounder 02
ITR-I-01 Fire and Gas Detection Alarms | checklist | [5 empty] | Smoke Heat detector 01
ITR-I-01 Fire and Gas Detection Alarms | checklist | [5 empty] | Smoke Heat detector 02
| step |  |  |  |  | Security System
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | PIR Sensor 01
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | PIR Sensor 02
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | Electronic door lock 01
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | Electronic door lock 02
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | Swipe Card Reader 01
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | Swipe Card Reader 02
| step |  |  |  | Equipment and Installation
| step |  |  |  |  | Panels
ITR-E-06 Control Panel | checklist | [5 empty] | SCADA / Comms panel
ITR-E-06 Control Panel | checklist | [5 empty] | Cardex Panel
ITR-E-34A Low Voltage Switch Board | checklist | [5 empty] | AC LV DB
ITR-E-06 Control Panel | checklist | [5 empty] | DC Panel
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | 110V DC Battery Rack
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | 24V DC Battery Rack
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | 33KV Protection Panel
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | Generator Connection Box
| step |  |  |  | HVAC
| step |  |  |  |  | AC01
ITR-E-55 HVAC System | checklist | [5 empty] | Indoor Unit
ITR-E-55 HVAC System | checklist | [5 empty] | Outdoor Unit
ITR-E-01 General Electrical Equipment | checklist | [5 empty] | AC Controller
| step |  |  |  | Cable Installation
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | L-001 | 1.5mm 3C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | L-002 | 1.5mm 3C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | L-003 | 1.5mm 3C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | L-004 | 1.5mm 3C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | L-005 | 1.5mm 3C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | L-006 | 1.5mm 3C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | L-007 | 1.5mm 3C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | L-008 | 1.5mm 3C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | L-009 | 1.5mm 3C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | P-001 | 2.5mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | P-002 | 2.5mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | P-003 | 2.5mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | P-004 | 2.5mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | P-005 | 2.5mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | P-006 | 2.5mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | P-007 | 2.5mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | P-008 | 2.5mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | P-009 | 2.5mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | P-010 | 1.5mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | P-011 | 1.5mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | P-012 | 25mm 4C&E PVC/PVC TPS 90C 0.6/1KV
ITR-I-21A - Instrument and Control Cables | checklist |  |  |  |  | C-005 | 1.5mm 1 PR
ITR-I-21A - Instrument and Control Cables | checklist |  |  |  |  | W575 | 1.5mm 1 PR
ITR-I-21A - Instrument and Control Cables | checklist |  |  |  |  | W576 | 1.5mm 1 PR
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | W405 | 6mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | W311 | 6mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | W380 | 16mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-E-05 - Low Voltage Cable | checklist |  |  |  |  | W381 | 25mm 2C&E PVC/PVC TPS 90C 0.6/1KV
ITR-I-21A - Instrument and Control Cables | checklist |  |  |  |  | W391 | 0.5mm 1 PR
ITR-I-21A - Instrument and Control Cables | checklist |  |  |  |  | W392 | 0.5mm 1 PR
| step |  |  |  |  | Earth / Bonding Cables
ITR-E-05 - Low Voltage Cable | checklist | [5 empty] | 25mm 1c GRN/Y Cardex Panel
ITR-E-05 - Low Voltage Cable | checklist | [5 empty] | 25mm 1c GRN/Y 110VDC Battery Rack
ITR-E-05 - Low Voltage Cable | checklist | [5 empty] | 25mm 1c GRN/Y 110VDC Battery Rack
ITR-E-05 - Low Voltage Cable | checklist | [5 empty] | 25mm 1c GRN/Y Rear Entrance Stairs
ITR-E-05 - Low Voltage Cable | checklist | [5 empty] | 25mm 1c GRN/Y 33KV Protection Panel
ITR-E-05 - Low Voltage Cable | checklist | [5 empty] | 25mm 1c GRN/Y DC Panel
ITR-E-05 - Low Voltage Cable | checklist | [5 empty] | 25mm 1c GRN/Y SCADA/COMMS Panel
ITR-E-05 - Low Voltage Cable | checklist | [5 empty] | 25mm 1c GRN/Y ACDB
ITR-E-05 - Low Voltage Cable | checklist | [5 empty] | 25mm 1c GRN/Y Cable Ladders
ITR-E-05 - Low Voltage Cable | checklist | [5 empty] | 25mm 1c GRN/Y Main Entrance Stairs
ITR-E-05 - Low Voltage Cable | checklist | [5 empty] | 25mm 1c GRN/Y Structural Steel
| step |  |  |  | Building Access
Sign Off | checklist |  |  |  |  | Stairs
Sign Off | checklist |  |  |  |  | Platform
| step |  |  |  | COC, ESC
Certificate of compliance (COC) | checklist |  |  |  |  | COC
Electrical Safety Ceritificate (ESC) | checklist |  |  |  |  | ESC
Test Equipment Details | checklist |  |  |  |  | Test Equipment
Sign Off | checklist |  |  |  | Punchlist Walkdown
Sign Off | checklist |  |  |  | Punchlist work Complete Acceptance
| step |  |  |  | Switchroom Complete
ITR-E-09 Electrical Switch Rooms | checklist |  |  |  |  | Entec Project Engineer
| step |  |  |  | As Built Drawings Complete
Sign Off | checklist |  |  |  |  | Entec Supervisor
| step |  |  |  | Workpack Completion Sign Off
Sign Off | checklist |  |  |  |  | Entec Project Engineer
Sign Off | checklist |  |  |  |  | TOP Energy Client representative