## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat |  |  | checklist | Cold Water - State Basketball Centre |  |  |  |  | Yes | Cold Water - State Basketball Centre v2 | 0bacf1c0-11ec-4987-a96a-859d85792d72
checkpoint-status |  |  | checkpoint | Set-Out & Alignment
text | 9205f005-6cea-5e3a-a3d7-fbc7d09d4efc |  | textbox | Drawing & Rev No. (or Photograph below)
checkpoint-status |  |  | checkpoint | Materials type checked & correct
button | afc97d70-e816-41f5-a6f4-9fd78e8b793b |  | button |  | Copper,Pex
checkpoint-status |  |  | checkpoint | Correct fittings
checkpoint-status |  |  | checkpoint | Fittings & fixtures
label | 394284b3-5796-5dba-a9c1-881db954a87b |  | note | As per FFE Schedule
checkpoint-status |  |  | checkpoint | Pressure & Temperature testing completed
label | 89f22136-4945-5d0e-bb35-38fbf28fcc52 |  | note | Attach photos of testing apparatus below
text | 603a70c6-2941-58ea-bcf6-3b6567a1837b |  | textbox | Pressure test kPa
label | 1d79d6d4-ba46-5a48-9e70-a3e01f4d55e4 |  | note | Inspection attached below as applicable
checkpoint-status |  |  | checkpoint | Hydraulic Work(s) completed to specification/drawings & Area left clean/tidy
label | bd242667-7aa4-5aa7-92c2-c9fe26b8f081 |  | note | FINAL - Pass when happy to proceed with work(s) (Any issues please comment below)
button | b067f64b-9c2d-54ab-8292-920ddfff5cce |  | button | Signature by Builders Site Coordinator | Yes, No
button | f3b0334f-6021-510b-8f82-effebcbd59e7 |  | button | CDC Plumbing Signature Sign-Off added below | Yes, No
checklist-flat |  |  | checklist | Sanitary Fixture - State Basketball Centre |  |  |  |  | Yes | Sanitary Fixture - State Basketball Centre | 0fa86712-bcda-4691-bda4-69882c18b859
checkpoint-status |  |  | checkpoint | Set-Out & Alignment
text | 18106df7-290d-5b86-8ba3-2a1e071e1445 |  | textbox | Drawing & Rev No. (or Photograph below)
checkpoint-status |  |  | checkpoint | Materials type checked & correct
checkpoint-status |  |  | checkpoint | Correct fittings
checkpoint-status |  |  | checkpoint | Fittings & fixtures
label | a4880b24-bd8d-5e72-a338-30a3679ecc48 |  | note | As per FFE Schedule
checkpoint-status |  |  | checkpoint | Fixture install completed
label | 93c115aa-9016-5c49-bfb9-2d0d14878a17 |  | note | As per FFE Schedule
checkpoint-status |  |  | checkpoint | Check products for imperfections
label | a8dfe1e8-ceb9-5bb3-ad97-eeb7f46f4e72 |  | note | Any issues, comment / photograph below
checkpoint-status |  |  | checkpoint | Silicone seals completed - Neat & tidy
checkpoint-status |  |  | checkpoint | Inspection by Authority
label | 464fe60c-b84f-5e0f-816d-4cc108df84e9 |  | note | Inspection attached below as applicable
checkpoint-status |  |  | checkpoint | Hydraulic Work(s) completed to specification/drawings & Area left clean/tidy
label | 0937b86f-d954-5c5a-9dc6-8172aba63b29 |  | note | FINAL - Pass when happy to proceed with work(s) (Any issues please comment below)
label | 57d634e9-aea1-574d-8780-08220c4e7ccb |  | note | Click to Attach Signature(s) below
button | 3bb45d94-eaf3-5b38-90b2-4d858e99f64f |  | button | Signature by Builders Site Coordinator | Yes, No
button | 9b4954a3-de9a-5e31-bed9-9eb5e1692aac |  | button | CDC Plumbing Signature Sign-Off added below | Yes, No
checklist-flat |  |  | checklist | Drawing Upload - Checklist (V.101221) |  |  |  |  | Yes | Drawing Upload - Checklist (V.101221) | 1a6844f9-4617-4875-acf1-f5534944bfe2
checkpoint-status |  |  | checkpoint | Drawings/comments/signatures - attached below
checklist-flat |  |  | checklist | Below Ground Sewer Drainage - State Basketball Centre |  |  |  |  | Yes | Below Ground Sewer Drainage - State Basketball Centre | 2cea01e9-27ff-4971-980c-fbb38ed294d8
checkpoint-status |  |  | checkpoint | Set-Out & Alignment
text | e7b8afc3-d7a5-5996-be7d-3034c7697cc5 |  | textbox | Drawing & Rev No. (or Photograph below)
checkpoint-status |  |  | checkpoint | Materials type checked & correct
checkpoint-status |  |  | checkpoint | Correct fittings
checkpoint-status |  |  | checkpoint | Fittings & fixtures
checkpoint-status |  |  | checkpoint | Inspection by Authority
label | 856883f3-9c26-54cc-912b-870bf76b6df5 |  | note | Inspection attached below as applicable
checkpoint-status |  |  | checkpoint | Hydraulic Work(s) completed to specification/drawings & Area left clean/tidy
label | 18429608-f33a-58a2-b16c-6058adc86f2c |  | note | FINAL - Pass when happy to proceed with work(s) (Any issues please comment below)
label | 3e87ddda-893c-51cb-a87b-9782f2b1637f |  | note | Click to Attach Signature(s) below
button | 99995390-136b-5995-92fe-6fc9b65099bd |  | button | Signature by Builders Site Coordinator | Yes, No
button | ebe6bba9-2586-5189-b3eb-ce46413bdc55 |  | button | CDC Plumbing Signature Sign-Off added below | Yes, No
checklist-flat |  |  | checklist | Concrete Pour |  |  |  |  | Yes | Concrete Pour v2 | 4706adff-3686-4f1b-8cfb-79baf54d6a7a
checkpoint-status |  |  | checkpoint | Set out and alignment
button | 0f4a2b96-415c-4ca7-8cd0-dcab21afe622 |  | button |  | Survey,Site Measure
checkpoint-status |  |  | checkpoint | Materials types
button | 95c997d2-7153-4a0d-9865-2a466755af1c |  | button |  | Fire collar,Sleeve
checkpoint-status |  |  | checkpoint | Inspection Prior to concrete pour
checklist-flat |  |  | checklist | Hot Water - State Basketball Centre |  |  |  |  | Yes | Hot Water - State Basketball Centre | 4c9bbb50-79c4-4749-b8fb-37b36371b4e9
checkpoint-status |  |  | checkpoint | Set-Out & Alignment
text | 21a42cc4-ca6f-5c12-8010-5081fe866ec8 |  | textbox | Drawing & Rev No. (or Photograph below)
checkpoint-status |  |  | checkpoint | Materials type checked & correct
checkpoint-status |  |  | checkpoint | Structural penetrations completed & checked
checkpoint-status |  |  | checkpoint | Correct fittings
checkpoint-status |  |  | checkpoint | Fittings & fixtures
label | d1af1620-b4da-586f-a402-8acd6452bdeb |  | note | As per FFE Schedule
checkpoint-status |  |  | checkpoint | Fire collars installed
label | 72aa70a6-f935-56ec-bb8c-55185e2299ea |  | note | Attach photos of Fire Collars below
checkpoint-status |  |  | checkpoint | Fire penetration caulked
checkpoint-status |  |  | checkpoint | Insulation / lagging installed
checkpoint-status |  |  | checkpoint | Temp control valves installed
checkpoint-status |  |  | checkpoint | Pressure & Temperature testing completed
label | da0d6e09-2a68-5bc2-a11a-13449993570e |  | note | Attach photos of testing apparatus below
text | ac6a2fb5-1086-509a-a706-94de6958fe99 |  | textbox | Pressure test kPa
text | f1aaf9af-8ba0-576f-a831-533a1ab9c562 |  | textbox | Water temperature
checkpoint-status |  |  | checkpoint | Inspection by Authority
label | 65ec733a-0141-5951-8489-01ab254c37cd |  | note | Inspection attached below as applicable
checkpoint-status |  |  | checkpoint | Hydraulic Work(s) completed to specification/drawings & Area left clean/tidy
label | bdff2947-aec8-503d-bde4-1b71a2821df9 |  | note | FINAL - Pass when happy to proceed with work(s) (Any issues please comment below)
label | fa1ab3c9-177d-517e-acaa-a310f56cfd4d |  | note | Click to Attach Signature(s) below
button | 16c0968e-091d-57f1-a8cf-4dcb80e638d7 |  | button | Signature by Builders Site Coordinator | Yes, No
button | 58058fa4-22a4-5359-bc0f-5794e78d9ea4 |  | button | CDC Plumbing Signature Sign-Off added below | Yes, No
checklist-flat |  |  | checklist | Concrete Pour |  |  |  |  | Yes | Concrete Pour | 56e46aa7-355b-405f-a1ab-8c94cba9f297
checkpoint-status |  |  | checkpoint | Set out and alignment
checkpoint-status |  |  | checkpoint | Materials types
checkpoint-status |  |  | checkpoint | Inspection Prior to concrete pour
checklist-flat |  |  | checklist | Hot Water - State Basketball Centre |  |  |  |  | Yes | Hot Water - State Basketball Centre v2 | 57501a01-b6ce-4f1e-82ae-79c8796380b3
checkpoint-status |  |  | checkpoint | Set-Out & Alignment
text | 21a42cc4-ca6f-5c12-8010-5081fe866ec8 |  | textbox | Drawing & Rev No. (or Photograph below)
checkpoint-status |  |  | checkpoint | Materials type checked & correct
button | fe9ee94e-e772-48bf-a9e4-b77e133bb176 |  | button |  | Copper,Pex
checkpoint-status |  |  | checkpoint | Correct fittings
checkpoint-status |  |  | checkpoint | Fittings & fixtures
label | d1af1620-b4da-586f-a402-8acd6452bdeb |  | note | As per FFE Schedule
checkpoint-status |  |  | checkpoint | Insulation / lagging installed
checkpoint-status |  |  | checkpoint | Temp control valves installed
checkpoint-status |  |  | checkpoint | Pressure & Temperature testing completed
label | da0d6e09-2a68-5bc2-a11a-13449993570e |  | note | Attach photos of testing apparatus below
text | ac6a2fb5-1086-509a-a706-94de6958fe99 |  | textbox | Pressure test kPa
text | f1aaf9af-8ba0-576f-a831-533a1ab9c562 |  | textbox | Water temperature
checkpoint-status |  |  | checkpoint | Inspection by Authority
label | 65ec733a-0141-5951-8489-01ab254c37cd |  | note | Inspection attached below as applicable
checkpoint-status |  |  | checkpoint | Hydraulic Work(s) completed to specification/drawings & Area left clean/tidy
label | bdff2947-aec8-503d-bde4-1b71a2821df9 |  | note | FINAL - Pass when happy to proceed with work(s) (Any issues please comment below)
label | fa1ab3c9-177d-517e-acaa-a310f56cfd4d |  | note | Click to Attach Signature(s) below
button | 16c0968e-091d-57f1-a8cf-4dcb80e638d7 |  | button | Signature by Builders Site Coordinator | Yes, No
button | 58058fa4-22a4-5359-bc0f-5794e78d9ea4 |  | button | CDC Plumbing Signature Sign-Off added below | Yes, No
checklist-flat |  |  | checklist | Syphonic Systems - State Basketball Centre |  |  |  |  | Yes | Syphonic Systems - State Basketball Centre | 57c8e464-fdf7-44fb-9af8-efd9d3f810b8
checkpoint-status |  |  | checkpoint | Set-Out & Alignment
text | 374a6441-877a-531f-9ffb-b9e0c2e653d7 |  | textbox | Drawing & Rev No. (or Photograph below)
checkpoint-status |  |  | checkpoint | Materials type checked & correct
checkpoint-status |  |  | checkpoint | Structural penetrations completed & checked
checkpoint-status |  |  | checkpoint | Correct fittings
checkpoint-status |  |  | checkpoint | Fittings & fixtures
label | e1fa98ce-e78b-53fe-8121-fcb9a18deb46 |  | note | As per FFE Schedule
checkpoint-status |  |  | checkpoint | Fire collars installed
label | 2ef81106-1a52-58f6-a2f2-22809058f9ad |  | note | Attach photos of Fire Collars below
checkpoint-status |  |  | checkpoint | Fire penetration caulked
checkpoint-status |  |  | checkpoint | Insulation / lagging installed
checkpoint-status |  |  | checkpoint | Inspection by Authority
label | 8fd1cf1d-2dce-5146-93f1-90741f37085e |  | note | Inspection attached below as applicable
checkpoint-status |  |  | checkpoint | Hydraulic Work(s) completed to specification/drawings & Area left clean/tidy
label | 0c807a85-9a49-5055-a8b9-ad093875478e |  | note | FINAL - Pass when happy to proceed with work(s) (Any issues please comment below)
label | 89bb31e6-b747-5679-bc33-6e45efdc34cc |  | note | Click to Attach Signature(s) below
button | f2035cbf-e920-5042-9fe0-312f556a770b |  | button | Signature by Builders Site Coordinator | Yes, No
button | 3ba9e775-d7cb-5e5a-9fb0-f1e8d154f6aa |  | button | CDC Plumbing Signature Sign-Off added below | Yes, No
checklist-flat |  |  | checklist | Stormwater Above Ground - State Basketball Centre |  |  |  |  | Yes | Stormwater Above Ground - State Basketball Centre | 5b04d3e2-ed0d-4dbd-9729-180d561fefdf
checkpoint-status |  |  | checkpoint | Set-Out & Alignment
text | 7e6ec8eb-701a-58df-a3d1-d701d9984c57 |  | textbox | Drawing & Rev No. (or Photograph below)
checkpoint-status |  |  | checkpoint | Materials type checked & correct
checkpoint-status |  |  | checkpoint | Correct fittings
checkpoint-status |  |  | checkpoint | Fittings & fixtures
label | be7d45aa-2218-5276-b82b-dfcbbbb1a408 |  | note | As per FFE Schedule
checkpoint-status |  |  | checkpoint | Fire collars installed
label | dff640a3-d751-5bb6-900e-9f21a95391ae |  | note | Attach photos of Fire Collars below
checkpoint-status |  |  | checkpoint | Fire penetration caulked
checkpoint-status |  |  | checkpoint | Insulation / lagging installed
checkpoint-status |  |  | checkpoint | Inspection by Authority
label | a0f0b167-0924-5ea7-82b6-6c200ff4a8ff |  | note | Inspection attached below as applicable
checkpoint-status |  |  | checkpoint | Hydraulic Work(s) completed to specification/drawings & Area left clean/tidy
label | b22d48da-a94a-593b-b74a-89b4be4baa1b |  | note | FINAL - Pass when happy to proceed with work(s) (Any issues please comment below)
label | 6bf2c9ed-25c6-5086-89db-4b98e3c2cf3e |  | note | Click to Attach Signature(s) below
button | 8a4dfac3-8a44-5df6-bc61-c5839c5b98bf |  | button | Signature by Builders Site Coordinator | Yes, No
button | fc2a933b-a154-542e-9b81-0115a49b78be |  | button | CDC Plumbing Signature Sign-Off added below | Yes, No
checklist-flat |  |  | checklist | Above Ground Sewer Drainage - State Basketball Centre |  |  |  |  | Yes | Above Ground Sewer Drainage - State Basketball Centre | 640e11c2-2a8f-4331-8778-7c129239ddbb
checkpoint-status |  |  | checkpoint | Set-Out & Alignment
text | 170f230a-8868-5641-8f48-e6ed912df93d |  | textbox | Drawing & Rev No. (or Photograph below)
checkpoint-status |  |  | checkpoint | Materials type checked & correct
checkpoint-status |  |  | checkpoint | Structural penetrations completed & checked
checkpoint-status |  |  | checkpoint | Correct fittings
checkpoint-status |  |  | checkpoint | Fittings & fixtures
label | fe8b5ad2-d34f-5797-8223-2b53aea23038 |  | note | As per FFE Schedule
checkpoint-status |  |  | checkpoint | Fire collars installed
label | c018b3b7-b0b8-507f-bd9c-14f536b4cb78 |  | note | Attach photos of Fire Collars below
checkpoint-status |  |  | checkpoint | Fire penetration caulked
checkpoint-status |  |  | checkpoint | Insulation / lagging installed
checkpoint-status |  |  | checkpoint | Pressure & Temperature testing completed
label | b4a7544a-b946-53b7-b672-a14c63349a30 |  | note | Attach photos of testing apparatus below
text | b6bac99b-5190-5b33-8b82-7d2930f1e75c |  | textbox | Pressure test kPa
text | cf2ef836-8f6b-52e7-8d00-f12575fa34ed |  | textbox | Water temperature
checkpoint-status |  |  | checkpoint | Inspection by Authority
label | c85dd4d4-287f-5824-baf9-b225c94f4f9d |  | note | Inspection attached below as applicable
checkpoint-status |  |  | checkpoint | Hydraulic Work(s) completed to specification/drawings & Area left clean/tidy
label | e1560b4b-4065-596b-a656-8a2a44c77aa2 |  | note | FINAL - Pass when happy to proceed with work(s) (Any issues please comment below)
label | 377fa29c-354d-5f1a-876f-4f823527d2b6 |  | note | Click to Attach Signature(s) below
button | 0a1e653d-008b-5679-842d-bfeed6ac66cf |  | button | Signature by Builders Site Coordinator | Yes, No
button | f3a644b4-2059-5b6b-a345-83965be54622 |  | button | CDC Plumbing Signature Sign-Off added below | Yes, No
checklist-flat |  |  | checklist | Downpipe Installation - State Basketball Centre |  |  |  |  | Yes | Downpipe Installation - State Basketball Centre | 65a8ff1e-3949-43a5-8af0-7cbedcb3c36b
checkpoint-status |  |  | checkpoint | Set-Out & Alignment
text | 93fd82ae-dbc4-57ff-b030-c545330868c1 |  | textbox | Drawing & Rev No. (or Photograph below)
checkpoint-status |  |  | checkpoint | Materials type checked & correct
checkpoint-status |  |  | checkpoint | Structural penetrations completed & checked
checkpoint-status |  |  | checkpoint | Fittings & fixtures
label | 378d7f7f-f758-5f88-8e1b-be8aebaedae4 |  | note | As per FFE Schedule
checkpoint-status |  |  | checkpoint | Fire collars installed
label | 07b50b32-4d83-5ad1-afbd-7f2bd451f9da |  | note | Attach photos of Fire Collars below
checkpoint-status |  |  | checkpoint | Fire penetration caulked
checkpoint-status |  |  | checkpoint | Insulation / lagging installed
checkpoint-status |  |  | checkpoint | Inspection by Authority
label | d5f76737-5ad5-5e0b-8e6f-64d4dba1da2b |  | note | Inspection attached below as applicable
checkpoint-status |  |  | checkpoint | Hydraulic Work(s) completed to specification/drawings & Area left clean/tidy
label | f0053ee6-8516-5b2a-a35b-2c9d9a103d39 |  | note | FINAL - Pass when happy to proceed with work(s) (Any issues please comment below)
label | f7a13b92-cceb-51be-a0fe-e2d89c83664e |  | note | Click to Attach Signature(s) below
button | 744d1235-879c-5f25-851c-dbc8b3177a0b |  | button | Signature by Builders Site Coordinator | Yes, No
button | 990472ea-b15f-538c-9224-2a2a8913ee67 |  | button | CDC Plumbing Signature Sign-Off added below | Yes, No
checklist-flat |  |  | checklist | Commissioning (V.061221) |  |  |  |  | Yes | Commissioning (V.061221) | 810f7231-f055-4b59-b1ef-781b81ef9503
checkpoint-status |  |  | checkpoint | Check products for imperfections
checkpoint-status |  |  | checkpoint | Fixtures location & ixings all correct (as per drawings & samples)
checkpoint-status |  |  | checkpoint | Clean out all strainers / aerators
checkpoint-status |  |  | checkpoint | Check for no cross connections / leaks / access to isolation valves
checkpoint-status |  |  | checkpoint | Floor wastes (clear of debris & draining correctly)
checkpoint-status |  |  | checkpoint | Quality of silicone seals to fixtures acceptable
checkpoint-status |  |  | checkpoint | Hot water tempering valve set to 50c (+/- 5c) & DDA thermostatic mixing valve set to 42 degrees.
checkpoint-status |  |  | checkpoint | Water pressure acceptable 350Kpa to 500 Kpa
checkpoint-status |  |  | checkpoint | Hydraulic Work(s) completed to specification/drawings & Area left clean/tidy
label | 39c440bf-08ca-529f-8ba1-dbdc624f6e4b |  | note | FINAL - Pass when happy to proceed with work(s) (Any issues please comment below)
label | 061987c4-ff5c-5adf-b294-8d5dfa6dd8bf |  | note | Click to Attach Signature(s) below
button | e24c5ffb-bc3f-58c5-89ff-95fa873f73bc |  | button | Signature by Builders Site Coordinator | Yes, No
button | 7530f49a-370d-5a29-ae46-a3bf954c188b |  | button | CDC Plumbing Signature Sign-Off added below | Yes, No
checklist-flat |  |  | checklist | Recycled Water - State Basketball Centre |  |  |  |  | Yes | Recycled Water - State Basketball Centre v2 | 90c57215-fd58-4379-9c5f-fedc9eabf57d
checkpoint-status |  |  | checkpoint | Set-Out & Alignment
text | 9a4e9acd-b794-532a-8508-a239e6357611 |  | textbox | Drawing & Rev No. (or Photograph below)
checkpoint-status |  |  | checkpoint | Materials type checked & correct
button | 44544b15-4c67-45ac-af95-61bf84c32e6c |  | button |  | Copper,Pex
checkpoint-status |  |  | checkpoint | Structural penetrations completed & checked
checkpoint-status |  |  | checkpoint | Correct fittings
checkpoint-status |  |  | checkpoint | Fire penetration caulked
checkpoint-status |  |  | checkpoint | Inspection by Authority
label | 86f97270-9a3d-588d-858a-349f3bbdab24 |  | note | Inspection attached below as applicable
checkpoint-status |  |  | checkpoint | Hydraulic Work(s) completed to specification/drawings & Area left clean/tidy
label | 53f29f9c-f2d4-542d-bf19-64cc1ad91f49 |  | note | FINAL - Pass when happy to proceed with work(s) (Any issues please comment below)
label | b44350ac-4f81-52d5-8905-a8689782a5b7 |  | note | Click to Attach Signature(s) below
button | e168e318-8394-58a8-ba94-2400c67efa7a |  | button | Signature by Builders Site Coordinator | Yes, No
button | bb540ce5-4737-508d-9726-1a63ca007a36 |  | button | CDC Plumbing Signature Sign-Off added below | Yes, No
checklist-flat |  |  | checklist | Cold Water - State Basketball Centre |  |  |  |  | Yes | Cold Water - State Basketball Centre | 9b2da699-1754-4bd2-a2ab-25ee8dbc674d
checkpoint-status |  |  | checkpoint | Set-Out & Alignment
text | 9205f005-6cea-5e3a-a3d7-fbc7d09d4efc |  | textbox | Drawing & Rev No. (or Photograph below)
checkpoint-status |  |  | checkpoint | Materials type checked & correct
checkpoint-status |  |  | checkpoint | Structural penetrations completed & checked
checkpoint-status |  |  | checkpoint | Correct fittings
checkpoint-status |  |  | checkpoint | Fittings & fixtures
label | 394284b3-5796-5dba-a9c1-881db954a87b |  | note | As per FFE Schedule
checkpoint-status |  |  | checkpoint | Fire collars installed
label | 7c4e6bfd-6207-5297-bc5c-e77bc7eeb95a |  | note | Attach photos of Fire Collars below
checkpoint-status |  |  | checkpoint | Fire penetration caulked
checkpoint-status |  |  | checkpoint | Pressure & Temperature testing completed
label | 89f22136-4945-5d0e-bb35-38fbf28fcc52 |  | note | Attach photos of testing apparatus below
text | 603a70c6-2941-58ea-bcf6-3b6567a1837b |  | textbox | Pressure test kPa
text | 1478f30b-9aaf-5534-b027-9474ba482cb2 |  | textbox | Water temperature
checkpoint-status |  |  | checkpoint | Inspection by Authority
label | 1d79d6d4-ba46-5a48-9e70-a3e01f4d55e4 |  | note | Inspection attached below as applicable
checkpoint-status |  |  | checkpoint | Hydraulic Work(s) completed to specification/drawings & Area left clean/tidy
label | bd242667-7aa4-5aa7-92c2-c9fe26b8f081 |  | note | FINAL - Pass when happy to proceed with work(s) (Any issues please comment below)
button | b067f64b-9c2d-54ab-8292-920ddfff5cce |  | button | Signature by Builders Site Coordinator | Yes, No
button | f3b0334f-6021-510b-8f82-effebcbd59e7 |  | button | CDC Plumbing Signature Sign-Off added below | Yes, No
checklist-flat |  |  | checklist | Document Attachment Checklist (V.081021) |  |  |  |  | Yes | Document Attachment Checklist (V.081021) | aa390890-0c07-4597-b93c-f883a5c36fde
checkpoint-status |  |  | checkpoint | Documents attached for reference - Pass once attached
checklist-flat |  |  | checklist | Sanitary Waste & Vents - State Basketball Centre |  |  |  |  | Yes | Sanitary Waste & Vents - State Basketball Centre | b7edbf7a-32e1-4c36-8ab6-8f95c8f16358
checkpoint-status |  |  | checkpoint | Set-Out & Alignment
text | 767c08ee-c310-5847-95b0-0899507a0d10 |  | textbox | Drawing & Rev No. (or Photograph below)
checkpoint-status |  |  | checkpoint | Materials type checked & correct
checkpoint-status |  |  | checkpoint | Structural penetrations completed & checked
checkpoint-status |  |  | checkpoint | Correct fittings
checkpoint-status |  |  | checkpoint | Fittings & fixtures
label | e43d08d7-9e73-5fc9-8fcd-97b217379916 |  | note | As per FFE Schedule
checkpoint-status |  |  | checkpoint | Fire collars installed
label | 1892d204-415f-5f45-962e-19cc3d768158 |  | note | Attach photos of Fire Collars below
checkpoint-status |  |  | checkpoint | Fire penetration caulked
checkpoint-status |  |  | checkpoint | Insulation / lagging installed
checkpoint-status |  |  | checkpoint | Inspection by Authority
label | a7627b3e-a53d-5c8a-a48a-aeac83167faf |  | note | Inspection attached below as applicable
checkpoint-status |  |  | checkpoint | Hydraulic Work(s) completed to specification/drawings & Area left clean/tidy
label | 551b6e60-2e00-58e3-8481-ec98fe5f0ceb |  | note | FINAL - Pass when happy to proceed with work(s) (Any issues please comment below)
label | 7327492b-5b7f-55ca-bcc1-2feb2d229067 |  | note | Click to Attach Signature(s) below
button | 673be926-2c66-5fe5-82f3-315bfce7bf57 |  | button | Signature by Builders Site Coordinator | Yes, No
button | 348c90ef-56e4-5d4c-9585-69ff3d551924 |  | button | CDC Plumbing Signature Sign-Off added below | Yes, No
checklist-flat |  |  | checklist | Full Checklist Items - State Basketball Centre |  |  |  |  | Yes | Full Checklist Items - State Basketball Centre | be8ce01c-b2b1-45cc-bd92-0f228436b434
checkpoint-status |  |  | checkpoint | Set-Out & Alignment
text | 8138903e-0076-5e2b-90b2-59be46cd5ca4 |  | textbox | Drawing & Rev No. (or Photograph below)
checkpoint-status |  |  | checkpoint | Materials type checked & correct
checkpoint-status |  |  | checkpoint | Structural penetrations completed & checked
checkpoint-status |  |  | checkpoint | Correct fittings
checkpoint-status |  |  | checkpoint | Fittings & fixtures
label | 56284c48-ba80-5c5b-867e-42bae8813bb2 |  | note | As per FFE Schedule
checkpoint-status |  |  | checkpoint | Fire collars installed
label | 3f7308dd-ded5-564b-9a88-d2f06de50422 |  | note | Attach photos of Fire Collars below
checkpoint-status |  |  | checkpoint | Fire penetration caulked
checkpoint-status |  |  | checkpoint | Fixture install completed
label | 40018fdf-8d01-5e3e-83df-b7df34e8302a |  | note | As per FFE Schedule
checkpoint-status |  |  | checkpoint | Insulation / lagging installed
checkpoint-status |  |  | checkpoint | Temp control valves installed
checkpoint-status |  |  | checkpoint | Pressure & Temperature testing completed
label | 1dcabef9-1ecb-563a-89ef-20c4a4be402c |  | note | Attach photos of testing apparatus below
text | 925bcb90-ec48-5a24-b337-a66762bc433e |  | textbox | Pressure test kPa
text | 74c964c2-27fc-5859-8c08-ec71a7009e97 |  | textbox | Water temperature
checkpoint-status |  |  | checkpoint | Check products for imperfections
label | 14db2333-71f5-5714-b24d-383f00fdd8ff |  | note | Any issues, comment / photograph below
checkpoint-status |  |  | checkpoint | Silicone seals completed - Neat & tidy
checkpoint-status |  |  | checkpoint | Inspection by Authority
label | 7c8bfa9c-beb4-58e2-8a3d-de4ab9c8dd00 |  | note | Inspection attached below as applicable
checkpoint-status |  |  | checkpoint | Hydraulic Work(s) completed to specification/drawings & Area left clean/tidy
label | d902df25-3096-5a07-bf63-1c62efe71f9a |  | note | FINAL - Pass when happy to proceed with work(s) (Any issues please comment below)
label | 6f25c0ff-4b33-5165-b742-fda99567baed |  | note | Click to Attach Signature(s) below
button | b46214c6-6a30-5179-8a76-2000580f2923 |  | button | Signature by Builders Site Coordinator | Yes, No
button | 27607bce-888b-5ffb-8716-fa280732c419 |  | button | CDC Plumbing Signature Sign-Off added below | Yes, No
checklist-flat |  |  | checklist | Commissioning (V.061221) |  |  |  |  | Yes | Commissioning (V.061221) | dd69bdc0-c74f-4a53-af18-297165ea957a
checkpoint-status |  |  | checkpoint | Check products for imperfections
checkpoint-status |  |  | checkpoint | Fixtures location & ixings all correct (as per drawings & samples)
checkpoint-status |  |  | checkpoint | Clean out all strainers / aerators
checkpoint-status |  |  | checkpoint | Check for no cross connections / leaks / access to isolation valves
checkpoint-status |  |  | checkpoint | Floor wastes (clear of debris & draining correctly)
checkpoint-status |  |  | checkpoint | Quality of silicone seals to fixtures acceptable
checkpoint-status |  |  | checkpoint | Hot water tempering valve set to 50c (+/- 5c) & DDA thermostatic mixing valve set to 42 degrees.
checkpoint-status |  |  | checkpoint | Water pressure acceptable 350Kpa to 500 Kpa
checkpoint-status |  |  | checkpoint | Hydraulic Work(s) completed to specification/drawings & Area left clean/tidy
label | f742363a-ebc0-57a8-a848-3ad2a31e205b |  | note | FINAL - Pass when happy to proceed with work(s) (Any issues please comment below)
label | 39cbcaa3-6d12-5b3a-a7fe-8841f76ddf64 |  | note | Click to Attach Signature(s) below
button | b9191a12-48d2-5b30-91f7-8dc651fde593 |  | button | Signature by Builders Site Coordinator | Yes, No
button | 353f317a-3fb9-58ea-9874-f01620d9b4b6 |  | button | CDC Plumbing Signature Sign-Off added below | Yes, No
checklist-flat |  |  | checklist | Document Attachment Checklist |  |  |  |  | Yes | Document Attachment Checklist | e1fe56d4-54f7-41a4-a27d-264d0937d658
checkpoint-status |  |  | checkpoint | Documents attached for reference - Pass once attached
checklist-flat |  |  | checklist | Stormwater Below Ground - State Basketball Centre |  |  |  |  | Yes | Stormwater Below Ground - State Basketball Centre | eb8f5755-81f8-4517-8562-58880d5a127b
checkpoint-status |  |  | checkpoint | Set-Out & Alignment
text | c0b8a6fe-1545-53e1-96fd-01648a3638b8 |  | textbox | Drawing & Rev No. (or Photograph below)
checkpoint-status |  |  | checkpoint | Materials type checked & correct
checkpoint-status |  |  | checkpoint | Correct fittings
checkpoint-status |  |  | checkpoint | Fittings & fixtures
label | b8c5e5ed-5edc-5803-a452-4f6fec481ebd |  | note | As per FFE Schedule
checkpoint-status |  |  | checkpoint | Inspection by Authority
label | 0ac13c20-d91d-548b-a77a-392ad8df49d8 |  | note | Inspection attached below as applicable
checkpoint-status |  |  | checkpoint | Hydraulic Work(s) completed to specification/drawings & Area left clean/tidy
label | 39868e8f-45a7-5235-b14c-0265120600c8 |  | note | FINAL - Pass when happy to proceed with work(s) (Any issues please comment below)
label | 27331e39-2db0-56a2-9ad7-ac296bc14692 |  | note | Click to Attach Signature(s) below
button | 40e5ef9b-068d-5319-9f27-ef259797a548 |  | button | Signature by Builders Site Coordinator | Yes, No
button | 51a4ddd9-78f7-5f24-a2d7-1df7df1f9701 |  | button | CDC Plumbing Signature Sign-Off added below | Yes, No
checklist-flat |  |  | checklist | Recycled Water - State Basketball Centre |  |  |  |  | Yes | Recycled Water - State Basketball Centre | ec0e8e6b-d815-421d-a578-f1f887d3c544
checkpoint-status |  |  | checkpoint | Set-Out & Alignment
text | 9a4e9acd-b794-532a-8508-a239e6357611 |  | textbox | Drawing & Rev No. (or Photograph below)
checkpoint-status |  |  | checkpoint | Materials type checked & correct
checkpoint-status |  |  | checkpoint | Structural penetrations completed & checked
checkpoint-status |  |  | checkpoint | Correct fittings
checkpoint-status |  |  | checkpoint | Fittings & fixtures
label | 8f1d73ab-4cfd-5000-8a22-db15b862d26e |  | note | As per FFE Schedule
checkpoint-status |  |  | checkpoint | Fire collars installed
label | 94f6a3c0-825b-572a-a531-29de7bc4eb7d |  | note | Attach photos of Fire Collars below
checkpoint-status |  |  | checkpoint | Fire penetration caulked
checkpoint-status |  |  | checkpoint | Inspection by Authority
label | 86f97270-9a3d-588d-858a-349f3bbdab24 |  | note | Inspection attached below as applicable
checkpoint-status |  |  | checkpoint | Hydraulic Work(s) completed to specification/drawings & Area left clean/tidy
label | 53f29f9c-f2d4-542d-bf19-64cc1ad91f49 |  | note | FINAL - Pass when happy to proceed with work(s) (Any issues please comment below)
label | b44350ac-4f81-52d5-8905-a8689782a5b7 |  | note | Click to Attach Signature(s) below
button | e168e318-8394-58a8-ba94-2400c67efa7a |  | button | Signature by Builders Site Coordinator | Yes, No
button | bb540ce5-4737-508d-9726-1a63ca007a36 |  | button | CDC Plumbing Signature Sign-Off added below | Yes, No