## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat |  |  | checklist | CST - S - Completion Documents |  |  |  |  | Yes | CST - S - Completion Documents | 24186b12-b688-4278-bca0-a92541cdf37f
checkpoint-status |  |  | checkpoint | All relevant Compliance Documentation completed and attached above
boolean | affb9a40-37b5-5b7b-a477-a672cbc0c0c9 |  | tickbox | Any Additional Compliance Documentation (Required under Section C and by Consultants) - Completed and Attached
label | fa3f3470-2354-5e62-9f09-925369bd7009 |  | note | Do not select "Pass" HERE until all requirements have been marked as "Yes" & attached or you have selected "N/A"
holdpoint |  |  | signoff | Request Signoff
checklist-flat |  |  | checklist | PRE - S - Fire Penetration |  |  |  |  | Yes | PRE - S - Fire Penetration | e78e2031-95fa-4ae3-bb11-8572957ac5ed
checkpoint-status |  |  | checkpoint | Penetration Details
select | 2ee250da-5a84-5301-a9cc-e0cc06945ca6 |  | dropdown | Area of Installation | Wall, Floor, Ceiling
select | b8a63fa9-eae2-507c-9509-94ea44ddae50 |  | dropdown | Fire Rating (Minutes) | FRR 30, FRR 60, FRR 120, FRR 180, Other
text | 9bcffe36-a488-5f99-81bd-d1ea99030502 |  | textbox | If other - specify here:
select | 586dd85e-111b-5641-8b4d-573f3fd30b9d |  | dropdown | Penetration Type | Cables, Copper Pipe, PVC Pipe, PPR, DUX, Stainless Steel Pipe, Galvanized Steel Pipe, Metal Duct, PVC Duct, Pair Coil
text | d23beadc-ed21-5239-9ed1-0caae7f609ba |  | textbox | If other - specify here:
select | 9637ac3d-8b1a-532b-8496-89848ca8a348 |  | dropdown | Service Type | Sprinkler Services, Data & Security Systems, Hydraulics/ Plumbing, Electricals, Mechanical, Other
text | 404104b3-420b-50a5-83be-21f9ebf3ec7a |  | textbox | If other - specify here:
select | a0891d5a-6bab-5e9e-94ee-9cdbbccaaa48 |  | dropdown | Product Used | Collars, Pipe Wraps, Fire Plates, Cast-In Collars, Fire Bonds, Boss FyreBox 150 x 600, Boss FyreBox 150 x 300, Cable Transit, Cable Collar, Fire Mortar, Compressed Material Wool, Fire Rated Fabric, Flexicoat Sealant, Fire Dampers, Fire Pillow, Downlight Cover, Ablative Coating, Fire Shield, Protecta FR Putty Cord, Intumescent Sealant, Fire Mastic Sealant, Weather Resistant Fire Sealant, Fire Foam, Kaowool, Bulkhead Batt, Other
text | b761ad8a-558b-56e2-9204-77c2466c7a9c |  | textbox | If other - specify here:
select | 18d7ba6b-6c7b-5b31-bd97-eef411ea41d0 |  | dropdown | Fire Sealant Used | Yes, No, N/A
holdpoint |  |  | signoff | Raise Remedial / Request Signoff