## matrix
Matrix Name | Dimension | Name | Type / Data Field | Tag 1 | Tag 2
Pre-wire
| Scope |  |  | Pre-wire
Rows
|  | Ground Floor - Communications | dynamic | Communications | Ground Floor
|  | Ground Floor - Access Control/Security | dynamic | Access Control/Security | Ground Floor
Columns
|  | Area accessible & substrate acceptable |  | Area accessible & substrate acceptable | Pre-wire
|  | CAT Wires |  | CAT Wires (Photos Attached) | Pre-wire
|  | Cables In Place |  | Cables In Place (Photos Attached) | Pre-wire
|  | Flush Boxes |  | Flush Boxes (Photos Attached) | Pre-wire
|  | All Cables Labelled |  | All Cables Labelled (Photos Attched) | Pre-wire
|  | Fixtures in place |  | Fixtures in place | Pre-wire
|  | First Fix Completed |  | First Fix Completed | Pre-wire
Fit Off
| Scope |  |  | Fit Off
Rows
|  | Ground Floor - Communications | dynamic | Communications | Ground Floor
|  | Ground Floor - Access Control/Security | dynamic | Access Control/Security | Ground Floor
Columns
|  | Data Jacks Terminated |  | Data Jacks Terminated (Photos Attached) | Fit Off
|  | Nurse Call Terminated |  | Nurse Call Terminated (Photos Attached) | Fit Off
|  | Antennas Conected & Mounted |  | Antennas Conected and Mounted (Photos Attached) | Fit Off
|  | Door Pressure Sensor Terminated |  | Door Pressure Sensor Terminated (Photos Attached) | Fit Off
|  | Locators Terminated |  | Locators Terminated (Photos Attached) | Fit Off
|  | Base Stations Installed |  | Base Stations Installed (Photos Attached) | Fit Off
Commissioning
| Scope |  |  | Commissioning
Rows
|  | Ground Floor - Communications | dynamic | Communications | Ground Floor
|  | Ground Floor - Access Control/Security | dynamic | Access Control/Security | Ground Floor
Columns
|  | Duress Base Station Data Cables Scanned |  | Duress Base Station Data Cables Scanned | Commissioning
|  | Nurse Call Buttons Pushed |  | Nurse Call Buttons Pushed | Commissioning
|  | Door Pressure Sensor Tested |  | Door Pressure Sensor Tested | Commissioning
|  | Duress Buttons Tested in Each Area |  | Duress Buttons Tested in Each Area | Commissioning
|  | All Locations Come Up on Display Screens |  | All Locations Come Up on Display Screens | Commissioning
|  | All Hardware Clearly Labelled |  | All Hardware Clearly Labelled | Commissioning