## res
type | name | values | prefix | postfix | usage count | user addable | template name | Resource Id
checklist | Pre Wire
section | Details
checkpoint | Area accessible & substrate acceptable
checkpoint | CAT Wires (Photos Attached)
checkpoint | Cables In Place (Photos Attached)
checkpoint | Flush Boxes (Photos Attached)
checkpoint | All Cables Labelled (Photos Attched)
checkpoint | Fixtures in place
checkpoint | First Fix Completed
checklist | Inspected & Tested
section | Details
checkpoint | Visual Check (Attach Visual Checklist)
checkpoint | Terminations
checkpoint | Testing
checkpoint | ABF Fibre
checkpoint | ELV Board
checklist | Fit off
section | Details
checkpoint | Data Jacks Terminated (Photos Attached)
checkpoint | Nurse Call Terminated (Photos Attached)
checkpoint | Antennas Conected and Mounted (Photos Attached)
checkpoint | Door Pressure Sensor Terminated (Photos Attached)
checkpoint | Locators Terminated (Photos Attached)
checkpoint | Base Stations Installed (Photos Attached)
checklist | Install PHD - Primary Home Distributor
section | Details
checkpoint | Install PHD and All Equipments (Photo Attached)
checkpoint | Micro Duct and Chorus Fibre Visual Check
checkpoint | Test internal Cat 6/6A cables with Fluke DSX 5000 (Add Signature)
checkpoint | test TV Cables with Televis Tester
checkpoint | Fusion Splice and test with Fluke DSX 5000 (Add Signature)
checklist | Fit off | [5 empty] | Fit off (GPON/GCS/PERS/MATV)
section | Details
checkpoint | GPON - Fit Off (photos Attached)
checkpoint | GCS - Structured Cabling (photos Attached)
checkpoint | PERS - Nurse Call Fit Off (Photos Attached)
checkpoint | Audio Visual / MATV - Fit off (Photos Attached)
checklist | Commissioning
section | Details
checkpoint | Duress Base Station Data Cables Scanned
checkpoint | Nurse Call Buttons Pushed
checkpoint | Door Pressure Sensor Tested
checkpoint | Duress Buttons Tested in Each Area
checkpoint | All Locations Come Up on Display Screens
checkpoint | All Hardware Clearly Labelled
checklist | Building Commissioning
section | Details
checkpoint | GPON - BUDis / ONTS (photos Attached - ONT info Required)
checkpoint | GCS - Structured Cabling - CAT6 / POL (photos Attached)
checkpoint | PERS - Nurse Call (Photos Attached)
checkpoint | ESS - CCTV (Photos Attached)
checkpoint | ESS - Intercom (Photos Attached)
checkpoint | ESS - Access Control (Photos Attached)
checkpoint | Audio Visual / MATV (Photos Attached)
checkpoint | Commission Fire Interface (Attach Photos)
checklist | Completion Documents
section | Details
checkpoint | As built plan
checkpoint | Box Measurement List Per Room