## Project Checklist Templates
Id | Type | Name | Values | Prompting Name | Resource Id
| checklist | Commisioning |  | Commisioning | 9e2d8e78-cc1d-4f01-b202-aa2f78966651
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Bulk Hot Water
| checkpoint | Test Hot Water Temperature
| checkpoint | Test Waste for leaks
| checkpoint | Run Cycle on Dishwasher
| checklist | Drains |  | Drains | d68d79a6-2022-4024-bbe1-0a841dda27b3
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Drains
| checkpoint | Pod Connections
| checkpoint | Smoke Seal Penetrations
| checkpoint | Acoustic Lagging
| checkpoint | Testing (Water/Air)
| checklist | Fit Off |  | Fit Off | 599825ca-4f28-48de-9baf-41b5c936c823
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Kitchen Mini Stops
| checkpoint | Kitchen Sink Waste
| checkpoint | Kitchen Sink Mixer
| checkpoint | Kitchen Dishwasher
| checklist | Inground |  | Inground | 678a5c45-cd60-405c-96a8-89dc9e6483ee
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Sewer Drains
| checkpoint | Greasey Waste
| checkpoint | Sewer Pump
| checkpoint | Grease Interceptor
| checklist | Penetrations |  | Penetrations | d4fbe7ad-6472-401d-8e9e-5b106bda1f52
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Set Out
| checkpoint | Fire Collar Installation
| checkpoint | Cast in Drains c/w Polilag
| checklist | Rough In |  | Rough In | ecc97e7f-40fe-4ad6-8d2a-bac1d6eb98bf
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | High Level Rough In
| checkpoint | Wall Set Out
| checkpoint | Wall Rough In/ Pod Connection
| checkpoint | Waste Rollovers
| checkpoint | Test Water
| checklist | Water Riser |  | Water Riser | c0d1f9ab-6640-4d5c-8884-31c0d9225692
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Hot Water
| checkpoint | Hot Water Lagged
| checkpoint | Cold Water
| checkpoint | Test Hot Water
| checkpoint | Test Cold Water
| checkpoint | Fire Caulking (Corridor to Apt)