## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat |  |  | checklist | Beam Stitches |  |  |  |  | Yes | ST - S - Concrete Reinforcing (Beam Stitches) | 0fefebab-1f48-4034-810b-92ade8991005
checkpoint-status |  |  | checkpoint | Size and type correct to specification
checkpoint-status |  |  | checkpoint | Reinforcing spacing and location correct
checkpoint-status |  |  | checkpoint | Specified covers checked/correct
checkpoint-status |  |  | checkpoint | Splice laps checked/correct
checkpoint-status |  |  | checkpoint | All couplers installed correctly (if reid bar couplers have been used, has epconC8 epoxy been used as specified)
boolean | fa5c12bc-1d35-5e63-96ea-94c31b8a5735 |  | tickbox | Appointment with the engineers confirmed (Enter date & time of the appointment)
boolean | 6c967c7a-57e9-5a93-b9b0-3d5f96c82d78 |  | tickbox | Reidbar – coupler and flange nut installations are inspected by the MV Engineer
checkpoint-status |  |  | checkpoint | IMBMS couplers testing carried out for Village Podiums in the form of tensile testing in accordance with NZS3101.1.2006 and results acceptable
checkpoint-status |  |  | checkpoint | All starter bars are installed correctly (location, size and spacing )
checkpoint-status |  |  | checkpoint | Any additional items installed/ completed (trimmer bars etc) and excess reinforcing removed
checkpoint-status |  |  | checkpoint | Welding certificates sited and attached
checkpoint-status |  |  | checkpoint | Mill certificate reviewed, attached and approved
checkpoint-status |  |  | checkpoint | Reinforcing installed correctly to specification and ready for concrete to be placed
checklist-sectioned |  |  | checklist | Mill Certificates |  |  |  |  | Yes | Mill Certificates | 2296eb93-e3da-4822-b675-15850967cbcc
checkpoint-group |  |  | section | July
checkpoint-status |  |  | checkpoint | Mill Certificates attached
checkpoint-group |  |  | section | August
checkpoint-status |  |  | checkpoint | Mill Certificates attached
checkpoint-group |  |  | section | September
checkpoint-status |  |  | checkpoint | Mill Certificates attached
checkpoint-group |  |  | section | October
checkpoint-status |  |  | checkpoint | Mill Certificates attached
checkpoint-group |  |  | section | November
checkpoint-status |  |  | checkpoint | Mill Certificates attached
checkpoint-group |  |  | section | December
checkpoint-status |  |  | checkpoint | Mill Certificates attached
checkpoint-group |  |  | section | January
checkpoint-status |  |  | checkpoint | Mill Certificates attached
checkpoint-group |  |  | section | February
checkpoint-status |  |  | checkpoint | Mill Certificates attached
checkpoint-group |  |  | section | March
checkpoint-status |  |  | checkpoint | Mill Certificates attached
checkpoint-group |  |  | section | April
checkpoint-status |  |  | checkpoint | Mill Certificates attached
checkpoint-group |  |  | section | May
checkpoint-status |  |  | checkpoint | Mill Certificates attached
checkpoint-group |  |  | section | June
checkpoint-status |  |  | checkpoint | Mill Certificates attached
checklist-flat |  |  | checklist | Concrete Reinforcement checklist |  |  |  |  | Yes | QA - Concrete Reinforcement Checklist | 3a1532ab-8484-4dbb-8aca-f138e1b5a5c5
checkpoint-status |  |  | checkpoint | Size and type correct to specification
checkpoint-status |  |  | checkpoint | Reinforcing spacing and location correct
checkpoint-status |  |  | checkpoint | Specified covers checked/correct
checkpoint-status |  |  | checkpoint | Splice laps checked/correct
checkpoint-status |  |  | checkpoint | All couplers installed correctly (if reid bar couplers have been used, has epconC8 epoxybeen used as specified)
checkpoint-status |  |  | checkpoint | Any starter bars are installed correctly (location, size, length and spacing )
checkpoint-status |  |  | checkpoint | Any additional items installed/ completed (trimmer bars etc) and excess reinforcing removed
checkpoint-status |  |  | checkpoint | Reinforcing installed correctly to specification and ready for concrete to be placed
holdpoint |  |  | signoff | Raise remedial / Request Signoff
checklist-flat |  |  | checklist | Insitu Stitch Joints |  |  |  |  | Yes | QA - Insitu Stitch Joints Checklist | 3d46f711-9890-4ac8-933e-f1b3d8904079
checkpoint-status |  |  | checkpoint | Size and type correct to specification
checkpoint-status |  |  | checkpoint | Reinforcing spacing and location correct
checkpoint-status |  |  | checkpoint | Specified covers checked/correct
checkpoint-status |  |  | checkpoint | Splice laps checked/correct
checkpoint-status |  |  | checkpoint | All couplers installed correctly (if reid bar couplers have been used, has epconC8 epoxybeen used as specified)
checkpoint-status |  |  | checkpoint | Any starter bars are installed correctly (location, size, length and spacing )
checkpoint-status |  |  | checkpoint | Any additional items installed/ completed (trimmer bars etc) and excess reinforcing removed
checkpoint-status |  |  | checkpoint | Mill certificate reviewed, attached and approved
checkpoint-status |  |  | checkpoint | Reinforcing installed correctly to specification and ready for concrete to be placed
holdpoint |  |  | signoff | Raise remedial / Request Signoff
checklist-flat |  |  | checklist | Stitches and Columns |  |  |  |  | Yes | ST - S - Concrete Reinforcing (Stitches/Columns) | 52d0ae55-39c2-4bc0-86de-5b1abb32d3b6
checkpoint-status |  |  | checkpoint | Size and type correct to specification
checkpoint-status |  |  | checkpoint | Reinforcing spacing and location correct
checkpoint-status |  |  | checkpoint | Specified covers checked/correct
checkpoint-status |  |  | checkpoint | Splice laps checked/correct
checkpoint-status |  |  | checkpoint | All couplers installed correctly (if reid bar couplers have been used, has epconC8 epoxy been used as specified)
boolean | b282fb6c-e45d-5a15-b997-3c4717654075 |  | tickbox | Appointment with the engineers confirmed (Enter date & time of the appointment)
boolean | 30dbaebb-9ef7-5aeb-a399-44440393ddfc |  | tickbox | Reidbar – coupler and flange nut installations are inspected by the MV Engineer
checkpoint-status |  |  | checkpoint | IMBMS couplers testing carried out for Village Podiums in the form of tensile testing in accordance with NZS3101.1.2006 and results acceptable
checkpoint-status |  |  | checkpoint | All starter bars are installed correctly (location, size and spacing )
checkpoint-status |  |  | checkpoint | Any additional items installed/ completed (trimmer bars etc) and excess reinforcing removed
checkpoint-status |  |  | checkpoint | Welding certificates sited and attached
checkpoint-status |  |  | checkpoint | Mill certificate reviewed, attached and approved
checkpoint-status |  |  | checkpoint | Reinforcing installed correctly to specification and ready for concrete to be placed
checklist-flat |  |  | checklist | Compliance documentation |  |  |  |  | Yes | SYS - Compliance Documentation | a9c877ed-3e20-4259-bcb8-f2ca0843079e
checkpoint-status |  |  | checkpoint | Mill Certificates attached
checkpoint-status |  |  | checkpoint | Other documentation attached
checkpoint-status |  |  | checkpoint | Producer Statements attached (PS3)
checkpoint-status |  |  | checkpoint | As-builts attached
checklist-flat |  |  | checklist | ST - S - Concrete Reinforcing |  |  |  |  | Yes | B07 - ST - S - Concrete Reinforcing | c73ba1dd-6466-4b48-98be-a44e341c9633
checkpoint-status |  |  | checkpoint | Size and type correct to specification
checkpoint-status |  |  | checkpoint | Reinforcing spacing and location correct
checkpoint-status |  |  | checkpoint | Specified covers checked/correct
checkpoint-status |  |  | checkpoint | Splice laps checked/correct
checkpoint-status |  |  | checkpoint | All couplers installed correctly (if reid bar couplers have been used, has epconC8 epoxy been used as specified)
boolean | 1eef685d-0873-5348-9542-46cbea965d4b |  | tickbox | Appointment with the engineers confirmed (Enter date & time of the appointment)
boolean | 478f0524-3a00-5900-9754-3913b0072438 |  | tickbox | Reidbar – coupler and flange nut installations are inspected by the MV Engineer
checkpoint-status |  |  | checkpoint | IMBMS couplers testing carried out for Village Podiums in the form of tensile testing in accordance with NZS3101.1.2006 and results acceptable
checkpoint-status |  |  | checkpoint | All starter bars are installed correctly (location, size and spacing )
checkpoint-status |  |  | checkpoint | Any additional items installed/ completed (trimmer bars etc) and excess reinforcing removed
checkpoint-status |  |  | checkpoint | Welding certificates sited and attached
checkpoint-status |  |  | checkpoint | Mill certificate reviewed, attached and approved
checkpoint-status |  |  | checkpoint | Reinforcing installed correctly to specification and ready for concrete to be placed
checkpoint-status |  |  | checkpoint | Inspections completed and issued to Foreman
holdpoint |  |  | signoff | CLICK AND SEND EMAIL TO FOREMAN TO SIGN FOR RECEIPT OF THE INSPECTION RESULTS