## QA Folder Structure
QA Folder Structure |  |  | Checklists | NOTES
Union Quarter - Block A
Testing
Level 1
|  | Corridor & Apts - McLister St | UQ Testing - Potable Water - 1500kpa water test (not an air test)
|  |  | UQ Testing - Potable Water - 900kpa water test pressure sensitive valves (not an air test) | Edited checklist
Testing
NORTH Ground
|  | Corridor & Apts - NORTH - McLister St | UQ Testing - Potable Water - 1500kpa water test (not an air test)
|  |  | UQ Testing - Potable Water - 900kpa water test pressure sensitive valves (not an air test) | Edited checklist
UQ Testing - Natural Gas
|  | TH01 - TH05 |  | Please expand out so there is a folder for each Townhouse (TH) TH01, TH02, TH03 etc
UQ Testing - Water Hold - Sewer & Stormwater Underslung
UQ Testing - Water Hold - Sewer, Stormwater & Down Pipe Stacks
UQ Testing - Air Test - Sewer & Stormwater Underslung
UQ Testing - Air Test - Sewer, Stormwater & Down Pipe Stacks
UQ Testing - TMV
UQ Testing - Tempering Valve
|  |  | UQ Testing - Potable Water - 1500kpa water test (not an air test) | New addition to current checklists within each TH folder
|  |  | UQ Testing - Potable Water - 900kpa water test pressure sensitive valves (not an air test) | Edited checklist & New addition to current checklists within each TH folder
|  |  | UQ Testing - Natural Gas | New addition to current checklists within each TH folder
NORTH Level 1
|  | Corridor & Apts - NORTH - McLister St | UQ Testing - Potable Water - 1500kpa water test (not an air test)
|  |  | UQ Testing - Potable Water - 900kpa water test pressure sensitive valves (not an air test) | Edited checklist
UQ Testing - Natural Gas
|  | Corridor & Apts - NORTH Carpark West | As above
|  | 106 - 109 |  | Please expand out so there is a folder for each Apartment 106, 107, 108 etc
UQ Testing - Water Hold - Sewer & Stormwater Underslung
UQ Testing - Water Hold - Sewer, Stormwater & Down Pipe Stacks
UQ Testing - Air Test - Sewer & Stormwater Underslung
UQ Testing - Air Test - Sewer, Stormwater & Down Pipe Stacks
UQ Testing - TMV
UQ Testing - Tempering Valve
|  |  | UQ Testing - Potable Water - 1500kpa water test (not an air test) | New addition to current checklists within each Apt folder
|  |  | UQ Testing - Potable Water - 900kpa water test pressure sensitive valves (not an air test) | Edited checklist & New addition to current checklists within each Apt folder
|  |  | UQ Testing - Natural Gas | New addition to current checklists within each Apt folder
NORTH Level 2
|  | Corridor & Apts - NORTH - McLister St | UQ Testing - Potable Water - 1500kpa water test (not an air test)
|  |  | UQ Testing - Potable Water - 900kpa water test pressure sensitive valves (not an air test) | Edited checklist
UQ Testing - Natural Gas
|  | Corridor & Apts - NORTH Carpark West | As above
|  | 208 - 225 |  | Please expand out so there is a folder for each Apartment 208 upto 225
UQ Testing - Water Hold - Sewer & Stormwater Underslung
UQ Testing - Water Hold - Sewer, Stormwater & Down Pipe Stacks
UQ Testing - Air Test - Sewer & Stormwater Underslung
UQ Testing - Air Test - Sewer, Stormwater & Down Pipe Stacks
UQ Testing - TMV
UQ Testing - Tempering Valve
|  |  | UQ Testing - Potable Water - 1500kpa water test (not an air test) | New addition to current checklists within each Apt folder
|  |  | UQ Testing - Potable Water - 900kpa water test pressure sensitive valves (not an air test) | Edited checklist & New addition to current checklists within each Apt folder
|  |  | UQ Testing - Natural Gas | New addition to current checklists within each Apt folder
SOUTH Level 2
|  | SOUTH Corridor - Carpark West | UQ Testing - Potable Water - 1500kpa water test (not an air test)
|  |  | UQ Testing - Potable Water - 900kpa water test pressure sensitive valves (not an air test) | Edited checklist
UQ Testing - Natural Gas
|  | SOUTH Corridor - Middle of Block | As above
|  | SOUTH Corridor - Macindoe St | As above
|  | 201 - 207 |  | Please expand out so there is a folder for each Apartment from 201 upto 207
UQ Testing - Water Hold - Sewer & Stormwater Underslung
UQ Testing - Water Hold - Sewer, Stormwater & Down Pipe Stacks
UQ Testing - Air Test - Sewer & Stormwater Underslung
UQ Testing - Air Test - Sewer, Stormwater & Down Pipe Stacks
UQ Testing - TMV
UQ Testing - Tempering Valve
|  |  | UQ Testing - Potable Water - 1500kpa water test (not an air test) | New addition to current checklists within each Apt folder
|  |  | UQ Testing - Potable Water - 900kpa water test pressure sensitive valves (not an air test) | Edited checklist & New addition to current checklists within each Apt folder
|  |  | UQ Testing - Natural Gas | New addition to current checklists within each Apt folder
|  | 226 - 246 | As above | Please expand out so there is a folder for each Apartment from 226 upto 246
NORTH Level 3
|  | Corridor & Apts - NORTH - McLister St | UQ Testing - Potable Water - 1500kpa water test (not an air test)
|  |  | UQ Testing - Potable Water - 900kpa water test pressure sensitive valves (not an air test) | Edited checklist
UQ Testing - Natural Gas
|  | Corridor & Apts - NORTH Carpark West | As above
|  | 308 - 324 |  | Please expand out so there is a folder for each Apartment 308 upto 324
UQ Testing - Water Hold - Sewer & Stormwater Underslung
UQ Testing - Water Hold - Sewer, Stormwater & Down Pipe Stacks
UQ Testing - Air Test - Sewer & Stormwater Underslung
UQ Testing - Air Test - Sewer, Stormwater & Down Pipe Stacks
UQ Testing - TMV
UQ Testing - Tempering Valve
UQ Testing - Tempering Valve
|  |  | UQ Testing - Potable Water - 1500kpa water test (not an air test) | New addition to current checklists within each Apt folder
|  |  | UQ Testing - Potable Water - 900kpa water test pressure sensitive valves (not an air test) | Edited checklist & New addition to current checklists within each Apt folder
|  |  | UQ Testing - Natural Gas | New addition to current checklists within each Apt folder
As above
SOUTH Level 3
|  | SOUTH Corridor - Carpark West | UQ Testing - Potable Water - 1500kpa water test (not an air test)
|  |  | UQ Testing - Potable Water - 900kpa water test pressure sensitive valves (not an air test) | Edited checklist
UQ Testing - Natural Gas
|  | SOUTH Corridor - Middle of Block | As above
|  | SOUTH Corridor - Macindoe St | As above
|  | 301 - 307 |  | Please expand out so there is a folder for each Apartment from 301 upto 307
UQ Testing - Water Hold - Sewer & Stormwater Underslung
UQ Testing - Water Hold - Sewer, Stormwater & Down Pipe Stacks
UQ Testing - Air Test - Sewer & Stormwater Underslung
UQ Testing - Air Test - Sewer, Stormwater & Down Pipe Stacks
UQ Testing - TMV
UQ Testing - Tempering Valve
|  |  | UQ Testing - Potable Water - 1500kpa water test (not an air test) | New addition to current checklists within each Apt folder
|  |  | UQ Testing - Potable Water - 900kpa water test pressure sensitive valves (not an air test) | Edited checklist & New addition to current checklists within each Apt folder
|  |  | UQ Testing - Natural Gas | New addition to current checklists within each Apt folder
|  | 325 - 346 | As above | Please expand out so there is a folder for each Apartment from 325 upto 346
NORTH Level 4
|  | Corridor & Apts - NORTH - McLister St | UQ Testing - Potable Water - 1500kpa water test (not an air test)
|  |  | UQ Testing - Potable Water - 900kpa water test pressure sensitive valves (not an air test) | Edited checklist
UQ Testing - Natural Gas
|  | Corridor & Apts - NORTH Carpark West | As above
|  | 408 - 428 |  | Please expand out so there is a folder for each Apartment 408 upto 428
UQ Testing - Water Hold - Sewer & Stormwater Underslung
UQ Testing - Water Hold - Sewer, Stormwater & Down Pipe Stacks
UQ Testing - Air Test - Sewer & Stormwater Underslung
UQ Testing - Air Test - Sewer, Stormwater & Down Pipe Stacks
UQ Testing - TMV
UQ Testing - Tempering Valve
UQ Testing - Tempering Valve
|  |  | UQ Testing - Potable Water - 1500kpa water test (not an air test) | New addition to current checklists within each Apt folder
|  |  | UQ Testing - Potable Water - 900kpa water test pressure sensitive valves (not an air test) | Edited checklist & New addition to current checklists within each Apt folder
|  |  | UQ Testing - Natural Gas | New addition to current checklists within each Apt folder
|  | 451 | As above
SOUTH Level 4
|  | SOUTH Corridor - Carpark West | UQ Testing - Potable Water - 1500kpa water test (not an air test)
|  |  | UQ Testing - Potable Water - 900kpa water test pressure sensitive valves (not an air test) | Edited checklist
UQ Testing - Natural Gas
|  | SOUTH Corridor - Middle of Block | As above
|  | SOUTH Corridor - Macindoe St | As above
|  | 401 - 407 |  | Please expand out so there is a folder for each Apartment from 401 upto 407
UQ Testing - Water Hold - Sewer & Stormwater Underslung
UQ Testing - Water Hold - Sewer, Stormwater & Down Pipe Stacks
UQ Testing - Air Test - Sewer & Stormwater Underslung
UQ Testing - Air Test - Sewer, Stormwater & Down Pipe Stacks
UQ Testing - TMV
UQ Testing - Tempering Valve
|  |  | UQ Testing - Potable Water - 1500kpa water test (not an air test) | New addition to current checklists within each Apt folder
|  |  | UQ Testing - Potable Water - 900kpa water test pressure sensitive valves (not an air test) | Edited checklist & New addition to current checklists within each Apt folder
|  |  | UQ Testing - Natural Gas | New addition to current checklists within each Apt folder
|  | 429 - 450 | As above | Please expand out so there is a folder for each Apartment from 429 upto 450
NORTH Level 5
|  | Corridor & Apts - NORTH Carpark West | UQ Testing - Potable Water - 1500kpa water test (not an air test)
|  |  | UQ Testing - Potable Water - 900kpa water test pressure sensitive valves (not an air test) | Edited checklist
UQ Testing - Natural Gas
SOUTH Level 5
|  | SOUTH Corridor - Carpark West | UQ Testing - Potable Water - 1500kpa water test (not an air test)
|  |  | UQ Testing - Potable Water - 900kpa water test pressure sensitive valves (not an air test) | Edited checklist
UQ Testing - Natural Gas
|  | SOUTH Corridor - Middle of Block | As above
|  | SOUTH Corridor - Macindoe St | As above
|  | 501 - 529 |  | Please expand out so there is a folder for each Apartment from 501 upto 529
UQ Testing - Water Hold - Sewer & Stormwater Underslung
UQ Testing - Water Hold - Sewer, Stormwater & Down Pipe Stacks
UQ Testing - Air Test - Sewer & Stormwater Underslung
UQ Testing - Air Test - Sewer, Stormwater & Down Pipe Stacks
UQ Testing - TMV
UQ Testing - Tempering Valve
|  |  | UQ Testing - Potable Water - 1500kpa water test (not an air test) | New addition to current checklists within each Apt folder
|  |  | UQ Testing - Potable Water - 900kpa water test pressure sensitive valves (not an air test) | Edited checklist & New addition to current checklists within each Apt folder
|  |  | UQ Testing - Natural Gas | New addition to current checklists within each Apt folder
SOUTH Level 6
|  | SOUTH Corridor - Carpark West | UQ Testing - Potable Water - 1500kpa water test (not an air test)
|  |  | UQ Testing - Potable Water - 900kpa water test pressure sensitive valves (not an air test) | Edited checklist
UQ Testing - Natural Gas
|  | SOUTH Corridor - Middle of Block | As above
|  | SOUTH Corridor - Macindoe St | As above
|  | 601 - 640 |  | Please expand out so there is a folder for each Apartment from 601 upto 640
UQ Testing - Water Hold - Sewer & Stormwater Underslung
UQ Testing - Water Hold - Sewer, Stormwater & Down Pipe Stacks
UQ Testing - Air Test - Sewer & Stormwater Underslung
UQ Testing - Air Test - Sewer, Stormwater & Down Pipe Stacks
UQ Testing - TMV
UQ Testing - Tempering Valve
|  |  | UQ Testing - Potable Water - 1500kpa water test (not an air test) | New addition to current checklists within each Apt folder
|  |  | UQ Testing - Potable Water - 900kpa water test pressure sensitive valves (not an air test) | Edited checklist & New addition to current checklists within each Apt folder
|  |  | UQ Testing - Natural Gas | New addition to current checklists within each Apt folder

## Checklists
type | name |  | values | prefix | postfix | usage count | user addable
checklist-flat | UQ Testing - Potable Water - 900kpa water test pressure sensitive valves (not an air test)
checkpoint | Is there existing work by previous plumbing contractor within workfront? (Pass = Yes) | ORIGINAL CHECKLIST
text | Photos of prior works BEFORE RSG commencement must be included here
checkpoint | Water test is being conducted on material that is rated to withstand only 1000kpa
checkpoint | All valves dedicated to isolating the test zone have been securely shut off & tagged
checkpoint | Air purging valve point has been nominated
checkpoint | Pressure testing valve point has been nominated (if none at meter manifold)
checkpoint | Ensure isolating valves within the test zone are open as required
checkpoint | All terminal open ends i.e. lugged elbows, etc are securely capped off
checkpoint | All in-wall mixer assemblies & pressure sensitive meters, etc have been isolated/removed from the test zone (these items are only rated to max 500kpa)
checkpoint | Feeder valve was slowly opened & the test zone has filled with water until completely purged of any air
checkpoint | Electric pressure testing pump device was connected to the nominated test point
checkpoint | Electric pressure testing pump is calibrated
checkpoint | Test consisted of slowly increasing the pressure to 900kpa with the water feed shut off and the pressure held for not less than 30mins
checkpoint | Pressure in the testing area was slowly reduced back to neutral working conditions
text | Pressure reading photos must be taken at start & finish of test. Add in comments (test duration etc)
type | name |  | values | prefix | postfix | usage count | user addable
checklist-flat | UQ Testing - Potable Water - 500kpa water test pressure sensitive valves (not an air test)
checkpoint | Is there existing work by previous plumbing contractor within workfront? (Pass = Yes)
text | Photos of prior works BEFORE RSG commencement must be included here
checkpoint | Water test is being conducted on material that is rated to withstand only 1000kpa (Delete this checkpoint)
checkpoint | All valves dedicated to isolating the test zone have been securely shut off & tagged
checkpoint | Air purging valve point has been nominated
checkpoint | Pressure testing valve point has been nominated (if none at meter manifold)
checkpoint | Ensure isolating valves within the test zone are open as required
checkpoint | All terminal open ends i.e. lugged elbows, etc are securely capped off
checkpoint | All in-wall mixer assemblies & pressure sensitive meters, etc have been isolated/removed from the test zone (these items are only rated to max 500kpa) (Delete this checkpoint)
checkpoint | Feeder valve was slowly opened & the test zone has filled with water until completely purged of any air
checkpoint | Electric pressure testing pump device was connected to the nominated test point
checkpoint | Electric pressure testing pump is calibrated
checkpoint | Test consisted of slowly increasing the pressure to 500kpa with the water feed shut off and the pressure held for not less than 30mins
checkpoint | Pressure in the testing area was slowly reduced back to neutral working conditions
text | Pressure reading photos must be taken at start & finish of test. Add in comments (test duration etc)