## Project Checklist Templates
Id | Type | Name | Values | Prompting Name
c187d08c-efc1-4184-900f-6a5344694c56 | checklist | Add Documentation |  | Documentation
6fd2b6be-74e5-404e-b395-b173523c7d59 | section | Details
09b732fc-d176-46c7-9952-96f00cdfd8b5 | checkpoint | Documentation
9f9dd812-f747-4172-b044-af1a77961e0c | checklist | Carpet Tile Installation |  | Carpet Tile Installation
89c0ecd3-57b5-4efa-82ef-8ab3be343b33 | section | Details
b89abdce-6b85-4da6-b4f6-d1fa3fe05e09 | checkpoint | Substrate clean and approved for installation?
dd096492-7c7e-4533-bbef-cab998b12b4a | checkpoint | Area clean and all rubbish / offcuts removed?
599bbc19-cd26-45d8-a3ce-9040c227ec66 | checkpoint | No damage to joinery, skirtings or walls?
5afe2412-a205-4cff-adeb-b78375267da8 | checkpoint | Has the floor been protected?
b1cc6b79-9233-4a8b-a16a-dbe034c4afaa | checkpoint | Installation complete with no damage?
43a168b5-a354-4386-83a2-7df3ad7f4d25 | signoff | Please signoff / request sign off by Site Manager
c755ba6d-cc14-48b7-b857-ac5c6c2947c9 | checklist | Carpet Tiles Installation |  | QA Carpet Tile Installation :
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
3e5897ea-15f3-46bf-b8f4-09ec59218523 | checkpoint | Carpet tile range and colour check and confirmed
ca7af71d-548d-4271-82d5-f91e1eb21437 | checkpoint | Area / Location to receive carpet tiles
0b919c41-9165-5e29-816f-07ff4a87f876 | textbox
3532ecac-75ae-4ea3-854d-dc05161964e5 | checkpoint | Floor prep required ?
91ba2909-8cb2-5a4b-aedb-b40d54d1bd25 | textbox
169e1a52-41ac-4c26-9a53-294cfc40585c | checkpoint | Installation direction confirmed ?
1d613fa5-4aa9-4b5d-92b7-441fd2b3f438 | checkpoint | Setting out lines square ?
02ce727b-a5dd-4c24-8eda-32c3a18156aa | checkpoint | Are all edges free from fraying ?
6192cd56-5fa2-495f-919d-a7d392832aa1 | checkpoint | Are all edges cut neat and straight?
7ae6fe07-6a0a-41ca-bec2-53b8e2010ba7 | checkpoint | Carpet tile adhesive used
7af8d0dc-ff0e-56dd-ba5a-1931b6cc8f31 | note | x1 Pictures
d2dae3fd-f1bc-4394-85d7-b6acded2717d | checkpoint | Completed Carpet Tile installation
9a74155b-f21a-5bf5-8025-8359e41031ef | note | x4 Pictures
c062a656-2501-4b33-9ade-fb586f853bfd | checkpoint | Check and clean any excess adhesive in joints, on wall, or skirting
139fcae5-bae5-43c3-bfca-24d9c03d6d2e | checkpoint | Transition between other floor covering level and flush
1606949e-9f0a-4713-83ac-d9e56454bdf1 | checkpoint | Phase completed with no damage ?
5608e008-a164-4b9c-acc1-422397f875d0 | signoff | Please signoff / request sign off
d48361ec-6249-4e57-a2c4-b284ebd4a61f | checklist | Concrete Moisture Test - On slab method |  | Concrete Moisture Test - On slab method
4ea7a164-2885-4856-934b-e560f10f1468 | section | Details
049b8f40-0b4c-4249-9bbb-530e9fb6b792 | checkpoint-no-value | General Details
1c783ebe-927a-5d86-a590-f6db03fd6b28 | note | According to the NZS AS 1884:2013, the acceptable level of concrete moisture content is less than 4.4%
c130146e-c842-5275-9f12-4addb709b02a | date | Date of test
8aaa8b02-ebaa-53d4-a278-d6f48d3afdfa | textbox | Project name
1e128705-cdbb-4044-92af-00aa3f14cde0 | checkpoint-no-value | Hygrometer device used for test
3d32f999-87a4-5a86-94c7-6c45b2955b42 | tickbox | Photo of Hygrometer device uploaded?
1694d8ad-dfff-405f-9d57-dcd5da6f715a | checkpoint-no-value | Test 1
8ccde11e-a55e-5e40-b5ec-00f46f8df520 | textbox | Area/Location of test and result
8da7a477-2337-507e-996c-05b2505b7480 | button | Result | PASS, FAIL
2a3ab77e-1ebe-40c1-a2ce-9ea310b6d980 | checkpoint-no-value | Test 2
d0233722-16c0-5da0-aac1-38eef5c2a1c0 | textbox | Area/Location of test and result
9f782e57-0730-5a52-9781-32957ed96f84 | button | Result | PASS, FAIL
53de483f-a48f-4612-9455-3a1db1399ff5 | checkpoint-no-value | Test 3
e2719cdc-c00d-5d1b-9bf2-4cd47525f2c7 | textbox | Area/Location of test and result
a0f19ccc-9c9d-5e06-86d3-9b36e0f5fdd7 | button | Result | PASS, FAIL
9f0ab392-270d-4cf1-a866-a5be00d0719f | checkpoint-no-value | Test 4
6f51729f-34c6-5f56-ac52-f7ed451e6cc4 | textbox | Area/Location of test and result
382cf7cd-3c7b-5c95-8a00-47632d27e071 | button | Result | PASS, FAIL
5726d34a-cb75-465e-b3a8-fb51f43d6b7c | checkpoint-no-value | Test 5
26cce781-72fa-5a9d-abe5-f98eb6174006 | textbox | Area/Location of test and result
8ab2edd9-60c9-5eec-83f9-ae17353e2784 | button | Result | PASS, FAIL
ca471d75-1f91-4744-884a-dfaa68051f23 | checkpoint-no-value | Test 6
203f4db6-d7b7-5ea1-87cf-de0547917584 | textbox | Area/Location of test and result
582c0280-d5e1-5071-9af2-18f8319d2579 | button | Result | PASS, FAIL
0f3f0c29-3fe7-415c-a629-4181f26c1990 | checkpoint-no-value | Test 7
b3c41250-8ca6-5479-ba06-43cda6f66e28 | textbox | Area/Location of test and result
00f7b600-949d-558e-9bd0-4a7b5f2b07da | button | Result | PASS, FAIL
ff4f06c5-f306-4fbc-b05a-919d456925da | checkpoint-no-value | Test 8
b09b3301-b1c5-53ab-be4b-da03bc70d7c4 | textbox | Area/Location of test and result
84a091fc-311b-52a2-a4ea-7a8582190cd8 | button | Result | PASS, FAIL
7d1c544f-fb1e-4729-be23-7f1c9f26d4ae | checkpoint-no-value | Test 9
5b2db635-e9d0-5dcf-abf1-a1ec1d984674 | textbox | Area/Location of test and result
6c6cad90-3c76-58f1-bcb3-d56fc984d73f | button | Result | PASS, FAIL
d876e515-c338-4d2f-9a01-de480372b2d2 | checkpoint-no-value | Test 10
d84d119c-3d8d-5c90-bff1-205cf4fbeaa9 | textbox | Area/Location of test and result
15a72e22-88e2-54f8-9116-b3de62694bee | button | Result | PASS, FAIL
bce75925-cec2-478f-9d4f-d5ab02aafaed | checkpoint-no-value | Remarks from examinee
fb1cebbb-f049-531e-b766-f658e805b520 | textbox | Remarks/conclusion
9f0a0fa2-f1a9-4cf8-80da-819f8f340d4a | signoff | Click here to signoff
4594d9fe-26ed-4df7-adc1-7b452cc58e9a | checklist | Entrance Mat |  | Entrance Mat
487958ed-2ff6-4f9b-9cf5-8e4716fd2861 | section | Details
c929f5e6-0eb2-4a05-b319-1df6d9ca84a8 | checkpoint | Substrate clean and approved for installation?
85f1fd5e-9896-40d1-9b1c-ce020e570017 | checkpoint | Area clean and all rubbish / offcuts removed?
b753918a-0bbc-4d9f-8e5d-ac0b67be4e4d | checkpoint | No damage to joinery, skirtings or walls?
e88c5409-7db5-4296-a81d-b101662c0c45 | checkpoint | Has the floor been protected?
39ada378-32d1-4064-8ecc-591667b61cac | checkpoint | Installation complete with no damage?
7d1b9153-3573-4dc2-a090-74e28e6c9701 | signoff | Please signoff / request sign off by Site Manager
fd5e024c-d49c-4684-8e01-88ec49df2d2f | checklist | Floor Prep |  | Floor Prep
571e180c-4095-44b6-95cc-893f81eae325 | section | Details
b0a9c1e6-72fa-4315-945e-cf43f43926ca | checkpoint-no-value | Date
de00522e-20d5-5ab7-9383-63fcc62648cb | date | Date:
fae9ddd4-26f2-4bda-8a3d-96bc7f7d1ce5 | checkpoint | Surveyed floor for flatness?
7cc5dc81-8fe7-43f6-808d-5431c68e3f19 | checkpoint | Moisture test done prior to installation?
16a57f9a-83e9-4e35-b4a6-8fb751252d53 | checkpoint | Clean Grind Subfloor
555436b6-44cd-4fa2-814f-2ffc18b082b4 | checkpoint | Apply First coat - Mapei Proof Primer North to South
87b8ddc6-22db-462b-9c3f-52eefa706008 | checkpoint | Apply Second coat - Mapei Proof Primer East to West
eb24b9cd-5dde-49b0-ba2d-75aee679b7ee | checkpoint | Skim coat applied / Disked ready for Vinyl
4d0a5a14-e503-412c-b885-76d6abfab2c6 | checkpoint | Disk ready for Vinyl
2fee69f9-08d1-4023-b7a7-f73449e46d0c | checklist | Floor Prep Screed |  | Floor Prep Screed
725e90c6-7c3e-4ebe-8380-2d1ad0364569 | section | Details
23da7e3c-53e2-4f61-9adf-ed5d99dc6def | checkpoint-no-value | Date
fa8a1341-0575-5058-8e0e-8424496f66b3 | date | Date:
e79c9ff1-d208-4226-83ac-95d59a55c4b4 | checkpoint | Surveyed floor for flatness?
27988768-604e-41b4-9723-e8c31536c148 | checkpoint | Moisture test done prior to installation?
71e683ee-c7ab-4e36-993f-851d2578177e | checkpoint | At-risk surfaces protected?
eb4fa0ee-1169-4afb-bfa6-dd0a3db2b74e | checkpoint | Clean Grind Subfloor
9cee5e47-026e-4fc7-aaa5-10b4af1ca0f2 | checkpoint | Apply First coat - Mapei Proof Primer North to South
3211fb5f-0565-465b-b9a1-630b93e3ef89 | checkpoint | Apply Second coat - Mapei Proof Primer East to West
31c8b678-a0ce-4c4b-ba3f-1dae31a9981e | checkpoint | Floor Levelling complete
869cfb70-9fad-4969-89f7-38e0c052e7e8 | checkpoint | Area clear of rubbish and debris?
53a744f8-e1ae-4d85-b3d0-e394d7c470bf | checkpoint | No damage to other surfaces?
afd70a94-bb04-4432-9a89-0e9023d17051 | checkpoint | Levels checked and ready for installation?
49c3e6ce-5312-42ce-ab30-25eb63962790 | signoff | Please signoff / request sign off
b92180f7-8ace-4fa2-97e4-cbf61eb66568 | checklist | Floor Prep Wet Room |  | Floor Prep Wet Room
e09c666e-b5c0-4ec2-bc24-c4b97cff7f63 | section | Details
c0bb8c95-5ea4-4076-a860-043ab8f35612 | checkpoint-no-value | Date
034eed07-06c8-5718-ac35-2c61e94a841e | date | Date:
99e48597-dd72-40ca-88a5-0f146df84eac | checkpoint | Surveyed floor for flatness?
c3ca90d7-67ef-468f-9b31-dfb5a2d2a72a | checkpoint | Moisture test done prior to installation?
f9c68a4b-75d7-4c4b-a3ef-f9854b1e43b5 | checkpoint | Clean Grind Subfloor
62a81286-8b36-4821-a0f6-efbbc38fa714 | checkpoint | Prime Floor and Wall area with Eco Prim T Plus
8077f5ca-1770-4497-b54c-c289a64fd94d | checkpoint | Apply Eco Prim Grip Plus to Plastick Waste
7f91dcfc-dc9e-40c1-be5e-1c13b7d2d575 | checkpoint | Apply Mapelastic Aquadefense
450cb22f-776e-4811-afce-f944c5997bdb | checkpoint | Apply Easy Band and or Gaskets
5b8f2e45-79df-45a1-9948-9e87a4daebd5 | checkpoint | Apply Mapelastic Aquadefense
ab5ac815-6ebf-4819-b26a-6681664da50b | checkpoint | Prime Floor area with Eco Prim T Plus
5f6b5d1e-b737-4bbf-ac21-9cd24b202152 | checkpoint | Skim Coat Planiprep SC to Floor and wall
4419a990-5102-4fdc-8d38-0eab915aac21 | checkpoint | Disk ready for Vinyl
558a9e31-057b-47a2-b8ed-4921b74e95eb | checklist | Floor Vinyl / LVT / Marmoleum |  | Floor Vinyl / LVT / Marmoleum
d599bd7b-c8e9-4851-aab0-8cd5bbd472e1 | section | Details
e80aaa18-7c45-439f-9b97-a2c944155559 | checkpoint | Substrate clean and approved for installation?
58564d24-79c3-45e5-91b6-709ccca9e852 | checkpoint | Moisture test done prior to installation?
81f7df97-86dc-4288-a7ad-6159231cbd1a | checkpoint | Specify glue to use e.g 68T, UZ2000 or Marmoleum glue.
3d3cd7b6-1dae-44d6-a6f2-99e8e9388e1b | checkpoint | Doors to be removed?
024179ae-080f-46d9-b767-91c95fbb0198 | checkpoint | All capping installed?
8f8ca50b-3e06-4e3e-a2cb-2bb7ff45468b | checkpoint | All butterfly corners done with templet, images required?
6e34ff40-b568-4041-ae40-db3c150bdbbd | checkpoint | Vinyl rolled during installation
9add3933-1d6d-4c80-a985-62813a72e10d | checkpoint | All areas complete and welded?
fdb836ee-94e6-4c83-8eef-24a7bac58652 | checkpoint | No excess glue on vinyl surface?
3cba53de-0523-47a6-ba60-4dcd3cb38cca | checkpoint | All transition trims installed?
d0fbffbf-4a6c-4701-becb-ce5e364af8f6 | checkpoint | Area dust free and all rubbish removed?
a97b7ea2-1f55-4ee8-93d4-500efdfb6032 | checkpoint | Has the floor been protected?
44d1778f-d601-4499-b52c-5e9401669bdb | checkpoint | Installation complete with no damage to joinery, skirtings or walls?
d924d0be-52c3-4a60-9e31-57fb86f92018 | signoff | Please signoff / request sign off by Site Manager
45192593-9526-43be-bc3b-fbbf5d52b767 | checklist | GB Add Documentation |  | GB Add Documentation
06d39eb4-d638-4634-9703-20ec262374f4 | checkpoint | Please upload all documements and press PASS.
92b0afe4-3131-4d47-9869-eba38bb8aa53 | checklist | GB Carpet Installation |  | GB Carpet Installation
8f6cc434-87e7-455a-b4a7-eb764f097ba9 | checkpoint | Substrate clean and approved for installation?
371e782f-d046-5f61-a96f-0692b58a6c35 | note | x 2 Picture
90b29ee3-6656-4952-b222-f7672e4b8ee7 | checkpoint | Are sills, door frames & tiles flush with carpet?
b662be60-1004-5481-968f-9434d6402683 | note | x 2 Pictures min
c6e08f75-c089-444b-9ed8-7abb69d825a0 | checkpoint | Doors to be removed? Take pictures before and after (proof no damage)
455c1dad-c21c-53ab-a918-53d5d542a291 | note | x 2 Pictures min
251e47e8-bf74-43c8-9be2-c1fd81a224db | checkpoint | Confirm plan matches site and joins ok?
6f00b1d9-586d-459c-ad53-73c7f67272b1 | checkpoint | Review job sheet confirm all detail matches e.g. colour of carpet, underlay required?
226a2c3d-0cd4-46ad-adac-ea7b2cd19995 | checkpoint | Take photo of carpet joins?
0f025312-9e54-5d3b-b0e0-610e7fbff299 | note | x 2 Pictures min
46a8cdd4-c4c5-423b-8021-ce39d201f978 | checkpoint | No damage to skirtings or walls?
29044a8f-3cd1-5ba4-8f77-d0f9c57ba42f | note | x 4 Pictures min
eb5ef117-3fed-49a3-8fdb-3f43be4a9663 | checkpoint | Doors replaced and area left clean of offcuts and rubbish? Take pictures before and after (proof no damage)
65cf7435-02ac-558b-b6e5-8383f8cc3ee2 | note | x 2 Pictures min
447fd04e-e5c7-47ee-9f3f-0cdaf5be2ab1 | checkpoint | Walked all areas, pins tapped down, stairs tight, no carpet lifting, all ok?
e48a329c-410d-5fbc-bcc9-6de5349419d3 | note | x 2 Pictures min
53b36600-c4d3-4bb0-9764-a488b552e3ed | signoff | Please signoff / request sign off
0cbaa9a1-0a04-48b0-b02e-cf178581f74a | checklist | GB Laminate |  | GB Laminate
dd6f358a-6c6b-4cd1-98a6-8bdeaca960db | checkpoint | Area clear of rubbish and tradespeople?
53a3e993-bb12-5eec-a454-2c73a45dda73 | note | x1 Picture
e236c956-11d6-4fe1-917f-d1bee79587d5 | checkpoint | Survey floor, More than 3 bags and 3 hours grinding? If yes, notify the office with images & scope and wait for approval.
cc9c2231-1883-55d8-9d00-15ccdd2ad48e | note | x1 Picture
44670814-d443-42fc-835c-e9959c17c25e | checkpoint | Direction of planks shown on plan?
a376891b-c474-4a31-bcde-c5351e2b89e4 | checkpoint | Review job sheet confirm all detail matches e.g. colour of planks, underlay.
a1199e87-8af3-4fe7-be21-a84e3db8299f | checkpoint | At-risk surfaces protected?
976bae3f-0068-5275-9d69-0be06b737ab2 | note | x1 Picture
1cbd56c4-835f-4b32-abd4-005ec9ebb46e | checkpoint | Installation complete with no damage?
6a9a009a-e070-57fb-b743-3a66fc035fe0 | note | x4 Picture
1d753ef4-0bc3-45da-b98a-893f00ad0010 | checkpoint | Walked area and checked for gapping, bouncing, expansion etc?
0df2ddb4-ed17-4e43-8cc0-9a4fe9ca3fe7 | checkpoint | Opened boxes left on site and unopened returned?
f8df6dcc-ced1-4bbf-990b-1c5a3eab4045 | checklist | GB Timber Installation |  | GB Timber Installation
fcaeae62-8186-48b4-bae7-6619af4f58bd | checkpoint | Moisture test done prior to installation?
3d0236db-d5cd-57b9-a99d-01fe5ac37082 | note | x1 Picture
58acadeb-0328-4eb9-93ac-589841eaf89d | checkpoint | Floor prep assessed and deviation less than 3mm over 3m?
21af44b0-45b1-4655-9e4f-b716c0619336 | checkpoint | Review job sheet confirm all detail matches e.g. colour of timber etc
c27900de-45f1-444a-a7de-71d72638e8fd | checkpoint | Timber direction confirmed on plan?
305e277d-6209-43c7-9719-71795a210f18 | checkpoint | Bags and hours grinding signed off by Jay before starting?
ad8fc902-721c-4ac9-8a19-f339134afcc4 | checkpoint | Timber weighted down after installation?
c35d217e-7b21-5ad4-9155-eb47b3c07d92 | note | x 2 Picture
d193a39e-cfaf-4397-98a8-936933fb0a46 | checkpoint | All transition trims installed?
9929b223-9ed0-547b-996d-1e3a6def6c99 | note | x 1 Picture min
1c4608c5-0625-431f-963a-4a5b36ca9b7b | checkpoint | Area dust free and all rubbish removed?
53e4ae72-b0e4-558f-9373-ae88127c32a5 | note | x 2 Picture
6aa34fab-d439-4e34-90e5-02cd02971a70 | checkpoint | Installation complete with no damage?
b86aec30-28ee-5cf3-92d3-966ed60fcbc0 | note | x 2 Pictures min
1a479015-aa3f-42e8-bab0-c67bcd5521b1 | checkpoint | Walked area, all ok no gapping or damage?
dd5a44c3-61bc-58e2-877f-daf88c103493 | note | x 2 Pictures min
a82c0163-f1c9-4be9-81d8-2a3bb32be936 | checkpoint | Jay advised of all left over materials?
abe30dd4-e629-4653-b849-5c2a27ff7d45 | signoff | Please signoff / request sign off
eea7465b-3f47-467d-8199-28fc96685bb7 | checklist | GB Vinyl Plank |  | GB Vinyl Plank
8f09d853-f31c-4bcd-b7c5-1d12668b670f | checkpoint | Survey floor for flatness?
057f8aa6-6d9b-4ddf-8b56-d2ca1cfd87bc | checkpoint | Area clear of rubbish and debris?
f204fd14-0dc7-470b-9910-450ddee16469 | checkpoint | Planks have been on site and are acclimated?
08021a62-cd4e-4de3-bd84-44ad3da6db69 | checkpoint | Direction of planks shown on plan?
6e5e1bd3-4151-4eef-85d5-83cf02cc67fb | checkpoint | More than standard prep required? If yes, notify Jay with images and scope, wait for approval
6afc91e8-2e37-4a77-9ab7-a6a3a084a3c9 | checkpoint | Moisture test done prior to installation?
dd2259fa-f882-554b-95da-4ac575a2d9d2 | note | x 2 Picture
3ae204bd-3090-4a72-af39-37b857258a45 | checkpoint | Windows with direct sunlight blocked
cf00c9d6-07f3-55e5-96b7-4e1286275125 | note | x 2 Picture
a78453d5-9327-4d6c-b8a2-c4b84533ce7c | checkpoint | 68T used 1.5m from splashzone (sink etc)
96d3425b-177f-4f92-a227-359e11b797dc | checkpoint | At-risk surfaces protected?
67f70ef1-1e03-500c-8e54-269d984c73af | note | x 2 Picture
7c5dce30-9dd5-44b3-8d0a-c1feaa646595 | checkpoint | Installation complete with no damage?
584e00c2-e4e9-5294-8273-516aff9ea55c | note | x 2 Pictures min
1a9d6a89-e2cf-4738-a9a4-b2375685efa0 | checkpoint | Walked all areas, checked for gapping, lifting, excess glue on boards and skirtings and all ok?
31eb8503-ee40-4fe2-8fd8-515a6e9caaca | checkpoint | Opened boxes left on site and unopened returned?
f7fa9a52-5794-425e-a8f8-d9b619aea3e3 | checklist | Incident Report |  | Incident Report
08c8e588-b993-4cc6-88ad-0619e10bbfb6 | section | Details
03f584ab-cfb0-4dd0-93a0-08897493e3d7 | checkpoint-no-value | Project name or location
f71ba335-9972-58ff-bc39-86b8599f34a9 | textbox
9a6e353f-dafc-47d5-b982-70f4a4db4674 | checkpoint-no-value | Date & Time of Incident
354b496b-0bf1-5fab-b43c-0152fd23a043 | textbox | Date & Time
86e9cb36-1e90-4242-b00f-f0011ed65ae5 | checkpoint-no-value | Reported by
645b592a-a151-5220-b0a4-ac332d0dda57 | textbox | Name & Surname
827ae961-dd74-46d6-8981-7c2fa04fd57c | checkpoint-no-value | Reported to
4a5c810a-dea0-5112-8274-7022ec1a3b19 | textbox | Name & Surname
173f399f-815a-4bf0-84b2-e0391eb446a8 | checkpoint-no-value | Incident Type
9452c458-0c1d-5cc2-82e9-8386aedcc0d2 | textbox
b29001ad-3cc9-5bbc-b6c6-dc276ad50767 | note | Add Picture
78982c1e-cd99-469e-9cc9-d22c007bb04a | checkpoint-no-value | Details of incident (Injuries)
7a7da81e-bd1d-4a34-a3d8-037c31904c57 | checkpoint-no-value | Person involved
7dbd5b63-83e6-5af7-b4f5-423e66370519 | textbox | Name & Surname
08ebcfbd-abbb-5ab6-ad53-8c42313e1f1f | textbox | Contact details
af0f7a03-1c84-4762-b1dc-1483b3ccf3b5 | checkpoint-no-value | Details of witness
dbc5f7b6-9270-54e9-880f-2b7f20de0fb5 | textbox | Name & Surname
042f9a55-5684-5cdc-a05e-df64b55f3625 | textbox | Contact details
a1a96798-f3fe-4863-a413-9b80d14314af | checkpoint-no-value | Manager Remarks - Actions and Follow up
2584a8bd-c585-597c-ae0d-63b5157fd7cc | textbox
d61a46f8-b461-4c7c-8bc1-c0921ca7ed2e | signoff | Review and signoff by Supervisor / Manager
585b7b19-6122-48d3-9ca9-c52a9986d948 | checklist | Project Stock Control |  | Project Stock Control
0df76a2e-a8d6-4f6d-b672-9b1bd22450fc | section | Details
d6e05d94-3e35-4804-a07c-68fe5ce5a4b6 | checkpoint-no-value | General Details
034773a5-bde6-5ecb-b0ae-78ee086d0821 | textbox | Project name
0a1a2a68-f205-53e9-aa39-5af1ac8b75c7 | textbox | Job number
efe5c4eb-b741-58a4-ac88-999002ea7f8e | textbox | Product Manufacturer
1fc2ed27-d942-55d0-87f8-de97bdbfc449 | textbox | Product Range
6bdecaf1-1739-5a2a-a9c4-d7114be6df66 | textbox | Product colour(s)
1cb16bd8-d3e8-4b44-ba42-5101a2eb5f63 | checkpoint | Quantity Received from suppliers
587ddb13-18ce-5c99-9fb4-77bb39766eae | textbox | Boxes
a799de13-1dce-5df6-a25c-26e45bc5777e | textbox | Square Metre Per/Box
e2d30ee7-0f70-5758-b908-b9fbd28f533d | textbox | Square Metre Per/Roll
d63cac9d-4124-4d16-a2b3-7696de4426b0 | checkpoint-no-value | Stock issued out to installer - 1
c0e20704-c43d-5ac0-a136-69191fb129e3 | textbox | Colour/Range
5346cc21-ca0a-5c9f-8527-926554040587 | date | Date
1b7382d7-9b6d-5a7d-9a87-b33c3ce79c10 | textbox | Quantity
a0fb7eb4-adc0-5f2a-89e0-a4ae53852527 | textbox | Balance left
2e725ad9-2806-4876-8571-5a9c8388e05a | signoff | SIGN HERE
1f591d03-09b0-4973-b755-f1ae2a9da8cd | checkpoint-no-value | Stock issued out to installer - 2
6ca92818-883d-5b50-bb98-5f2c3c62d835 | textbox | Colour/Range
8a25220a-4cc9-5379-8ca7-faa3f51b2757 | date | Date
1c9e0cba-df46-5a39-8e0a-b30e0bc04e43 | textbox | Quantity
24f133f1-aa3a-5a8c-a40b-a1e0efa1b677 | textbox | Balance left
48208d5d-f35a-420f-aece-02b76e63d3e3 | signoff | SIGN HERE
33d8002f-919f-40bc-ad83-d373e4fcb8c0 | checkpoint-no-value | Stock issued out to installer - 3
39b2970c-9b6d-52d0-a08f-cb32e0dfd2b5 | textbox | Colour/Range
b3b5b2e0-1c72-5032-bfe3-f38cbb2def0e | date | Date
4fe9f599-09c7-52a3-a2bb-f5aef1a359e7 | textbox | Quantity
a6c2d037-9d6d-56d0-afea-0dfda3e5a2b2 | textbox | Balance left
cab09970-3a26-4abc-b048-cf459aa4f14e | signoff | SIGN HERE
ec3bc47a-7d3d-4a79-b0bc-da050ec5ab57 | checkpoint-no-value | Stock issued out to installer - 4
e22c4947-a424-50e4-a50b-911f3425dc6c | textbox | Colour/Range
e63fe33d-b384-5009-b043-470ac416c05b | date | Date
77c418cb-243b-5cf0-a3e3-c0fdf2384c88 | textbox | Quantity
56e0bbfb-5daa-5549-92e9-7efe5ebb18dc | textbox | Balance left
5a1674f8-73e4-4f0a-a7ed-ad2be6dcc7dd | signoff | SIGN HERE
5c7d0f6e-2242-4547-a2b7-2acf997a9f30 | checkpoint-no-value | Stock issued out to installer - 5
34de0c1f-e8ae-53e0-8035-f8449ba3e7c8 | textbox | Colour/Range
0397f60d-8b02-5d3c-8165-2cbf1ad504ce | date | Date
8e6d0541-61a4-5b9b-b81f-07da1d9d2676 | textbox | Quantity
f1f8d689-d94b-5ef5-a2fd-c67d2ff45248 | textbox | Balance left
0843ea5d-9bb2-498c-97c3-9ddb333a09f7 | signoff | SIGN HERE
1bd50b06-2e07-49f4-82ad-d57edc42f132 | checkpoint-no-value | Julius Remarks
65552aa3-19db-5198-8391-ed864a3eb93b | textbox | Remarks
77febfbd-9a2f-4739-8b39-198e1940e8df | checkpoint | Any material returned upon completion?
129587d6-90a2-5526-8bbf-09f2c2f1146e | textbox
a779306e-4790-45e6-9cfd-83f8efa01e90 | checkpoint | Signoff
9e9eccd1-1b2b-44ef-b1c2-9a4e0cf44993 | signoff | Review and signoff by Manager upon completion of project
e28eaaa0-c882-4d30-8a7c-d88cc2bd4340 | checklist | Toolbox Talk - Site-Specific |  | Toolbox Talk - Site-Specific
1867bfac-e5fc-4a75-a770-92a07574da79 | section | Details
fb471fc4-19d8-43ad-9aeb-6e4e73664cb9 | checkpoint-no-value | General Details
52f18fd6-b3b6-5eeb-92cd-6c643cccfb2f | textbox | Project name or location
9775011c-9a8a-51d1-b5b4-1af4030ca093 | date | Conducted on Date
8ac0533b-47df-5a4d-8069-a5cff56e119b | textbox | Who is running this meeting?
1c08929c-9f92-40f3-86c9-81e1c956eaa3 | checkpoint-no-value | Toolbox Topic
a82fe347-4b80-53b3-b6c4-6176f6edb622 | textbox | Description
3a81fa07-9e5e-5fbb-b28a-9c5e3ca63d56 | textbox | Actions
abbad9d4-1c82-428a-b5be-ae77b9052951 | checkpoint-no-value | Issues raised from site?
07053863-5e85-5478-8c5a-b344c9d9586d | textbox | Description
de9e851e-93a0-5416-bb26-d23593bba799 | textbox | Actions
a0d1c244-0291-48be-891c-6aa363ab693e | checkpoint-no-value | Employee raised issues?
5617fe10-7187-59bd-b615-d8bea4fd3611 | textbox | Description
4758440a-49df-554e-afef-5f3d2f5b88cf | textbox | Actions
60dc4ec2-db8a-468a-b731-09fa46e0e534 | checkpoint-no-value | Incident or Injuries
dcd09476-e502-5d5d-a356-986f1a3ae237 | button | Any Incident or Injuries to report | Yes, No
4f7daf9f-a81d-515b-bac1-160f1bb67d30 | textbox | Description
3178ce09-8695-5bd9-9c48-0c3684cf7929 | textbox | Actions
4088fcd5-e485-403f-8508-3decea1abd12 | checkpoint-no-value | Hazards
201ebdc2-8f7b-5fa7-a298-e7e0e8c8dff2 | button | Any Hazards to report (Dangerous activity or condition) | Yes, No
c493e5e0-e6a7-56a9-b3ef-13b2102df21f | textbox | Description
49261882-ef80-539b-bb24-12054708fca8 | textbox | Reported to
5b136608-f44c-4d25-8212-9fcf34df8e41 | checkpoint-no-value | Risks
5a555d5e-dc67-5261-bb83-347a34b43c5d | button | Any Risk to report (Possibility of something bad happening) | Yes, No
68235699-1036-5ea4-8b8a-76142667c420 | textbox | Description
230c222e-807b-53ce-bf5d-a72c6f1c0032 | textbox | Reported to
d99f8fdb-654f-4d84-9ff7-f28009ba1df2 | checkpoint | PPE - Personal Protective Equipment - Correct and in good condition ?
7bb94721-12a5-555c-8d9f-2c523bce4348 | tickbox | Inspected
dc53c900-5795-435b-96e4-538411e64bd1 | checkpoint | Positive safe-action observations
7e67ec13-7699-58d8-ad87-ac730486031c | textbox | Observations
95c2915b-bd94-4e72-968d-39f9e0abd39c | checkpoint | Attendance Record
9a766e8d-73a9-4a4a-84f9-07b620bc3dfe | signoff | Each attendee to click here to signoff
5ff9a824-180a-4037-92dc-b7cde9c6b4d9 | checkpoint | Supervisor / Manager remarks and signoff
6399ff62-936f-5e49-92fe-30be946781d1 | textbox | Manager's remarks
56589920-bf33-4b2a-97a2-0c83c9d4c56e | signoff | Review and signoff by Supervisor / Manager
6573cb25-bba6-468d-b8c1-78611d14934d | checklist | Wall Vinyl / Cove / Splashback |  | Wall Vinyl / Cove / Splashback
51022f2c-33f9-44f5-8e02-f9e39a65685a | section | Details
bf74ce56-097f-47a9-91d4-f94795d03813 | checkpoint | Substrate clean and approved for installation?
8fc7ba46-d257-4002-9e5b-362865eac5ab | checkpoint | Installation complete with no damage to joinery, skirtings or walls?
2f13210c-a405-4f78-8a37-e89560c0ad3f | checkpoint | Cove height confirmed, and capping installed?
e62d3454-4a67-4792-a855-7ef2bd6e2237 | checkpoint | All areas welded?
d43b7397-31ea-41c4-bfc1-15f815d9c740 | checkpoint | No excess glue on vinyl surface?
53efef69-ac9b-4d9c-a3cd-2063cf42f588 | checkpoint | All transition trims installed?
7e6b2143-e2fa-4f0c-b78e-78328e6a0206 | checkpoint | Area dust free and all rubbish removed?
046d797c-d5c5-4398-b40c-5c7c49b2dd6b | checkpoint | Installation complete with no damage to joinery, skirtings or walls?
3006b9d6-212b-4d09-bd0a-64399b5535f0 | signoff | Please signoff / request sign off by Site Manager