## Master List Templates
Id | Type | Name | Values | Prompting Name | Resource Id
| checklist | Add Documentation |  | Add Documentation | 51efc36d-ad37-40b7-848e-4acc8d1fba24
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Please upload all documements and press PASS.
| checklist | Carpet Installation |  | Carpet Installation | 414e17a3-f671-4b12-917e-0c1b977a5e1d
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Substrate clean and approved for installation?
| checkpoint | Are sills, door frames & tiles flush with carpet?
| checkpoint | Doors to be removed?
| checkpoint | Confirm plan matches site and joins ok?
| checkpoint | Confirm the underlay type from job sheet?
| checkpoint | Take photo of carpet joins?
| checkpoint | Area dust free and all rubbish removed?
| checkpoint | No damage to joinery, skirtings or walls?
| checkpoint | Has the floor been protected?
| checkpoint | Installation complete with no damage?
| signoff | Please signoff / request sign off
c755ba6d-cc14-48b7-b857-ac5c6c2947c9 | checklist | Carpet Tiles Installation |  | QA Carpet Tile Installation : | 060aa954-d119-40da-98cc-48875ebda37f
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
3e5897ea-15f3-46bf-b8f4-09ec59218523 | checkpoint | Carpet tile range and colour check and confirmed
ca7af71d-548d-4271-82d5-f91e1eb21437 | checkpoint | Area / Location to receive carpet tiles
0b919c41-9165-5e29-816f-07ff4a87f876 | textbox
3532ecac-75ae-4ea3-854d-dc05161964e5 | checkpoint | Floor prep required ?
91ba2909-8cb2-5a4b-aedb-b40d54d1bd25 | textbox
169e1a52-41ac-4c26-9a53-294cfc40585c | checkpoint | Installation direction confirmed ?
1d613fa5-4aa9-4b5d-92b7-441fd2b3f438 | checkpoint | Setting out lines square ?
02ce727b-a5dd-4c24-8eda-32c3a18156aa | checkpoint | Are all edges free from fraying ?
6192cd56-5fa2-495f-919d-a7d392832aa1 | checkpoint | Are all edges cut neat and straight?
7ae6fe07-6a0a-41ca-bec2-53b8e2010ba7 | checkpoint | Carpet tile adhesive used
7af8d0dc-ff0e-56dd-ba5a-1931b6cc8f31 | note | x1 Pictures
d2dae3fd-f1bc-4394-85d7-b6acded2717d | checkpoint | Completed Carpet Tile installation
9a74155b-f21a-5bf5-8025-8359e41031ef | note | x4 Pictures
c062a656-2501-4b33-9ade-fb586f853bfd | checkpoint | Check and clean any excess adhesive in joints, on wall, or skirting
139fcae5-bae5-43c3-bfca-24d9c03d6d2e | checkpoint | Transition between other floor covering level and flush
1606949e-9f0a-4713-83ac-d9e56454bdf1 | checkpoint | Phase completed with no damage ?
5608e008-a164-4b9c-acc1-422397f875d0 | signoff | Please signoff / request sign off
| checklist | Concrete Moisture Test - On slab method |  | Concrete Moisture Test - On slab method | f18ae6eb-9049-4bbf-b2e6-1b2e3b1244db
| section | Details
| checkpoint-no-value | General Details
c40e01b4-d2c3-5b90-a434-314e3b45abdb | note | According to the NZS AS 1884:2013, the acceptable level of concrete moisture content is less than 4.4%
ddf22931-e58c-5527-bf1a-2226624a32ba | date | Date of test
14dfe0c1-281b-5783-b79f-ffda5d7d0a9f | textbox | Project name
| checkpoint-no-value | Hygrometer device used for test
96b17690-9aec-57a3-96e3-9a157d41e53c | tickbox | Photo of Hygrometer device uploaded?
| checkpoint-no-value | Test 1
712f819b-c17e-569a-a42f-1d0a507a99e7 | textbox | Area/Location of test and result
f0e9bdf4-4a96-5834-ab90-e66968d0f9f2 | button | Result | PASS, FAIL
| checkpoint-no-value | Test 2
c3d97e0a-2b5e-5128-af0e-efdbd3864fb3 | textbox | Area/Location of test and result
f1fcf52b-b07c-5838-bc68-4464eb10a096 | button | Result | PASS, FAIL
| checkpoint-no-value | Test 3
208232e1-68aa-5aa5-9f53-20200178969f | textbox | Area/Location of test and result
6827edc9-af60-53cd-89c8-f295e9a64703 | button | Result | PASS, FAIL
| checkpoint-no-value | Test 4
da86241e-87ef-58b7-a4b1-6a45a2b39c84 | textbox | Area/Location of test and result
e82ae221-1502-52c6-aac0-5ae1fe725eb0 | button | Result | PASS, FAIL
| checkpoint-no-value | Test 5
44e5b2b9-d2da-5d8c-9e8f-df8e5c7c7e22 | textbox | Area/Location of test and result
3a327208-0093-5da1-880f-cc2d774e2f00 | button | Result | PASS, FAIL
| checkpoint-no-value | Test 6
7f5578e5-2b00-5ee4-81ba-52b522305ddb | textbox | Area/Location of test and result
c2c276d2-ef47-53fd-afae-72a3c5e80261 | button | Result | PASS, FAIL
| checkpoint-no-value | Test 7
fcfa9c22-1f3b-5e17-9c9a-ce8acfc4e246 | textbox | Area/Location of test and result
5b5dca08-2215-5e74-9ed0-69e0d55c21d7 | button | Result | PASS, FAIL
| checkpoint-no-value | Test 8
12715022-47cf-507a-bb91-d26636a67dfd | textbox | Area/Location of test and result
2b339373-6602-5bc7-bd21-a5e924de7bb0 | button | Result | PASS, FAIL
| checkpoint-no-value | Test 9
5004b0f4-213d-5e26-a3af-0e9764487938 | textbox | Area/Location of test and result
9a2ca82b-c0fc-53fa-a39d-d8af6d66a77f | button | Result | PASS, FAIL
| checkpoint-no-value | Test 10
ebf3f132-ac5d-541a-a725-10bec8b3d266 | textbox | Area/Location of test and result
4f4a61ad-84da-59e4-a3d0-61339dce9275 | button | Result | PASS, FAIL
| checkpoint-no-value | Remarks from examinee
a03ca273-703e-55ce-a0fa-dfafd521dc6d | textbox | Remarks/conclusion
| signoff | Click here to signoff
| checklist | DC Floor Prep |  | DC Floor Prep | 126475f4-80d8-4157-a4e8-c0b4b4dfd198
| checkpoint | Survey floor for flatness?
| checkpoint | Moisture test done prior to installation?
| checkpoint | At-risk surfaces protected?
| checkpoint | Apply 1st Coat - Planiseal MR Moisture barrier
| checkpoint | Apply 2st Coat Planiseal MR Moisture barrier with Broadcast Sand
| checkpoint | All areas dammed up to prevent leaks?
| checkpoint | Apply Mapei Ultraplan Eco Leveller
| checkpoint | Area clear of rubbish and debris?
| checkpoint | No damage to other surfaces?
| checkpoint | Levels checked and ready for installation?
| checkpoint | Preparation complete with no damage?
| signoff | Please signoff / request sign off
| checklist | DC Floor Vinyl |  | DC Floor Vinyl | 8ebfe51c-e1b5-46de-8389-10d3f4d1e115
| checkpoint | DT059 Capping strip set at 150mm
| checkpoint | Plastic cove to base of skirting
| checkpoint | Correct adhesive for Vinyl - Uzin KE2000S Glue
| checkpoint | Install Tarkett IQ Granit SD Sheeting to Data Halls (Pic of label + install)
| checkpoint | Install Tarkett IQ Granit Standard to Circulation areas (Pic of label + install)
| checkpoint | All butterfly corners done with templet, images required?
| checkpoint | No excess glue on vinyl surface?
| checkpoint | All joints been welded?
| checkpoint | Has the floor been protected?
| checkpoint | Installation complete with no damage to joinery, skirtings or walls?
| signoff | Please signoff / request sign off
| checklist | Floor Prep |  | Floor Prep | 399b736c-8a6f-4073-9764-1f968fa40993
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Survey floor for flatness?
| checkpoint | Moisture test done prior to installation?
| checkpoint | At-risk surfaces protected?
| checkpoint | Moisture barrier required? If yes Pictures required
| checkpoint | All areas dammed up to prevent leaks?
| checkpoint | Area clear of rubbish and debris?
| checkpoint | No damage to other surfaces?
| checkpoint | Levels checked and ready for installation?
| checkpoint | Preparation complete with no damage?
| signoff | Please signoff / request sign off
b92180f7-8ace-4fa2-97e4-cbf61eb66568 | checklist | Floor Prep Wet Room |  | Floor Prep Wet Room | 642a75a0-5b1e-4334-a77b-36c73ac66124
e09c666e-b5c0-4ec2-bc24-c4b97cff7f63 | section | Details
c0bb8c95-5ea4-4076-a860-043ab8f35612 | checkpoint-no-value | Date
034eed07-06c8-5718-ac35-2c61e94a841e | date | Date:
99e48597-dd72-40ca-88a5-0f146df84eac | checkpoint | Surveyed floor for flatness?
c3ca90d7-67ef-468f-9b31-dfb5a2d2a72a | checkpoint | Moisture test done prior to installation?
f9c68a4b-75d7-4c4b-a3ef-f9854b1e43b5 | checkpoint | Clean Grind Subfloor
62a81286-8b36-4821-a0f6-efbbc38fa714 | checkpoint | Prime Floor and Wall area with Eco Prim T Plus
8077f5ca-1770-4497-b54c-c289a64fd94d | checkpoint | Apply Eco Prim Grip Plus to Plastick Waste
7f91dcfc-dc9e-40c1-be5e-1c13b7d2d575 | checkpoint | Apply Mapelastic Aquadefense
450cb22f-776e-4811-afce-f944c5997bdb | checkpoint | Apply Easy Band and or Gaskets
5b8f2e45-79df-45a1-9948-9e87a4daebd5 | checkpoint | Apply Mapelastic Aquadefense
ab5ac815-6ebf-4819-b26a-6681664da50b | checkpoint | Prime Floor area with Eco Prim T Plus
5f6b5d1e-b737-4bbf-ac21-9cd24b202152 | checkpoint | Skim Coat Planiprep SC to Floor and wall
4419a990-5102-4fdc-8d38-0eab915aac21 | checkpoint | Disk ready for Vinyl
| checklist | Floor Vinyl / LVT / Marmoleum |  | Floor Vinyl / LVT / Marmoleum | 4ed3971a-73dc-4b90-9fe2-8288667523ec
| checkpoint | Substrate clean and approved for installation?
| checkpoint | Moisture test done prior to installation?
| checkpoint | Specify glue to use e.g 68T, UZ2000 or Marmoleum glue.
| checkpoint | Doors to be removed?
| checkpoint | All capping installed?
| checkpoint | All butterfly corners done with templet, images required?
| checkpoint | All areas welded?
| checkpoint | No excess glue on vinyl surface?
| checkpoint | All transition trims installed?
| checkpoint | Area dust free and all rubbish removed?
| checkpoint | Has the floor been protected?
| checkpoint | Installation complete with no damage to joinery, skirtings or walls?
| signoff | Please signoff / request sign off by Site Manager
| checklist | GB Add Documentation |  | GB Add Documentation | 1db2f8b7-428e-48f6-bf4c-5c8791c4846d
| checkpoint | Please upload all documements and press PASS.
| checklist | GB Carpet Installation |  | GB Carpet Installation | 7ab8fcce-7ef1-4567-8362-950862424709
| checkpoint | Substrate clean and approved for installation?
cd5385cf-973b-5595-8d5f-5655f738cc3c | note | x 2 Picture
| checkpoint | Are sills, door frames & tiles flush with carpet?
27f338f3-af5d-57fb-8f62-49aa08285903 | note | x 2 Pictures min
| checkpoint | Doors to be removed? Take pictures before and after (proof no damage)
a36e6497-56f9-511c-be09-f994457a32cf | note | x 2 Pictures min
| checkpoint | Confirm plan matches site and joins ok?
| checkpoint | Review job sheet confirm all detail matches e.g. colour of carpet, underlay required?
| checkpoint | Take photo of carpet joins?
ed607150-812e-5619-b32c-bc3d20426ca4 | note | x 2 Pictures min
| checkpoint | No damage to skirtings or walls?
78f90f27-5585-5d0b-a320-08bc3c5b1c46 | note | x 4 Pictures min
| checkpoint | Doors replaced and area left clean of offcuts and rubbish? Take pictures before and after (proof no damage)
4eddf662-05a6-58f7-a19c-ee93e951278d | note | x 2 Pictures min
| checkpoint | Walked all areas, pins tapped down, stairs tight, no carpet lifting, all ok?
a24b1a42-6ff8-5bf2-87ea-1906e9c5e7f9 | note | x 2 Pictures min
| signoff | Please signoff / request sign off
| checklist | GB Laminate |  | GB Laminate | 1c6f62a7-311a-4398-afc2-e911a4e7314a
| checkpoint | Area clear of rubbish and tradespeople?
18a40e1b-d420-53a4-848d-5b9fd28e62ef | note | x1 Picture
| checkpoint | Survey floor, More than 3 bags and 3 hours grinding? If yes, notify the office with images & scope and wait for approval.
2d946654-bf1c-55c3-bef6-01edbdf4cb1b | note | x1 Picture
| checkpoint | Direction of planks shown on plan?
| checkpoint | Review job sheet confirm all detail matches e.g. colour of planks, underlay.
| checkpoint | At-risk surfaces protected?
156f6cd4-5e2e-5162-934f-a86c6b6ad0d8 | note | x1 Picture
| checkpoint | Installation complete with no damage?
43642242-59fa-5c9b-aeda-fd560f090771 | note | x4 Picture
| checkpoint | Walked area and checked for gapping, bouncing, expansion etc?
| checkpoint | Opened boxes left on site and unopened returned?
| checklist | GB Timber Installation |  | GB Timber Installation | e47f8b84-2fcf-41fd-a964-7e5c8b54018a
| checkpoint | Moisture test done prior to installation?
a35f8e99-a430-5c6b-afac-343ef863f6c8 | note | x1 Picture
| checkpoint | Floor prep assessed and deviation less than 3mm over 3m?
| checkpoint | Review job sheet confirm all detail matches e.g. colour of timber etc
| checkpoint | Timber direction confirmed on plan?
| checkpoint | Bags and hours grinding signed off by Jay before starting?
| checkpoint | Timber weighted down after installation?
e5c18ad1-5f6a-5350-b6c4-a810465c3e5c | note | x 2 Picture
| checkpoint | All transition trims installed?
80c9d5f8-90f8-55fc-b838-9358cb2967e1 | note | x 1 Picture min
| checkpoint | Area dust free and all rubbish removed?
31e16a4e-adad-5b08-901e-93d41a3e69ac | note | x 2 Picture
| checkpoint | Installation complete with no damage?
6b4dfa2b-4770-5e10-80b4-00c790aa6ac6 | note | x 2 Pictures min
| checkpoint | Walked area, all ok no gapping or damage?
d1a3a52e-748a-5863-8b1c-28ba21d8ffa5 | note | x 2 Pictures min
| checkpoint | Jay advised of all left over materials?
| signoff | Please signoff / request sign off
| checklist | GB Vinyl Plank |  | GB Vinyl Plank | c28afc52-f8a6-4eef-8ffd-f75063a4ab4a
| checkpoint | Survey floor for flatness?
| checkpoint | Area clear of rubbish and debris?
| checkpoint | Planks have been on site and are acclimated?
| checkpoint | Direction of planks shown on plan?
| checkpoint | More than standard prep required? If yes, notify Jay with images and scope, wait for approval
| checkpoint | Moisture test done prior to installation?
7f727ba6-ad83-5f8c-b326-df38d076c58f | note | x 2 Picture
| checkpoint | Windows with direct sunlight blocked
0482f83f-0175-5360-8071-33982a0e6355 | note | x 2 Picture
| checkpoint | 68T used 1.5m from splashzone (sink etc)
| checkpoint | At-risk surfaces protected?
e9cc9646-dd38-50c3-98cf-0c72755a42bf | note | x 2 Picture
| checkpoint | Installation complete with no damage?
8848a6c4-3d00-502c-bbea-dcebbe6b127e | note | x 2 Pictures min
| checkpoint | Walked all areas, checked for gapping, lifting, excess glue on boards and skirtings and all ok?
| checkpoint | Opened boxes left on site and unopened returned?
| checklist | Incident Report |  | Incident Report | 1312e812-7d3f-46dc-9884-d372b37c858d
| section | Details
| checkpoint-no-value | Project name or location
4144a973-eacb-570e-9f02-08ff3f96392b | textbox
| checkpoint-no-value | Date & Time of Incident
69481eeb-2214-509c-8bf9-a3a1dd6fbb13 | textbox | Date & Time
| checkpoint-no-value | Reported by
26872896-33b8-5204-b423-01e1caa6177e | textbox | Name & Surname
| checkpoint-no-value | Reported to
7f1583e7-c437-5909-89c8-da5342eda19c | textbox | Name & Surname
| checkpoint-no-value | Incident Type
332bcbd7-4854-5d0b-b51b-f7991ef76d24 | textbox
6c81a22a-4a93-54a5-bf5a-4d55ba59552f | note | Add Picture
| checkpoint-no-value | Details of incident (Injuries)
| checkpoint-no-value | Person involved
c55eb6e2-65e6-553d-a6a0-41dd9588b7fb | textbox | Name & Surname
3f50c281-edfd-5e5f-89f5-80b2ed215215 | textbox | Contact details
| checkpoint-no-value | Details of witness
bf50962a-5bd5-544d-986c-46f95093c60b | textbox | Name & Surname
8f58a340-87ae-5cd7-b344-90eaf12008fa | textbox | Contact details
| checkpoint-no-value | Manager Remarks - Actions and Follow up
c96eb7ae-b800-56e2-a0a7-5334baf32cfe | textbox
| signoff | Review and signoff by Supervisor / Manager
| checklist | Project Stock Control |  | Project Stock Control | e70ad19e-31ea-45be-a4ac-d31bb27a96dc
| section | Details
| checkpoint-no-value | General Details
f4296876-bf31-527b-9544-50e63324f3a6 | textbox | Project name
2faeb6c9-de03-52a1-9b5f-f22eb504c032 | textbox | Job number
9bcb2867-8067-53b0-812d-32d9b03c6f98 | textbox | Product Manufacturer
6bc69c41-4f6a-5470-b1bd-1111d5ac17ae | textbox | Product Range
894164a3-4b4c-5b7c-ab89-2447a10e3402 | textbox | Product colour(s)
| checkpoint | Quantity Received from suppliers
ab01efc2-335f-5757-bce4-2e6695102e89 | textbox | Boxes
c0a5cf00-ecf7-5cb6-931f-a05cc3de1b8f | textbox | Square Metre Per/Box
2f7039b9-4d4b-533f-bfbe-8021acdcc4e5 | textbox | Square Metre Per/Roll
| checkpoint-no-value | Stock issued out to installer - 1
74e0ab65-d1bb-59d9-abda-a2f7721b9fce | textbox | Colour/Range
072074ca-c9ae-51a0-90f4-2d05eabe8c51 | date | Date
a5f2ca50-3563-5a89-a5bf-5ef829af3bf6 | textbox | Quantity
3a980a47-afaa-5e50-9ff9-d52b4f4ea62e | textbox | Balance left
| signoff | SIGN HERE
| checkpoint-no-value | Stock issued out to installer - 2
95ec445e-dc8d-5061-8c8c-cc52bdfe00da | textbox | Colour/Range
cc610b6f-0002-5374-af9c-b4b8a5ae6ae0 | date | Date
612545fa-b2f3-54ff-8073-a11cfe7eac24 | textbox | Quantity
33241603-cde1-5a68-b9f2-8a38f2dc48de | textbox | Balance left
| signoff | SIGN HERE
| checkpoint-no-value | Stock issued out to installer - 3
21e2f9ca-484d-51b8-8131-3733cda4a99c | textbox | Colour/Range
53c0366a-cd3b-5ece-9057-e22862cc6bd2 | date | Date
e774cc48-5977-5303-8d1d-ea2a7bfcf892 | textbox | Quantity
f4147c8d-9ab5-5cf0-af7e-d9610bfaeffb | textbox | Balance left
| signoff | SIGN HERE
| checkpoint-no-value | Stock issued out to installer - 4
8760df6b-d301-5428-ba2a-d17c99742643 | textbox | Colour/Range
72a9dbca-0fc1-52bf-ae64-08e84214347c | date | Date
30a7be37-a74a-55a5-8151-8c90f9835279 | textbox | Quantity
788264e1-917b-5ee3-bcdc-cf728c68fef0 | textbox | Balance left
| signoff | SIGN HERE
| checkpoint-no-value | Stock issued out to installer - 5
fcb07b5b-2ae7-5da6-8296-6324019e3e59 | textbox | Colour/Range
bcc5e07c-c92c-5eaa-a1e1-0db62f781efc | date | Date
78c0bddb-5ce4-5f21-8fef-58a7384db2c2 | textbox | Quantity
7765ce0a-03c7-50cf-8867-900ecbac77b8 | textbox | Balance left
| signoff | SIGN HERE
| checkpoint-no-value | Julius Remarks
412256a0-699c-5a93-be0f-a6d667cb8bad | textbox | Remarks
| checkpoint | Any material returned upon completion?
a261d881-b680-52c9-8ca4-f172c973e2e0 | textbox
| checkpoint | Signoff
| signoff | Review and signoff by Manager upon completion of project
| checklist | Timber Installation |  | Timber Installation | 682c2d6e-18ad-4071-974c-a13d5e2c7239
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Moisture test done prior to installation?
| checkpoint | Floor prep assessed and deviation less than 3mm over 3m?
| checkpoint | V2 notch trowel used for underlay to substrate?
| checkpoint | Underlay installed and rolled?
| checkpoint | 5mm notch trowel used for installation of timber?
| checkpoint | Timber direction been approved?
| checkpoint | Undercut doors and joinery?
| checkpoint | Expansion gaps as per installation manual?
| checkpoint | Timber weighted down during installation?
| checkpoint | All transition trims installed?
| checkpoint | Area dust free and all rubbish removed?
| checkpoint | No damage to joinery, skirtings or walls?
| checkpoint | Has the floor been protected?
| checkpoint | Installation complete with no damage?
| signoff | Please signoff / request sign off
| checklist | Toolbox Talk - Site-Specific |  | Toolbox Talk - Site-Specific | 296f261b-524d-447e-86c8-19863a2500c1
| section | Details
| checkpoint-no-value | General Details
e8b22717-3746-5b67-85d1-4d5a66e99b8d | textbox | Project name or location
c44fcb72-ef9b-5826-ae97-018a406405f2 | date | Conducted on Date
5fa35a35-ab82-530c-93d5-eab7a431ee08 | textbox | Who is running this meeting?
| checkpoint-no-value | Toolbox Topic
7c59a214-cd6a-5932-9e59-efa0dc8868a2 | textbox | Description
d31fa13c-6650-5b8b-8f7e-b3c0f5dd342e | textbox | Actions
| checkpoint-no-value | Issues raised from site?
4eb33881-f857-5380-92f6-90e71e95bd1a | textbox | Description
88a62530-f668-5693-948c-75f883c5e157 | textbox | Actions
| checkpoint-no-value | Employee raised issues?
26081100-cbce-5617-9dc9-020017180893 | textbox | Description
48e876d8-f427-5b89-acb6-c80c355a4371 | textbox | Actions
| checkpoint-no-value | Incident or Injuries
159c4d5e-ed73-53a2-8c6d-787af98d5fe4 | button | Any Incident or Injuries to report | Yes, No
41d3f0a5-4d72-50a3-995a-edd4d477f923 | textbox | Description
949ebb50-c9d0-5ac2-9614-4bbc22c2a62e | textbox | Actions
| checkpoint-no-value | Hazards
61facd37-3d53-573a-bccb-ece106fe098d | button | Any Hazards to report (Dangerous activity or condition) | Yes, No
266f98cd-4e14-5841-847d-554587e0c20b | textbox | Description
7f94b49c-dce3-523c-b637-da01c6ee94d2 | textbox | Reported to
| checkpoint-no-value | Risks
9f3dd917-6244-512a-8e31-052bc7c067c1 | button | Any Risk to report (Possibility of something bad happening) | Yes, No
8f08b828-7308-5c28-b918-e54284ea64cd | textbox | Description
5af006b9-361d-5e07-a3c9-3ba22ec47e39 | textbox | Reported to
| checkpoint | PPE - Personal Protective Equipment - Correct and in good condition ?
aed05275-254d-5edb-98bb-8d4bec48b80e | tickbox | Inspected
| checkpoint | Positive safe-action observations
33250962-a2fa-5ca8-9c10-1c30404d9a2b | textbox | Observations
| checkpoint | Attendance Record
| signoff | Each attendee to click here to signoff
| checkpoint | Supervisor / Manager remarks and signoff
36037859-0a40-5cdc-bfb4-646498cbb6a9 | textbox | Manager's remarks
| signoff | Review and signoff by Supervisor / Manager
ac1642b6-f1a4-48f5-bc7c-39f73808cfa9 | checklist | Vehicle Inspection |  | Vehicle Inspection | d559a00f-aae6-494c-941d-3ef20eb3acf7
ea515c1e-08fe-4772-88d1-9ecec7869177 | section | Details
39e3f7f8-3c6a-4210-923a-ddccd0162865 | checkpoint | Date - Capture text
ca54b560-e669-43a1-83f0-37254419104a | checkpoint | Driver - Capture text
02f65968-31de-4485-8484-60d0be3bfd6e | checkpoint | Current Odometer reading - Capture text and photo
1ac7ffc2-3503-4e79-b26e-29a1935ba882 | checkpoint | RUC Current KM - Capture text and photo
3566f9f1-349d-4791-b1de-2f687115c26e | checkpoint | WOF Due date - Capture text and photo
a0c3c649-a955-4743-acae-2a142a1cafb2 | checkpoint | Last Service date - Capture text and photo
8b445e72-f416-4905-9312-899c05bdf2fe | checkpoint | Last Service Km - Capture text and photo
b661eca7-c917-46db-b8d1-70d77203ffd0 | checkpoint | Mirrors Clean and no visiable damages
f86ba463-3e02-4c00-92c1-be3a650b47cd | checkpoint | Tyres have adequate Thread - min 2mm
7293250b-6eae-472b-ba58-6e2b61b9234c | checkpoint | Check Oil and Water
21e0e442-78d7-460d-adb8-48d3db2951c8 | checkpoint | Headlights and Indicators working?
edc59fcd-b8fa-4335-9c6a-f4c4cc1d5368 | checkpoint | Break and Tail lights Working?
827b814b-b1c3-4930-bbe9-d7210386e20a | checkpoint | Windcsreen no cracks and chips?
700033f7-5e62-4c06-9e08-49b44acf5d87 | checkpoint | Body of vehicle need repairs? - Take Pic all 4 sides
5ffdaa45-d2d9-4b74-bb6e-b9f24358238f | checkpoint | Vechicle clean? - Take 3 Pictures of inside.
ce606c3b-ce87-4785-85ac-962ec5545db9 | checkpoint | Medical kit in vehicle?
| checklist | Wall Vinyl / Cove / Splashback |  | Wall Vinyl / Cove / Splashback | 523e1ce1-cdf0-4386-8398-ade0c8205aa0
| checkpoint | Substrate clean and approved for installation?
| checkpoint | Installation complete with no damage to joinery, skirtings or walls?
| checkpoint | Cove height confirmed, and capping installed?
| checkpoint | All areas welded?
| checkpoint | No excess glue on vinyl surface?
| checkpoint | All transition trims installed?
| checkpoint | Area dust free and all rubbish removed?
| checkpoint | Installation complete with no damage to joinery, skirtings or walls?
| signoff | Please signoff / request sign off by Site Manager