## Resources
Id | Type | Name | Values | Prompting Name | Resource Id
| checklist | Suspended Copper Works Checklist |  | Suspended Copper Works Checklist | 02c364fb-827d-4aa6-90c7-e24809e719da
| checkpoint | Pipework installed - domestic hot/cold/rain water
| checkpoint | Smoke seal penetrations
| checkpoint | Tested
| checkpoint | Fire rated if necessary
| checklist | Vents Checklist |  | Vents Checklist | 03926572-71f6-4f4d-b7cc-e4f6e48ce11b
| checkpoint | Vents installed
| checkpoint | Smoke sealed
| checkpoint | Fire rated
| checkpoint | Tested
| checklist | Add Daily Site Diary Checklist |  | Daily Site Diary | 1abf13fe-13eb-4cd0-ad94-fac0bccdd561
| checkpoint | Attach relevant photos and documents
a0aa1e95-7be9-5273-93ad-0a4cdb5a0105 | textbox | Time on Site
6e01c180-492e-5bc1-846e-44c9ec3ba0fd | textbox | Time off site
cc06bdd5-5b85-5a28-9e44-ff5e9b91bfc9 | textbox | Vehicles
fb855924-f052-5943-a728-9d0aa7209e7e | textbox | Plant
3d411984-77f6-511c-bd18-d4e2cb7af5bc | textbox | Ryder Plumbing Staff Onsite (list names)
| checkpoint | Traffic Control
4282f31f-2616-5e84-98b3-dea740c5204f | textbox | Number of Controllers
6af20406-29c6-5820-bfd8-6f6b179ae183 | textbox | Time on Site
e8432972-8cd3-58b5-b2a0-6a8e47ff03a3 | textbox | Time off site
c6b2d807-6078-5bf0-a611-6fa603d8b934 | textbox | Deliveries / Sub Contractors:
| checkpoint | Works Completed
| checkpoint | Incomplete Works (add details in comments)
| signoff | Signed off by Ryder Plumbing
| checklist | Add Toolbox Meeting Checklist |  | Toolbox Meeting Checklist | 1bb62f7a-43e2-4870-a1f7-7f3de8547e92
| section | Attendance
| checkpoint | Attendance - list of attendees added below
| checkpoint | Apologies - list of non-attendees added below
| section | Minutes
| checkpoint | Actions from last meeting
| checkpoint | Administration
| checkpoint | HR
9ceb5fa4-0e85-51f5-aa2f-21a56b40f49f | note | e.g - Site recognition, any HR issues?
| checkpoint | Safety: (including hazards / near misses / controls / site specific)
| checkpoint | Environment: (including hazards / controls / incidents / impacts)
| checkpoint | Training
de149223-7ce3-5a55-b99d-c6266f490d80 | note | Competency Assessment Guides (Apprentices) if applicable – are they up to date?
| checkpoint | Plant & Equipment
| checkpoint | Issues & Customer Feedback
| checkpoint | Client/Job specific information:
| checkpoint | Memo’s and other office correspondence
| section | Document Review
| checkpoint | Document uploaded below if applicable
| section | New Business / Other
| checkpoint | Any new business / other comments added below
| section | Meeting Closure
| checkpoint | Meeting Closed
d622f4e7-c56f-582d-9f5c-3816909456e2 | textbox | Meeting Closed time
f8ce80a0-9375-5798-9154-bdc82658c1c6 | textbox | Date for next meeting
11483643-0507-56a9-a277-96e66fd241f1 | textbox | Minutes taken by (Name)
| checklist | Levels Suspended Drainage Checklist |  | Levels Suspended Drainage Checklist | 228e544b-eb1a-4e26-aa52-4e41f71ed56b
| checkpoint | Pipework, material and fittings installed as per approved IFC Drawing. Includes female/male/DDA bathroom, kitchen
| checkpoint | Pipework installation
| checkpoint | Ensure acoustic lagging is installed if required to specification & acoustic engineers report.
| checkpoint | Smoke seal penetrations
| checkpoint | Fire collars installed if necessary
| checklist | Gas Works Checklist |  | Gas Works Checklist | 24db791a-452d-4138-930b-f6343a3efe51
| checkpoint | Gas Meter set up (Ground floor only)
| checkpoint | Gas Riser room pipe installation
| checkpoint | Pipe anchor/slide guides
| checkpoint | Smoke sealed
| checkpoint | Gas tested
| checkpoint | Fire rated
| checklist | Suspended Stormwater Drainage Checklist |  | Suspended Stormwater Drainage Checklist | 3370ec08-5b8e-4b2c-af79-e85201bfc215
| checkpoint | Pipework, material and fittings installed as per approved IFC Drawing
| checkpoint | Pipework installation
| checkpoint | Ensure acoustic lagging is installed if required to specification & acoustic engineers report.
| checkpoint | Smoke seal penetrations
| checkpoint | Fire collars installed if necessary
| checklist | Big Ticket Items (In Ground) |  | Big Ticket Items (In Ground) | 3ce1ceab-1ba9-46a1-bf3d-213f99abc24e
| checkpoint | Sewer pump well
| checkpoint | Storwater pump well
| checkpoint | Stormwater pits
| checkpoint | Grease interceptor trap
| checkpoint | Conduits rain to IFC location
| checkpoint | Torpedo tanks
| checkpoint | Stormwater detention system
| checkpoint | LPOD
| checkpoint | Water tap in
| checklist | Apartment Fit Off Checklist |  | Apartment Fit Off Checklist | 478294d8-e82e-4847-99cf-aa4b0ebe9adb
| section | Laundry Fit Off
| checkpoint | Laundry Trough
| checkpoint | Laundry Trough Mixer
| checkpoint | Laundry Trough Mini Stops
| checkpoint | Laundry Trough Waste
| checkpoint | Floor wastes - cleared of blockages
| section | Kitchen Fit Off
| checkpoint | Kitchen Mini Stops
| checkpoint | Kitchen Sink Waste
| checkpoint | Kitchen Sink Mixer
| checkpoint | Kitchen Dishwasher
| checkpoint | Kitchen Cooktop
| section | Bathroom Fit Off
| checkpoint | Bathroom Shower Mixer
| checkpoint | Bathroom Shower Rail/Rose
| checkpoint | Bathroom Basin
| checkpoint | Bathroom Basin Mixer
| checkpoint | Bathroom Bottle Trap
| checkpoint | Bathroom Toilet
| checkpoint | Bathroom Urinal
| checkpoint | Floor wastes - cleared of blockages
| checklist | In-Ground Pits/Pumps/Tanks Checklist |  | In-Ground Pits/Pumps/Tanks Checklist | 51bbd27c-14f5-4318-9c19-327f9a242b36
| checkpoint | Sewer pump well
| checkpoint | Storwater pump well
| checkpoint | Stormwater pits
| checkpoint | Grease interceptor trap
| checkpoint | Conduits rain to IFC location
| checkpoint | Torpedo tanks
| checkpoint | Stormwater detention system
| checklist | Corridor Checklist |  | Corridor Checklist | 56354979-bd00-4144-8436-cc9a00faf55e
| checkpoint | Rainwater
| checkpoint | Hot Water
| checkpoint | Hot Water Lagged
| checkpoint | Cold Water
| checkpoint | Test Hot Water
| checkpoint | Test Cold Water
| checkpoint | Test Rain Water
| checkpoint | Fire Caulking (Corridor to Apt)
| checkpoint | Cold Water Meter Manifold
| checklist | Commissioning Checklist |  | Commissioning Checklist | 56b1261f-6e19-4a1a-851b-9fd7c109cb4a
| checkpoint | Includes female/male/DDA bathroom, kitchen
| checkpoint | Test Hot Water Temperature
| checkpoint | Test Waste for leaks
| checkpoint | Run Cycle on Dishwasher
| checklist | Storm Water Grates Checklist |  | Storm Water Grates Checklist | 58cf4591-0959-4699-a1c4-f7551479bc74
| checkpoint | Grates installed
| checkpoint | Smoke sealed
| checkpoint | Fire rated
| checkpoint | Tested
| checklist | Apartment Suspended Drainage Checklist |  | Apartment Suspended Drainage Checklist | 61697c56-9909-4c35-b622-54d01b4f6fef
| checkpoint | Pipework, material and fittings installed as per approved IFC Drawing. Includes bathroom, bathroom ensuite, kitchen, laundry
| checkpoint | Pipework installation
| checkpoint | Ensure acoustic lagging is installed if required to specification & acoustic engineers report.
| checkpoint | Smoke seal penetrations
| checkpoint | Fire collars installed if necessary
| checklist | Basement Pumps/Tanks/Booster Pump Checklist |  | Basement Pumps/Tanks/Booster Pump Checklist | 6bffc638-3b1f-46eb-8efa-e1ba7d5fb1e0
| checkpoint | Domestic cold water booster pump
| checkpoint | Domestic cold water break tank
| checkpoint | Rainwater pump set
| checkpoint | Rainwater tanks
| checkpoint | Sewer pump board installed
| checkpoint | Stormwater pump board installed
| checkpoint | Suspended Pollutant trap
| checkpoint | Diversion valve
| checkpoint | OSD tank (if applicable)
| checkpoint | Smoke sealed
| checkpoint | Tested
| checkpoint | Fire rated if necessary
| checkpoint | Water meter assembly
| checklist | Rough In Checklist |  | Rough In Checklist | 8a772aad-ddc4-4a7f-ad71-7cdba9041ef4
| checkpoint | For apartments includes bathroom, bathroom ensuite, kitchen, laundry
| checkpoint | For other areas includes female/male/DDA bathroom, kitchen
| checkpoint | High Level Rough In
| checkpoint | Wall Set Out
| checkpoint | Wall Rough In
| checkpoint | Waste Rollovers
| checkpoint | Gas
| checkpoint | Test Water
| checkpoint | Fire collar installed if necessary
| checklist | Hot Water Unit Checklist |  | Hot Water Unit Checklist | 9434b8a4-0189-418c-9223-0de3d5361dfe
| checkpoint | Hot water unit installation
| checkpoint | Copper works installation
| checkpoint | Smoke sealed
| checkpoint | Fire rated
| checkpoint | Tested
| checklist | Suspended Sewer Drainage Checklist |  | Suspended Sewer Drainage Checklist | aba04560-eecd-4e5c-bc02-967843d8a3ef
| checkpoint | Pipework, material and fittings installed as per approved IFC Drawing
| checkpoint | Pipework installation
| checkpoint | Ensure acoustic lagging is installed if required to specification & acoustic engineers report.
| checkpoint | Smoke seal penetrations
| checkpoint | Fire collars installed if necessary
| checkpoint | Test sewer
| checklist | In-Ground Sewer Drainage Checklist |  | In-Ground Sewer Drainage Checklist | ac61f013-1701-4f16-ba7a-7d645a9cc330
| checkpoint | Pipework, material and fittings installed as per approved IFC Drawing
| checkpoint | Pipework installation
| checkpoint | Pipework checked for correct invert levels & gradients
| checkpoint | Book inspection with VBA for in-ground drainage.
| checkpoint | Ensure all backfill is in accordance to specifications & compaction requirements.
| checkpoint | Test sewer
| checklist | Other Areas Fit Off Checklist |  | Other Areas Fit Off Checklist | c4fc7e1f-631a-4da9-9cf2-82e865c54ec6
| section | Kitchen/Butler's Pantry Fit Off
| checkpoint | Kitchen Mini Stops
| checkpoint | Kitchen Sink Waste
| checkpoint | Kitchen Sink Mixer
| checkpoint | Kitchen Dishwasher
| checkpoint | Kitchen Cooktop
| section | Female Bathroom Fit Off
| checkpoint | Bathroom Shower Mixer
| checkpoint | Bathroom Shower Rail/Rose
| checkpoint | Bathroom Basin
| checkpoint | Bathroom Basin Mixer
| checkpoint | Bathroom Bottle Trap
| checkpoint | Bathroom Toilet
| checkpoint | Bathroom Urinal
| checkpoint | Floor wastes - cleared of blockages
| section | Male Bathroom Fit Off
| checkpoint | Bathroom Shower Mixer
| checkpoint | Bathroom Shower Rail/Rose
| checkpoint | Bathroom Basin
| checkpoint | Bathroom Basin Mixer
| checkpoint | Bathroom Bottle Trap
| checkpoint | Bathroom Toilet
| checkpoint | Bathroom Urinal
| checkpoint | Floor wastes - cleared of blockages
| section | DDA Bathroom Fit Off
| checkpoint | Bathroom Shower Mixer
| checkpoint | Bathroom Shower Rail/Rose
| checkpoint | Bathroom Basin
| checkpoint | Bathroom Basin Mixer
| checkpoint | Bathroom Bottle Trap
| checkpoint | Bathroom Toilet
| checkpoint | Bathroom Urinal
| checkpoint | Floor wastes - cleared of blockages
| checklist | Other Areas Suspended Drainage Checklist |  | Other Areas Suspended Drainage Checklist | db161eb0-8c19-43a4-9ee5-03d1ca472add
| checkpoint | Pipework, material and fittings installed as per approved IFC Drawing.
| checkpoint | Pipework installation
| checkpoint | Ensure acoustic lagging is installed if required to specification & acoustic engineers report.
| checkpoint | Smoke seal penetrations
| checkpoint | Fire collars installed if necessary
| checklist | Penetrations Checklist |  | Penetrations Checklist | ec8c3c5d-0ff4-4842-b526-a00a44f6acb4
| checkpoint | All works to be set our as per approved IFC drawings.
| checkpoint | Fire collar installation
| checkpoint | Cast in drains
| checkpoint | Photos of collar end labelling referencing fire matrix if required
| checklist | Add Day Docket Checklist |  | Day Docket | f523537e-0594-46ec-9067-4c64988d6356
| checkpoint | Details added below
076ea351-ee99-52b1-bc88-fa1da0cd5568 | textbox | Work completed
86263006-2daf-508f-a03d-0e3325378d83 | textbox | Materials required
56694a2f-e40d-58de-8621-8e9907dd9780 | textbox | Staff
b98285a1-97f5-546b-a501-bd1a018c0425 | dropdown | Hours | 1, 2, 3, 4, 5, 6, 7, 8
| checkpoint | Signed off by Ryder Plumbing
| signoff | Signed off by Builder
| checklist | In-Ground Stormwater Drainage Checklist |  | In-Ground Stormwater Drainage Checklist | f93b1711-ddab-4261-954e-961a3d6644c3
| checkpoint | Pipework, material and fittings installed as per approved IFC Drawing
| checkpoint | Pipework installation
| checkpoint | Pipework checked for correct invert levels & gradients
| checkpoint | Pits checked for correct invert levels & finished floor levels
| checkpoint | Ensure correct locations of pits.
| checkpoint | Ensure all backfill is in accordance to specifications & compaction requirements.