## Resources
Id | Type | Name | Values | Prompting Name | Resource Id
a5990fce-05e4-43d1-8601-8c857b3fc7f1 | checklist | Commercial Projects Checklist V6 |  | Commercial Projects Checklist V6 | 34a81df4-ca65-4016-80b0-12df4c6d0694
ade23488-c9ad-40be-937f-b8dac3cce2c1 | section | Reo
9e24e70c-2ddb-4401-a31d-af8fe95c910d | checkpoint | IFC Drawing
05a7beef-aeff-532f-807e-ff09ac771fc8 | dropdown | Steel Supplier | Mesh & Bar, Other
43945e28-cee7-5c0a-a7f8-db9bc503a5d0 | textbox | Other Steel Supplier
1cbf103f-bfe9-5a32-b878-53fe9cff3dc4 | date | Reo Manufacture date DD/MM/YY
ad908bab-947d-4e4a-b454-53b72f387844 | checkpoint | Cage dimensions
118de3ec-02df-470c-a0fa-31bf75787d09 | checkpoint | Fittings marked
46983fda-4e0d-42aa-bf35-65e5b87d54c8 | section | Formwork
6ff0d529-7c34-4a57-b488-33e6f768005c | checkpoint | Formwork ready to commence - Take photos
c4f2563b-d731-5e2a-a2e8-3abae7df61e6 | dropdown | Panel type | Wall, Column, Balustrade, Core panel, Hob, Lid, Other
bcac9d04-bfa5-5c30-a2d5-cca6b1f46af2 | textbox | Other Panel type
0459f7f9-b642-5df8-a2d7-0fc7d5404fce | textbox | Panel difficulty
cea72a0e-913a-5029-94e4-e17442a0a177 | textbox | Other Location
05a89ce6-a5b1-5822-a79e-da489c4b3f51 | textbox | Quantity
4ccd9b66-45c0-5d2f-bbab-b426c05b27d9 | textbox | Panel Weight (t)
24745ad5-f360-56b3-a29c-c9b1e1421a5e | textbox | Volume (m3)
2664a32b-93cf-5331-a1f3-9ff4a8ca9147 | date | Manufacture date DD/MM/YY
38340548-2525-4b09-b9e2-f492104d1b62 | checkpoint | Formwork dimensions
a408c406-798f-54e4-b6e0-e0e3ae194846 | textbox | Panel thickness
44b635cf-c993-5fdc-b85e-c36041da2c13 | textbox | Thickness projection
999e9803-9c31-5873-b8c4-a38db0e905fb | textbox | Panel width
61a56481-48af-5a94-908d-b5544819441b | textbox | Width projection
2a5d52c4-3f83-58ca-8ad2-3025e06e346e | textbox | Panel height
ff177e46-4a81-5184-ac41-d35f6454779d | textbox | Height projection
3532d561-bcad-43de-ae1c-95de542b20a3 | checkpoint | Square
1dff8cf7-71d6-45a3-bb38-f798f12523cf | checkpoint | Silicone Bed
4bc40577-7df4-4eb7-b100-14f9f83193d9 | checkpoint | Edge Form/ Fillets
52ce23ae-a4fc-4882-be9f-abf77ec80ce8 | checkpoint | Position of reinforcement
8ff2da26-78ab-490d-aa79-5cca9599ab50 | checkpoint | Fittings locations
50daf40e-6267-4c33-b81f-8689ebeb4ffe | checkpoint | ID Tag
ae18694f-5f71-45f7-ad01-85d4565a1881 | checkpoint | Lifting devices securely/in place
214a518c-6945-5b0d-bf46-25f6e6aad3ff | dropdown | Top Lifters type | PSA liftMX 10t, PSA liftMX 15t, PSA liftMX 8t, PSA Foot Anchor 2.5t, 2.5t Actech, M20 Prop ferrules, Eye anchor 2.5, None, Other
ad2cbaaf-7f56-5068-a9bd-33d6cfdb7a73 | textbox | Other Top Lifters type
5656b440-59ec-5afe-be8f-6af0333273a2 | dropdown | Edge/Face Lifters type | PSA liftMX 10t, PSA liftMX 15t, Foot Anchor 5t, Foot Anchor 2.5t, Face lifter 7t PSA LiftMX, M20 ferrules, None, Other
b9b33fc0-ee3f-5c6e-a82f-151dac89bfda | textbox | Other Edge/Face Lifters type
01792e56-4f2d-4ef3-859f-315a3b7c393f | checkpoint | Ready to pour- Take photo of QA drawing
61d57e6d-8ce9-5ecd-bf6a-86ca48949f60 | textbox | Notes/Changes
784da956-d010-4e63-bd55-c56743487e5c | checkpoint-no-value | Drafting
9e55b8a1-fae5-5fc1-8a50-fd68758546a9 | tickbox | Missing information
065303c2-bc87-54e6-9766-0c1f3069bb3f | tickbox | Inconsistent information
b3d1758f-42f9-5ace-9d27-d2204f83ad5c | tickbox | Wrong information
917ada52-8fe8-56e5-853d-d5fdd8e0d3ab | tickbox | Versions
300dd51f-6189-4383-bcac-772c6febfa10 | checkpoint-no-value | Boxing
d13e2848-f94d-5646-9200-8066d4c2988a | tickbox | Squareness
05a1fe8c-336f-5610-8a19-55efd4671c3c | tickbox | dimensions
1a71f4ee-ae69-5e5f-a605-2b11e826efce | tickbox | Rebate
c9a88995-fcc1-5ea7-a036-a8c512121d1e | tickbox | GT
8c3f10d8-c0bc-56c8-baff-0a49ae69f0ca | tickbox | Panel Orientation
2883e29e-8ec6-5bfc-bc53-258c5eccf38b | tickbox | Fitments
1d5a49a5-0d92-5360-b671-006b4e7d9fd0 | tickbox | Tag
584fc8ea-ba4c-4625-a4ec-223cdfd89a93 | checkpoint-no-value | Steel
341480b3-a362-556c-b33b-5f4b22849a3c | tickbox | Cover
352b0b51-b5b3-5172-ae53-36047a3a6d6c | tickbox | Missing bars
a6468304-5f9f-5ead-8102-b7f0b1d328c3 | tickbox | Wrong bars
83ce4046-2206-51b1-b255-63be36faebdb | tickbox | Wrong configuration
7be13975-944f-5995-b774-76ec29f25c84 | tickbox | Orientation
fff3ebff-6278-5933-b537-54973861a15a | tickbox | Wrong projection/ embedment
fb59cf03-fc8f-4bb8-a54f-15eb2a870cfe | section | Pre Pouring
2f6ff747-4021-47b8-af0a-ac6c54988fa4 | checkpoint | Take a picture or attach copy of concrete doc
2c0942d6-7c6a-5ba8-be65-589068fa507c | dropdown | Concrete Supplier | Ausmix, Hy-Tec, Other
1a2dc2ae-b6e2-59c3-884b-713bb6de7e15 | textbox | Other Concrete Supplier
a9fde66d-25df-5d9f-ae1e-f6bc2ed535c2 | textbox | Concrete schedule docket #
ea0f0e05-fcaf-5001-82c5-6dad1666ff14 | date | Pouring date DD/MM/YY
db490cbe-7d57-5195-bcef-f4d91b90054c | textbox | Concrete Requisition (m3)
e00f116a-5053-4d48-8120-f6b0995e9056 | checkpoint | Correct mix being used
4a4befe9-80a7-5781-ac1c-413aaeda7cbd | dropdown | 28 Mpa required | 40,50,65,80,90,100, Other
ae407ec6-ab4f-5d5d-888f-22581a5bb87e | textbox | Other Mpa required
5f85de56-f257-5475-be71-2cd54e36981d | dropdown | Type of concrete | 40/10/650, 40/10/220,40/20/200, 40/20/220, 50/10/650, 50/20/200,65/10/600, 65/10/650,65/10/200, 65/20/180, 65/20/220, 80/10/650, 80/10/200,80/10/600, 90/20/200, 100/10/600, Other
0db6f9b5-1b7f-54f2-9a8a-5d77faa48e93 | textbox | Other Type of concrete
d5c8c243-2d26-5662-901b-e023fa0a76bc | button | Concrete strength tested | Yes, No
ea6759b3-0b24-444f-b4f4-0812c900c504 | checkpoint | Concrete
b514966e-f316-53e4-bc19-a9bb396f1e14 | tickbox | Poured with lower Mpa
b33c5783-a519-48e1-afe3-1bb2ff485746 | section | Post Production
3942755c-6d05-41d0-95d5-67aa560ab152 | checkpoint | Post Production ready to commence - Lifting Mpa
c8fe346b-8f7b-5289-97b8-3a52923ade8a | date | Date panel stripped
4fa0a484-655e-408b-bc24-36cdd86a8f89 | checkpoint | Fitments removed (GT Caps, fillets, Ferrule caps)
8342b4a1-eaf6-4d00-b160-880f98b89ede | checkpoint | Correct dimensions
9839b8bf-3946-4e23-b7ce-57c8dc26ae0e | checkpoint | Bulges, Dents and airholes within tolerances
41000bd9-2f40-4a7b-aa91-acce0205b3fd | checkpoint | Cracks within tolerances
de1a4fa0-e190-4a61-a15f-408c60b38c77 | checkpoint | Marking
c579c402-494f-46a5-af4f-7e16d48ae95c | checkpoint | Panel conform to specifications/ tolerances
a2fa3b2e-a546-5457-980f-841ebd3093d2 | textbox | Patching/fixing required
554c8887-6faa-4d97-a4d9-58bd45ef0e10 | checkpoint | Post production
9f228e2d-cd3c-5d26-8016-24e230b2e41b | tickbox | Patching required
cf8ad247-da0a-4f36-87a2-5c7d7ddb9446 | checkpoint-no-value | On site
537e0ec7-18a1-5df7-9d60-ae33ed2345f9 | tickbox | Squareness
03b52284-7153-54c4-844c-23cbc2abff29 | tickbox | dimensions
e30c4828-511e-5dad-b036-9caeda53b8dd | tickbox | Rebate
f163eef2-4747-5b28-b75d-8ff1590c8075 | tickbox | GT
92ad08c1-236e-51cc-a3e5-6c6f040725ea | tickbox | Fitments
d8fe8148-757a-570d-984b-cc655d33edc6 | tickbox | Tag
7a3e13e7-d110-50de-be07-7b8d5b6ab138 | tickbox | Reo
791f148f-c15c-4b3e-8710-c39710e5ed61 | section | Storage
50951618-e094-4e9d-a151-97535b438865 | checkpoint | Inserts/Rebates removed
dc13aa9d-57ef-42d0-a3d0-6d6b090d30a3 | checkpoint | Filling points/lifters exposed
438e943e-f226-581f-a0cf-3bd2131bb430 | dropdown | Location (Rack #) | 1,2,3,4,5,6,7,8,9,10,11,12,13,14,21,22,23,24,25,26,27,28,29,30,31,32,101,102,103,104,105,106,107,108,109,110,201,202,203,204,205,206,207,208,209,210,Other
25b45dbe-7f9f-56d9-bf9e-4fbf0412a932 | textbox | Other Location (Rack #)
b4b3125b-52a7-5930-a059-8f2758f22356 | button | Status | Delivered, Rack #
6cb409a9-7be1-40eb-b379-7306d4e0d5b7 | checklist | Installation Checklist |  | Installation Checklist | a05785a3-acb0-4f6c-afd0-29918e4802e4
9bbdcd5f-010a-4d67-975c-4e77dc99db53 | section | Inspection Date
5a4ceb71-fb60-457c-b6c4-e259ad5d786e | checkpoint | Inspection date:
3d0f8cf6-395e-53b0-a399-2e61b44f88c3 | date | Date:
d43020e3-87a8-4554-9eae-d311d3c485bd | section | Installation
7a8813f0-62e6-4583-88ec-8263b2c4e370 | checkpoint | Panel been installed in the correct location
731a2002-7529-4171-b418-8f577cde38b4 | checkpoint | Panel been installed vertically
b8c3c24e-ffbb-4980-aef3-82cbef896544 | checkpoint | Has the structure caused the panel to deflect from installed position?
11ff99f2-9dae-4fce-b59c-b1ec42a6222e | checkpoint-no-value | Notes
edd70cb7-63d0-5759-8216-c430516dbcb1 | textbox | Notes
0ff56f20-77ae-44bc-a58d-1b64e6ef070a | section | Propping
e9e735bc-59c4-4d9c-8544-738a9eb2e6ef | checkpoint | Structure reached engineers specified strength to remove props
8a04e5cf-0957-42a5-ae9c-87cbab656391 | checkpoint | Props removed
ad829f3a-ff8d-46e4-851f-0dd62ea4e845 | checkpoint-no-value | Notes
0c22b323-fe8d-5437-ae07-ebd5fe286b43 | textbox | Notes
c62d9f3e-236c-49ca-89e1-57c67ebb5924 | section | Grouting
3c451ae3-5535-426c-b56c-965997b0514c | checkpoint | Bedding grout completed
980ddf9e-65d1-401e-9bb0-63d2f3543181 | checkpoint | Dowel tubes grouted
c61e40f5-e51e-47ef-947b-552db896e441 | checkpoint-no-value | Notes
299ea7f0-4223-5cf1-a66d-3195d3887f1b | textbox | Notes
2dea9d88-67b0-47fc-8bf5-982e7e6cca18 | section | Patching
dbe7bfa9-0773-4395-a971-ed604ffdb382 | checkpoint | Patching required
1042d4ef-fc71-486d-a05b-93ce7897ab8a | checkpoint | Patching completed
eed03bc4-059e-435f-86ec-056b9ff7b985 | checkpoint | Lifters filled
381c4e98-6037-492a-a082-30acb9d2bc22 | checkpoint-no-value | Notes
e49458e5-8d72-5359-a9fa-f1ccb1cc8fa2 | textbox | Notes
a88ac973-94f5-456e-8c83-dfa9d8999768 | section | Sealing
9ce13515-a35b-4be9-a043-9dfefcbd6ae8 | checkpoint | External sealing complete
778f32b5-d5ab-4cf4-afb9-4addc622a6b9 | checkpoint | Internal sealing complete
dfc2d841-7b3a-4cf1-9dbb-ac3b8d1d7b0f | checkpoint | Lifters filled
30d8eb95-bfca-4f1a-b819-5bfca25f0660 | checkpoint-no-value | Notes
dfae6bdd-dbbb-539d-930c-037385baae1f | textbox | Notes
51f4eeb6-66b3-43db-8dc2-2f92f60bdacf | section | Non-conformities
1a2fbc97-2f60-47ac-9fdf-5bf0100a1e4a | checkpoint | Please attach any relevant photos or documents relating to non-conformities
2aa82c1b-7803-5eab-8f8c-f5b66771679a | tickbox | Squareness
a0954c40-000b-56a0-a96c-6d8c9bb760c2 | tickbox | Dimensions
2a8b8985-b0ec-5b1f-92aa-0c9bffb8f286 | tickbox | Rebate
34e708dc-bcb3-5ce7-8e92-8547387feb2c | tickbox | GT
0fa4d3ef-dda5-5111-959f-10c233e909e6 | tickbox | Fitments
277669e2-c3c8-50f4-a21d-837db0366b7e | tickbox | Tag
19c5df1f-21f1-557f-95ae-416a48ca5f33 | tickbox | Reo
ea43f650-103c-450c-80d3-b33f6dd8b738 | checkpoint-no-value | Notes
dd90e0e1-a3d7-5c93-9490-a34255f595a8 | textbox | Notes
fac56e07-eb22-4f96-8584-297a35825669 | checkpoint | LTE Rep
3868fa48-de06-48aa-a4ab-19ccd238bb88 | signoff | Holdpoint (Add Signature / Request Sign Off)
806bee79-3cb4-4c78-9d85-3f39355afe77 | checkpoint | Builders Rep
6926276a-e9f8-455c-a73a-8d31a4684c12 | signoff | Holdpoint (Add Signature / Request Sign Off)
2308f6a5-2a73-4b67-bd28-621223409d52 | checklist | Nonconformities |  | Nonconformities | b93e0318-bfd4-4903-9b68-fa7bfb690e88
4f22a3c4-9021-4324-8f02-9a71f1999834 | checkpoint | Please take photos & attach documents which relate to report
ada5a5f5-66e8-51c7-854d-bda83b34b7c2 | textbox | Description
9505a5f5-12d4-5b9e-8302-5341fb7ce650 | textbox | Corrective action
ee998658-9c7c-51b1-afbd-ebe11cabe781 | date | Completion date
13cb644b-cd7e-5274-a111-9b78ef910df7 | textbox | Responsibility