## Checklist Template Builder
Component | Name | Values
checklist | Fit-out - Bathroom
checkpoint | Postline checks – Checks walls are square and plumb
checkpoint | Check heights / placement of fittings and fixtures relative to bathroom setout plans
checkpoint | Stopping complete
checkpoint | Sealer coat installed to walls / first coat installed to ceilings
checkpoint | FLC / Screed compound if required (check door threshold / transition)
checkpoint | Shower base site measured / flood tested offsite post manufacture (QA required) / delivered and installed
checkpoint | Sealants installed
checkpoint | Waterproofing installed as per manufacturer system guidelines
checkpoint | Waterproofing QA
checkpoint | Flood test shower bases post waterproofing install
checkpoint | UFH test and QA (if applicable)
checkpoint | Tiling QA (check tile setout plan / grout lines relative to FFE)
checkpoint | Fittings and fixtures (towel rails / shower glass / accessories etc installed)
checkpoint | Additional notes / comments – Handover QA to second fix

## Template Components
checklist |  |  |  | This is where you specify the name of the checklist. It is a required field on all checklist templates
| section |  |  | This breaks your checklist up into collapsible sections. These are not necessary, but when used, each section must contain at least one checkpoint.
|  | checkpoint |  | This is a necessary component, all checklist templates must include at least one checkpoint. A checkpoint is where you can set the status, add comments and attach files.
|  | checkpoint-no-status |  | This can be used the same way as a checkpoint, the only difference is that it does not have a status attached. You might use this when you want to attach photos but not have them linked to a PASS/FAIL
All of the below datapoints must be attached to a checkpoint. You do this by simply making sure there is a checkpoint in your checklist template. The data point will then attach to the above checkpoint.
|  |  | button | You can set specific button values, of which only one can be selected at a time. Specify these in the 'values' column, separating each with a comma (e.g: 1, 2, 3)
|  |  | date | Provides a date input box with a calendar picker to select a date
|  |  | dropdown | This gives multiple specific answer types, of which only one (or none) can be selected at time. Specify these in the 'values' column, separating each with a comma (e.g: One, Two, Three)
|  |  | signoff | This prompts for a signature to be added, either on site, or a digital request for a signature to be sent via email to someone off site. If required these can be made mandatory.
|  |  | label | This is a text label that shows under the parent checkpoint
|  |  | number | A short text field allowing for only numerical input
|  |  | radio | You can set specific response values, of which only one can be selected at a time. Specify these in the 'values' column, separating each with a comma (e.g: A, B, C)
|  |  | note | A free text input field that allows users to write notes and add comments to the above checkpoint
|  |  | tickbox | Add a single check box that can be checked or left empty

## Sheet1
Postline checks – Checks walls are square and plumb
Check heights / placement of fittings and fixtures relative to bathroom setout plans
Stopping complete
Sealer coat installed to walls / first coat installed to ceilings
FLC / Screed compound if required (check door threshold / transition)
Shower base site measured / flood tested offsite post manufacture (QA required) / delivered and installed
Sealants installed
Waterproofing installed as per manufacturer system guidelines
Waterproofing QA
Flood test shower bases post waterproofing install
UFH test and QA (if applicable)
Tiling QA (check tile setout plan / grout lines relative to FFE)
Fittings and fixtures (towel rails / shower glass / accessories etc installed)
Additional notes / comments – Handover QA to second fix