## Project Checklist Templates
Id | Type | Name | Values | Prompting Name | Resource Id
| checklist | Authority Works |  | Authority Works | 76856baa-81e6-41ce-843f-201cefea2cb9
| checkpoint | Legal point of discharge
| checkpoint | Water tap in
| checkpoint | OSD Tank
| checkpoint | Water meter assembly
| checkpoint | Sewer Boundary Trap
| checklist | Commercial Kitchen |  | Commercial Kitchen | a2b59cc6-607f-4e0d-b6b3-ab19852e6c6f
| checkpoint | Set Out
| checkpoint | Hot Water
| checkpoint | Cold Water
| checkpoint | Drainage
| checkpoint | Test Hot Water
| checkpoint | Test Cold Water
| checkpoint | Fit Off
| checkpoint | Commissioning
| checkpoint | Water Temperature
| checklist | Commissioning |  | Commissioning | 064ec04e-58a7-4426-ace9-9021aeb28b1d
| checkpoint | Bulk Hot Water
| checkpoint | Test Hot Water Temperature
| checkpoint | Test Waste for leaks
| checklist | Corridor/Shafts |  | Corridor/Shafts | f64632dc-f472-446b-94ab-da503525b865
| checkpoint | Hot Water
| checkpoint | Hot Water Lagged
| checkpoint | Cold Water
| checkpoint | Test Hot Water
| checkpoint | Test Cold Water
| checkpoint | PRV'S installed
| checkpoint | Fire Caulking to Apt
| checklist | Drains |  | Drains | b092e728-4249-4e9e-9ae1-8c5bf5b00bb3
| checkpoint | Drains
| checkpoint | Smoke Seal Penetrations
| checkpoint | Acoustic Lagging
| checkpoint | Testing (Water/Air)
| checklist | Fit Off |  | Fit Off | 5b2a37e5-5f45-4c1f-bb0c-de22d05a6b0a
| checkpoint | Bathroom Shower Mixer
| checkpoint | Bathroom Shower Rail/Rose
| checkpoint | Bathroom Basin
| checkpoint | Bathroom Basin Mixer
| checkpoint | Bathroom Bottle Trap
| checkpoint | Bathroom Toilet
5516e5c7-0ed3-4a83-97c6-750a20f71873 | checklist | Gas Cooktop Commission |  | Gas Cooktop Commission | b363bf88-a7ca-4ee5-b1bf-4488aa2981a9
27150d71-8a55-45ba-9800-0c46d42371c5 | section | Details
52b0f20c-dcd5-4930-92b3-731397146ad9 | checkpoint | Gas Test
| checklist | Inground works |  | Inground works | 00578ed2-cacb-4846-a81a-ddde6e355ec2
| checkpoint | Sewer pump pit installed basement amenities
| checkpoint | Sewer pump pit installed café
| checkpoint | Stormwater pump pit installed
| checkpoint | GIT installed commercial kitchen
| checkpoint | Top of pits installed to correct height
| checkpoint | Testing of drains
| checkpoint | Correct loactions of all pits / drainage points
| checkpoint | Stainless steel hanger straps
| checklist | Penetrations |  | Penetrations ITP | 209d63c8-f237-43a5-be6a-de346915af5e
| checkpoint | Set Out
| checkpoint | Fire Collar Installation
| checkpoint | Cast in Drains c/w Polilag
| checklist | Plant and equipment |  | Plant and equipment | 9700c091-6163-4268-a198-b27fe2f13ec6
| checkpoint | Hot water system
| checkpoint | Cold water pump
| checkpoint | Cold water break tank
| checkpoint | Rainwater pump
| checkpoint | Rainwater tank / Diversion valve
| checkpoint | Water meter assembly
| checkpoint | GIT
| checklist | Rough In |  | Rough In | 01f2bb97-4dfa-4376-8e84-b0a469bf5d96
| checkpoint | High Level Rough In
| checkpoint | Wall Set Out
| checkpoint | Wall Rough In
| checkpoint | Waste Rollovers & AAV'S
| checkpoint | Test Water