## zres_siteapp_NEW
Id | Type | Name | Values | Prompting Name | Postfix | Resource Id
| checklist | Mental Health Door checklist (Zone A / Bldg. B - GF/L01/L04/L05) |  | Mental Health Door checklist
b7ba8067-d1eb-5c38-9117-bba60a1d51b4 | section | Frame Install
74b0b64e-adad-51f7-bfbd-928bbdf0038a | checkpoint | Free of defects
78cae8e9-7d1a-59a3-accc-174974904fa6 | checkpoint | Frame head installed level
85aacd5d-b6be-52d3-b1b6-8119ff7950f2 | checkpoint | Frame Jambs installed plumb
7e2519dc-3c6a-58c6-845b-14b69e0fafa0 | checkpoint | Photo lodged to CONQA
98ea0f49-39fc-557c-a1ba-bef462a1ed90 | section | Door Install
ccb9fabe-ca20-46ce-9a83-7455ded2a1af | checkpoint | Free of defects
3ab92a5b-22af-5f6c-94d8-e5966dc8d54c | checkpoint | Installed within height tolerance of 1MM @ Door Head // 10MM @ Door Bottom
| note | Upload photo evidence - include image of packer installed
5c2ddc76-a768-50b3-a09d-feed3cffd077 | checkpoint | Installed within width tolerance of 3MM gap each side
7f240bb1-fd7f-5493-b02f-a75d3b3f1589 | checkpoint | Photo lodged to CONQA - Front of Door
7c8ab621-5a11-57a1-8af9-f379193d4614 | checkpoint | Photo lodged to CONQA - Back of Door
4c6141ea-dc86-5652-bc11-6093435b1d38 | section | Door Hardware Install
78118836-a736-460c-a843-fc7692a2b13b | checkpoint | Free of defects
3fb7c151-834b-54bc-9fb3-49fe794dc6ef | checkpoint | Installed per Door Hardware schedule & Manufacturers specification
a624b551-7223-4e60-af9e-3164e376a86d | checkpoint | Photo lodged to CONQA - Front of Door
64846cf2-fe2b-4d39-90b7-6089e45fbf25 | checkpoint | Photo lodged to CONQA - Back of Door